## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 14:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
95560 | 2021-04-19 14:06 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.1332 | μmol/L | 29.97 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.327 | 132584.1068 | 298039.6289 | 33.25 | 68.6
95570 | 2021-04-19 14:06 | 0.33793 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.9736 | μmol/L | 29.9822 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.39 | 133067.6166 | 298051.1649 | 33.25 | 68.6
95580 | 2021-04-19 14:07 | 0.67177 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.1267 | μmol/L | 30.0005 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.433 | 133455.2398 | 298043.8297 | 33.25 | 68.6
95590 | 2021-04-19 14:07 | 1.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.6009 | μmol/L | 29.9944 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.466 | 133742.3618 | 298035.9706 | 33.25 | 68.6
95600 | 2021-04-19 14:07 | 1.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0939 | μmol/L | 29.9883 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.498 | 133989.596 | 298033.8863 | 33.25 | 68.6
95610 | 2021-04-19 14:08 | 1.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8246 | μmol/L | 29.9456 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.529 | 134274.7898 | 298038.6844 | 33.25 | 68.6
95620 | 2021-04-19 14:08 | 2.0047 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5007 | μmol/L | 29.9517 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.546 | 134437.8265 | 298032.6986 | 33.25 | 68.6
95630 | 2021-04-19 14:08 | 2.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1713 | μmol/L | 29.9334 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.572 | 134678.8286 | 298026.7222 | 33.25 | 68.6
95640 | 2021-04-19 14:09 | 2.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6531 | μmol/L | 29.9639 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.592 | 134846.6612 | 298021.8534 | 33.25 | 68.6
95650 | 2021-04-19 14:09 | 3.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2731 | μmol/L | 29.9883 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.606 | 134964.2003 | 298025.2119 | 33.25 | 68.6
95660 | 2021-04-19 14:09 | 3.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1223 | μmol/L | 29.9883 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.615 | 135074.2742 | 298013.6482 | 33.25 | 68.6
95670 | 2021-04-19 14:10 | 3.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.9912 | μmol/L | 29.9822 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.625 | 135165.8222 | 298002.3668 | 33.25 | 68.6
95680 | 2021-04-19 14:10 | 4.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8407 | μmol/L | 29.9822 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.634 | 135261.8666 | 297999.2364 | 33.25 | 68.6
95690 | 2021-04-19 14:10 | 4.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.5291 | μmol/L | 30.0066 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.644 | 135369.2638 | 297984.1311 | 33.25 | 68.6
95700 | 2021-04-19 14:11 | 4.6717 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.293 | μmol/L | 30.0127 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.656 | 135442.2644 | 297990.969 | 33.25 | 68.6
95710 | 2021-04-19 14:11 | 5.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1515 | μmol/L | 30.031 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.658 | 135497.7269 | 297993.517 | 33.25 | 68.6
95720 | 2021-04-19 14:11 | 5.3382 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1127 | μmol/L | 30.0066 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.669 | 135584.8707 | 297976.0978 | 33.25 | 68.6
95730 | 2021-04-19 14:12 | 5.6714 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.9769 | μmol/L | 30.0127 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.675 | 135662.3687 | 297982.2195 | 33.25 | 68.6
95740 | 2021-04-19 14:12 | 6.0047 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.8274 | μmol/L | 30.0127 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.684 | 135728.581 | 297983.9034 | 33.25 | 68.6
95750 | 2021-04-19 14:12 | 6.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.725 | μmol/L | 30.0188 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.688 | 135789.3141 | 297988.2438 | 33.25 | 68.6
95760 | 2021-04-19 14:13 | 6.6711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.6144 | μmol/L | 30.0066 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.699 | 135862.4487 | 297968.0024 | 33.25 | 68.6
95770 | 2021-04-19 14:13 | 7.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.4128 | μmol/L | 30.0127 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.709 | 135945.3115 | 297980.8944 | 33.25 | 68.6
95780 | 2021-04-19 14:13 | 7.3384 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.2776 | μmol/L | 30.0188 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.715 | 136011.3269 | 297974.7567 | 33.25 | 68.6
95790 | 2021-04-19 14:14 | 7.6716 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1425 | μmol/L | 30.0249 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.721 | 136061.9853 | 297962.2267 | 33.25 | 68.6
95800 | 2021-04-19 14:14 | 8.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.024 | μmol/L | 30.031 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.726 | 136130.5791 | 297968.3729 | 33.25 | 68.6
95810 | 2021-04-19 14:14 | 8.3381 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.8009 | μmol/L | 30.0494 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.733 | 136178.3336 | 297962.1977 | 33.25 | 68.6
95820 | 2021-04-19 14:15 | 8.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.7321 | μmol/L | 30.0555 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.735 | 136220.5646 | 297949.5613 | 33.25 | 68.6
95830 | 2021-04-19 14:15 | 9.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.5616 | μmol/L | 30.0677 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.741 | 136226.2928 | 297959.2631 | 33.25 | 68.6
95840 | 2021-04-19 14:15 | 9.338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.6002 | μmol/L | 30.0555 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.743 | 136262.8851 | 297960.6269 | 33.25 | 68.6
95850 | 2021-04-19 14:16 | 9.6714 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4219 | μmol/L | 30.0494 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.756 | 136348.7968 | 297973.3562 | 33.25 | 68.6
95860 | 2021-04-19 14:16 | 10.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1667 | μmol/L | 30.0677 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.765 | 136425.9511 | 297964.0054 | 33.25 | 68.6
95870 | 2021-04-19 14:16 | 10.338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8791 | μmol/L | 30.086 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.776 | 136518.3287 | 297952.6034 | 33.25 | 68.6
95880 | 2021-04-19 14:17 | 10.6714 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6246 | μmol/L | 30.1043 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.785 | 136561.8621 | 297953.3529 | 33.25 | 68.6
95890 | 2021-04-19 14:17 | 11.0047 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6439 | μmol/L | 30.0982 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.786 | 136596.6059 | 297943.4347 | 33.25 | 68.6
95900 | 2021-04-19 14:17 | 11.3382 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4879 | μmol/L | 30.1165 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.789 | 136618.2298 | 297953.6988 | 33.25 | 68.6
95910 | 2021-04-19 14:18 | 11.6716 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4061 | μmol/L | 30.1165 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.794 | 136672.1406 | 297945.2846 | 33.25 | 68.6
95920 | 2021-04-19 14:18 | 12.0049 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3407 | μmol/L | 30.1165 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.798 | 136724.4046 | 297941.4651 | 33.25 | 68.6
95930 | 2021-04-19 14:18 | 12.3384 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4061 | μmol/L | 30.1165 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.794 | 136691.8084 | 297933.194 | 33.25 | 68.6
95940 | 2021-04-19 14:19 | 12.6717 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.2725 | μmol/L | 30.1226 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.8 | 136734.2831 | 297953.0166 | 33.25 | 68.6
95950 | 2021-04-19 14:19 | 13.0048 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.161 | μmol/L | 30.1165 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.809 | 136807.6422 | 297963.9435 | 33.25 | 68.6
95960 | 2021-04-19 14:19 | 13.3383 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.0573 | μmol/L | 30.1287 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.811 | 136853.2166 | 297950.4754 | 33.25 | 68.6
95970 | 2021-04-19 14:20 | 13.6715 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8942 | μmol/L | 30.1287 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.821 | 136923.6856 | 297959.5648 | 33.25 | 68.6
95980 | 2021-04-19 14:20 | 14.0048 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6028 | μmol/L | 30.1592 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.828 | 136951.3602 | 297945.1669 | 33.25 | 68.6
95990 | 2021-04-19 14:20 | 14.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4993 | μmol/L | 30.1715 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.83 | 136988.9589 | 297950.2421 | 33.25 | 68.6
96000 | 2021-04-19 14:21 | 14.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.418 | μmol/L | 30.1715 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.835 | 137035.8573 | 297940.1392 | 33.25 | 68.6
96010 | 2021-04-19 14:21 | 15.005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.201 | μmol/L | 30.1837 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.844 | 137076.8304 | 297933.0888 | 33.25 | 68.6
96020 | 2021-04-19 14:21 | 15.3382 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1449 | μmol/L | 30.1654 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.854 | 137157.2395 | 297938.5485 | 33.25 | 68.6
96030 | 2021-04-19 14:22 | 15.6716 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9444 | μmol/L | 30.1776 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.862 | 137216.5204 | 297930.2066 | 33.25 | 68.6
96040 | 2021-04-19 14:22 | 16.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8531 | μmol/L | 30.1654 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.872 | 137262.1632 | 297933.7652 | 33.25 | 68.6
96050 | 2021-04-19 14:22 | 16.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8502 | μmol/L | 30.1715 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.87 | 137276.3794 | 297927.9973 | 33.25 | 68.6
96060 | 2021-04-19 14:23 | 16.6713 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8634 | μmol/L | 30.1776 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.867 | 137285.2517 | 297934.7804 | 33.25 | 68.6
96070 | 2021-04-19 14:23 | 17.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6016 | μmol/L | 30.1837 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.881 | 137369.5729 | 297929.8462 | 33.25 | 68.6
96080 | 2021-04-19 14:23 | 17.3381 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.534 | μmol/L | 30.1898 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.883 | 137389.743 | 297916.7809 | 33.25 | 68.6
96090 | 2021-04-19 14:24 | 17.6715 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.437 | μmol/L | 30.1898 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.889 | 137447.3369 | 297911.9356 | 33.25 | 68.6
96100 | 2021-04-19 14:24 | 18.0048 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.2786 | μmol/L | 30.1837 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.901 | 137502.5118 | 297904.3569 | 33.25 | 68.6
96110 | 2021-04-19 14:24 | 18.3382 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.1979 | μmol/L | 30.1837 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.906 | 137570.0367 | 297906.6902 | 33.25 | 68.6
96120 | 2021-04-19 14:25 | 18.6713 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.8317 | μmol/L | 30.2081 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.92 | 137641.7437 | 297895.7832 | 33.25 | 68.6
96130 | 2021-04-19 14:25 | 19.005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7704 | μmol/L | 30.202 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.926 | 137709.7126 | 297897.1012 | 33.25 | 68.6
96140 | 2021-04-19 14:25 | 19.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6799 | μmol/L | 30.1898 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.936 | 137769.4466 | 297887.0687 | 33.25 | 68.6
96150 | 2021-04-19 14:26 | 19.6714 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.5865 | μmol/L | 30.1837 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.944 | 137843.275 | 297886.1121 | 33.25 | 68.6
96160 | 2021-04-19 14:26 | 20.005 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.3909 | μmol/L | 30.1898 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.954 | 137887.9146 | 297905.7422 | 33.25 | 68.6
96170 | 2021-04-19 14:26 | 20.3381 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.2347 | μmol/L | 30.2142 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.955 | 137916.3803 | 297884.8298 | 33.25 | 68.6
96180 | 2021-04-19 14:27 | 20.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.2056 | μmol/L | 30.2081 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.959 | 137937.2048 | 297897.2147 | 33.25 | 68.6
96190 | 2021-04-19 14:27 | 21.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.9725 | μmol/L | 30.2264 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.967 | 138013.6939 | 297889.8525 | 33.25 | 68.6
96200 | 2021-04-19 14:27 | 21.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.9206 | μmol/L | 30.202 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.979 | 138083.6296 | 297893.0881 | 33.25 | 68.6
96210 | 2021-04-19 14:28 | 21.6714 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.8786 | μmol/L | 30.1898 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.986 | 138132.9175 | 297880.4274 | 33.25 | 68.6
96220 | 2021-04-19 14:28 | 22.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.7508 | μmol/L | 30.1898 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.994 | 138230.4105 | 297905.0513 | 33.25 | 68.6
96230 | 2021-04-19 14:28 | 22.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.4477 | μmol/L | 30.1898 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.013 | 138341.2223 | 297895.0164 | 33.25 | 68.6
96240 | 2021-04-19 14:29 | 22.6716 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.1422 | μmol/L | 30.1959 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.03 | 138465.0305 | 297881.9544 | 33.25 | 68.6
96250 | 2021-04-19 14:29 | 23.0047 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.9387 | μmol/L | 30.1898 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.045 | 138584.9752 | 297890.4074 | 33.25 | 68.6
96260 | 2021-04-19 14:29 | 23.3384 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.8117 | μmol/L | 30.1898 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.053 | 138633.0905 | 297889.0439 | 33.25 | 68.6
96270 | 2021-04-19 14:30 | 23.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.7482 | μmol/L | 30.1898 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.057 | 138690.257 | 297903.6712 | 33.25 | 68.6
96280 | 2021-04-19 14:30 | 24.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.6561 | μmol/L | 30.1837 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.065 | 138720.2257 | 297882.5015 | 33.25 | 68.6
96290 | 2021-04-19 14:30 | 24.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.5897 | μmol/L | 30.1898 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.067 | 138753.3432 | 297867.5887 | 33.25 | 68.6
96300 | 2021-04-19 14:31 | 24.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.4442 | μmol/L | 30.1959 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.074 | 138790.0783 | 297876.3952 | 33.25 | 68.6
96310 | 2021-04-19 14:31 | 25.0046 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.3492 | μmol/L | 30.1959 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.08 | 138834.9456 | 297878.7477 | 33.25 | 68.6
96320 | 2021-04-19 14:31 | 25.3381 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.1881 | μmol/L | 30.202 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.088 | 138890.3721 | 297878.2197 | 33.25 | 68.6
96330 | 2021-04-19 14:32 | 25.6714 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.0836 | μmol/L | 30.1898 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.099 | 138961.0816 | 297871.4569 | 33.25 | 68.6
96340 | 2021-04-19 14:32 | 26.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.822 | μmol/L | 30.2081 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.109 | 139045.2054 | 297848.9643 | 33.25 | 68.6
96350 | 2021-04-19 14:32 | 26.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.5888 | μmol/L | 30.202 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.126 | 139141.5404 | 297862.4422 | 33.25 | 68.6
96360 | 2021-04-19 14:33 | 26.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.7397 | μmol/L | 30.1837 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.123 | 139154.9159 | 297865.2134 | 33.25 | 68.6
96370 | 2021-04-19 14:33 | 27.0045 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.463 | μmol/L | 30.202 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.134 | 139207.777 | 297859.6392 | 33.25 | 68.6
96380 | 2021-04-19 14:33 | 27.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.4818 | μmol/L | 30.1959 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.135 | 139247.8563 | 297842.0597 | 33.25 | 68.6
96390 | 2021-04-19 14:34 | 27.6717 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.3622 | μmol/L | 30.1837 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.147 | 139292.679 | 297845.9402 | 33.25 | 68.6
96400 | 2021-04-19 14:34 | 28.0049 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.1581 | μmol/L | 30.1837 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.16 | 139394.8658 | 297849.2874 | 33.25 | 68.6
96410 | 2021-04-19 14:34 | 28.3383 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.8605 | μmol/L | 30.2142 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.168 | 139454.0209 | 297859.059 | 33.25 | 68.6
96420 | 2021-04-19 14:35 | 28.6715 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.8229 | μmol/L | 30.1959 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.177 | 139494.9163 | 297849.9961 | 33.25 | 68.6
96430 | 2021-04-19 14:35 | 29.0047 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.8634 | μmol/L | 30.1776 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.181 | 139535.7948 | 297845.8624 | 33.25 | 68.6
96440 | 2021-04-19 14:35 | 29.3379 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.5664 | μmol/L | 30.2081 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.189 | 139588.0451 | 297848.8917 | 33.25 | 68.6
96450 | 2021-04-19 14:36 | 29.671 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.7039 | μmol/L | 30.1837 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.189 | 139611.8321 | 297836.0408 | 33.25 | 68.6
96460 | 2021-04-19 14:36 | 30.0044 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.5507 | μmol/L | 30.1776 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.201 | 139693.0427 | 297827.4913 | 33.25 | 68.6
96470 | 2021-04-19 14:36 | 30.3377 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.3602 | μmol/L | 30.1837 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.211 | 139759.8146 | 297835.6436 | 33.25 | 68.6
96480 | 2021-04-19 14:37 | 30.6718 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.3882 | μmol/L | 30.1592 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.218 | 139805.2287 | 297814.1021 | 33.25 | 68.6
96490 | 2021-04-19 14:37 | 31.0043 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.2261 | μmol/L | 30.1715 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.224 | 139844.4867 | 297822.3187 | 33.25 | 68.6
96500 | 2021-04-19 14:37 | 31.3378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.0547 | μmol/L | 30.1715 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.235 | 139927.0319 | 297816.1552 | 33.25 | 68.6
96510 | 2021-04-19 14:38 | 31.6712 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.9458 | μmol/L | 30.1715 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.242 | 139978.6258 | 297812.0535 | 33.25 | 68.6
96520 | 2021-04-19 14:38 | 32.0047 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.9209 | μmol/L | 30.1592 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.248 | 140040.035 | 297819.0807 | 33.25 | 68.6
96530 | 2021-04-19 14:38 | 32.338 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.7375 | μmol/L | 30.1531 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.262 | 140110.4852 | 297807.3548 | 33.25 | 68.6
96540 | 2021-04-19 14:39 | 32.6711 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.4674 | μmol/L | 30.1654 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 22.275 | 140198.9308 | 297809.0245 | 33.25 | 68.6