## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 14:39

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
95561 | 2021-04-19 14:06 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.5649 | μmol/L | 29.8352 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.609 | 114929.7291 | 262571.5748 | 26.25 | 74
95571 | 2021-04-19 14:06 | 0.32723 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.1583 | μmol/L | 29.7618 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.656 | 115245.6363 | 262572.2753 | 26.25 | 74
95581 | 2021-04-19 14:07 | 0.66022 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.9548 | μmol/L | 29.6641 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.7 | 115522.4321 | 262564.1753 | 26.25 | 74
95591 | 2021-04-19 14:07 | 0.99364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.4277 | μmol/L | 29.7924 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.742 | 115800.8416 | 262553.472 | 26.25 | 74
95601 | 2021-04-19 14:07 | 1.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.8771 | μmol/L | 29.7741 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.779 | 116058.4257 | 262555.225 | 26.25 | 74
95611 | 2021-04-19 14:08 | 1.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4194 | μmol/L | 29.7435 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.815 | 116279.0471 | 262558.3248 | 26.25 | 74
95621 | 2021-04-19 14:08 | 1.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.9376 | μmol/L | 29.7618 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.836 | 116446.5549 | 262549.6923 | 26.25 | 74
95631 | 2021-04-19 14:08 | 2.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.3877 | μmol/L | 29.7741 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.863 | 116601.3893 | 262544.7976 | 26.25 | 74
95641 | 2021-04-19 14:09 | 2.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.3408 | μmol/L | 29.7374 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.878 | 116734.4699 | 262545.2865 | 26.25 | 74
95651 | 2021-04-19 14:09 | 2.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.6244 | μmol/L | 29.8107 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.894 | 116815.5399 | 262535.2992 | 26.25 | 74
95661 | 2021-04-19 14:09 | 3.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.3862 | μmol/L | 29.768 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.922 | 116979.1692 | 262527.4064 | 26.25 | 74
95671 | 2021-04-19 14:10 | 3.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.0852 | μmol/L | 29.7863 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.933 | 117064.1102 | 262524.4363 | 26.25 | 74
95681 | 2021-04-19 14:10 | 3.9939 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.6288 | μmol/L | 29.7985 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.955 | 117181.5046 | 262511.5726 | 26.25 | 74
95691 | 2021-04-19 14:10 | 4.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.1157 | μmol/L | 29.8413 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.97 | 117283.7119 | 262505.9275 | 26.25 | 74
95701 | 2021-04-19 14:11 | 4.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.9025 | μmol/L | 29.8658 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.974 | 117333.5775 | 262521.0879 | 26.25 | 74
95711 | 2021-04-19 14:11 | 4.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.6074 | μmol/L | 29.8658 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 20.991 | 117428.9208 | 262515.4825 | 26.25 | 74
95721 | 2021-04-19 14:11 | 5.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9402 | μmol/L | 29.9147 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.013 | 117549.8302 | 262509.6432 | 26.25 | 74
95731 | 2021-04-19 14:12 | 5.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9635 | μmol/L | 29.8841 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.022 | 117588.735 | 262508.1699 | 26.25 | 74
95741 | 2021-04-19 14:12 | 5.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1619 | μmol/L | 29.8413 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.025 | 117662.2153 | 262500.4144 | 26.25 | 74
95751 | 2021-04-19 14:12 | 6.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7588 | μmol/L | 29.8719 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.038 | 117739.5927 | 262488.3982 | 26.25 | 74
95761 | 2021-04-19 14:13 | 6.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5324 | μmol/L | 29.8841 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.047 | 117787.2702 | 262487.827 | 26.25 | 74
95771 | 2021-04-19 14:13 | 6.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.203 | μmol/L | 29.8963 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.062 | 117876.754 | 262483.4438 | 26.25 | 74
95781 | 2021-04-19 14:13 | 7.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.0154 | μmol/L | 29.8902 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.075 | 117975.6862 | 262488.3829 | 26.25 | 74
95791 | 2021-04-19 14:14 | 7.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.1994 | μmol/L | 29.8291 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.085 | 118039.5283 | 262491.625 | 26.25 | 74
95801 | 2021-04-19 14:14 | 7.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.545 | μmol/L | 29.9269 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.09 | 118103.5171 | 262493.6024 | 26.25 | 74
95811 | 2021-04-19 14:14 | 8.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.5856 | μmol/L | 29.8963 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.098 | 118170.0828 | 262492.8893 | 26.25 | 74
95821 | 2021-04-19 14:15 | 8.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.1335 | μmol/L | 29.933 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.112 | 118244.8243 | 262481.4484 | 26.25 | 74
95831 | 2021-04-19 14:15 | 8.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.2253 | μmol/L | 29.9024 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.117 | 118263.0195 | 262478.4064 | 26.25 | 74
95841 | 2021-04-19 14:15 | 9.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.8436 | μmol/L | 29.933 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.129 | 118303.5784 | 262488.675 | 26.25 | 74
95851 | 2021-04-19 14:16 | 9.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.8083 | μmol/L | 29.9391 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.129 | 118351.3415 | 262481.7182 | 26.25 | 74
95861 | 2021-04-19 14:16 | 9.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.5503 | μmol/L | 29.9513 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.14 | 118426.6017 | 262495.961 | 26.25 | 74
95871 | 2021-04-19 14:16 | 10.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.2039 | μmol/L | 29.9819 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.15 | 118474.7545 | 262475.1568 | 26.25 | 74
95881 | 2021-04-19 14:17 | 10.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.157 | μmol/L | 29.9635 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.159 | 118524.6339 | 262469.3451 | 26.25 | 74
95891 | 2021-04-19 14:17 | 10.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.0553 | μmol/L | 29.9635 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.165 | 118599.4282 | 262465.7049 | 26.25 | 74
95901 | 2021-04-19 14:17 | 11.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.6056 | μmol/L | 30.0063 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.177 | 118664.4173 | 262466.511 | 26.25 | 74
95911 | 2021-04-19 14:18 | 11.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.6152 | μmol/L | 29.9635 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.191 | 118742.3054 | 262473.1391 | 26.25 | 74
95921 | 2021-04-19 14:18 | 11.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.2538 | μmol/L | 29.9941 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.202 | 118764.6352 | 262479.363 | 26.25 | 74
95931 | 2021-04-19 14:18 | 12.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.2173 | μmol/L | 30.0063 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.2 | 118814.6496 | 262463.5668 | 26.25 | 74
95941 | 2021-04-19 14:19 | 12.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.8944 | μmol/L | 30.0186 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.215 | 118868.4504 | 262472.0166 | 26.25 | 74
95951 | 2021-04-19 14:19 | 12.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.8397 | μmol/L | 30.0369 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.212 | 118873.6432 | 262468.0478 | 26.25 | 74
95961 | 2021-04-19 14:19 | 13.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.7556 | μmol/L | 30.0369 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.217 | 118921.9617 | 262465.094 | 26.25 | 74
95971 | 2021-04-19 14:20 | 13.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.5554 | μmol/L | 30.0308 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.231 | 118994.8908 | 262470.3089 | 26.25 | 74
95981 | 2021-04-19 14:20 | 13.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.8243 | μmol/L | 29.9574 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.24 | 119069.5215 | 262463.1508 | 26.25 | 74
95991 | 2021-04-19 14:20 | 14.327 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.3736 | μmol/L | 30.0186 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.246 | 119118.5711 | 262460.215 | 26.25 | 74
96001 | 2021-04-19 14:21 | 14.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.0467 | μmol/L | 30.0552 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.253 | 119170.8671 | 262469.4419 | 26.25 | 74
96011 | 2021-04-19 14:21 | 14.9942 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.5766 | μmol/L | 29.9391 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.261 | 119221.7663 | 262463.1212 | 26.25 | 74
96021 | 2021-04-19 14:21 | 15.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.1171 | μmol/L | 29.9697 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.278 | 119314.7294 | 262468.5683 | 26.25 | 74
96031 | 2021-04-19 14:22 | 15.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.8954 | μmol/L | 29.988 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.285 | 119361.1753 | 262463.1338 | 26.25 | 74
96041 | 2021-04-19 14:22 | 15.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.3424 | μmol/L | 30.0675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.291 | 119412.1751 | 262467.1648 | 26.25 | 74
96051 | 2021-04-19 14:22 | 16.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.4194 | μmol/L | 30.0247 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.301 | 119463.8793 | 262448.4474 | 26.25 | 74
96061 | 2021-04-19 14:23 | 16.6601 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.318 | μmol/L | 30.0308 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.305 | 119512.1379 | 262459.4738 | 26.25 | 74
96071 | 2021-04-19 14:23 | 16.994 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.8111 | μmol/L | 29.9208 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.313 | 119567.5171 | 262437.4285 | 26.25 | 74
96081 | 2021-04-19 14:23 | 17.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.1741 | μmol/L | 30.0063 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.322 | 119616.2987 | 262447.3143 | 26.25 | 74
96091 | 2021-04-19 14:24 | 17.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.1759 | μmol/L | 30.0675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.301 | 119513.4363 | 262438.6995 | 26.25 | 74
96101 | 2021-04-19 14:24 | 17.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.0413 | μmol/L | 30.0736 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.307 | 119516.5774 | 262451.9377 | 26.25 | 74
96111 | 2021-04-19 14:24 | 18.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.0806 | μmol/L | 30.0491 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.313 | 119559.4801 | 262428.013 | 26.25 | 74
96121 | 2021-04-19 14:25 | 18.6608 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.8103 | μmol/L | 30.0675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.323 | 119611.2856 | 262418.665 | 26.25 | 74
96131 | 2021-04-19 14:25 | 18.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.6066 | μmol/L | 30.0858 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.329 | 119645.9002 | 262425.6582 | 26.25 | 74
96141 | 2021-04-19 14:25 | 19.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.2708 | μmol/L | 30.1041 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.343 | 119724.5238 | 262410.0266 | 26.25 | 74
96151 | 2021-04-19 14:26 | 19.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.1597 | μmol/L | 30.0858 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.356 | 119808.9711 | 262420.7873 | 26.25 | 74
96161 | 2021-04-19 14:26 | 19.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.9991 | μmol/L | 30.0675 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.372 | 119897.7809 | 262426.5298 | 26.25 | 74
96171 | 2021-04-19 14:26 | 20.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.9723 | μmol/L | 30.043 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.382 | 119988.1198 | 262421.9778 | 26.25 | 74
96181 | 2021-04-19 14:27 | 20.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.0114 | μmol/L | 30.0186 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.388 | 120045.9181 | 262422.2388 | 26.25 | 74
96191 | 2021-04-19 14:27 | 20.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.866 | μmol/L | 30.0063 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.401 | 120117.2528 | 262418.6143 | 26.25 | 74
96201 | 2021-04-19 14:27 | 21.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.8691 | μmol/L | 29.9941 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.405 | 120145.4321 | 262431.6236 | 26.25 | 74
96211 | 2021-04-19 14:28 | 21.6603 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.8764 | μmol/L | 30.0308 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.392 | 120060.4681 | 262432.5283 | 26.25 | 74
96221 | 2021-04-19 14:28 | 21.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.0295 | μmol/L | 30.0124 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.389 | 120055.0563 | 262431.3287 | 26.25 | 74
96231 | 2021-04-19 14:28 | 22.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.8856 | μmol/L | 29.9941 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.404 | 120138.4564 | 262426.1991 | 26.25 | 74
96241 | 2021-04-19 14:29 | 22.6606 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.6097 | μmol/L | 30.043 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.404 | 120168.0792 | 262423.1182 | 26.25 | 74
96251 | 2021-04-19 14:29 | 22.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.8228 | μmol/L | 29.9819 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.412 | 120209.2721 | 262423.2381 | 26.25 | 74
96261 | 2021-04-19 14:29 | 23.3272 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.1839 | μmol/L | 30.0369 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.432 | 120333.6772 | 262424.9199 | 26.25 | 74
96271 | 2021-04-19 14:30 | 23.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.3144 | μmol/L | 29.9758 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.445 | 120422.113 | 262415.9181 | 26.25 | 74
96281 | 2021-04-19 14:30 | 23.9936 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.3011 | μmol/L | 29.9635 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.45 | 120447.995 | 262411.3086 | 26.25 | 74
96291 | 2021-04-19 14:30 | 24.3269 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.0926 | μmol/L | 29.9452 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.469 | 120542.2889 | 262415.1727 | 26.25 | 74
96301 | 2021-04-19 14:31 | 24.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.5157 | μmol/L | 30.0247 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.477 | 120599.4434 | 262413.7393 | 26.25 | 74
96311 | 2021-04-19 14:31 | 24.9941 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.6623 | μmol/L | 29.9635 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.489 | 120693.4954 | 262413.404 | 26.25 | 74
96321 | 2021-04-19 14:31 | 25.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.1469 | μmol/L | 30.0002 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.508 | 120808.1229 | 262399.9168 | 26.25 | 74
96331 | 2021-04-19 14:32 | 25.6605 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.9971 | μmol/L | 30.0124 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.513 | 120872.5159 | 262407.6811 | 26.25 | 74
96341 | 2021-04-19 14:32 | 25.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.7337 | μmol/L | 30.0247 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.525 | 120933.7355 | 262407.7291 | 26.25 | 74
96351 | 2021-04-19 14:32 | 26.3273 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.1693 | μmol/L | 29.9147 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.536 | 121023.2051 | 262396.718 | 26.25 | 74
96361 | 2021-04-19 14:33 | 26.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.8425 | μmol/L | 29.9208 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.554 | 121114.4771 | 262381.3156 | 26.25 | 74
96371 | 2021-04-19 14:33 | 26.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.9994 | μmol/L | 30.043 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.564 | 121175.3111 | 262381.2076 | 26.25 | 74
96381 | 2021-04-19 14:33 | 27.3267 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.8992 | μmol/L | 29.8902 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.561 | 121148.4594 | 262390.78 | 26.25 | 74
96391 | 2021-04-19 14:34 | 27.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.2943 | μmol/L | 29.9697 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.571 | 121235.8354 | 262381.2269 | 26.25 | 74
96401 | 2021-04-19 14:34 | 27.9937 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.2555 | μmol/L | 29.933 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.586 | 121319.6337 | 262384.0972 | 26.25 | 74
96411 | 2021-04-19 14:34 | 28.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.0113 | μmol/L | 29.9391 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.599 | 121372.765 | 262381.605 | 26.25 | 74
96421 | 2021-04-19 14:35 | 28.6602 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.2184 | μmol/L | 29.8902 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.603 | 121405.6977 | 262383.349 | 26.25 | 74
96431 | 2021-04-19 14:35 | 28.9935 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.5698 | μmol/L | 29.9085 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.575 | 121262.7734 | 262393.7739 | 26.25 | 74
96441 | 2021-04-19 14:35 | 29.3274 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.8867 | μmol/L | 29.9819 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.592 | 121326.8477 | 262389.9887 | 26.25 | 74
96451 | 2021-04-19 14:36 | 29.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.1099 | μmol/L | 29.933 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.595 | 121345.5678 | 262375.3836 | 26.25 | 74
96461 | 2021-04-19 14:36 | 29.9934 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.4301 | μmol/L | 30.0308 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.603 | 121398.0206 | 262376.1544 | 26.25 | 74
96471 | 2021-04-19 14:36 | 30.3275 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.3786 | μmol/L | 30.0124 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.613 | 121455.6881 | 262369.4314 | 26.25 | 74
96481 | 2021-04-19 14:37 | 30.6607 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.3531 | μmol/L | 29.988 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.623 | 121511.0132 | 262369.3952 | 26.25 | 74
96491 | 2021-04-19 14:37 | 30.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.2133 | μmol/L | 30.0002 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.627 | 121579.1518 | 262367.6757 | 26.25 | 74
96501 | 2021-04-19 14:37 | 31.3271 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.1264 | μmol/L | 29.9941 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.635 | 121622.2964 | 262363.8376 | 26.25 | 74
96511 | 2021-04-19 14:38 | 31.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.9758 | μmol/L | 29.988 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.646 | 121704.8825 | 262366.3004 | 26.25 | 74
96521 | 2021-04-19 14:38 | 31.9938 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.9589 | μmol/L | 29.933 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.666 | 121822.2514 | 262359.909 | 26.25 | 74
96531 | 2021-04-19 14:38 | 32.3268 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.7389 | μmol/L | 29.9452 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.676 | 121884.0511 | 262357.3674 | 26.25 | 74
96541 | 2021-04-19 14:39 | 32.6604 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.9596 | μmol/L | 30.0186 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.699 | 122016.5922 | 262359.0814 | 26.25 | 74