## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
96545 | 2021-04-19 14:48 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 211.0377 | μmol/L | 29.5368 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.039 | 134601.2343 | 266665.9463 | 33.25 | 75.7
96555 | 2021-04-19 14:48 | 0.33714 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.2701 | μmol/L | 29.5553 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.073 | 134827.5093 | 266663.585 | 33.25 | 75.7
96565 | 2021-04-19 14:49 | 0.67025 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.9643 | μmol/L | 29.5553 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.089 | 134946.8864 | 266647.8088 | 33.25 | 75.7
96575 | 2021-04-19 14:49 | 1.0035 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.5246 | μmol/L | 29.5799 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.104 | 135062.9258 | 266634.992 | 33.25 | 75.7
96585 | 2021-04-19 14:49 | 1.3369 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.1629 | μmol/L | 29.586 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.121 | 135148.8805 | 266632.1722 | 33.25 | 75.7
96595 | 2021-04-19 14:50 | 1.6702 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.916 | μmol/L | 29.586 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.134 | 135282.9939 | 266629.8065 | 33.25 | 75.7
96605 | 2021-04-19 14:50 | 2.0034 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.2897 | μmol/L | 29.6106 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.159 | 135425.8694 | 266609.427 | 33.25 | 75.7
96615 | 2021-04-19 14:50 | 2.3366 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.9875 | μmol/L | 29.6106 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.175 | 135560.2498 | 266607.7244 | 33.25 | 75.7
96625 | 2021-04-19 14:51 | 2.6698 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.7989 | μmol/L | 29.6106 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.185 | 135634.5596 | 266605.159 | 33.25 | 75.7
96635 | 2021-04-19 14:51 | 3.0031 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.5914 | μmol/L | 29.6168 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.194 | 135694.6068 | 266593.372 | 33.25 | 75.7
96645 | 2021-04-19 14:51 | 3.3364 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.2901 | μmol/L | 29.623 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.208 | 135788.7658 | 266582.2525 | 33.25 | 75.7
96655 | 2021-04-19 14:52 | 3.6697 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.0456 | μmol/L | 29.6291 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.219 | 135871.7169 | 266586.8293 | 33.25 | 75.7
96665 | 2021-04-19 14:52 | 4.0038 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.6887 | μmol/L | 29.6414 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.234 | 135965.1802 | 266589.5968 | 33.25 | 75.7
96675 | 2021-04-19 14:52 | 4.3369 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.4455 | μmol/L | 29.6414 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.247 | 136066.3148 | 266582.5434 | 33.25 | 75.7
96685 | 2021-04-19 14:53 | 4.6701 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0712 | μmol/L | 29.6537 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.263 | 136180.3557 | 266574.2004 | 33.25 | 75.7
96695 | 2021-04-19 14:53 | 5.0034 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8103 | μmol/L | 29.6537 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.277 | 136294.3721 | 266568.9717 | 33.25 | 75.7
96705 | 2021-04-19 14:53 | 5.3368 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.5307 | μmol/L | 29.6599 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.29 | 136378.8945 | 266582.0469 | 33.25 | 75.7
96715 | 2021-04-19 14:54 | 5.6698 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.2702 | μmol/L | 29.666 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.302 | 136476.5341 | 266569.6037 | 33.25 | 75.7
96725 | 2021-04-19 14:54 | 6.0031 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.899 | μmol/L | 29.6722 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.32 | 136603.3933 | 266569.5001 | 33.25 | 75.7
96735 | 2021-04-19 14:54 | 6.3364 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.826 | μmol/L | 29.6599 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.328 | 136682.9116 | 266569.7786 | 33.25 | 75.7
96745 | 2021-04-19 14:55 | 6.6704 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.659 | μmol/L | 29.666 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.335 | 136756.7944 | 266568.4672 | 33.25 | 75.7
96755 | 2021-04-19 14:55 | 7.0031 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.3255 | μmol/L | 29.6783 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.349 | 136857.0215 | 266561.1804 | 33.25 | 75.7
96765 | 2021-04-19 14:55 | 7.3371 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.1233 | μmol/L | 29.6722 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.362 | 136943.6622 | 266553.0075 | 33.25 | 75.7
96775 | 2021-04-19 14:56 | 7.6704 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.9386 | μmol/L | 29.6783 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.37 | 137008.6872 | 266553.4802 | 33.25 | 75.7
96785 | 2021-04-19 14:56 | 8.0036 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.6249 | μmol/L | 29.6906 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.383 | 137089.2099 | 266558.0745 | 33.25 | 75.7
96795 | 2021-04-19 14:56 | 8.3369 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.4223 | μmol/L | 29.6968 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.392 | 137164.7572 | 266548.7767 | 33.25 | 75.7
96805 | 2021-04-19 14:57 | 8.6702 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.2383 | μmol/L | 29.7029 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.4 | 137246.4882 | 266551.6532 | 33.25 | 75.7
96815 | 2021-04-19 14:57 | 9.0037 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.9454 | μmol/L | 29.7029 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.416 | 137337.3926 | 266537.1309 | 33.25 | 75.7
96825 | 2021-04-19 14:57 | 9.3369 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.7803 | μmol/L | 29.7091 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.423 | 137415.3989 | 266541.6875 | 33.25 | 75.7
96835 | 2021-04-19 14:58 | 9.6702 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.5605 | μmol/L | 29.7152 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.433 | 137492.3758 | 266533.6193 | 33.25 | 75.7
96845 | 2021-04-19 14:58 | 10.0034 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.3235 | μmol/L | 29.7152 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.446 | 137571.8676 | 266545.2448 | 33.25 | 75.7
96855 | 2021-04-19 14:58 | 10.3367 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.1596 | μmol/L | 29.7152 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.455 | 137661.933 | 266531.4789 | 33.25 | 75.7
96865 | 2021-04-19 14:59 | 10.6699 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.8679 | μmol/L | 29.7214 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.469 | 137753.3416 | 266537.0498 | 33.25 | 75.7
96875 | 2021-04-19 14:59 | 11.0034 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.7045 | μmol/L | 29.7214 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.478 | 137823.6713 | 266535.8264 | 33.25 | 75.7
96885 | 2021-04-19 14:59 | 11.3367 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.5224 | μmol/L | 29.7275 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.486 | 137906.2091 | 266532.8086 | 33.25 | 75.7
96895 | 2021-04-19 15:00 | 11.6701 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.3601 | μmol/L | 29.7214 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.497 | 137977.2468 | 266525.7855 | 33.25 | 75.7
96905 | 2021-04-19 15:00 | 12.0034 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.088 | μmol/L | 29.7275 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.51 | 138065.6694 | 266518.9887 | 33.25 | 75.7
96915 | 2021-04-19 15:00 | 12.3367 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.8893 | μmol/L | 29.7275 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.521 | 138146.5484 | 266525.837 | 33.25 | 75.7
96925 | 2021-04-19 15:01 | 12.6702 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.618 | μmol/L | 29.7337 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.534 | 138241.2565 | 266530.9038 | 33.25 | 75.7
96935 | 2021-04-19 15:01 | 13.0033 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.4739 | μmol/L | 29.7337 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.542 | 138313.3382 | 266515.9724 | 33.25 | 75.7
96945 | 2021-04-19 15:01 | 13.3369 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.2579 | μmol/L | 29.7337 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.554 | 138391.8016 | 266506.9741 | 33.25 | 75.7
96955 | 2021-04-19 15:02 | 13.6705 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.0595 | μmol/L | 29.7399 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.563 | 138483.9967 | 266503.9024 | 33.25 | 75.7
96965 | 2021-04-19 15:02 | 14.0038 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.7895 | μmol/L | 29.746 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.576 | 138565.86 | 266510.6794 | 33.25 | 75.7
96975 | 2021-04-19 15:02 | 14.3368 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.6291 | μmol/L | 29.7399 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.587 | 138661.5197 | 266514.1002 | 33.25 | 75.7
96985 | 2021-04-19 15:03 | 14.6701 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.3777 | μmol/L | 29.746 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.599 | 138737.694 | 266501.9227 | 33.25 | 75.7
96995 | 2021-04-19 15:03 | 15.0033 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.1633 | μmol/L | 29.746 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.611 | 138844.6575 | 266494.5852 | 33.25 | 75.7
97005 | 2021-04-19 15:03 | 15.3369 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.788 | μmol/L | 29.7522 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.63 | 138926.7276 | 266488.0681 | 33.25 | 75.7
97015 | 2021-04-19 15:04 | 15.6703 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.5548 | μmol/L | 29.7645 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.639 | 139040.4267 | 266498.7 | 33.25 | 75.7
97025 | 2021-04-19 15:04 | 16.0031 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.3771 | μmol/L | 29.7645 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.649 | 139127.4151 | 266493.8173 | 33.25 | 75.7