## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
96547 | 2021-04-19 14:48 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.2836 | μmol/L | 29.5589 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.956 | 93999.2507 | 210126.9394 | 27.3 | 43.4
96557 | 2021-04-19 14:48 | 0.33768 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.033 | μmol/L | 29.5038 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.987 | 94134.6601 | 210130.4238 | 27.3 | 43.4
96567 | 2021-04-19 14:49 | 0.67098 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.3218 | μmol/L | 29.5589 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.004 | 94227.5491 | 210132.1314 | 27.3 | 43.4
96577 | 2021-04-19 14:49 | 1.0043 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.1456 | μmol/L | 29.5406 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.019 | 94303.5701 | 210129.5993 | 27.3 | 43.4
96587 | 2021-04-19 14:49 | 1.3376 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.7246 | μmol/L | 29.5528 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.036 | 94376.0236 | 210122.8235 | 27.3 | 43.4
96597 | 2021-04-19 14:50 | 1.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.2251 | μmol/L | 29.5651 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.057 | 94461.49 | 210113.284 | 27.3 | 43.4
96607 | 2021-04-19 14:50 | 2.0045 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.044 | μmol/L | 29.5773 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.062 | 94490.1228 | 210114.0003 | 27.3 | 43.4
96617 | 2021-04-19 14:50 | 2.3378 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.9474 | μmol/L | 29.5651 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.071 | 94552.2084 | 210106.7625 | 27.3 | 43.4
96627 | 2021-04-19 14:51 | 2.6708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.6688 | μmol/L | 29.5712 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.083 | 94617.6222 | 210095.5383 | 27.3 | 43.4
96637 | 2021-04-19 14:51 | 3.004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.3933 | μmol/L | 29.5651 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.099 | 94663.6527 | 210091.8483 | 27.3 | 43.4
96647 | 2021-04-19 14:51 | 3.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8922 | μmol/L | 29.6019 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.112 | 94714.2417 | 210087.898 | 27.3 | 43.4
96657 | 2021-04-19 14:52 | 3.6704 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.5352 | μmol/L | 29.6141 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.126 | 94766.6508 | 210095.4553 | 27.3 | 43.4
96667 | 2021-04-19 14:52 | 4.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.4003 | μmol/L | 29.6019 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.137 | 94835.8339 | 210090.8898 | 27.3 | 43.4
96677 | 2021-04-19 14:52 | 4.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.1059 | μmol/L | 29.6019 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.152 | 94890.0258 | 210086.3762 | 27.3 | 43.4
96687 | 2021-04-19 14:53 | 4.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.7281 | μmol/L | 29.6264 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.163 | 94942.0429 | 210101.0002 | 27.3 | 43.4
96697 | 2021-04-19 14:53 | 5.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.7728 | μmol/L | 29.6019 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.169 | 94971.7284 | 210082.1842 | 27.3 | 43.4
96707 | 2021-04-19 14:53 | 5.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.1615 | μmol/L | 29.6264 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.192 | 95094.3798 | 210083.8124 | 27.3 | 43.4
96717 | 2021-04-19 14:54 | 5.671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.8302 | μmol/L | 29.6264 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.209 | 95185.0346 | 210092.4984 | 27.3 | 43.4
96727 | 2021-04-19 14:54 | 6.0042 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.6746 | μmol/L | 29.6264 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.217 | 95255.8798 | 210087.9003 | 27.3 | 43.4
96737 | 2021-04-19 14:54 | 6.3376 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.2011 | μmol/L | 29.657 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.231 | 95302.6146 | 210087.3921 | 27.3 | 43.4
96747 | 2021-04-19 14:55 | 6.671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.9699 | μmol/L | 29.6509 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.245 | 95397.2004 | 210085.4316 | 27.3 | 43.4
96757 | 2021-04-19 14:55 | 7.0043 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.7823 | μmol/L | 29.6264 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.263 | 95482.5393 | 210068.144 | 27.3 | 43.4
96767 | 2021-04-19 14:55 | 7.3376 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.2385 | μmol/L | 29.6386 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.287 | 95593.8897 | 210074.1691 | 27.3 | 43.4
96777 | 2021-04-19 14:56 | 7.6709 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.6055 | μmol/L | 29.706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.297 | 95640.948 | 210070.1043 | 27.3 | 43.4
96787 | 2021-04-19 14:56 | 8.0043 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8664 | μmol/L | 29.6631 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.298 | 95687.5136 | 210081.5321 | 27.3 | 43.4
96797 | 2021-04-19 14:56 | 8.3375 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8325 | μmol/L | 29.6448 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.306 | 95735.6916 | 210079.5465 | 27.3 | 43.4
96807 | 2021-04-19 14:57 | 8.6708 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.3476 | μmol/L | 29.6631 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.325 | 95819.6756 | 210077.3148 | 27.3 | 43.4
96817 | 2021-04-19 14:57 | 9.0041 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.9803 | μmol/L | 29.6754 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.34 | 95921.3905 | 210075.2231 | 27.3 | 43.4
96827 | 2021-04-19 14:57 | 9.3372 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.7396 | μmol/L | 29.6448 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.363 | 96020.9186 | 210063.8084 | 27.3 | 43.4
96837 | 2021-04-19 14:58 | 9.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.3465 | μmol/L | 29.6877 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.369 | 96085.4547 | 210065.2137 | 27.3 | 43.4
96847 | 2021-04-19 14:58 | 10.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.9894 | μmol/L | 29.6693 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.394 | 96201.7063 | 210066.2648 | 27.3 | 43.4
96857 | 2021-04-19 14:58 | 10.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.8183 | μmol/L | 29.6693 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.403 | 96243.1805 | 210061.6811 | 27.3 | 43.4
96867 | 2021-04-19 14:59 | 10.6712 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.6077 | μmol/L | 29.6754 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.412 | 96299.8325 | 210055.5717 | 27.3 | 43.4
96877 | 2021-04-19 14:59 | 11.0038 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.2836 | μmol/L | 29.6815 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.427 | 96344.5523 | 210061.5749 | 27.3 | 43.4
96887 | 2021-04-19 14:59 | 11.3378 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.3231 | μmol/L | 29.6754 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.427 | 96383.4007 | 210059.2384 | 27.3 | 43.4
96897 | 2021-04-19 15:00 | 11.6709 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.1148 | μmol/L | 29.6754 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.438 | 96442.1648 | 210057.6629 | 27.3 | 43.4
96907 | 2021-04-19 15:00 | 12.0041 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.8483 | μmol/L | 29.6815 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.45 | 96503.1663 | 210070.7444 | 27.3 | 43.4
96917 | 2021-04-19 15:00 | 12.3373 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.3629 | μmol/L | 29.7306 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.459 | 96555.1387 | 210060.2402 | 27.3 | 43.4
96927 | 2021-04-19 15:01 | 12.6707 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.2224 | μmol/L | 29.6938 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.479 | 96631.0605 | 210054.957 | 27.3 | 43.4
96937 | 2021-04-19 15:01 | 13.0037 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.1129 | μmol/L | 29.6815 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.489 | 96687.6996 | 210043.1897 | 27.3 | 43.4
96947 | 2021-04-19 15:01 | 13.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.9796 | μmol/L | 29.6877 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.494 | 96747.9906 | 210048.056 | 27.3 | 43.4
96957 | 2021-04-19 15:02 | 13.6709 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.8685 | μmol/L | 29.6815 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.502 | 96782.3766 | 210051.1761 | 27.3 | 43.4
96967 | 2021-04-19 15:02 | 14.0043 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.6603 | μmol/L | 29.6877 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.511 | 96827.2724 | 210038.0524 | 27.3 | 43.4
96977 | 2021-04-19 15:02 | 14.3374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.2276 | μmol/L | 29.6938 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.532 | 96917.1431 | 210046.2836 | 27.3 | 43.4
96987 | 2021-04-19 15:03 | 14.6705 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.9098 | μmol/L | 29.6938 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.549 | 96990.2489 | 210052.0695 | 27.3 | 43.4
96997 | 2021-04-19 15:03 | 15.0045 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.908 | μmol/L | 29.6999 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.547 | 96996.857 | 210050.8561 | 27.3 | 43.4
97007 | 2021-04-19 15:03 | 15.3371 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.4664 | μmol/L | 29.7428 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.556 | 97038.1718 | 210040.1699 | 27.3 | 43.4
97017 | 2021-04-19 15:04 | 15.6712 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.4807 | μmol/L | 29.6938 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.572 | 97121.4493 | 210046.1192 | 27.3 | 43.4
97027 | 2021-04-19 15:04 | 16.0039 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.2538 | μmol/L | 29.706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.58 | 97194.2149 | 210041.5082 | 27.3 | 43.4