## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
96548 | 2021-04-19 14:48 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.2791 | μmol/L | 29.4779 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.721 | 85201.0423 | 286296.583 | 28.7 | 67.6
96558 | 2021-04-19 14:48 | 0.331 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.066 | μmol/L | 29.4901 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.785 | 85483.598 | 286293.6597 | 28.7 | 67.6
96568 | 2021-04-19 14:49 | 0.66416 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.2514 | μmol/L | 29.4901 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.831 | 85686.3722 | 286292.5784 | 28.7 | 67.6
96578 | 2021-04-19 14:49 | 0.99741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.3843 | μmol/L | 29.5267 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.868 | 85840.197 | 286284.1655 | 28.7 | 67.6
96588 | 2021-04-19 14:49 | 1.3308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.1911 | μmol/L | 29.5267 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.879 | 85909.2844 | 286277.1724 | 28.7 | 67.6
96598 | 2021-04-19 14:50 | 1.6641 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.0528 | μmol/L | 29.5084 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.893 | 85985.4948 | 286277.6659 | 28.7 | 67.6
96608 | 2021-04-19 14:50 | 1.9974 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.7516 | μmol/L | 29.5389 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.9 | 86020.1038 | 286256.296 | 28.7 | 67.6
96618 | 2021-04-19 14:50 | 2.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.1751 | μmol/L | 29.5389 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.933 | 86120.7469 | 286258.3324 | 28.7 | 67.6
96628 | 2021-04-19 14:51 | 2.6644 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.383 | μmol/L | 29.5511 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.917 | 86099.287 | 286258.03 | 28.7 | 67.6
96638 | 2021-04-19 14:51 | 2.9976 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.0297 | μmol/L | 29.5878 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.925 | 86116.7176 | 286243.8393 | 28.7 | 67.6
96648 | 2021-04-19 14:51 | 3.3304 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.8593 | μmol/L | 29.5572 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.945 | 86186.0304 | 286251.6641 | 28.7 | 67.6
96658 | 2021-04-19 14:52 | 3.6638 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.8411 | μmol/L | 29.5633 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.944 | 86191.1089 | 286244.7555 | 28.7 | 67.6
96668 | 2021-04-19 14:52 | 3.9972 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2664 | μmol/L | 29.5756 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.973 | 86295.9694 | 286227.7039 | 28.7 | 67.6
96678 | 2021-04-19 14:52 | 4.3305 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.9026 | μmol/L | 29.5756 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.994 | 86413.5831 | 286230.2115 | 28.7 | 67.6
96688 | 2021-04-19 14:53 | 4.6641 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.6253 | μmol/L | 29.5817 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.008 | 86465.3778 | 286238.4761 | 28.7 | 67.6
96698 | 2021-04-19 14:53 | 4.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.3451 | μmol/L | 29.6122 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.014 | 86508.1123 | 286235.4582 | 28.7 | 67.6
96708 | 2021-04-19 14:53 | 5.3309 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.3287 | μmol/L | 29.6061 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.017 | 86534.6847 | 286239.2323 | 28.7 | 67.6
96718 | 2021-04-19 14:54 | 5.6641 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.2951 | μmol/L | 29.6 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.021 | 86536.1832 | 286232.1887 | 28.7 | 67.6
96728 | 2021-04-19 14:54 | 5.9975 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.0548 | μmol/L | 29.5939 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.037 | 86592.2387 | 286232.3491 | 28.7 | 67.6
96738 | 2021-04-19 14:54 | 6.3309 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.1048 | μmol/L | 29.6061 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.03 | 86590.7756 | 286232.3899 | 28.7 | 67.6
96748 | 2021-04-19 14:55 | 6.6645 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.9852 | μmol/L | 29.6 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.039 | 86613.3605 | 286209.0457 | 28.7 | 67.6
96758 | 2021-04-19 14:55 | 6.9971 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.8468 | μmol/L | 29.6061 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.045 | 86643.7511 | 286215.5952 | 28.7 | 67.6
96768 | 2021-04-19 14:55 | 7.3311 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.5866 | μmol/L | 29.6244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.054 | 86672.0467 | 286217.8132 | 28.7 | 67.6
96778 | 2021-04-19 14:56 | 7.6642 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.4323 | μmol/L | 29.6244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.063 | 86721.1482 | 286220.8268 | 28.7 | 67.6
96788 | 2021-04-19 14:56 | 7.9975 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.1412 | μmol/L | 29.6244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.08 | 86770.9752 | 286215.3885 | 28.7 | 67.6
96798 | 2021-04-19 14:56 | 8.3308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.0368 | μmol/L | 29.6366 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.082 | 86804.0551 | 286228.2299 | 28.7 | 67.6
96808 | 2021-04-19 14:57 | 8.6638 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.1925 | μmol/L | 29.6244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.077 | 86784.3145 | 286204.9084 | 28.7 | 67.6
96818 | 2021-04-19 14:57 | 8.9977 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.7473 | μmol/L | 29.6305 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.101 | 86878.6583 | 286205.7565 | 28.7 | 67.6
96828 | 2021-04-19 14:57 | 9.3308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.5776 | μmol/L | 29.6244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.113 | 86935.8159 | 286207.8203 | 28.7 | 67.6
96838 | 2021-04-19 14:58 | 9.6643 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.5937 | μmol/L | 29.6305 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.11 | 86947.2571 | 286191.9651 | 28.7 | 67.6
96848 | 2021-04-19 14:58 | 9.9976 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.2012 | μmol/L | 29.6366 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.131 | 87016.0307 | 286195.5941 | 28.7 | 67.6
96858 | 2021-04-19 14:58 | 10.3308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.034 | μmol/L | 29.6183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.147 | 87070.19 | 286202.0028 | 28.7 | 67.6
96868 | 2021-04-19 14:59 | 10.6641 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.9812 | μmol/L | 29.6305 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.146 | 87109.1079 | 286183.7346 | 28.7 | 67.6
96878 | 2021-04-19 14:59 | 10.9974 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.7927 | μmol/L | 29.6427 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.153 | 87129.297 | 286183.4684 | 28.7 | 67.6
96888 | 2021-04-19 14:59 | 11.3308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4896 | μmol/L | 29.6305 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.175 | 87203.1184 | 286193.6995 | 28.7 | 67.6
96898 | 2021-04-19 15:00 | 11.6642 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5582 | μmol/L | 29.6244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.173 | 87228.5775 | 286182.518 | 28.7 | 67.6
96908 | 2021-04-19 15:00 | 11.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3344 | μmol/L | 29.6488 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.178 | 87230.8262 | 286187.4468 | 28.7 | 67.6
96918 | 2021-04-19 15:00 | 12.3308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.1495 | μmol/L | 29.6427 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.191 | 87288.9567 | 286171.0672 | 28.7 | 67.6
96928 | 2021-04-19 15:01 | 12.6642 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.0501 | μmol/L | 29.6305 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.201 | 87338.7003 | 286174.0675 | 28.7 | 67.6
96938 | 2021-04-19 15:01 | 12.9973 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.7972 | μmol/L | 29.6305 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.216 | 87404.1406 | 286172.1389 | 28.7 | 67.6
96948 | 2021-04-19 15:01 | 13.3311 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.4942 | μmol/L | 29.6305 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.234 | 87464.9079 | 286161.7496 | 28.7 | 67.6
96958 | 2021-04-19 15:02 | 13.6644 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.2758 | μmol/L | 29.6305 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.247 | 87545.2392 | 286148.8517 | 28.7 | 67.6
96968 | 2021-04-19 15:02 | 13.9977 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.0399 | μmol/L | 29.6366 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.259 | 87594.7329 | 286148.1808 | 28.7 | 67.6
96978 | 2021-04-19 15:02 | 14.3308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.8911 | μmol/L | 29.6244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.272 | 87645.9799 | 286142.7395 | 28.7 | 67.6
96988 | 2021-04-19 15:03 | 14.6641 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.7206 | μmol/L | 29.6427 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.276 | 87698.8527 | 286149.8371 | 28.7 | 67.6
96998 | 2021-04-19 15:03 | 14.9976 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.4521 | μmol/L | 29.6488 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.29 | 87720.439 | 286148.8845 | 28.7 | 67.6
97008 | 2021-04-19 15:03 | 15.3308 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.2675 | μmol/L | 29.6549 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.299 | 87787.7384 | 286138.952 | 28.7 | 67.6
97018 | 2021-04-19 15:04 | 15.6645 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.1184 | μmol/L | 29.6488 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.31 | 87839.2146 | 286148.1698 | 28.7 | 67.6
97028 | 2021-04-19 15:04 | 15.9974 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.0039 | μmol/L | 29.6366 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.321 | 87893.899 | 286130.6554 | 28.7 | 67.6