## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
96549 | 2021-04-19 14:48 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.9723 | μmol/L | 29.455 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.087 | 119074.9387 | 263726.7099 | 36.4 | 83.1
96559 | 2021-04-19 14:48 | 0.33997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.3787 | μmol/L | 29.4242 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.127 | 119350.163 | 263718.1797 | 36.4 | 83.1
96569 | 2021-04-19 14:49 | 0.6732 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.9902 | μmol/L | 29.4795 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.178 | 119669.0645 | 263710.1332 | 36.4 | 83.1
96579 | 2021-04-19 14:49 | 1.0066 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.4797 | μmol/L | 29.4611 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.21 | 119902.0921 | 263703.5143 | 36.4 | 83.1
96589 | 2021-04-19 14:49 | 1.3401 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.9021 | μmol/L | 29.4795 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.233 | 120091.6685 | 263701.5366 | 36.4 | 83.1
96599 | 2021-04-19 14:50 | 1.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.753 | μmol/L | 29.584 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.256 | 120285.8991 | 263691.808 | 36.4 | 83.1
96609 | 2021-04-19 14:50 | 2.0068 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.4448 | μmol/L | 29.5656 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.278 | 120411.5393 | 263689.4199 | 36.4 | 83.1
96619 | 2021-04-19 14:50 | 2.34 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.8766 | μmol/L | 29.5717 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.305 | 120592.0411 | 263669.0656 | 36.4 | 83.1
96629 | 2021-04-19 14:51 | 2.6731 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.2325 | μmol/L | 29.5779 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.336 | 120860.8586 | 263668.8052 | 36.4 | 83.1
96639 | 2021-04-19 14:51 | 3.0065 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.9237 | μmol/L | 29.5717 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.354 | 121045.6162 | 263665.2009 | 36.4 | 83.1
96649 | 2021-04-19 14:51 | 3.3399 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.4941 | μmol/L | 29.584 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.372 | 121385.6977 | 263655.2308 | 36.4 | 83.1
96659 | 2021-04-19 14:52 | 3.6733 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.2042 | μmol/L | 29.584 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.387 | 121430.8107 | 263645.1237 | 36.4 | 83.1
96669 | 2021-04-19 14:52 | 4.0064 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.7744 | μmol/L | 29.6024 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.403 | 121660.7255 | 263645.3001 | 36.4 | 83.1
96679 | 2021-04-19 14:52 | 4.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.2612 | μmol/L | 29.6454 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.415 | 121732.5779 | 263644.4543 | 36.4 | 83.1
96689 | 2021-04-19 14:53 | 4.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.1287 | μmol/L | 29.6393 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.424 | 121807.6022 | 263640.9296 | 36.4 | 83.1
96699 | 2021-04-19 14:53 | 5.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.0192 | μmol/L | 29.6209 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.436 | 121906.7904 | 263656.1323 | 36.4 | 83.1
96709 | 2021-04-19 14:53 | 5.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.6495 | μmol/L | 29.6393 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.449 | 121958.4937 | 263632.0466 | 36.4 | 83.1
96719 | 2021-04-19 14:54 | 5.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.2824 | μmol/L | 29.6516 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.464 | 122024.8973 | 263630.7029 | 36.4 | 83.1
96729 | 2021-04-19 14:54 | 6.0067 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.1698 | μmol/L | 29.6454 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.472 | 122085.3593 | 263634.1902 | 36.4 | 83.1
96739 | 2021-04-19 14:54 | 6.34 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.9581 | μmol/L | 29.6516 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.481 | 122143.8105 | 263627.5603 | 36.4 | 83.1
96749 | 2021-04-19 14:55 | 6.6734 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.878 | μmol/L | 29.6639 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.481 | 122172.7443 | 263621.6511 | 36.4 | 83.1
96759 | 2021-04-19 14:55 | 7.0066 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.4285 | μmol/L | 29.7007 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.492 | 122209.933 | 263626.174 | 36.4 | 83.1
96769 | 2021-04-19 14:55 | 7.34 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.9859 | μmol/L | 29.7192 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.509 | 122310.0485 | 263618.3787 | 36.4 | 83.1
96779 | 2021-04-19 14:56 | 7.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.1914 | μmol/L | 29.67 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.515 | 122365.1701 | 263627.1296 | 36.4 | 83.1
96789 | 2021-04-19 14:56 | 8.0068 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.922 | μmol/L | 29.6823 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.525 | 122454.4254 | 263612.7394 | 36.4 | 83.1
96799 | 2021-04-19 14:56 | 8.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.8901 | μmol/L | 29.6639 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.533 | 122495.4915 | 263608.4778 | 36.4 | 83.1
96809 | 2021-04-19 14:57 | 8.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.5962 | μmol/L | 29.6946 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.538 | 122543.3047 | 263621.9723 | 36.4 | 83.1
96819 | 2021-04-19 14:57 | 9.0063 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.3276 | μmol/L | 29.7069 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.548 | 122610.8395 | 263616.7384 | 36.4 | 83.1
96829 | 2021-04-19 14:57 | 9.3396 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.3614 | μmol/L | 29.7806 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.574 | 122731.0009 | 263620.5222 | 36.4 | 83.1
96839 | 2021-04-19 14:58 | 9.6731 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.8374 | μmol/L | 29.7069 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.574 | 122794.5771 | 263622.362 | 36.4 | 83.1
96849 | 2021-04-19 14:58 | 10.0063 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.2424 | μmol/L | 29.7438 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.593 | 122873.284 | 263593.4751 | 36.4 | 83.1
96859 | 2021-04-19 14:58 | 10.3403 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.905 | μmol/L | 29.7438 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.611 | 122992.3817 | 263600.5163 | 36.4 | 83.1
96869 | 2021-04-19 14:59 | 10.6737 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.855 | μmol/L | 29.7253 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.62 | 123030.3919 | 263601.6836 | 36.4 | 83.1
96879 | 2021-04-19 14:59 | 11.0069 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.6867 | μmol/L | 29.7253 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.629 | 123107.8902 | 263597.0787 | 36.4 | 83.1
96889 | 2021-04-19 14:59 | 11.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.4811 | μmol/L | 29.7253 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.64 | 123171.4959 | 263593.0714 | 36.4 | 83.1
96899 | 2021-04-19 15:00 | 11.6736 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.6535 | μmol/L | 29.713 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.635 | 123147.64 | 263588.2859 | 36.4 | 83.1
96909 | 2021-04-19 15:00 | 12.0068 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.3878 | μmol/L | 29.7253 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.645 | 123211.7752 | 263585.2696 | 36.4 | 83.1
96919 | 2021-04-19 15:00 | 12.3402 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.2262 | μmol/L | 29.7069 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.66 | 123313.2844 | 263580.9358 | 36.4 | 83.1
96929 | 2021-04-19 15:01 | 12.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.9692 | μmol/L | 29.7499 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.659 | 123313.5265 | 263589.6337 | 36.4 | 83.1
96939 | 2021-04-19 15:01 | 13.0068 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.8245 | μmol/L | 29.7376 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.671 | 123397.2881 | 263598.005 | 36.4 | 83.1
96949 | 2021-04-19 15:01 | 13.3397 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.3352 | μmol/L | 29.756 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.691 | 123518.7715 | 263579.757 | 36.4 | 83.1
96959 | 2021-04-19 15:02 | 13.673 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.0343 | μmol/L | 29.7683 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.703 | 123604.0015 | 263580.9106 | 36.4 | 83.1
96969 | 2021-04-19 15:02 | 14.0063 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.734 | μmol/L | 29.7806 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.715 | 123699.3888 | 263583.0941 | 36.4 | 83.1
96979 | 2021-04-19 15:02 | 14.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.1553 | μmol/L | 29.7991 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.74 | 123924.2121 | 263577.4615 | 36.4 | 83.1
96989 | 2021-04-19 15:03 | 14.6735 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.7667 | μmol/L | 29.8052 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.759 | 124069.8503 | 263569.143 | 36.4 | 83.1
96999 | 2021-04-19 15:03 | 15.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.7506 | μmol/L | 29.7991 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.762 | 124097.6136 | 263563.5075 | 36.4 | 83.1
97009 | 2021-04-19 15:03 | 15.3404 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.6403 | μmol/L | 29.7991 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.768 | 124138.7006 | 263569.9534 | 36.4 | 83.1
97019 | 2021-04-19 15:04 | 15.6731 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.6448 | μmol/L | 29.7868 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.772 | 124175.8618 | 263561.1097 | 36.4 | 83.1
97029 | 2021-04-19 15:04 | 16.007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.1614 | μmol/L | 29.8052 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.792 | 124290.6449 | 263557.107 | 36.4 | 83.1