## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
96550 | 2021-04-19 14:48 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.8927 | μmol/L | 29.4892 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.798 | 92579.5454 | 289356.9265 | 30.45 | 114.2
96560 | 2021-04-19 14:48 | 0.33194 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.3424 | μmol/L | 29.5015 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.825 | 92724.5494 | 289353.6599 | 30.45 | 114.2
96570 | 2021-04-19 14:49 | 0.6651 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.0788 | μmol/L | 29.4954 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.842 | 92813.7395 | 289339.4827 | 30.45 | 114.2
96580 | 2021-04-19 14:49 | 0.99842 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.5478 | μmol/L | 29.5139 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.866 | 92928.0453 | 289344.0277 | 30.45 | 114.2
96590 | 2021-04-19 14:49 | 1.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.9134 | μmol/L | 29.5324 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.896 | 93061.8566 | 289327.8442 | 30.45 | 114.2
96600 | 2021-04-19 14:50 | 1.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.5114 | μmol/L | 29.5324 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.919 | 93162.1181 | 289335.5882 | 30.45 | 114.2
96610 | 2021-04-19 14:50 | 1.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.092 | μmol/L | 29.5385 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.941 | 93274.3022 | 289322.0987 | 30.45 | 114.2
96620 | 2021-04-19 14:50 | 2.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.7712 | μmol/L | 29.5817 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.945 | 93284.8578 | 289315.1912 | 30.45 | 114.2
96630 | 2021-04-19 14:51 | 2.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.551 | μmol/L | 29.5508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.968 | 93375.5264 | 289297.554 | 30.45 | 114.2
96640 | 2021-04-19 14:51 | 2.999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2702 | μmol/L | 29.5693 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.978 | 93457.7159 | 289295.454 | 30.45 | 114.2
96650 | 2021-04-19 14:51 | 3.3323 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0118 | μmol/L | 29.5632 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.995 | 93513.0667 | 289302.9331 | 30.45 | 114.2
96660 | 2021-04-19 14:52 | 3.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5571 | μmol/L | 29.594 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.011 | 93613.1912 | 289296.4805 | 30.45 | 114.2
96670 | 2021-04-19 14:52 | 3.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2149 | μmol/L | 29.5817 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.035 | 93707.6473 | 289280.3467 | 30.45 | 114.2
96680 | 2021-04-19 14:52 | 4.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.9304 | μmol/L | 29.631 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.035 | 93745.8501 | 289276.9142 | 30.45 | 114.2
96690 | 2021-04-19 14:53 | 4.6659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1253 | μmol/L | 29.6001 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.034 | 93757.4497 | 289270.2049 | 30.45 | 114.2
96700 | 2021-04-19 14:53 | 4.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.6398 | μmol/L | 29.6248 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.054 | 93864.6221 | 289273.2376 | 30.45 | 114.2
96710 | 2021-04-19 14:53 | 5.3318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3668 | μmol/L | 29.6186 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.072 | 93911.3585 | 289263.4351 | 30.45 | 114.2
96720 | 2021-04-19 14:54 | 5.6652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.1787 | μmol/L | 29.6186 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.083 | 93971.7568 | 289268.3521 | 30.45 | 114.2
96730 | 2021-04-19 14:54 | 5.9988 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.92 | μmol/L | 29.631 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.094 | 94020.9889 | 289266.6255 | 30.45 | 114.2
96740 | 2021-04-19 14:54 | 6.332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.4939 | μmol/L | 29.631 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.119 | 94149.9983 | 289256.2176 | 30.45 | 114.2
96750 | 2021-04-19 14:55 | 6.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.4549 | μmol/L | 29.6556 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.113 | 94149.857 | 289258.4204 | 30.45 | 114.2
96760 | 2021-04-19 14:55 | 6.9991 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.4756 | μmol/L | 29.6371 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.118 | 94184.4065 | 289250.9795 | 30.45 | 114.2
96770 | 2021-04-19 14:55 | 7.3324 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.0822 | μmol/L | 29.6495 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.137 | 94252.7839 | 289247.9525 | 30.45 | 114.2
96780 | 2021-04-19 14:56 | 7.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.773 | μmol/L | 29.6679 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.149 | 94313.1593 | 289249.9338 | 30.45 | 114.2
96790 | 2021-04-19 14:56 | 7.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.5216 | μmol/L | 29.6556 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.168 | 94400.4567 | 289250.9293 | 30.45 | 114.2
96800 | 2021-04-19 14:56 | 8.3318 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.8548 | μmol/L | 29.6001 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.167 | 94416.7229 | 289234.0194 | 30.45 | 114.2
96810 | 2021-04-19 14:57 | 8.6658 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.5137 | μmol/L | 29.6125 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.183 | 94486.6611 | 289226.142 | 30.45 | 114.2
96820 | 2021-04-19 14:57 | 8.9991 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.9086 | μmol/L | 29.6803 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.196 | 94582.434 | 289231.3827 | 30.45 | 114.2
96830 | 2021-04-19 14:57 | 9.3322 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.5626 | μmol/L | 29.7234 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.202 | 94599.8428 | 289226.1654 | 30.45 | 114.2
96840 | 2021-04-19 14:58 | 9.6655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.228 | μmol/L | 29.7172 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.224 | 94692.8712 | 289223.8903 | 30.45 | 114.2
96850 | 2021-04-19 14:58 | 9.9991 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.0603 | μmol/L | 29.7172 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.234 | 94729.2472 | 289228.3881 | 30.45 | 114.2
96860 | 2021-04-19 14:58 | 10.3323 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.9249 | μmol/L | 29.7234 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.24 | 94778.1995 | 289222.432 | 30.45 | 114.2
96870 | 2021-04-19 14:59 | 10.6656 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.8077 | μmol/L | 29.7234 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.247 | 94842.6653 | 289214.9493 | 30.45 | 114.2
96880 | 2021-04-19 14:59 | 10.999 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.1328 | μmol/L | 29.7542 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.277 | 94939.6699 | 289216.7059 | 30.45 | 114.2
96890 | 2021-04-19 14:59 | 11.3321 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.1689 | μmol/L | 29.7419 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.279 | 94983.227 | 289215.9399 | 30.45 | 114.2
96900 | 2021-04-19 15:00 | 11.6652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.1079 | μmol/L | 29.7172 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.291 | 95031.6809 | 289221.715 | 30.45 | 114.2
96910 | 2021-04-19 15:00 | 11.9992 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.7861 | μmol/L | 29.7419 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.302 | 95108.118 | 289205.5184 | 30.45 | 114.2
96920 | 2021-04-19 15:00 | 12.3325 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.4843 | μmol/L | 29.7542 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.316 | 95178.5187 | 289206.7597 | 30.45 | 114.2
96930 | 2021-04-19 15:01 | 12.6655 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.3653 | μmol/L | 29.7666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.319 | 95220.6273 | 289202.6816 | 30.45 | 114.2
96940 | 2021-04-19 15:01 | 12.9985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.1485 | μmol/L | 29.7727 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.33 | 95263.9705 | 289208.9944 | 30.45 | 114.2
96950 | 2021-04-19 15:01 | 13.3321 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.0233 | μmol/L | 29.7419 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.348 | 95337.5146 | 289196.6042 | 30.45 | 114.2
96960 | 2021-04-19 15:02 | 13.6653 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.7215 | μmol/L | 29.7604 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.36 | 95428.3232 | 289207.2377 | 30.45 | 114.2
96970 | 2021-04-19 15:02 | 13.9986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.5745 | μmol/L | 29.7542 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.371 | 95477.3314 | 289196.1779 | 30.45 | 114.2
96980 | 2021-04-19 15:02 | 14.332 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1777 | μmol/L | 29.7604 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.393 | 95554.2536 | 289192.7068 | 30.45 | 114.2
96990 | 2021-04-19 15:03 | 14.6653 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8372 | μmol/L | 29.8097 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.397 | 95594.8996 | 289196.8351 | 30.45 | 114.2
97000 | 2021-04-19 15:03 | 14.9985 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3763 | μmol/L | 29.6864 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.406 | 95648.0974 | 289187.7905 | 30.45 | 114.2
97010 | 2021-04-19 15:03 | 15.3319 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.4523 | μmol/L | 29.6433 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.416 | 95719.4414 | 289183.3378 | 30.45 | 114.2
97020 | 2021-04-19 15:04 | 15.6652 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.7566 | μmol/L | 29.7357 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.427 | 95793.2697 | 289182.9728 | 30.45 | 114.2
97030 | 2021-04-19 15:04 | 15.9986 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.554 | μmol/L | 29.7604 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.431 | 95833.127 | 289183.4824 | 30.45 | 114.2