## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
96551 | 2021-04-19 14:48 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.8526 | μmol/L | 29.1083 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.47 | 133422.8395 | 287110.5342 | 59.9307 | 49.4
96561 | 2021-04-19 14:48 | 0.34191 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.4583 | μmol/L | 29.2692 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.492 | 135316.8187 | 287088.6332 | 59.9307 | 49.4
96571 | 2021-04-19 14:49 | 0.67492 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.3845 | μmol/L | 29.3559 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.522 | 133383.4972 | 287073.8984 | 59.9307 | 49.4
96581 | 2021-04-19 14:49 | 1.0082 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.2146 | μmol/L | 29.3992 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.571 | 134005.8413 | 287079.3628 | 59.9307 | 49.4
96591 | 2021-04-19 14:49 | 1.3415 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.4297 | μmol/L | 29.4054 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.612 | 134457.1396 | 287061.0959 | 59.9307 | 49.4
96601 | 2021-04-19 14:50 | 1.6748 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.6646 | μmol/L | 29.424 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.648 | 134878.2818 | 287075.39 | 59.9307 | 49.4
96611 | 2021-04-19 14:50 | 2.0082 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.7526 | μmol/L | 29.4797 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.68 | 135300.7187 | 287038.1729 | 59.9307 | 49.4
96621 | 2021-04-19 14:50 | 2.3414 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.2585 | μmol/L | 29.4735 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.71 | 135567.4895 | 287049.2028 | 59.9307 | 49.4
96631 | 2021-04-19 14:51 | 2.6747 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.7316 | μmol/L | 29.4673 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.741 | 135892.7318 | 287027.2344 | 59.9307 | 49.4
96641 | 2021-04-19 14:51 | 3.0079 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.2994 | μmol/L | 29.4859 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.759 | 136078.3618 | 287049.0994 | 59.9307 | 49.4
96651 | 2021-04-19 14:51 | 3.342 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.8565 | μmol/L | 29.5168 | °C | 1024 | hPa | Humid | 28 | 1 | 0 | 20.774 | 136161.9721 | 287018.9553 | 59.9307 | 49.4
96661 | 2021-04-19 14:52 | 3.6746 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2173 | μmol/L | 29.5663 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.793 | 136435.8179 | 287021.1103 | 59.9307 | 49.4
96671 | 2021-04-19 14:52 | 4.0086 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.0955 | μmol/L | 29.554 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.804 | 136608.1523 | 287009.2502 | 59.9307 | 49.4
96681 | 2021-04-19 14:52 | 4.3413 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6343 | μmol/L | 29.5601 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.828 | 136741.7788 | 287016.7405 | 59.9307 | 49.4
96691 | 2021-04-19 14:53 | 4.6747 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.4248 | μmol/L | 29.5478 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.844 | 136888.6273 | 287013.9136 | 59.9307 | 49.4
96701 | 2021-04-19 14:53 | 5.0081 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.1051 | μmol/L | 29.5601 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.858 | 137009.2996 | 287008.3982 | 59.9307 | 49.4
96711 | 2021-04-19 14:53 | 5.3417 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.8764 | μmol/L | 29.5601 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.871 | 137118.4677 | 287001.9748 | 59.9307 | 49.4
96721 | 2021-04-19 14:54 | 5.6749 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.4838 | μmol/L | 29.5911 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.883 | 137227.6929 | 287006.9625 | 59.9307 | 49.4
96731 | 2021-04-19 14:54 | 6.0083 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.0933 | μmol/L | 29.6159 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.897 | 137289.725 | 287002.7757 | 59.9307 | 49.4
96741 | 2021-04-19 14:54 | 6.3414 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.9508 | μmol/L | 29.6282 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.901 | 137363.653 | 287007.4076 | 59.9307 | 49.4
96751 | 2021-04-19 14:55 | 6.6746 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.7773 | μmol/L | 29.6221 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.913 | 137433.0277 | 286999.9173 | 59.9307 | 49.4
96761 | 2021-04-19 14:55 | 7.0083 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.5703 | μmol/L | 29.6097 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.929 | 137528.5622 | 287005.1735 | 59.9307 | 49.4
96771 | 2021-04-19 14:55 | 7.3414 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.3089 | μmol/L | 29.6097 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.944 | 137620.8855 | 287000.5356 | 59.9307 | 49.4
96781 | 2021-04-19 14:56 | 7.6747 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.0253 | μmol/L | 29.6344 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.952 | 137685.1867 | 286989.7798 | 59.9307 | 49.4
96791 | 2021-04-19 14:56 | 8.0086 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.7808 | μmol/L | 29.6406 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.964 | 137778.6034 | 286973.5977 | 59.9307 | 49.4
96801 | 2021-04-19 14:56 | 8.3418 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.5179 | μmol/L | 29.653 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.975 | 137852.5399 | 286980.2896 | 59.9307 | 49.4
96811 | 2021-04-19 14:57 | 8.6751 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.972 | μmol/L | 29.6963 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.992 | 137959.6808 | 286974.0553 | 59.9307 | 49.4
96821 | 2021-04-19 14:57 | 9.0084 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.818 | μmol/L | 29.6902 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.003 | 138053.4874 | 286983.7352 | 59.9307 | 49.4
96831 | 2021-04-19 14:57 | 9.3416 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.5276 | μmol/L | 29.6778 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.024 | 138189.4744 | 286985.2588 | 59.9307 | 49.4
96841 | 2021-04-19 14:58 | 9.6748 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.8717 | μmol/L | 29.6902 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.058 | 138459.6311 | 286987.4611 | 59.9307 | 49.4
96851 | 2021-04-19 14:58 | 10.0083 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.3094 | μmol/L | 29.653 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.045 | 138384.6446 | 286987.6375 | 59.9307 | 49.4
96861 | 2021-04-19 14:58 | 10.3415 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.8559 | μmol/L | 29.684 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.061 | 138478.8842 | 286971.1936 | 59.9307 | 49.4
96871 | 2021-04-19 14:59 | 10.6749 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.385 | μmol/L | 29.7211 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.076 | 138598.1366 | 286991.5626 | 59.9307 | 49.4
96881 | 2021-04-19 14:59 | 11.0081 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.2966 | μmol/L | 29.7335 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.077 | 138588.9043 | 286977.1123 | 59.9307 | 49.4
96891 | 2021-04-19 14:59 | 11.3414 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.9736 | μmol/L | 29.7273 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.098 | 138702.425 | 286980.4757 | 59.9307 | 49.4
96901 | 2021-04-19 15:00 | 11.6748 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.7135 | μmol/L | 29.7459 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.107 | 138783.5759 | 286958.8005 | 59.9307 | 49.4
96911 | 2021-04-19 15:00 | 12.008 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.5433 | μmol/L | 29.7459 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.117 | 138864.3201 | 286965.303 | 59.9307 | 49.4
96921 | 2021-04-19 15:00 | 12.3419 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.3689 | μmol/L | 29.7644 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.121 | 138970.8181 | 286978.5984 | 59.9307 | 49.4
96931 | 2021-04-19 15:01 | 12.675 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.9879 | μmol/L | 29.7954 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.133 | 139062.4708 | 286951.4493 | 59.9307 | 49.4
96941 | 2021-04-19 15:01 | 13.0081 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.2669 | μmol/L | 29.7644 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.127 | 139180.5075 | 286951.6067 | 59.9307 | 49.4
96951 | 2021-04-19 15:01 | 13.3419 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.9416 | μmol/L | 29.7768 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.142 | 139257.2222 | 286944.2839 | 59.9307 | 49.4
96961 | 2021-04-19 15:02 | 13.6752 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.809 | μmol/L | 29.7644 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.154 | 139314.5288 | 286952.4523 | 59.9307 | 49.4
96971 | 2021-04-19 15:02 | 14.0084 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.7075 | μmol/L | 29.7644 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.16 | 139463.7983 | 286947.4768 | 59.9307 | 49.4
96981 | 2021-04-19 15:02 | 14.3415 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.2605 | μmol/L | 29.7954 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.176 | 139539.4645 | 286954.1782 | 59.9307 | 49.4
96991 | 2021-04-19 15:03 | 14.6753 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.9922 | μmol/L | 29.7892 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.194 | 139561.7215 | 286934.7807 | 59.9307 | 49.4
97001 | 2021-04-19 15:03 | 15.0085 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.98 | μmol/L | 29.7706 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.201 | 139800.0376 | 286938.9862 | 59.9307 | 49.4
97011 | 2021-04-19 15:03 | 15.3418 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.954 | μmol/L | 29.7397 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.213 | 139969.2645 | 286968.7638 | 59.9307 | 49.4
97021 | 2021-04-19 15:04 | 15.6753 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.6787 | μmol/L | 29.7644 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.221 | 140020.9664 | 286962.0342 | 59.9307 | 49.4
97031 | 2021-04-19 15:04 | 16.0084 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.3854 | μmol/L | 29.7954 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.228 | 140293.9882 | 286965.3661 | 59.9307 | 49.4