## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
96552 | 2021-04-19 14:48 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.1315 | μmol/L | 29.4816 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.557 | 133506.3026 | 297630.7702 | 33.25 | 68.6
96562 | 2021-04-19 14:49 | 0.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.3659 | μmol/L | 29.4755 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.604 | 133847.6591 | 297606.5243 | 33.25 | 68.6
96572 | 2021-04-19 14:49 | 0.66607 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.7023 | μmol/L | 29.5182 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.628 | 134009.2407 | 297618.0049 | 33.25 | 68.6
96582 | 2021-04-19 14:49 | 0.99948 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.7917 | μmol/L | 29.5915 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.656 | 134151.0841 | 297614.0336 | 33.25 | 68.6
96592 | 2021-04-19 14:50 | 1.3329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0046 | μmol/L | 29.5671 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.652 | 134177.9762 | 297607.7842 | 33.25 | 68.6
96602 | 2021-04-19 14:50 | 1.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5078 | μmol/L | 29.5854 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.675 | 134291.9025 | 297593.227 | 33.25 | 68.6
96612 | 2021-04-19 14:50 | 1.9996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.267 | μmol/L | 29.5976 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.685 | 134365.7711 | 297582.4894 | 33.25 | 68.6
96622 | 2021-04-19 14:51 | 2.3329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.8093 | μmol/L | 29.6464 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.695 | 134434.927 | 297585.5656 | 33.25 | 68.6
96632 | 2021-04-19 14:51 | 2.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6443 | μmol/L | 29.6403 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.707 | 134529.3659 | 297568.6425 | 33.25 | 68.6
96642 | 2021-04-19 14:51 | 2.9995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6496 | μmol/L | 29.6281 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.711 | 134585.1086 | 297564.8308 | 33.25 | 68.6
96652 | 2021-04-19 14:52 | 3.3329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.3537 | μmol/L | 29.6159 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.733 | 134702.801 | 297560.1568 | 33.25 | 68.6
96662 | 2021-04-19 14:52 | 3.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1559 | μmol/L | 29.6098 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.747 | 134811.7126 | 297558.0657 | 33.25 | 68.6
96672 | 2021-04-19 14:52 | 3.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6731 | μmol/L | 29.6464 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.763 | 134923.8676 | 297555.8601 | 33.25 | 68.6
96682 | 2021-04-19 14:53 | 4.3329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6978 | μmol/L | 29.6281 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.768 | 135010.5345 | 297551.1214 | 33.25 | 68.6
96692 | 2021-04-19 14:53 | 4.6662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6559 | μmol/L | 29.6098 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.777 | 135050.7092 | 297540.4087 | 33.25 | 68.6
96702 | 2021-04-19 14:53 | 4.9996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.5765 | μmol/L | 29.6586 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.764 | 135025.918 | 297527.1872 | 33.25 | 68.6
96712 | 2021-04-19 14:54 | 5.333 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.0946 | μmol/L | 29.677 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.787 | 135132.2427 | 297520.8028 | 33.25 | 68.6
96722 | 2021-04-19 14:54 | 5.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.2108 | μmol/L | 29.677 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.78 | 135124.3509 | 297535.5274 | 33.25 | 68.6
96732 | 2021-04-19 14:54 | 5.9998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.9842 | μmol/L | 29.7014 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.785 | 135173.2638 | 297540.9367 | 33.25 | 68.6
96742 | 2021-04-19 14:55 | 6.3332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.5787 | μmol/L | 29.7197 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.803 | 135266.4168 | 297532.8041 | 33.25 | 68.6
96752 | 2021-04-19 14:55 | 6.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.518 | μmol/L | 29.7075 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.811 | 135337.7661 | 297519.1158 | 33.25 | 68.6
96762 | 2021-04-19 14:55 | 6.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3669 | μmol/L | 29.7319 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.811 | 135360.6512 | 297514.5257 | 33.25 | 68.6
96772 | 2021-04-19 14:56 | 7.3329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0476 | μmol/L | 29.7624 | °C | 1024 | hPa | Humid | 28 | 0 | 0 | 21.82 | 135427.748 | 297516.5467 | 33.25 | 68.6
96782 | 2021-04-19 14:56 | 7.6662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0946 | μmol/L | 29.7502 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.821 | 135475.8597 | 297528.4547 | 33.25 | 68.6
96792 | 2021-04-19 14:56 | 7.9996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3751 | μmol/L | 29.7502 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.804 | 135394.9832 | 297526.5864 | 33.25 | 68.6
96802 | 2021-04-19 14:57 | 8.3328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1853 | μmol/L | 29.7685 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.809 | 135432.8927 | 297521.2431 | 33.25 | 68.6
96812 | 2021-04-19 14:57 | 8.6661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9818 | μmol/L | 29.7807 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.817 | 135501.4844 | 297516.3967 | 33.25 | 68.6
96822 | 2021-04-19 14:57 | 8.9995 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.5183 | μmol/L | 29.7868 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.843 | 135653.8534 | 297515.9165 | 33.25 | 68.6
96832 | 2021-04-19 14:58 | 9.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.324 | μmol/L | 29.7807 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.857 | 135745.9764 | 297513.2748 | 33.25 | 68.6
96842 | 2021-04-19 14:58 | 9.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.2692 | μmol/L | 29.7929 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.856 | 135752.9377 | 297504.7911 | 33.25 | 68.6
96852 | 2021-04-19 14:58 | 9.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1844 | μmol/L | 29.799 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.859 | 135803.9069 | 297503.4413 | 33.25 | 68.6
96862 | 2021-04-19 14:59 | 10.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1624 | μmol/L | 29.8113 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.856 | 135809.4752 | 297499.8574 | 33.25 | 68.6
96872 | 2021-04-19 14:59 | 10.6658 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1161 | μmol/L | 29.8052 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.861 | 135861.6599 | 297501.7476 | 33.25 | 68.6
96882 | 2021-04-19 14:59 | 10.9993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7339 | μmol/L | 29.8174 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.88 | 135953.7834 | 297491.8114 | 33.25 | 68.6
96892 | 2021-04-19 15:00 | 11.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.655 | μmol/L | 29.8113 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.887 | 136052.0733 | 297490.2726 | 33.25 | 68.6
96902 | 2021-04-19 15:00 | 11.6662 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.606 | μmol/L | 29.8113 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.89 | 136077.7514 | 297486.6428 | 33.25 | 68.6
96912 | 2021-04-19 15:00 | 11.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5947 | μmol/L | 29.8357 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.882 | 136048.092 | 297493.5366 | 33.25 | 68.6
96922 | 2021-04-19 15:01 | 12.3327 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4229 | μmol/L | 29.854 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.886 | 136075.6209 | 297482.9575 | 33.25 | 68.6
96932 | 2021-04-19 15:01 | 12.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.0785 | μmol/L | 29.8235 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.918 | 136226.2655 | 297487.2583 | 33.25 | 68.6
96942 | 2021-04-19 15:01 | 12.9994 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9646 | μmol/L | 29.8235 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.925 | 136307.627 | 297478.3404 | 33.25 | 68.6
96952 | 2021-04-19 15:02 | 13.3332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7609 | μmol/L | 29.8418 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.931 | 136374.0365 | 297471.8742 | 33.25 | 68.6
96962 | 2021-04-19 15:02 | 13.6663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8308 | μmol/L | 29.8662 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.918 | 136343.9986 | 297482.3927 | 33.25 | 68.6
96972 | 2021-04-19 15:02 | 13.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.893 | μmol/L | 29.8723 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.912 | 136311.539 | 297465.1566 | 33.25 | 68.6
96982 | 2021-04-19 15:03 | 14.3328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6005 | μmol/L | 29.8723 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.93 | 136393.9875 | 297475.3022 | 33.25 | 68.6
96992 | 2021-04-19 15:03 | 14.666 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4039 | μmol/L | 29.8418 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.953 | 136526.2522 | 297476.0268 | 33.25 | 68.6
97002 | 2021-04-19 15:03 | 14.9996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0258 | μmol/L | 29.854 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.972 | 136680.0621 | 297462.6031 | 33.25 | 68.6
97012 | 2021-04-19 15:04 | 15.3325 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1229 | μmol/L | 29.854 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.966 | 136686.2113 | 297464.742 | 33.25 | 68.6
97022 | 2021-04-19 15:04 | 15.6657 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1542 | μmol/L | 29.8906 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.951 | 136623.0469 | 297455.8732 | 33.25 | 68.6
97032 | 2021-04-19 15:04 | 15.9997 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6784 | μmol/L | 29.9395 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.963 | 136682.7887 | 297445.3192 | 33.25 | 68.6