## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
96553 | 2021-04-19 14:48 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.1202 | μmol/L | 29.2301 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.725 | 112247.6417 | 262213.425 | 26.25 | 74
96563 | 2021-04-19 14:49 | 0.33839 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.1486 | μmol/L | 29.3585 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.791 | 112629.2016 | 262207.269 | 26.25 | 74
96573 | 2021-04-19 14:49 | 0.67155 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.1578 | μmol/L | 29.3829 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.838 | 112973.0315 | 262179.7789 | 26.25 | 74
96583 | 2021-04-19 14:49 | 1.0051 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.155 | μmol/L | 29.4074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.886 | 113272.4079 | 262192.1223 | 26.25 | 74
96593 | 2021-04-19 14:50 | 1.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.0326 | μmol/L | 29.444 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.937 | 113609.086 | 262176.98 | 26.25 | 74
96603 | 2021-04-19 14:50 | 1.6713 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.3109 | μmol/L | 29.4379 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.98 | 113861.416 | 262179.9013 | 26.25 | 74
96613 | 2021-04-19 14:50 | 2.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.5906 | μmol/L | 29.444 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.019 | 114108.5936 | 262167.9708 | 26.25 | 74
96623 | 2021-04-19 14:51 | 2.3382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.8705 | μmol/L | 29.4685 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.052 | 114329.8441 | 262171.0894 | 26.25 | 74
96633 | 2021-04-19 14:51 | 2.6713 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.0125 | μmol/L | 29.5051 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.089 | 114534.0898 | 262161.2881 | 26.25 | 74
96643 | 2021-04-19 14:51 | 3.0047 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.4371 | μmol/L | 29.5296 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.114 | 114714.5112 | 262155.4701 | 26.25 | 74
96653 | 2021-04-19 14:52 | 3.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.0404 | μmol/L | 29.5296 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.137 | 114849.0953 | 262151.2353 | 26.25 | 74
96663 | 2021-04-19 14:52 | 3.6718 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4879 | μmol/L | 29.5418 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.165 | 115034.2874 | 262138.4555 | 26.25 | 74
96673 | 2021-04-19 14:52 | 4.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.0618 | μmol/L | 29.5296 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.194 | 115222.3311 | 262135.819 | 26.25 | 74
96683 | 2021-04-19 14:53 | 4.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.5614 | μmol/L | 29.554 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.215 | 115328.8752 | 262119.3823 | 26.25 | 74
96693 | 2021-04-19 14:53 | 4.6713 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.1949 | μmol/L | 29.5968 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.222 | 115403.205 | 262122.968 | 26.25 | 74
96703 | 2021-04-19 14:53 | 5.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.0501 | μmol/L | 29.6396 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.216 | 115372.5275 | 262118.2828 | 26.25 | 74
96713 | 2021-04-19 14:54 | 5.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.953 | μmol/L | 29.6152 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.23 | 115431.9706 | 262111.6524 | 26.25 | 74
96723 | 2021-04-19 14:54 | 5.6715 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.8863 | μmol/L | 29.609 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.236 | 115479.7415 | 262122.2129 | 26.25 | 74
96733 | 2021-04-19 14:54 | 6.005 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.6291 | μmol/L | 29.6213 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.247 | 115537.7964 | 262114.7363 | 26.25 | 74
96743 | 2021-04-19 14:55 | 6.3382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.4205 | μmol/L | 29.6457 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.251 | 115599.103 | 262098.2514 | 26.25 | 74
96753 | 2021-04-19 14:55 | 6.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.4231 | μmol/L | 29.6335 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.255 | 115595.0704 | 262105.6777 | 26.25 | 74
96763 | 2021-04-19 14:55 | 7.0049 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.2512 | μmol/L | 29.6457 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.261 | 115660.3467 | 262090.2186 | 26.25 | 74
96773 | 2021-04-19 14:56 | 7.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.2368 | μmol/L | 29.6335 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.266 | 115690.5755 | 262095.189 | 26.25 | 74
96783 | 2021-04-19 14:56 | 7.6716 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.0508 | μmol/L | 29.6335 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.277 | 115762.814 | 262095.8689 | 26.25 | 74
96793 | 2021-04-19 14:56 | 8.0047 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.826 | μmol/L | 29.6579 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.282 | 115772.9307 | 262094.568 | 26.25 | 74
96803 | 2021-04-19 14:57 | 8.3379 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.7935 | μmol/L | 29.6518 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.286 | 115826.7769 | 262107.8296 | 26.25 | 74
96813 | 2021-04-19 14:57 | 8.6719 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.7079 | μmol/L | 29.6579 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.289 | 115844.8624 | 262104.6785 | 26.25 | 74
96823 | 2021-04-19 14:57 | 9.0052 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.4782 | μmol/L | 29.7068 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.286 | 115836.1722 | 262097.2246 | 26.25 | 74
96833 | 2021-04-19 14:58 | 9.3382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.6884 | μmol/L | 29.6702 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.286 | 115843.0338 | 262089.2972 | 26.25 | 74
96843 | 2021-04-19 14:58 | 9.6713 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.3098 | μmol/L | 29.7068 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.296 | 115913.5466 | 262072.7421 | 26.25 | 74
96853 | 2021-04-19 14:58 | 10.0046 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0898 | μmol/L | 29.7129 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.307 | 115967.8319 | 262084.9313 | 26.25 | 74
96863 | 2021-04-19 14:59 | 10.3379 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9554 | μmol/L | 29.7129 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.315 | 116028.3561 | 262081.6282 | 26.25 | 74
96873 | 2021-04-19 14:59 | 10.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.8198 | μmol/L | 29.7191 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.321 | 116047.5495 | 262075.1482 | 26.25 | 74
96883 | 2021-04-19 14:59 | 11.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.648 | μmol/L | 29.7374 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.325 | 116098.1257 | 262072.8586 | 26.25 | 74
96893 | 2021-04-19 15:00 | 11.3387 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.6285 | μmol/L | 29.7496 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.322 | 116053.4266 | 262076.4688 | 26.25 | 74
96903 | 2021-04-19 15:00 | 11.672 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.7962 | μmol/L | 29.7496 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.312 | 115999.4383 | 262064.0721 | 26.25 | 74
96913 | 2021-04-19 15:00 | 12.0053 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.8842 | μmol/L | 29.7313 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.313 | 116032.2028 | 262053.6316 | 26.25 | 74
96923 | 2021-04-19 15:01 | 12.3384 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.7527 | μmol/L | 29.7191 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.325 | 116062.9517 | 262065.2349 | 26.25 | 74
96933 | 2021-04-19 15:01 | 12.6717 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.3774 | μmol/L | 29.7496 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.337 | 116207.2961 | 262061.1277 | 26.25 | 74
96943 | 2021-04-19 15:01 | 13.0048 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.8429 | μmol/L | 29.7496 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.369 | 116384.8248 | 262060.7403 | 26.25 | 74
96953 | 2021-04-19 15:02 | 13.3383 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.3047 | μmol/L | 29.7741 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.393 | 116523.8851 | 262043.5093 | 26.25 | 74
96963 | 2021-04-19 15:02 | 13.6714 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.2563 | μmol/L | 29.768 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.398 | 116558.0644 | 262058.4748 | 26.25 | 74
96973 | 2021-04-19 15:02 | 14.0048 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.7171 | μmol/L | 29.8046 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.418 | 116692.9939 | 262056.5942 | 26.25 | 74
96983 | 2021-04-19 15:03 | 14.3382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.433 | μmol/L | 29.8169 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.431 | 116770.9081 | 262050.7168 | 26.25 | 74
96993 | 2021-04-19 15:03 | 14.6715 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.3354 | μmol/L | 29.8107 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.439 | 116813.9763 | 262042.8064 | 26.25 | 74
97003 | 2021-04-19 15:03 | 15.0048 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.2986 | μmol/L | 29.6579 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.433 | 116802.9005 | 262038.4392 | 26.25 | 74
97013 | 2021-04-19 15:04 | 15.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.2977 | μmol/L | 29.7618 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.458 | 116947.7691 | 262044.6954 | 26.25 | 74
97023 | 2021-04-19 15:04 | 15.6716 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.7872 | μmol/L | 29.7618 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.489 | 117135.657 | 262053.9028 | 26.25 | 74
97033 | 2021-04-19 15:04 | 16.0048 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.0962 | μmol/L | 29.8352 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.506 | 117264.3215 | 262041.9209 | 26.25 | 74