## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
96554 | 2021-04-19 14:48 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.1618 | μmol/L | 29.2566 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.71 | 122609.3836 | 265151.5009 | 32.55 | 27.7
96564 | 2021-04-19 14:49 | 0.32639 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.8533 | μmol/L | 29.2811 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.719 | 122678.8894 | 265122.8063 | 32.55 | 27.7
96574 | 2021-04-19 14:49 | 0.65964 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.6401 | μmol/L | 29.2689 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.735 | 122800.7682 | 265096.5542 | 32.55 | 27.7
96584 | 2021-04-19 14:49 | 0.99285 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2413 | μmol/L | 29.3057 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.745 | 122925.7114 | 265080.7824 | 32.55 | 27.7
96594 | 2021-04-19 14:50 | 1.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.5208 | μmol/L | 29.3548 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.769 | 123054.7268 | 265071.7304 | 32.55 | 27.7
96604 | 2021-04-19 14:50 | 1.6592 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.3272 | μmol/L | 29.3425 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.784 | 123128.3091 | 265051.602 | 32.55 | 27.7
96614 | 2021-04-19 14:50 | 1.9932 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.2907 | μmol/L | 29.3486 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.784 | 123193.1444 | 265042.6754 | 32.55 | 27.7
96624 | 2021-04-19 14:51 | 2.3265 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.0561 | μmol/L | 29.3732 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.789 | 123239.8246 | 265034.6618 | 32.55 | 27.7
96634 | 2021-04-19 14:51 | 2.6595 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.6624 | μmol/L | 29.3977 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.803 | 123335.3812 | 265018.8599 | 32.55 | 27.7
96644 | 2021-04-19 14:51 | 2.9927 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.2892 | μmol/L | 29.41 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.82 | 123418.2131 | 265007.7199 | 32.55 | 27.7
96654 | 2021-04-19 14:52 | 3.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.9842 | μmol/L | 29.4406 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.827 | 123501.0932 | 265014.3548 | 32.55 | 27.7
96664 | 2021-04-19 14:52 | 3.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.7697 | μmol/L | 29.459 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.833 | 123559.863 | 264997.4967 | 32.55 | 27.7
96674 | 2021-04-19 14:52 | 3.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.5235 | μmol/L | 29.459 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.847 | 123659.5516 | 264990.0901 | 32.55 | 27.7
96684 | 2021-04-19 14:53 | 4.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.35 | μmol/L | 29.4468 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.861 | 123796.7227 | 264990.2198 | 32.55 | 27.7
96694 | 2021-04-19 14:53 | 4.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.0125 | μmol/L | 29.4713 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.872 | 123870.4669 | 264972.5784 | 32.55 | 27.7
96704 | 2021-04-19 14:53 | 4.9924 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.7805 | μmol/L | 29.4959 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.877 | 123887.228 | 264966.1444 | 32.55 | 27.7
96714 | 2021-04-19 14:54 | 5.326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.395 | μmol/L | 29.502 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.897 | 124023.3687 | 264958.7718 | 32.55 | 27.7
96724 | 2021-04-19 14:54 | 5.6591 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.1346 | μmol/L | 29.4959 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.914 | 124162.5049 | 264956.8368 | 32.55 | 27.7
96734 | 2021-04-19 14:54 | 5.9924 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.7993 | μmol/L | 29.5204 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.925 | 124255.6776 | 264957.9298 | 32.55 | 27.7
96744 | 2021-04-19 14:55 | 6.3264 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.4647 | μmol/L | 29.5449 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.936 | 124313.5356 | 264955.9784 | 32.55 | 27.7
96754 | 2021-04-19 14:55 | 6.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.3074 | μmol/L | 29.5511 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.943 | 124380.026 | 264949.466 | 32.55 | 27.7
96764 | 2021-04-19 14:55 | 6.993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.0983 | μmol/L | 29.5572 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.953 | 124436.5905 | 264949.1496 | 32.55 | 27.7
96774 | 2021-04-19 14:56 | 7.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.9402 | μmol/L | 29.5695 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.958 | 124495.2374 | 264931.7355 | 32.55 | 27.7
96784 | 2021-04-19 14:56 | 7.6597 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.5553 | μmol/L | 29.594 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.972 | 124574.5186 | 264939.0196 | 32.55 | 27.7
96794 | 2021-04-19 14:56 | 7.9931 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.3114 | μmol/L | 29.6063 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.982 | 124693.7678 | 264935.2674 | 32.55 | 27.7
96804 | 2021-04-19 14:57 | 8.3259 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.0889 | μmol/L | 29.6001 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.997 | 124760.8189 | 264938.8465 | 32.55 | 27.7
96814 | 2021-04-19 14:57 | 8.6595 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.7783 | μmol/L | 29.6063 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.013 | 124873.8609 | 264938.1594 | 32.55 | 27.7
96824 | 2021-04-19 14:57 | 8.9929 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.4499 | μmol/L | 29.6186 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.028 | 125005.6185 | 264926.6607 | 32.55 | 27.7
96834 | 2021-04-19 14:58 | 9.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.3642 | μmol/L | 29.6186 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.033 | 125054.0684 | 264916.2861 | 32.55 | 27.7
96844 | 2021-04-19 14:58 | 9.6595 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.2286 | μmol/L | 29.6124 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.043 | 125133.4891 | 264919.9488 | 32.55 | 27.7
96854 | 2021-04-19 14:58 | 9.9927 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.9039 | μmol/L | 29.6124 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.062 | 125269.2651 | 264919.9463 | 32.55 | 27.7
96864 | 2021-04-19 14:59 | 10.3259 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.5786 | μmol/L | 29.6186 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.079 | 125371.0386 | 264916.2262 | 32.55 | 27.7
96874 | 2021-04-19 14:59 | 10.6592 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.2513 | μmol/L | 29.637 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.092 | 125475.8737 | 264918.0788 | 32.55 | 27.7
96884 | 2021-04-19 14:59 | 10.9926 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.0292 | μmol/L | 29.6431 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.103 | 125555.1179 | 264914.5499 | 32.55 | 27.7
96894 | 2021-04-19 15:00 | 11.3259 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.6846 | μmol/L | 29.6676 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.115 | 125625.3995 | 264904.5393 | 32.55 | 27.7
96904 | 2021-04-19 15:00 | 11.6592 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.6562 | μmol/L | 29.6431 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.125 | 125693.7695 | 264897.2537 | 32.55 | 27.7
96914 | 2021-04-19 15:00 | 11.9925 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.3293 | μmol/L | 29.6676 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.136 | 125770.0274 | 264897.9108 | 32.55 | 27.7
96924 | 2021-04-19 15:01 | 12.3258 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.0212 | μmol/L | 29.686 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.148 | 125866.0541 | 264904.0525 | 32.55 | 27.7
96934 | 2021-04-19 15:01 | 12.6591 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.4753 | μmol/L | 29.7167 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.17 | 126027.9643 | 264897.794 | 32.55 | 27.7
96944 | 2021-04-19 15:01 | 12.9929 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.3299 | μmol/L | 29.6922 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.187 | 126153.8071 | 264905.5329 | 32.55 | 27.7
96954 | 2021-04-19 15:02 | 13.3263 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.281 | μmol/L | 29.686 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.192 | 126194.6474 | 264895.8738 | 32.55 | 27.7
96964 | 2021-04-19 15:02 | 13.6596 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.9428 | μmol/L | 29.6983 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.208 | 126303.8678 | 264892.8175 | 32.55 | 27.7
96974 | 2021-04-19 15:02 | 13.9928 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.5203 | μmol/L | 29.7167 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.227 | 126446.5836 | 264887.2181 | 32.55 | 27.7
96984 | 2021-04-19 15:03 | 14.3261 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.402 | μmol/L | 29.7229 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.232 | 126459.5687 | 264870.6847 | 32.55 | 27.7
96994 | 2021-04-19 15:03 | 14.6592 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.4187 | μmol/L | 29.7229 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.231 | 126475.1753 | 264881.4257 | 32.55 | 27.7
97004 | 2021-04-19 15:03 | 14.9927 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.167 | μmol/L | 29.729 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.244 | 126569.3923 | 264878.4111 | 32.55 | 27.7
97014 | 2021-04-19 15:04 | 15.326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.7465 | μmol/L | 29.7474 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.263 | 126702.447 | 264885.3211 | 32.55 | 27.7
97024 | 2021-04-19 15:04 | 15.6593 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.3903 | μmol/L | 29.7781 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.274 | 126808.1918 | 264882.8328 | 32.55 | 27.7
97034 | 2021-04-19 15:04 | 15.9928 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.9433 | μmol/L | 29.7781 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.301 | 126963.3266 | 264876.0225 | 32.55 | 27.7