## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97519 | 2021-04-19 15:42 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.5889 | μmol/L | 33.0205 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.137 | 119801.5473 | 263309.4929 | 36.4 | 83.1
97529 | 2021-04-19 15:42 | 0.33287 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.2973 | μmol/L | 33.0082 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.214 | 120294.5377 | 263306.9504 | 36.4 | 83.1
97539 | 2021-04-19 15:42 | 0.66605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.5883 | μmol/L | 32.9529 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.274 | 120663.5485 | 263296.4534 | 36.4 | 83.1
97549 | 2021-04-19 15:43 | 0.9989 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.1471 | μmol/L | 32.8667 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.33 | 120985.2683 | 263291.4305 | 36.4 | 83.1
97559 | 2021-04-19 15:43 | 1.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.1522 | μmol/L | 32.8913 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.378 | 121275.5651 | 263298.5891 | 36.4 | 83.1
97569 | 2021-04-19 15:43 | 1.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.6109 | μmol/L | 32.836 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.429 | 121582.2664 | 263303.2625 | 36.4 | 83.1
97579 | 2021-04-19 15:44 | 1.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.6797 | μmol/L | 32.7499 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.456 | 121790.4397 | 263272.3835 | 36.4 | 83.1
97589 | 2021-04-19 15:44 | 2.3324 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.0595 | μmol/L | 32.7437 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.494 | 121987.2007 | 263281.5869 | 36.4 | 83.1
97599 | 2021-04-19 15:44 | 2.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.6523 | μmol/L | 32.7314 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.522 | 122168.3669 | 263288.9041 | 36.4 | 83.1
97609 | 2021-04-19 15:45 | 2.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.3262 | μmol/L | 32.7007 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.552 | 122342.608 | 263282.6571 | 36.4 | 83.1
97619 | 2021-04-19 15:45 | 3.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.9874 | μmol/L | 32.6638 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.585 | 122527.7318 | 263286.8034 | 36.4 | 83.1
97629 | 2021-04-19 15:45 | 3.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.6178 | μmol/L | 32.6515 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.611 | 122690.681 | 263293.7349 | 36.4 | 83.1
97639 | 2021-04-19 15:46 | 3.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.7229 | μmol/L | 32.59 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.627 | 122791.9888 | 263290.5482 | 36.4 | 83.1
97649 | 2021-04-19 15:46 | 4.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.7989 | μmol/L | 32.4608 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.669 | 123040.3603 | 263297.4465 | 36.4 | 83.1
97659 | 2021-04-19 15:46 | 4.6658 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.2066 | μmol/L | 32.51 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.686 | 123164.02 | 263295.5041 | 36.4 | 83.1
97669 | 2021-04-19 15:47 | 4.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.826 | μmol/L | 32.4916 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.715 | 123346.7822 | 263279.7733 | 36.4 | 83.1
97679 | 2021-04-19 15:47 | 5.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.1111 | μmol/L | 32.4116 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.727 | 123389.2187 | 263280.6719 | 36.4 | 83.1
97689 | 2021-04-19 15:47 | 5.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.0923 | μmol/L | 32.3563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.748 | 123514.1343 | 263282.9857 | 36.4 | 83.1
97699 | 2021-04-19 15:48 | 5.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.5358 | μmol/L | 32.3501 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.783 | 123725.5987 | 263288.2579 | 36.4 | 83.1
97709 | 2021-04-19 15:48 | 6.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.3567 | μmol/L | 32.3378 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.798 | 123805.8823 | 263286.8663 | 36.4 | 83.1
97719 | 2021-04-19 15:48 | 6.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.8486 | μmol/L | 32.2825 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.848 | 124114.6134 | 263282.196 | 36.4 | 83.1
97729 | 2021-04-19 15:49 | 6.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.3882 | μmol/L | 32.2641 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.882 | 124330.1192 | 263285.3394 | 36.4 | 83.1
97739 | 2021-04-19 15:49 | 7.3325 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.4888 | μmol/L | 32.2272 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.949 | 124732.26 | 263268.9299 | 36.4 | 83.1
97749 | 2021-04-19 15:49 | 7.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.0034 | μmol/L | 32.2026 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.987 | 124989.7727 | 263262.1084 | 36.4 | 83.1
97759 | 2021-04-19 15:50 | 7.9997 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.6041 | μmol/L | 32.1472 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.031 | 125263.5741 | 263265.854 | 36.4 | 83.1
97769 | 2021-04-19 15:50 | 8.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.1736 | μmol/L | 32.1472 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.057 | 125432.961 | 263264.1678 | 36.4 | 83.1
97779 | 2021-04-19 15:50 | 8.6656 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.3146 | μmol/L | 32.1042 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.064 | 125458.0098 | 263262.3551 | 36.4 | 83.1
97789 | 2021-04-19 15:51 | 8.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.1213 | μmol/L | 32.0673 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.089 | 125604.4968 | 263270.2421 | 36.4 | 83.1
97799 | 2021-04-19 15:51 | 9.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.0768 | μmol/L | 32.0304 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.105 | 125701.954 | 263272.0439 | 36.4 | 83.1
97809 | 2021-04-19 15:51 | 9.6659 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.584 | μmol/L | 31.9996 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.146 | 125944.3356 | 263272.6045 | 36.4 | 83.1
97819 | 2021-04-19 15:52 | 9.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.3994 | μmol/L | 31.9812 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.225 | 126425.5222 | 263273.1189 | 36.4 | 83.1
97829 | 2021-04-19 15:52 | 10.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.6857 | μmol/L | 31.9382 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.223 | 126422.2001 | 263264.7552 | 36.4 | 83.1
97839 | 2021-04-19 15:52 | 10.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.5893 | μmol/L | 31.9074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.24 | 126512.9116 | 263261.897 | 36.4 | 83.1
97849 | 2021-04-19 15:53 | 10.999 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.4299 | μmol/L | 31.8336 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.338 | 127160.0932 | 263256.9706 | 36.4 | 83.1
97859 | 2021-04-19 15:53 | 11.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 184.9023 | μmol/L | 31.8521 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.364 | 127300.3485 | 263271.9517 | 36.4 | 83.1
97869 | 2021-04-19 15:53 | 11.666 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.0295 | μmol/L | 31.8275 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.365 | 127315.0735 | 263274.4887 | 36.4 | 83.1
97879 | 2021-04-19 15:54 | 11.9991 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.2089 | μmol/L | 31.7967 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.365 | 127284.0399 | 263274.8034 | 36.4 | 83.1
97889 | 2021-04-19 15:54 | 12.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.2554 | μmol/L | 31.7721 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.371 | 127321.1895 | 263287.5355 | 36.4 | 83.1
97899 | 2021-04-19 15:54 | 12.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.076 | μmol/L | 31.7475 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.391 | 127471.178 | 263276.5035 | 36.4 | 83.1
97909 | 2021-04-19 15:55 | 12.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 185.1009 | μmol/L | 31.7045 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.405 | 127551.613 | 263279.9257 | 36.4 | 83.1
97919 | 2021-04-19 15:55 | 13.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 184.3771 | μmol/L | 31.7045 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.45 | 127820.5588 | 263275.3814 | 36.4 | 83.1
97929 | 2021-04-19 15:55 | 13.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 184.1065 | μmol/L | 31.6738 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.478 | 127990.7998 | 263287.1374 | 36.4 | 83.1
97939 | 2021-04-19 15:56 | 13.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.9483 | μmol/L | 31.643 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.499 | 128124.4583 | 263289.1355 | 36.4 | 83.1
97949 | 2021-04-19 15:56 | 14.3328 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.5917 | μmol/L | 31.6246 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.528 | 128314.4852 | 263273.9158 | 36.4 | 83.1
97959 | 2021-04-19 15:56 | 14.6664 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 183.1443 | μmol/L | 31.6 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.565 | 128539.9914 | 263274.4644 | 36.4 | 83.1
97969 | 2021-04-19 15:57 | 14.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 182.3698 | μmol/L | 31.5692 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.625 | 128934.7008 | 263278.2351 | 36.4 | 83.1
97979 | 2021-04-19 15:57 | 15.333 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.7776 | μmol/L | 31.5569 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.667 | 129185.4121 | 263265.874 | 36.4 | 83.1
97989 | 2021-04-19 15:57 | 15.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 181.258 | μmol/L | 31.5324 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.709 | 129429.0726 | 263258.5167 | 36.4 | 83.1
97999 | 2021-04-19 15:58 | 15.9994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.6779 | μmol/L | 31.5078 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.755 | 129734.1196 | 263249.2876 | 36.4 | 83.1
98009 | 2021-04-19 15:58 | 16.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 180.2954 | μmol/L | 31.4955 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.784 | 129899.6713 | 263250.5766 | 36.4 | 83.1
98019 | 2021-04-19 15:58 | 16.6661 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.673 | μmol/L | 31.4709 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.833 | 130224.8199 | 263249.9108 | 36.4 | 83.1
98029 | 2021-04-19 15:59 | 16.9996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.3625 | μmol/L | 31.4463 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.862 | 130384.061 | 263235.5333 | 36.4 | 83.1
98039 | 2021-04-19 15:59 | 17.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 179.1416 | μmol/L | 31.4278 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.883 | 130512.4213 | 263232.7924 | 36.4 | 83.1
98049 | 2021-04-19 15:59 | 17.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.9828 | μmol/L | 31.4094 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.9 | 130625.576 | 263228.5494 | 36.4 | 83.1
98059 | 2021-04-19 16:00 | 17.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.8586 | μmol/L | 31.3848 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.917 | 130730.61 | 263217.6219 | 36.4 | 83.1
98069 | 2021-04-19 16:00 | 18.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.7192 | μmol/L | 31.3602 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.935 | 130856.0346 | 263211.57 | 36.4 | 83.1
98079 | 2021-04-19 16:00 | 18.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.7479 | μmol/L | 31.311 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.951 | 130916.7175 | 263202.4097 | 36.4 | 83.1
98089 | 2021-04-19 16:01 | 18.9992 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 178.3432 | μmol/L | 31.268 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.993 | 131161.6041 | 263193.3478 | 36.4 | 83.1
98099 | 2021-04-19 16:01 | 19.3329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.6857 | μmol/L | 31.268 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.036 | 131411.07 | 263189.1509 | 36.4 | 83.1
98109 | 2021-04-19 16:01 | 19.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.7019 | μmol/L | 31.1881 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.064 | 131569.9597 | 263182.5182 | 36.4 | 83.1
98119 | 2021-04-19 16:02 | 19.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.3937 | μmol/L | 31.1942 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.082 | 131685.8918 | 263185.3083 | 36.4 | 83.1
98129 | 2021-04-19 16:02 | 20.3326 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 177.1121 | μmol/L | 31.1819 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.105 | 131829.6964 | 263173.9771 | 36.4 | 83.1
98139 | 2021-04-19 16:02 | 20.6657 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.7697 | μmol/L | 31.1451 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.141 | 132056.5906 | 263173.227 | 36.4 | 83.1
98149 | 2021-04-19 16:03 | 20.9995 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 176.2321 | μmol/L | 31.1082 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.19 | 132358.2514 | 263175.0474 | 36.4 | 83.1
98159 | 2021-04-19 16:03 | 21.3323 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.6495 | μmol/L | 31.1266 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.222 | 132550.851 | 263173.9573 | 36.4 | 83.1
98169 | 2021-04-19 16:03 | 21.6662 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.5066 | μmol/L | 31.1143 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.236 | 132636.2483 | 263165.7369 | 36.4 | 83.1
98179 | 2021-04-19 16:04 | 21.9993 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 175.2776 | μmol/L | 31.0959 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.258 | 132776.1108 | 263166.2172 | 36.4 | 83.1
98189 | 2021-04-19 16:04 | 22.3327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 174.65 | μmol/L | 31.0959 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.3 | 133068.58 | 263163.1571 | 36.4 | 83.1