## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97037 | 2021-04-19 15:15 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.7217 | μmol/L | 29.4119 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.134 | 93533.6244 | 209968.8001 | 27.3 | 43.4
97047 | 2021-04-19 15:15 | 0.33342 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.7717 | μmol/L | 29.4302 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.176 | 93736.4545 | 209970.7865 | 27.3 | 43.4
97057 | 2021-04-19 15:16 | 0.66714 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.7293 | μmol/L | 29.5344 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.194 | 93876.9367 | 209970.817 | 27.3 | 43.4
97067 | 2021-04-19 15:16 | 1.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.2509 | μmol/L | 29.4915 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.233 | 94039.3108 | 209988.1723 | 27.3 | 43.4
97077 | 2021-04-19 15:16 | 1.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.9756 | μmol/L | 29.418 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.272 | 94209.608 | 209975.5708 | 27.3 | 43.4
97087 | 2021-04-19 15:17 | 1.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.9573 | μmol/L | 29.4609 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.31 | 94402.1186 | 209958.2848 | 27.3 | 43.4
97097 | 2021-04-19 15:17 | 1.9998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.534 | μmol/L | 29.4548 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.334 | 94508.1663 | 209969.9859 | 27.3 | 43.4
97107 | 2021-04-19 15:17 | 2.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.1087 | μmol/L | 29.4609 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.354 | 94620.612 | 209956.1163 | 27.3 | 43.4
97117 | 2021-04-19 15:18 | 2.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.0126 | μmol/L | 29.4609 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.359 | 94670.5458 | 209954.0026 | 27.3 | 43.4
97127 | 2021-04-19 15:18 | 3.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.1057 | μmol/L | 29.4731 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.35 | 94661.5616 | 209963.2598 | 27.3 | 43.4
97137 | 2021-04-19 15:18 | 3.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.7199 | μmol/L | 29.4793 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.368 | 94757.7564 | 209953.5655 | 27.3 | 43.4
97147 | 2021-04-19 15:19 | 3.6666 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.2514 | μmol/L | 29.4364 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.407 | 94909.4172 | 209948.8771 | 27.3 | 43.4
97157 | 2021-04-19 15:19 | 4.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.0127 | μmol/L | 29.4731 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.407 | 94968.4038 | 209950.3797 | 27.3 | 43.4
97167 | 2021-04-19 15:19 | 4.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.0851 | μmol/L | 29.5222 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.439 | 95104.7345 | 209938.9248 | 27.3 | 43.4
97177 | 2021-04-19 15:20 | 4.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.2595 | μmol/L | 29.5099 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.434 | 95108.8442 | 209932.869 | 27.3 | 43.4
97187 | 2021-04-19 15:20 | 5.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.2294 | μmol/L | 29.4793 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.446 | 95142.1912 | 209944.987 | 27.3 | 43.4
97197 | 2021-04-19 15:20 | 5.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.5428 | μmol/L | 29.4915 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.478 | 95296.0307 | 209945.9426 | 27.3 | 43.4
97207 | 2021-04-19 15:21 | 5.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.7456 | μmol/L | 29.5038 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.516 | 95454.3208 | 209955.0903 | 27.3 | 43.4
97217 | 2021-04-19 15:21 | 6 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.5655 | μmol/L | 29.4731 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.536 | 95557.4633 | 209932.246 | 27.3 | 43.4
97227 | 2021-04-19 15:21 | 6.3333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.9914 | μmol/L | 29.5099 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.554 | 95668.9504 | 209928.3075 | 27.3 | 43.4
97237 | 2021-04-19 15:22 | 6.667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.8311 | μmol/L | 29.4793 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.573 | 95762.3138 | 209933.305 | 27.3 | 43.4
97247 | 2021-04-19 15:22 | 7.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.0621 | μmol/L | 29.5528 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.589 | 95853.9542 | 209932.9169 | 27.3 | 43.4
97257 | 2021-04-19 15:22 | 7.3333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.3562 | μmol/L | 29.5038 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.59 | 95862.0696 | 209941.4508 | 27.3 | 43.4
97267 | 2021-04-19 15:23 | 7.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.3341 | μmol/L | 29.516 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.587 | 95844.7727 | 209921.7724 | 27.3 | 43.4
97277 | 2021-04-19 15:23 | 8.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.4923 | μmol/L | 29.4854 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.589 | 95853.5961 | 209922.2811 | 27.3 | 43.4
97287 | 2021-04-19 15:23 | 8.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.0825 | μmol/L | 29.5467 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.59 | 95872.4857 | 209917.633 | 27.3 | 43.4
97297 | 2021-04-19 15:24 | 8.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.2202 | μmol/L | 29.5222 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.591 | 95880.371 | 209916.6943 | 27.3 | 43.4
97307 | 2021-04-19 15:24 | 9.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.3188 | μmol/L | 29.5038 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.592 | 95878.4871 | 209918.916 | 27.3 | 43.4
97317 | 2021-04-19 15:24 | 9.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.8044 | μmol/L | 29.5406 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.607 | 95947.0282 | 209914.1244 | 27.3 | 43.4
97327 | 2021-04-19 15:25 | 9.6665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.5641 | μmol/L | 29.5344 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.622 | 96023.3659 | 209916.4186 | 27.3 | 43.4
97337 | 2021-04-19 15:25 | 10.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.996 | μmol/L | 29.5712 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.64 | 96119.6684 | 209912.1311 | 27.3 | 43.4
97347 | 2021-04-19 15:25 | 10.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.1605 | μmol/L | 29.516 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.65 | 96167.4682 | 209911.7726 | 27.3 | 43.4
97357 | 2021-04-19 15:26 | 10.6667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.8584 | μmol/L | 29.5344 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.66 | 96255.6405 | 209921.6238 | 27.3 | 43.4
97367 | 2021-04-19 15:26 | 11.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.1337 | μmol/L | 29.5467 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.695 | 96363.6708 | 209915.8098 | 27.3 | 43.4
97377 | 2021-04-19 15:26 | 11.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.0488 | μmol/L | 29.5222 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.708 | 96486.2274 | 209916.5936 | 27.3 | 43.4
97387 | 2021-04-19 15:27 | 11.667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.493 | μmol/L | 29.5344 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.734 | 96590.8175 | 209915.3383 | 27.3 | 43.4
97397 | 2021-04-19 15:27 | 12.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.7099 | μmol/L | 29.5773 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.762 | 96699.5652 | 209906.1307 | 27.3 | 43.4
97407 | 2021-04-19 15:27 | 12.3333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.4704 | μmol/L | 29.5835 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.773 | 96771.7021 | 209908.0274 | 27.3 | 43.4
97417 | 2021-04-19 15:28 | 12.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.6897 | μmol/L | 29.5835 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.761 | 96729.769 | 209916.6551 | 27.3 | 43.4
97427 | 2021-04-19 15:28 | 12.9998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.4232 | μmol/L | 29.5589 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.784 | 96843.8399 | 209910.7154 | 27.3 | 43.4
97437 | 2021-04-19 15:28 | 13.3332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.955 | μmol/L | 29.5406 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.816 | 97000.961 | 209898.8281 | 27.3 | 43.4
97447 | 2021-04-19 15:29 | 13.6667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.1735 | μmol/L | 29.5406 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.804 | 96972.0002 | 209900.2029 | 27.3 | 43.4
97457 | 2021-04-19 15:29 | 14 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.6401 | μmol/L | 29.5589 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.827 | 97051.5247 | 209882.6777 | 27.3 | 43.4
97467 | 2021-04-19 15:29 | 14.3334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.6173 | μmol/L | 29.516 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.843 | 97128.0522 | 209894.0808 | 27.3 | 43.4
97477 | 2021-04-19 15:30 | 14.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.1322 | μmol/L | 29.5589 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.855 | 97232.8943 | 209880.8246 | 27.3 | 43.4
97487 | 2021-04-19 15:30 | 14.9998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.5476 | μmol/L | 29.5222 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.9 | 97420.3197 | 209880.2515 | 27.3 | 43.4
97497 | 2021-04-19 15:30 | 15.3331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.6799 | μmol/L | 29.5896 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.925 | 97558.4973 | 209887.1826 | 27.3 | 43.4
97507 | 2021-04-19 15:31 | 15.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.651 | μmol/L | 29.6693 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.955 | 97672.8044 | 209865.3846 | 27.3 | 43.4