## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97038 | 2021-04-19 15:15 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.2103 | μmol/L | 29.4474 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.735 | 85073.0842 | 285970.8182 | 28.7 | 67.6
97048 | 2021-04-19 15:15 | 0.32526 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.0181 | μmol/L | 29.4352 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.806 | 85371.3472 | 285948.6753 | 28.7 | 67.6
97058 | 2021-04-19 15:16 | 0.65854 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.3825 | μmol/L | 29.4169 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.848 | 85572.8493 | 285953.6941 | 28.7 | 67.6
97068 | 2021-04-19 15:16 | 0.99181 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.6969 | μmol/L | 29.3986 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.893 | 85767.2046 | 285939.3437 | 28.7 | 67.6
97078 | 2021-04-19 15:16 | 1.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.8395 | μmol/L | 29.3803 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.948 | 86033.9242 | 285962.0975 | 28.7 | 67.6
97088 | 2021-04-19 15:17 | 1.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.9806 | μmol/L | 29.4169 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.985 | 86197.4134 | 285953.1809 | 28.7 | 67.6
97098 | 2021-04-19 15:17 | 1.9919 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1785 | μmol/L | 29.4474 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.021 | 86341.0615 | 285948.5131 | 28.7 | 67.6
97108 | 2021-04-19 15:17 | 2.3258 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.7981 | μmol/L | 29.4474 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.043 | 86445.6341 | 285952.5857 | 28.7 | 67.6
97118 | 2021-04-19 15:18 | 2.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.3137 | μmol/L | 29.4596 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.067 | 86557.9499 | 285942.1269 | 28.7 | 67.6
97128 | 2021-04-19 15:18 | 2.9924 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.7383 | μmol/L | 29.5206 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.08 | 86630.4023 | 285952.3425 | 28.7 | 67.6
97138 | 2021-04-19 15:18 | 3.3252 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.464 | μmol/L | 29.5206 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.096 | 86730.5972 | 285928.631 | 28.7 | 67.6
97148 | 2021-04-19 15:19 | 3.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.2269 | μmol/L | 29.5023 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.116 | 86826.0677 | 285939.9588 | 28.7 | 67.6
97158 | 2021-04-19 15:19 | 3.9922 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.643 | μmol/L | 29.5267 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.142 | 86925.4264 | 285928.335 | 28.7 | 67.6
97168 | 2021-04-19 15:19 | 4.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.2873 | μmol/L | 29.5145 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.167 | 87065.7263 | 285928.7894 | 28.7 | 67.6
97178 | 2021-04-19 15:20 | 4.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.239 | μmol/L | 29.4962 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.176 | 87132.6042 | 285926.9436 | 28.7 | 67.6
97188 | 2021-04-19 15:20 | 4.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.0201 | μmol/L | 29.484 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.193 | 87196.4456 | 285928.1099 | 28.7 | 67.6
97198 | 2021-04-19 15:20 | 5.3259 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4501 | μmol/L | 29.5572 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.202 | 87222.6875 | 285939.595 | 28.7 | 67.6
97208 | 2021-04-19 15:21 | 5.6585 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.374 | μmol/L | 29.5023 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.225 | 87314.1597 | 285933.4206 | 28.7 | 67.6
97218 | 2021-04-19 15:21 | 5.9921 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.1385 | μmol/L | 29.4962 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.241 | 87387.8343 | 285930.2482 | 28.7 | 67.6
97228 | 2021-04-19 15:21 | 6.3252 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.5069 | μmol/L | 29.5511 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.26 | 87475.6009 | 285916.3982 | 28.7 | 67.6
97238 | 2021-04-19 15:22 | 6.6588 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.2028 | μmol/L | 29.5633 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.274 | 87565.8699 | 285935.3656 | 28.7 | 67.6
97248 | 2021-04-19 15:22 | 6.9924 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.8646 | μmol/L | 29.5817 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.288 | 87627.5291 | 285917.5399 | 28.7 | 67.6
97258 | 2021-04-19 15:22 | 7.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.8519 | μmol/L | 29.5572 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.297 | 87666.9977 | 285907.0163 | 28.7 | 67.6
97268 | 2021-04-19 15:23 | 7.659 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.8224 | μmol/L | 29.5328 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.307 | 87717.4166 | 285903.8869 | 28.7 | 67.6
97278 | 2021-04-19 15:23 | 7.9918 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.333 | μmol/L | 29.5633 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.326 | 87783.934 | 285906.2995 | 28.7 | 67.6
97288 | 2021-04-19 15:23 | 8.3253 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.8272 | μmol/L | 29.6 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.344 | 87870.6133 | 285916.4049 | 28.7 | 67.6
97298 | 2021-04-19 15:24 | 8.6588 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.5967 | μmol/L | 29.5878 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.362 | 87951.5641 | 285895.7557 | 28.7 | 67.6
97308 | 2021-04-19 15:24 | 8.9923 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.4153 | μmol/L | 29.5817 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.375 | 88028.6064 | 285904.5055 | 28.7 | 67.6
97318 | 2021-04-19 15:24 | 9.3257 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.0168 | μmol/L | 29.5878 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.397 | 88116.2636 | 285916.4775 | 28.7 | 67.6
97328 | 2021-04-19 15:25 | 9.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.6524 | μmol/L | 29.5939 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.417 | 88200.1089 | 285913.7237 | 28.7 | 67.6
97338 | 2021-04-19 15:25 | 9.9919 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.5391 | μmol/L | 29.5817 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.428 | 88259.9341 | 285895.5545 | 28.7 | 67.6
97348 | 2021-04-19 15:25 | 10.3255 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.1549 | μmol/L | 29.6122 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.441 | 88337.2668 | 285909.0331 | 28.7 | 67.6
97358 | 2021-04-19 15:26 | 10.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.8462 | μmol/L | 29.5939 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.466 | 88433.0584 | 285905.1352 | 28.7 | 67.6
97368 | 2021-04-19 15:26 | 10.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.4506 | μmol/L | 29.6061 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.486 | 88534.4376 | 285898.6412 | 28.7 | 67.6
97378 | 2021-04-19 15:26 | 11.3258 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.502 | μmol/L | 29.5939 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.487 | 88552.5708 | 285883.3061 | 28.7 | 67.6
97388 | 2021-04-19 15:27 | 11.6584 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.2403 | μmol/L | 29.5939 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.503 | 88619.1989 | 285897.8624 | 28.7 | 67.6
97398 | 2021-04-19 15:27 | 11.9925 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.9313 | μmol/L | 29.5878 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.524 | 88709.184 | 285883.3409 | 28.7 | 67.6
97408 | 2021-04-19 15:27 | 12.3254 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.4707 | μmol/L | 29.6122 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.544 | 88805.5559 | 285883.3679 | 28.7 | 67.6
97418 | 2021-04-19 15:28 | 12.6587 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.242 | μmol/L | 29.6183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.556 | 88863.2175 | 285871.8664 | 28.7 | 67.6
97428 | 2021-04-19 15:28 | 12.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.2305 | μmol/L | 29.5939 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.565 | 88899.8267 | 285873.2227 | 28.7 | 67.6
97438 | 2021-04-19 15:28 | 13.3254 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.0383 | μmol/L | 29.5817 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.581 | 88971.3138 | 285858.2454 | 28.7 | 67.6
97448 | 2021-04-19 15:29 | 13.6589 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.3317 | μmol/L | 29.4901 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.594 | 89038.0228 | 285857.0169 | 28.7 | 67.6
97458 | 2021-04-19 15:29 | 13.9921 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.9806 | μmol/L | 29.545 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.597 | 89034.6451 | 285846.5833 | 28.7 | 67.6
97468 | 2021-04-19 15:29 | 14.3254 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.5132 | μmol/L | 29.6183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.601 | 89095.9054 | 285839.2268 | 28.7 | 67.6
97478 | 2021-04-19 15:30 | 14.6586 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.1421 | μmol/L | 29.6183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.624 | 89173.1859 | 285834.171 | 28.7 | 67.6
97488 | 2021-04-19 15:30 | 14.992 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.0169 | μmol/L | 29.6 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.638 | 89234.6346 | 285821.554 | 28.7 | 67.6
97498 | 2021-04-19 15:30 | 15.3252 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.7892 | μmol/L | 29.6122 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.648 | 89272.0626 | 285825.3626 | 28.7 | 67.6
97508 | 2021-04-19 15:31 | 15.6591 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.5631 | μmol/L | 29.6183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.66 | 89328.7975 | 285837.8791 | 28.7 | 67.6