## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97039 | 2021-04-19 15:15 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.1953 | μmol/L | 29.4734 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.271 | 122650.0259 | 263473.4404 | 36.4 | 83.1
97049 | 2021-04-19 15:15 | 0.33423 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.529 | μmol/L | 29.4734 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.305 | 122866.2509 | 263480.0522 | 36.4 | 83.1
97059 | 2021-04-19 15:16 | 0.66733 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.9008 | μmol/L | 29.4857 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.333 | 123045.3231 | 263475.9227 | 36.4 | 83.1
97069 | 2021-04-19 15:16 | 1.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.5309 | μmol/L | 29.4857 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.352 | 123172.0495 | 263470.8087 | 36.4 | 83.1
97079 | 2021-04-19 15:16 | 1.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.1637 | μmol/L | 29.4795 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.373 | 123291.1132 | 263468.41 | 36.4 | 83.1
97089 | 2021-04-19 15:17 | 1.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.8395 | μmol/L | 29.4611 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.396 | 123444.5977 | 263463.5861 | 36.4 | 83.1
97099 | 2021-04-19 15:17 | 2.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3629 | μmol/L | 29.5041 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.406 | 123524.3328 | 263458.4027 | 36.4 | 83.1
97109 | 2021-04-19 15:17 | 2.3341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0505 | μmol/L | 29.5164 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.418 | 123583.208 | 263461.7332 | 36.4 | 83.1
97119 | 2021-04-19 15:18 | 2.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.4388 | μmol/L | 29.4427 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.423 | 123642.0989 | 263449.5904 | 36.4 | 83.1
97129 | 2021-04-19 15:18 | 3.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.9338 | μmol/L | 29.455 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.445 | 123737.649 | 263460.6286 | 36.4 | 83.1
97139 | 2021-04-19 15:18 | 3.3341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.2254 | μmol/L | 29.5103 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.463 | 123849.7986 | 263453.5023 | 36.4 | 83.1
97149 | 2021-04-19 15:19 | 3.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.781 | μmol/L | 29.5226 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.482 | 123981.9077 | 263452.9811 | 36.4 | 83.1
97159 | 2021-04-19 15:19 | 4.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.2518 | μmol/L | 29.5041 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.516 | 124219.298 | 263448.4317 | 36.4 | 83.1
97169 | 2021-04-19 15:19 | 4.3341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.7833 | μmol/L | 29.541 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.528 | 124291.3428 | 263435.5697 | 36.4 | 83.1
97179 | 2021-04-19 15:20 | 4.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.5304 | μmol/L | 29.5594 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.535 | 124334.577 | 263451.4941 | 36.4 | 83.1
97189 | 2021-04-19 15:20 | 5.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.3425 | μmol/L | 29.5533 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.547 | 124402.6856 | 263444.7089 | 36.4 | 83.1
97199 | 2021-04-19 15:20 | 5.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.5877 | μmol/L | 29.498 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.553 | 124450.6233 | 263443.4715 | 36.4 | 83.1
97209 | 2021-04-19 15:21 | 5.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.0013 | μmol/L | 29.5533 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.565 | 124521.3028 | 263443.9589 | 36.4 | 83.1
97219 | 2021-04-19 15:21 | 6.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.5683 | μmol/L | 29.5471 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.59 | 124687.1009 | 263442.673 | 36.4 | 83.1
97229 | 2021-04-19 15:21 | 6.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.2456 | μmol/L | 29.5533 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.605 | 124758.7108 | 263426.5188 | 36.4 | 83.1
97239 | 2021-04-19 15:22 | 6.6674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.976 | μmol/L | 29.5717 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.613 | 124824.5614 | 263422.1535 | 36.4 | 83.1
97249 | 2021-04-19 15:22 | 7.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.5751 | μmol/L | 29.5901 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.628 | 124906.5872 | 263421.498 | 36.4 | 83.1
97259 | 2021-04-19 15:22 | 7.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.602 | μmol/L | 29.5656 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.635 | 124960.8719 | 263430.3262 | 36.4 | 83.1
97269 | 2021-04-19 15:23 | 7.6673 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.2542 | μmol/L | 29.5963 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.643 | 125053.9322 | 263420.2336 | 36.4 | 83.1
97279 | 2021-04-19 15:23 | 8.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.722 | μmol/L | 29.6209 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.663 | 125139.089 | 263427.2922 | 36.4 | 83.1
97289 | 2021-04-19 15:23 | 8.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.9254 | μmol/L | 29.5717 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.669 | 125209.337 | 263418.9428 | 36.4 | 83.1
97299 | 2021-04-19 15:24 | 8.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.3095 | μmol/L | 29.5717 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.702 | 125394.2251 | 263412.8621 | 36.4 | 83.1
97309 | 2021-04-19 15:24 | 9.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.7925 | μmol/L | 29.6147 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.715 | 125478.9582 | 263425.9585 | 36.4 | 83.1
97319 | 2021-04-19 15:24 | 9.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.768 | μmol/L | 29.5779 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.729 | 125550.7657 | 263405.0223 | 36.4 | 83.1
97329 | 2021-04-19 15:25 | 9.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.2917 | μmol/L | 29.6147 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.742 | 125626.2488 | 263420.2615 | 36.4 | 83.1
97339 | 2021-04-19 15:25 | 10.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.8783 | μmol/L | 29.6332 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.758 | 125753.3382 | 263400.2606 | 36.4 | 83.1
97349 | 2021-04-19 15:25 | 10.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.7392 | μmol/L | 29.6086 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.774 | 125864.0207 | 263396.766 | 36.4 | 83.1
97359 | 2021-04-19 15:26 | 10.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.52 | μmol/L | 29.6024 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.788 | 125944.0337 | 263394.5766 | 36.4 | 83.1
97369 | 2021-04-19 15:26 | 11.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.049 | μmol/L | 29.6332 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.803 | 126073.7675 | 263401.1935 | 36.4 | 83.1
97379 | 2021-04-19 15:26 | 11.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.7874 | μmol/L | 29.6454 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.813 | 126120.5644 | 263403.613 | 36.4 | 83.1
97389 | 2021-04-19 15:27 | 11.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.7844 | μmol/L | 29.6024 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.828 | 126217.6781 | 263397.0246 | 36.4 | 83.1
97399 | 2021-04-19 15:27 | 12.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.3608 | μmol/L | 29.6086 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.849 | 126361.2187 | 263408.9887 | 36.4 | 83.1
97409 | 2021-04-19 15:27 | 12.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.7219 | μmol/L | 29.6577 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.867 | 126520.3378 | 263396.8037 | 36.4 | 83.1
97419 | 2021-04-19 15:28 | 12.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.7056 | μmol/L | 29.6024 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.887 | 126635.7663 | 263394.1393 | 36.4 | 83.1
97429 | 2021-04-19 15:28 | 13.001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.3029 | μmol/L | 29.6086 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.907 | 126745.2709 | 263382.6975 | 36.4 | 83.1
97439 | 2021-04-19 15:28 | 13.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.4187 | μmol/L | 29.5901 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.907 | 126777.37 | 263377.5457 | 36.4 | 83.1
97449 | 2021-04-19 15:29 | 13.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.0349 | μmol/L | 29.5963 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.926 | 126832.9164 | 263369.1053 | 36.4 | 83.1
97459 | 2021-04-19 15:29 | 14.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.3192 | μmol/L | 29.67 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.94 | 126944.3939 | 263381.3623 | 36.4 | 83.1
97469 | 2021-04-19 15:29 | 14.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2788 | μmol/L | 29.6332 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.955 | 127049.6494 | 263375.2725 | 36.4 | 83.1
97479 | 2021-04-19 15:30 | 14.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.5507 | μmol/L | 29.6516 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.989 | 127261.1818 | 263361.1127 | 36.4 | 83.1
97489 | 2021-04-19 15:30 | 15.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.2561 | μmol/L | 29.67 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.999 | 127334.2144 | 263350.5138 | 36.4 | 83.1
97499 | 2021-04-19 15:30 | 15.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.4411 | μmol/L | 29.6086 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.01 | 127394.1917 | 263350.6981 | 36.4 | 83.1
97509 | 2021-04-19 15:31 | 15.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.338 | μmol/L | 29.5963 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.02 | 127475.3257 | 263349.7311 | 36.4 | 83.1