## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97040 | 2021-04-19 15:15 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.9702 | μmol/L | 29.4029 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.879 | 92237.1984 | 289071.6149 | 30.45 | 114.2
97050 | 2021-04-19 15:15 | 0.32697 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4821 | μmol/L | 29.3783 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.915 | 92430.9661 | 289080.535 | 30.45 | 114.2
97060 | 2021-04-19 15:16 | 0.66041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6206 | μmol/L | 29.4029 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.956 | 92669.46 | 289081.7871 | 30.45 | 114.2
97070 | 2021-04-19 15:16 | 0.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6736 | μmol/L | 29.4461 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.996 | 92867.539 | 289063.8861 | 30.45 | 114.2
97080 | 2021-04-19 15:16 | 1.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8753 | μmol/L | 29.4584 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.038 | 93062.663 | 289073.0869 | 30.45 | 114.2
97090 | 2021-04-19 15:17 | 1.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2161 | μmol/L | 29.483 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.068 | 93239.1091 | 289061.2926 | 30.45 | 114.2
97100 | 2021-04-19 15:17 | 1.9937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.739 | μmol/L | 29.4646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.102 | 93419.9402 | 289056.0477 | 30.45 | 114.2
97110 | 2021-04-19 15:17 | 2.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.1574 | μmol/L | 29.4646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.136 | 93554.2234 | 289058.911 | 30.45 | 114.2
97120 | 2021-04-19 15:18 | 2.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.5392 | μmol/L | 29.4892 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.164 | 93711.1486 | 289055.1567 | 30.45 | 114.2
97130 | 2021-04-19 15:18 | 2.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.7087 | μmol/L | 29.5693 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.186 | 93831.5365 | 289063.1559 | 30.45 | 114.2
97140 | 2021-04-19 15:18 | 3.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4082 | μmol/L | 29.5508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.21 | 93948.9115 | 289057.7807 | 30.45 | 114.2
97150 | 2021-04-19 15:19 | 3.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.1264 | μmol/L | 29.5262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.235 | 94073.1408 | 289060.3323 | 30.45 | 114.2
97160 | 2021-04-19 15:19 | 3.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4278 | μmol/L | 29.5693 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.262 | 94197.1237 | 289045.0731 | 30.45 | 114.2
97170 | 2021-04-19 15:19 | 4.327 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.3363 | μmol/L | 29.5262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.282 | 94302.4714 | 289039.3955 | 30.45 | 114.2
97180 | 2021-04-19 15:20 | 4.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.1868 | μmol/L | 29.52 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.293 | 94369.166 | 289046.9905 | 30.45 | 114.2
97190 | 2021-04-19 15:20 | 4.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.4881 | μmol/L | 29.5817 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.314 | 94475.3717 | 289036.3524 | 30.45 | 114.2
97200 | 2021-04-19 15:20 | 5.3272 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2881 | μmol/L | 29.5817 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.326 | 94545.3779 | 289038.1566 | 30.45 | 114.2
97210 | 2021-04-19 15:21 | 5.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.1603 | μmol/L | 29.557 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.342 | 94632.4301 | 289040.4999 | 30.45 | 114.2
97220 | 2021-04-19 15:21 | 5.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.5679 | μmol/L | 29.6063 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.361 | 94711.5052 | 289028.2628 | 30.45 | 114.2
97230 | 2021-04-19 15:21 | 6.3266 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.6812 | μmol/L | 29.5447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.375 | 94786.6207 | 289024.9477 | 30.45 | 114.2
97240 | 2021-04-19 15:22 | 6.6603 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.3871 | μmol/L | 29.5262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.399 | 94894.3597 | 289026.1043 | 30.45 | 114.2
97250 | 2021-04-19 15:22 | 6.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.7438 | μmol/L | 29.594 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.415 | 94959.5238 | 289029.4724 | 30.45 | 114.2
97260 | 2021-04-19 15:22 | 7.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.5052 | μmol/L | 29.557 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.442 | 95108.2037 | 289021.4922 | 30.45 | 114.2
97270 | 2021-04-19 15:23 | 7.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1035 | μmol/L | 29.5878 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.456 | 95186.1758 | 289029.0071 | 30.45 | 114.2
97280 | 2021-04-19 15:23 | 7.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.7307 | μmol/L | 29.6063 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.472 | 95251.2781 | 289025.5703 | 30.45 | 114.2
97290 | 2021-04-19 15:23 | 8.3267 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9303 | μmol/L | 29.557 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.477 | 95313.4657 | 289014.2354 | 30.45 | 114.2
97300 | 2021-04-19 15:24 | 8.6601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.738 | μmol/L | 29.5385 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.495 | 95398.3414 | 289016.5142 | 30.45 | 114.2
97310 | 2021-04-19 15:24 | 8.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.3872 | μmol/L | 29.5693 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.506 | 95447.3848 | 289007.3688 | 30.45 | 114.2
97320 | 2021-04-19 15:24 | 9.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.7838 | μmol/L | 29.6371 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.52 | 95512.5256 | 289017.893 | 30.45 | 114.2
97330 | 2021-04-19 15:25 | 9.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.5058 | μmol/L | 29.6433 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.535 | 95568.9967 | 289001.8642 | 30.45 | 114.2
97340 | 2021-04-19 15:25 | 9.9935 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.6213 | μmol/L | 29.5693 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.553 | 95659.8062 | 289002.4528 | 30.45 | 114.2
97350 | 2021-04-19 15:25 | 10.3268 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.5992 | μmol/L | 29.5262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.569 | 95761.1831 | 289008.3607 | 30.45 | 114.2
97360 | 2021-04-19 15:26 | 10.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.1537 | μmol/L | 29.557 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.586 | 95857.1683 | 289011.2616 | 30.45 | 114.2
97370 | 2021-04-19 15:26 | 10.9934 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.7708 | μmol/L | 29.5693 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.605 | 95932.582 | 288997.1559 | 30.45 | 114.2
97380 | 2021-04-19 15:26 | 11.3271 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.8477 | μmol/L | 29.5508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.607 | 95974.1981 | 289006.2136 | 30.45 | 114.2
97390 | 2021-04-19 15:27 | 11.6606 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.514 | μmol/L | 29.5632 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.623 | 96013.6504 | 288989.021 | 30.45 | 114.2
97400 | 2021-04-19 15:27 | 11.9936 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.4057 | μmol/L | 29.5447 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.636 | 96105.1362 | 289005.8555 | 30.45 | 114.2
97410 | 2021-04-19 15:27 | 12.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.4602 | μmol/L | 29.52 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.641 | 96121.1022 | 288996.9764 | 30.45 | 114.2
97420 | 2021-04-19 15:28 | 12.6605 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.0516 | μmol/L | 29.5447 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.658 | 96187.6304 | 288974.8952 | 30.45 | 114.2
97430 | 2021-04-19 15:28 | 12.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.5605 | μmol/L | 29.5817 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.676 | 96286.9231 | 288991.8653 | 30.45 | 114.2
97440 | 2021-04-19 15:28 | 13.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.9829 | μmol/L | 29.6495 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.689 | 96356.7028 | 288969.7969 | 30.45 | 114.2
97450 | 2021-04-19 15:29 | 13.6599 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.7367 | μmol/L | 29.6433 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.707 | 96428.4195 | 288986.0148 | 30.45 | 114.2
97460 | 2021-04-19 15:29 | 13.9939 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.3387 | μmol/L | 29.6741 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.721 | 96514.9957 | 288992.0784 | 30.45 | 114.2
97470 | 2021-04-19 15:29 | 14.3273 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.843 | μmol/L | 29.6864 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.748 | 96637.8317 | 288971.5636 | 30.45 | 114.2
97480 | 2021-04-19 15:30 | 14.6602 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.1925 | μmol/L | 29.594 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.758 | 96697.0646 | 288966.0411 | 30.45 | 114.2
97490 | 2021-04-19 15:30 | 14.9933 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.7278 | μmol/L | 29.6433 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.77 | 96764.0752 | 288963.3168 | 30.45 | 114.2
97500 | 2021-04-19 15:30 | 15.3265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.3839 | μmol/L | 29.6864 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.777 | 96794.7985 | 288964.3598 | 30.45 | 114.2
97510 | 2021-04-19 15:31 | 15.66 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.2908 | μmol/L | 29.6803 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.785 | 96860.7582 | 288964.6684 | 30.45 | 114.2