## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97041 | 2021-04-19 15:15 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.3645 | μmol/L | 29.3744 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.571 | 132856.9522 | 286904.1799 | 59.9307 | 49.4
97051 | 2021-04-19 15:16 | 0.32811 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.2192 | μmol/L | 29.3559 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.64 | 132318.2493 | 286905.994 | 59.9307 | 49.4
97061 | 2021-04-19 15:16 | 0.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.1344 | μmol/L | 29.3497 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.702 | 132899.8849 | 286874.5946 | 59.9307 | 49.4
97071 | 2021-04-19 15:16 | 0.99479 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.1794 | μmol/L | 29.3621 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.751 | 133392.8004 | 286863.5108 | 59.9307 | 49.4
97081 | 2021-04-19 15:17 | 1.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.525 | μmol/L | 29.3187 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.802 | 133785.1246 | 286865.4896 | 59.9307 | 49.4
97091 | 2021-04-19 15:17 | 1.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.6096 | μmol/L | 29.3621 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.839 | 134356.3423 | 286873.4906 | 59.9307 | 49.4
97101 | 2021-04-19 15:17 | 1.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2252 | μmol/L | 29.3311 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.871 | 134958.9853 | 286865.2149 | 59.9307 | 49.4
97111 | 2021-04-19 15:18 | 2.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.4776 | μmol/L | 29.3621 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.903 | 135224.231 | 286867.8996 | 59.9307 | 49.4
97121 | 2021-04-19 15:18 | 2.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.5845 | μmol/L | 29.4363 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.929 | 135430.7906 | 286848.7138 | 59.9307 | 49.4
97131 | 2021-04-19 15:18 | 2.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.0345 | μmol/L | 29.4735 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.948 | 135750.0708 | 286858.5547 | 59.9307 | 49.4
97141 | 2021-04-19 15:19 | 3.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.2759 | μmol/L | 29.5168 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.977 | 135870.5459 | 286840.1793 | 59.9307 | 49.4
97151 | 2021-04-19 15:19 | 3.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.8936 | μmol/L | 29.5168 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.999 | 136115.1553 | 286863.7324 | 59.9307 | 49.4
97161 | 2021-04-19 15:19 | 3.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.7973 | μmol/L | 29.4797 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.017 | 136227.8138 | 286840.3439 | 59.9307 | 49.4
97171 | 2021-04-19 15:20 | 4.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.5413 | μmol/L | 29.4611 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.038 | 136366.9348 | 286844.6724 | 59.9307 | 49.4
97181 | 2021-04-19 15:20 | 4.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.3895 | μmol/L | 29.4425 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.053 | 136529.224 | 286839.0816 | 59.9307 | 49.4
97191 | 2021-04-19 15:20 | 4.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.0906 | μmol/L | 29.4673 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.062 | 136726.5181 | 286836.99 | 59.9307 | 49.4
97201 | 2021-04-19 15:21 | 5.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.4955 | μmol/L | 29.5106 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.082 | 136855.8238 | 286830.7657 | 59.9307 | 49.4
97211 | 2021-04-19 15:21 | 5.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.5049 | μmol/L | 29.4673 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.096 | 136969.9455 | 286819.4448 | 59.9307 | 49.4
97221 | 2021-04-19 15:21 | 5.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.2445 | μmol/L | 29.4797 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.107 | 137085.0821 | 286810.1784 | 59.9307 | 49.4
97231 | 2021-04-19 15:22 | 6.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.8317 | μmol/L | 29.4859 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.129 | 137214.3942 | 286813.2323 | 59.9307 | 49.4
97241 | 2021-04-19 15:22 | 6.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5724 | μmol/L | 29.4982 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.14 | 137325.017 | 286826.4965 | 59.9307 | 49.4
97251 | 2021-04-19 15:22 | 6.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.1741 | μmol/L | 29.523 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.155 | 137438.2155 | 286801.0668 | 59.9307 | 49.4
97261 | 2021-04-19 15:23 | 7.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.971 | μmol/L | 29.5168 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.169 | 137532.7252 | 286789.8879 | 59.9307 | 49.4
97271 | 2021-04-19 15:23 | 7.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.2585 | μmol/L | 29.5849 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.188 | 137671.9892 | 286788.3772 | 59.9307 | 49.4
97281 | 2021-04-19 15:23 | 7.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.2149 | μmol/L | 29.554 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.201 | 137748.1826 | 286789.0869 | 59.9307 | 49.4
97291 | 2021-04-19 15:24 | 8.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.0203 | μmol/L | 29.5168 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.225 | 137916.1029 | 286798.145 | 59.9307 | 49.4
97301 | 2021-04-19 15:24 | 8.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.9554 | μmol/L | 29.6654 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.238 | 138054.574 | 286797.1198 | 59.9307 | 49.4
97311 | 2021-04-19 15:24 | 8.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.5347 | μmol/L | 29.4982 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.26 | 138235.1192 | 286791.1341 | 59.9307 | 49.4
97321 | 2021-04-19 15:25 | 9.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.8648 | μmol/L | 29.554 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.281 | 138358.8751 | 286778.6567 | 59.9307 | 49.4
97331 | 2021-04-19 15:25 | 9.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.6283 | μmol/L | 29.5601 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.293 | 138433.7753 | 286773.5329 | 59.9307 | 49.4
97341 | 2021-04-19 15:25 | 9.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.322 | μmol/L | 29.5787 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.305 | 138538.6851 | 286788.3897 | 59.9307 | 49.4
97351 | 2021-04-19 15:26 | 10.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.2307 | μmol/L | 29.5416 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.323 | 138675.9946 | 286775.9094 | 59.9307 | 49.4
97361 | 2021-04-19 15:26 | 10.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.0848 | μmol/L | 29.523 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.338 | 138770.2147 | 286779.0293 | 59.9307 | 49.4
97371 | 2021-04-19 15:26 | 10.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.484 | μmol/L | 29.5911 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.351 | 138880.1085 | 286790.6806 | 59.9307 | 49.4
97381 | 2021-04-19 15:27 | 11.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.1767 | μmol/L | 29.6221 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.359 | 138931.5674 | 286781.0963 | 59.9307 | 49.4
97391 | 2021-04-19 15:27 | 11.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.4933 | μmol/L | 29.554 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.363 | 138957.6209 | 286779.3953 | 59.9307 | 49.4
97401 | 2021-04-19 15:27 | 11.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.6654 | μmol/L | 29.6097 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.394 | 139112.8387 | 286770.8832 | 59.9307 | 49.4
97411 | 2021-04-19 15:28 | 12.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.1894 | μmol/L | 29.6592 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.406 | 139249.8859 | 286778.578 | 59.9307 | 49.4
97421 | 2021-04-19 15:28 | 12.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.9748 | μmol/L | 29.6592 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.419 | 139337.6335 | 286767.2101 | 59.9307 | 49.4
97431 | 2021-04-19 15:28 | 12.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.2151 | μmol/L | 29.5601 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.438 | 139493.339 | 286768.5354 | 59.9307 | 49.4
97441 | 2021-04-19 15:29 | 13.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.0355 | μmol/L | 29.7273 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.453 | 139600.6739 | 286775.0576 | 59.9307 | 49.4
97451 | 2021-04-19 15:29 | 13.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.9833 | μmol/L | 29.6778 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.473 | 139739.8455 | 286755.71 | 59.9307 | 49.4
97461 | 2021-04-19 15:29 | 13.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.7804 | μmol/L | 29.6406 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.498 | 139914.1727 | 286758.784 | 59.9307 | 49.4
97471 | 2021-04-19 15:30 | 14.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.7183 | μmol/L | 29.6282 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.506 | 140011.2591 | 286754.4578 | 59.9307 | 49.4
97481 | 2021-04-19 15:30 | 14.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.8464 | μmol/L | 29.7149 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.53 | 140166.25 | 286737.7421 | 59.9307 | 49.4
97491 | 2021-04-19 15:30 | 14.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.3649 | μmol/L | 29.7521 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.547 | 140344.7426 | 286757.8151 | 59.9307 | 49.4
97501 | 2021-04-19 15:31 | 15.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.0268 | μmol/L | 29.8016 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.551 | 140391.2163 | 286722.5598 | 59.9307 | 49.4
97511 | 2021-04-19 15:31 | 15.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.4736 | μmol/L | 29.653 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.574 | 140531.9126 | 286716.0388 | 59.9307 | 49.4