## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97042 | 2021-04-19 15:15 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.6617 | μmol/L | 29.3168 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.642 | 134123.9947 | 297352.8384 | 33.25 | 68.6
97052 | 2021-04-19 15:16 | 0.32641 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4728 | μmol/L | 29.3595 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.697 | 134479.1959 | 297357.5257 | 33.25 | 68.6
97062 | 2021-04-19 15:16 | 0.66001 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1564 | μmol/L | 29.445 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.745 | 134818.0181 | 297348.7876 | 33.25 | 68.6
97072 | 2021-04-19 15:16 | 0.99339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.484 | μmol/L | 29.4511 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.783 | 135094.9687 | 297347.7451 | 33.25 | 68.6
97082 | 2021-04-19 15:17 | 1.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.9748 | μmol/L | 29.4328 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.82 | 135329.127 | 297341.2914 | 33.25 | 68.6
97092 | 2021-04-19 15:17 | 1.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.3991 | μmol/L | 29.4572 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.846 | 135533.99 | 297328.9684 | 33.25 | 68.6
97102 | 2021-04-19 15:17 | 1.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.828 | μmol/L | 29.4755 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.874 | 135724.6538 | 297324.9745 | 33.25 | 68.6
97112 | 2021-04-19 15:18 | 2.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3082 | μmol/L | 29.4938 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.899 | 135894.8316 | 297326.1544 | 33.25 | 68.6
97122 | 2021-04-19 15:18 | 2.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.7765 | μmol/L | 29.5427 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.914 | 136035.5029 | 297320.1215 | 33.25 | 68.6
97132 | 2021-04-19 15:18 | 2.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4237 | μmol/L | 29.561 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.929 | 136136.3445 | 297315.2082 | 33.25 | 68.6
97142 | 2021-04-19 15:19 | 3.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1206 | μmol/L | 29.5793 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.941 | 136200.6209 | 297312.8921 | 33.25 | 68.6
97152 | 2021-04-19 15:19 | 3.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8536 | μmol/L | 29.5915 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.953 | 136316.0496 | 297299.8447 | 33.25 | 68.6
97162 | 2021-04-19 15:19 | 3.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1127 | μmol/L | 29.5243 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.961 | 136372.0094 | 297304.6576 | 33.25 | 68.6
97172 | 2021-04-19 15:20 | 4.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.08 | μmol/L | 29.5243 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.963 | 136393.627 | 297295.0483 | 33.25 | 68.6
97182 | 2021-04-19 15:20 | 4.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.9902 | μmol/L | 29.506 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.975 | 136481.0088 | 297294.9438 | 33.25 | 68.6
97192 | 2021-04-19 15:20 | 4.9927 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5054 | μmol/L | 29.6037 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.97 | 136480.3031 | 297291.8811 | 33.25 | 68.6
97202 | 2021-04-19 15:21 | 5.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1724 | μmol/L | 29.5488 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.01 | 136707.4825 | 297279.7923 | 33.25 | 68.6
97212 | 2021-04-19 15:21 | 5.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3443 | μmol/L | 29.622 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.035 | 136905.7007 | 297276.5287 | 33.25 | 68.6
97222 | 2021-04-19 15:21 | 5.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8617 | μmol/L | 29.6525 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.054 | 137067.5565 | 297271.584 | 33.25 | 68.6
97232 | 2021-04-19 15:22 | 6.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.3219 | μmol/L | 29.6708 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.081 | 137244.7914 | 297274.768 | 33.25 | 68.6
97242 | 2021-04-19 15:22 | 6.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.2605 | μmol/L | 29.6647 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.087 | 137317.3112 | 297260.6512 | 33.25 | 68.6
97252 | 2021-04-19 15:22 | 6.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.8714 | μmol/L | 29.7075 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.096 | 137364.6199 | 297269.9052 | 33.25 | 68.6
97262 | 2021-04-19 15:23 | 7.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.4554 | μmol/L | 29.7746 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.098 | 137385.3574 | 297267.7703 | 33.25 | 68.6
97272 | 2021-04-19 15:23 | 7.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6561 | μmol/L | 29.7563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.092 | 137355.1368 | 297258.6452 | 33.25 | 68.6
97282 | 2021-04-19 15:23 | 7.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7535 | μmol/L | 29.7197 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.099 | 137426.5326 | 297259.3758 | 33.25 | 68.6
97292 | 2021-04-19 15:24 | 8.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.5425 | μmol/L | 29.5427 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.113 | 137516.3756 | 297262.1398 | 33.25 | 68.6
97302 | 2021-04-19 15:24 | 8.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.4489 | μmol/L | 29.5366 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.121 | 137562.3999 | 297249.8154 | 33.25 | 68.6
97312 | 2021-04-19 15:24 | 8.9932 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.2158 | μmol/L | 29.7075 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.137 | 137665.329 | 297257.0056 | 33.25 | 68.6
97322 | 2021-04-19 15:25 | 9.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.6408 | μmol/L | 29.7441 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.16 | 137806.0263 | 297244.1792 | 33.25 | 68.6
97332 | 2021-04-19 15:25 | 9.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.2985 | μmol/L | 29.7624 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.175 | 137961.664 | 297232.9178 | 33.25 | 68.6
97342 | 2021-04-19 15:25 | 9.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.2444 | μmol/L | 29.677 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.209 | 138159.2552 | 297237.3638 | 33.25 | 68.6
97352 | 2021-04-19 15:26 | 10.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.2823 | μmol/L | 29.5976 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.235 | 138369.5609 | 297245.7983 | 33.25 | 68.6
97362 | 2021-04-19 15:26 | 10.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.8435 | μmol/L | 29.622 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.254 | 138522.042 | 297232.9088 | 33.25 | 68.6
97372 | 2021-04-19 15:26 | 10.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.4116 | μmol/L | 29.6342 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.277 | 138673.8976 | 297232.6617 | 33.25 | 68.6
97382 | 2021-04-19 15:27 | 11.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.9377 | μmol/L | 29.6708 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.294 | 138806.5339 | 297228.9544 | 33.25 | 68.6
97392 | 2021-04-19 15:27 | 11.6598 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.6328 | μmol/L | 29.6525 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.32 | 138960.3889 | 297238.612 | 33.25 | 68.6
97402 | 2021-04-19 15:27 | 11.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.4724 | μmol/L | 29.6281 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.339 | 139104.9212 | 297224.7517 | 33.25 | 68.6
97412 | 2021-04-19 15:28 | 12.3266 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.4351 | μmol/L | 29.6403 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.337 | 139101.5063 | 297221.44 | 33.25 | 68.6
97422 | 2021-04-19 15:28 | 12.6601 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.3747 | μmol/L | 29.6037 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.354 | 139239.0053 | 297204.9662 | 33.25 | 68.6
97432 | 2021-04-19 15:28 | 12.9934 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.1277 | μmol/L | 29.5976 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.372 | 139374.2791 | 297212.1536 | 33.25 | 68.6
97442 | 2021-04-19 15:29 | 13.3267 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.7163 | μmol/L | 29.6098 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.394 | 139510.2549 | 297199.4331 | 33.25 | 68.6
97452 | 2021-04-19 15:29 | 13.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 182.2755 | μmol/L | 29.6525 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.407 | 139590.9994 | 297204.3514 | 33.25 | 68.6
97462 | 2021-04-19 15:29 | 13.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.4281 | μmol/L | 29.7685 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.42 | 139681.4669 | 297199.9014 | 33.25 | 68.6
97472 | 2021-04-19 15:30 | 14.3265 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.5794 | μmol/L | 29.7441 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.419 | 139703.8065 | 297193.1207 | 33.25 | 68.6
97482 | 2021-04-19 15:30 | 14.6599 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.4248 | μmol/L | 29.7441 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.429 | 139765.7352 | 297183.9147 | 33.25 | 68.6
97492 | 2021-04-19 15:30 | 14.9933 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 180.8884 | μmol/L | 29.8601 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.422 | 139728.3563 | 297182.0692 | 33.25 | 68.6
97502 | 2021-04-19 15:31 | 15.3268 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.5114 | μmol/L | 29.7563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.419 | 139699.8551 | 297180.5806 | 33.25 | 68.6
97512 | 2021-04-19 15:31 | 15.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 181.5733 | μmol/L | 29.7563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.415 | 139676.3575 | 297169.3599 | 33.25 | 68.6