## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97043 | 2021-04-19 15:15 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.6666 | μmol/L | 29.3463 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.934 | 119642.2665 | 261952.1735 | 26.25 | 74
97053 | 2021-04-19 15:16 | 0.33162 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.4679 | μmol/L | 29.334 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.006 | 120142.2077 | 261955.9879 | 26.25 | 74
97063 | 2021-04-19 15:16 | 0.66495 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.5486 | μmol/L | 29.2729 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.079 | 120645.0906 | 261933.1015 | 26.25 | 74
97073 | 2021-04-19 15:16 | 0.99816 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3373 | μmol/L | 29.334 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.128 | 120996.6221 | 261944.1265 | 26.25 | 74
97083 | 2021-04-19 15:17 | 1.3311 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.3659 | μmol/L | 29.3524 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.178 | 121319.0334 | 261933.5116 | 26.25 | 74
97093 | 2021-04-19 15:17 | 1.6647 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7844 | μmol/L | 29.334 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.218 | 121567.9197 | 261928.41 | 26.25 | 74
97103 | 2021-04-19 15:17 | 1.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.0581 | μmol/L | 29.3707 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.248 | 121769.5572 | 261940.2416 | 26.25 | 74
97113 | 2021-04-19 15:18 | 2.3309 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.0871 | μmol/L | 29.4563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.276 | 121985.9816 | 261932.7963 | 26.25 | 74
97123 | 2021-04-19 15:18 | 2.6643 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.8604 | μmol/L | 29.4013 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.308 | 122216.6041 | 261925.0509 | 26.25 | 74
97133 | 2021-04-19 15:18 | 2.998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.7935 | μmol/L | 29.4929 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.34 | 122407.4665 | 261922.7438 | 26.25 | 74
97143 | 2021-04-19 15:19 | 3.3309 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0212 | μmol/L | 29.5663 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.361 | 122559.7819 | 261917.2152 | 26.25 | 74
97153 | 2021-04-19 15:19 | 3.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.5823 | μmol/L | 29.4563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.365 | 122604.8519 | 261910.3984 | 26.25 | 74
97163 | 2021-04-19 15:19 | 3.9977 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.899 | μmol/L | 29.5113 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.387 | 122744.0039 | 261913.0445 | 26.25 | 74
97173 | 2021-04-19 15:20 | 4.3312 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.325 | μmol/L | 29.5357 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.413 | 122919.5462 | 261898.2462 | 26.25 | 74
97183 | 2021-04-19 15:20 | 4.6644 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.3038 | μmol/L | 29.4807 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.433 | 123062.4446 | 261899.4189 | 26.25 | 74
97193 | 2021-04-19 15:20 | 4.9979 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.3113 | μmol/L | 29.6029 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.451 | 123182.8769 | 261896.8816 | 26.25 | 74
97203 | 2021-04-19 15:21 | 5.3312 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.3917 | μmol/L | 29.5418 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.467 | 123304.8444 | 261889.6842 | 26.25 | 74
97213 | 2021-04-19 15:21 | 5.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.7625 | μmol/L | 29.444 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.478 | 123386.8458 | 261912.1806 | 26.25 | 74
97223 | 2021-04-19 15:21 | 5.998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.0466 | μmol/L | 29.5296 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.492 | 123478.7626 | 261897.9786 | 26.25 | 74
97233 | 2021-04-19 15:22 | 6.3314 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.4061 | μmol/L | 29.5846 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.512 | 123597.246 | 261884.7227 | 26.25 | 74
97243 | 2021-04-19 15:22 | 6.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.7947 | μmol/L | 29.4746 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.526 | 123696.79 | 261874.5525 | 26.25 | 74
97253 | 2021-04-19 15:22 | 6.998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.893 | μmol/L | 29.5968 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.539 | 123784.7032 | 261875.3684 | 26.25 | 74
97263 | 2021-04-19 15:23 | 7.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.6795 | μmol/L | 29.5968 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.552 | 123876.0911 | 261884.1987 | 26.25 | 74
97273 | 2021-04-19 15:23 | 7.6644 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.7062 | μmol/L | 29.554 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.565 | 123950.3179 | 261870.1779 | 26.25 | 74
97283 | 2021-04-19 15:23 | 7.9977 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.9192 | μmol/L | 29.4868 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.575 | 124047.4409 | 261863.3301 | 26.25 | 74
97293 | 2021-04-19 15:24 | 8.3313 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.7759 | μmol/L | 29.4685 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.59 | 124165.9072 | 261859.8109 | 26.25 | 74
97303 | 2021-04-19 15:24 | 8.6647 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.3264 | μmol/L | 29.499 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.607 | 124231.3864 | 261849.9407 | 26.25 | 74
97313 | 2021-04-19 15:24 | 8.998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.4647 | μmol/L | 29.4685 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.609 | 124280.5812 | 261858.417 | 26.25 | 74
97323 | 2021-04-19 15:25 | 9.3313 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.8899 | μmol/L | 29.5479 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.617 | 124313.5563 | 261849.2349 | 26.25 | 74
97333 | 2021-04-19 15:25 | 9.6644 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.9107 | μmol/L | 29.5296 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.622 | 124368.9054 | 261842.8313 | 26.25 | 74
97343 | 2021-04-19 15:25 | 9.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.4232 | μmol/L | 29.5907 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.631 | 124428.9746 | 261841.5916 | 26.25 | 74
97353 | 2021-04-19 15:26 | 10.3309 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.9567 | μmol/L | 29.4746 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.638 | 124495.367 | 261858.0375 | 26.25 | 74
97363 | 2021-04-19 15:26 | 10.6646 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.8279 | μmol/L | 29.6335 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.653 | 124576.8307 | 261833.8798 | 26.25 | 74
97373 | 2021-04-19 15:26 | 10.9976 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.8095 | μmol/L | 29.5785 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.673 | 124709.6007 | 261839.9724 | 26.25 | 74
97383 | 2021-04-19 15:27 | 11.3313 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.8119 | μmol/L | 29.5051 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.698 | 124851.8623 | 261836.99 | 26.25 | 74
97393 | 2021-04-19 15:27 | 11.6647 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.1891 | μmol/L | 29.6029 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.703 | 124917.9456 | 261843.5217 | 26.25 | 74
97403 | 2021-04-19 15:27 | 11.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.0263 | μmol/L | 29.609 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.711 | 124972.269 | 261825.879 | 26.25 | 74
97413 | 2021-04-19 15:28 | 12.331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.1647 | μmol/L | 29.5724 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.715 | 125004.6446 | 261818.1149 | 26.25 | 74
97423 | 2021-04-19 15:28 | 12.6643 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.1726 | μmol/L | 29.5418 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.725 | 125055.0336 | 261825.5868 | 26.25 | 74
97433 | 2021-04-19 15:28 | 12.9979 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.9439 | μmol/L | 29.554 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.735 | 125134.6829 | 261828.9035 | 26.25 | 74
97443 | 2021-04-19 15:29 | 13.3311 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.5405 | μmol/L | 29.5602 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.758 | 125262.1108 | 261818.3298 | 26.25 | 74
97453 | 2021-04-19 15:29 | 13.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.5983 | μmol/L | 29.5846 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.746 | 125226.928 | 261819.5924 | 26.25 | 74
97463 | 2021-04-19 15:29 | 13.998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.9278 | μmol/L | 29.6946 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.75 | 125215.6507 | 261808.429 | 26.25 | 74
97473 | 2021-04-19 15:30 | 14.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.0804 | μmol/L | 29.6029 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.772 | 125356.2699 | 261816.1192 | 26.25 | 74
97483 | 2021-04-19 15:30 | 14.6642 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.6803 | μmol/L | 29.6641 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.776 | 125413.3734 | 261798.557 | 26.25 | 74
97493 | 2021-04-19 15:30 | 14.9977 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.5223 | μmol/L | 29.6579 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.788 | 125463.2186 | 261788.6353 | 26.25 | 74
97503 | 2021-04-19 15:31 | 15.3314 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.3721 | μmol/L | 29.6824 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.789 | 125480.4389 | 261803.773 | 26.25 | 74
97513 | 2021-04-19 15:31 | 15.6647 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.9993 | μmol/L | 29.7068 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.804 | 125598.4491 | 261782.5618 | 26.25 | 74