## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97520 | 2021-04-19 15:42 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.4338 | μmol/L | 33.0656 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.79 | 94683.3033 | 288890.3493 | 30.45 | 114.2
97530 | 2021-04-19 15:42 | 0.32601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.7366 | μmol/L | 32.9977 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.858 | 94967.6239 | 288901.3868 | 30.45 | 114.2
97540 | 2021-04-19 15:42 | 0.65937 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.0158 | μmol/L | 32.9546 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.919 | 95262.8212 | 288899.5923 | 30.45 | 114.2
97550 | 2021-04-19 15:43 | 0.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.2062 | μmol/L | 32.9422 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.975 | 95512.329 | 288902.252 | 30.45 | 114.2
97560 | 2021-04-19 15:43 | 1.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.634 | μmol/L | 32.899 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.027 | 95774.0336 | 288899.4247 | 30.45 | 114.2
97570 | 2021-04-19 15:43 | 1.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.0615 | μmol/L | 32.862 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.077 | 95988.4485 | 288896.5011 | 30.45 | 114.2
97580 | 2021-04-19 15:44 | 1.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.6673 | μmol/L | 32.8127 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.12 | 96207.1402 | 288880.2224 | 30.45 | 114.2
97590 | 2021-04-19 15:44 | 2.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.0655 | μmol/L | 32.7818 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.17 | 96404.4255 | 288889.7998 | 30.45 | 114.2
97600 | 2021-04-19 15:44 | 2.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.7482 | μmol/L | 32.7386 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.206 | 96572.8656 | 288876.5217 | 30.45 | 114.2
97610 | 2021-04-19 15:45 | 2.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.2454 | μmol/L | 32.7016 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.252 | 96759.4228 | 288898.8218 | 30.45 | 114.2
97620 | 2021-04-19 15:45 | 3.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.7299 | μmol/L | 32.6955 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.288 | 96920.443 | 288899.5268 | 30.45 | 114.2
97630 | 2021-04-19 15:45 | 3.659 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.492 | μmol/L | 32.6523 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.319 | 97072.7681 | 288903.5252 | 30.45 | 114.2
97640 | 2021-04-19 15:46 | 3.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.1123 | μmol/L | 32.6214 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.355 | 97222.0687 | 288908.553 | 30.45 | 114.2
97650 | 2021-04-19 15:46 | 4.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.8484 | μmol/L | 32.5721 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.39 | 97374.6831 | 288909.1296 | 30.45 | 114.2
97660 | 2021-04-19 15:46 | 4.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.7113 | μmol/L | 32.5104 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.421 | 97510.1237 | 288902.8285 | 30.45 | 114.2
97670 | 2021-04-19 15:47 | 4.9926 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.3134 | μmol/L | 32.4919 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.454 | 97642.5448 | 288886.7207 | 30.45 | 114.2
97680 | 2021-04-19 15:47 | 5.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.9345 | μmol/L | 32.4672 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.488 | 97759.5916 | 288904.2265 | 30.45 | 114.2
97690 | 2021-04-19 15:47 | 5.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.8584 | μmol/L | 32.4055 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.515 | 97888.4645 | 288887.8545 | 30.45 | 114.2
97700 | 2021-04-19 15:48 | 5.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.4248 | μmol/L | 32.4055 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.544 | 97997.0599 | 288901.5167 | 30.45 | 114.2
97710 | 2021-04-19 15:48 | 6.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.1678 | μmol/L | 32.3809 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.57 | 98103.6981 | 288891.5345 | 30.45 | 114.2
97720 | 2021-04-19 15:48 | 6.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.205 | μmol/L | 32.3007 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.596 | 98185.2246 | 288879.23 | 30.45 | 114.2
97730 | 2021-04-19 15:49 | 6.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.0257 | μmol/L | 32.2698 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.619 | 98251.343 | 288892.6766 | 30.45 | 114.2
97740 | 2021-04-19 15:49 | 7.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.6043 | μmol/L | 32.2822 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.643 | 98366.4802 | 288889.2853 | 30.45 | 114.2
97750 | 2021-04-19 15:49 | 7.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.3166 | μmol/L | 32.2637 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.669 | 98444.3465 | 288879.1237 | 30.45 | 114.2
97760 | 2021-04-19 15:50 | 7.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.2859 | μmol/L | 32.202 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.693 | 98527.5592 | 288866.6448 | 30.45 | 114.2
97770 | 2021-04-19 15:50 | 8.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.3224 | μmol/L | 32.1218 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.719 | 98620.3639 | 288882.1332 | 30.45 | 114.2
97780 | 2021-04-19 15:50 | 8.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.7914 | μmol/L | 32.1218 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.755 | 98735.4381 | 288875.3347 | 30.45 | 114.2
97790 | 2021-04-19 15:51 | 8.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.2298 | μmol/L | 32.0971 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.802 | 98951.6661 | 288868.4984 | 30.45 | 114.2
97800 | 2021-04-19 15:51 | 9.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.9275 | μmol/L | 32.054 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.838 | 99097.4203 | 288883.4513 | 30.45 | 114.2
97810 | 2021-04-19 15:51 | 9.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.6208 | μmol/L | 32.054 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.859 | 99172.6009 | 288878.1767 | 30.45 | 114.2
97820 | 2021-04-19 15:52 | 9.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.5675 | μmol/L | 32.0108 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.878 | 99224.7134 | 288871.4533 | 30.45 | 114.2
97830 | 2021-04-19 15:52 | 10.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.6217 | μmol/L | 31.9553 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.894 | 99284.6718 | 288875.8253 | 30.45 | 114.2
97840 | 2021-04-19 15:52 | 10.6589 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.6966 | μmol/L | 31.9183 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.902 | 99336.6944 | 288876.4315 | 30.45 | 114.2
97850 | 2021-04-19 15:53 | 10.9925 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.278 | μmol/L | 31.9429 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.922 | 99394.1394 | 288885.0416 | 30.45 | 114.2
97860 | 2021-04-19 15:53 | 11.3261 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.0511 | μmol/L | 31.9306 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.942 | 99474.0801 | 288877.1465 | 30.45 | 114.2
97870 | 2021-04-19 15:53 | 11.6595 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.7841 | μmol/L | 31.9121 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.967 | 99593.2132 | 288884.1965 | 30.45 | 114.2
97880 | 2021-04-19 15:54 | 11.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.552 | μmol/L | 31.8813 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.994 | 99703.5792 | 288878.2884 | 30.45 | 114.2
97890 | 2021-04-19 15:54 | 12.3256 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.548 | μmol/L | 31.8258 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.014 | 99785.1175 | 288892.8999 | 30.45 | 114.2
97900 | 2021-04-19 15:54 | 12.6589 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.3363 | μmol/L | 31.7826 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.044 | 99894.0038 | 288891.6562 | 30.45 | 114.2
97910 | 2021-04-19 15:55 | 12.9928 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.1771 | μmol/L | 31.7518 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.066 | 100022.5117 | 288893.8373 | 30.45 | 114.2
97920 | 2021-04-19 15:55 | 13.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.9318 | μmol/L | 31.7209 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.094 | 100128.7407 | 288887.5901 | 30.45 | 114.2
97930 | 2021-04-19 15:55 | 13.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.696 | μmol/L | 31.7024 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.117 | 100232.6077 | 288887.0114 | 30.45 | 114.2
97940 | 2021-04-19 15:56 | 13.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.3836 | μmol/L | 31.6963 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.141 | 100336.4468 | 288889.1339 | 30.45 | 114.2
97950 | 2021-04-19 15:56 | 14.3263 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.1175 | μmol/L | 31.6839 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.164 | 100419.9978 | 288893.4884 | 30.45 | 114.2
97960 | 2021-04-19 15:56 | 14.6597 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.926 | μmol/L | 31.6654 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.184 | 100494.8753 | 288879.8819 | 30.45 | 114.2
97970 | 2021-04-19 15:57 | 14.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.8399 | μmol/L | 31.6346 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.201 | 100571.3683 | 288878.6686 | 30.45 | 114.2
97980 | 2021-04-19 15:57 | 15.3259 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.7084 | μmol/L | 31.6099 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.219 | 100662.7719 | 288876.2303 | 30.45 | 114.2
97990 | 2021-04-19 15:57 | 15.6596 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.4689 | μmol/L | 31.5729 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.249 | 100760.7116 | 288867.7715 | 30.45 | 114.2
98000 | 2021-04-19 15:58 | 15.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.479 | μmol/L | 31.5174 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.268 | 100844.0795 | 288861.8585 | 30.45 | 114.2
98010 | 2021-04-19 15:58 | 16.3262 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.1389 | μmol/L | 31.5174 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.292 | 100937.7963 | 288861.4974 | 30.45 | 114.2
98020 | 2021-04-19 15:58 | 16.6592 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.9577 | μmol/L | 31.5113 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.307 | 100988.87 | 288851.9218 | 30.45 | 114.2
98030 | 2021-04-19 15:59 | 16.9931 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.8837 | μmol/L | 31.4866 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.321 | 101062.4992 | 288856.8465 | 30.45 | 114.2
98040 | 2021-04-19 15:59 | 17.3256 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.5391 | μmol/L | 31.4681 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.352 | 101160.0475 | 288847.5668 | 30.45 | 114.2
98050 | 2021-04-19 15:59 | 17.6594 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.1507 | μmol/L | 31.4558 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.384 | 101338.132 | 288834.1532 | 30.45 | 114.2
98060 | 2021-04-19 16:00 | 17.9923 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.1291 | μmol/L | 31.4249 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.468 | 101744.4739 | 288820.4187 | 30.45 | 114.2
98070 | 2021-04-19 16:00 | 18.3256 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.1143 | μmol/L | 31.3633 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.491 | 101842.2157 | 288820.8114 | 30.45 | 114.2
98080 | 2021-04-19 16:00 | 18.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.8836 | μmol/L | 31.3818 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.501 | 101883.2959 | 288823.3245 | 30.45 | 114.2
98090 | 2021-04-19 16:01 | 18.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.6448 | μmol/L | 31.3879 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.516 | 101946.4672 | 288828.6254 | 30.45 | 114.2
98100 | 2021-04-19 16:01 | 19.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.7662 | μmol/L | 31.3324 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.527 | 102010.0878 | 288827.4773 | 30.45 | 114.2
98110 | 2021-04-19 16:01 | 19.6593 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.5939 | μmol/L | 31.3139 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.546 | 102089.0238 | 288822.5762 | 30.45 | 114.2
98120 | 2021-04-19 16:02 | 19.993 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.1675 | μmol/L | 31.3078 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.579 | 102196.5494 | 288803.4965 | 30.45 | 114.2
98130 | 2021-04-19 16:02 | 20.326 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.9933 | μmol/L | 31.2954 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.596 | 102297.6527 | 288800.9059 | 30.45 | 114.2
98140 | 2021-04-19 16:02 | 20.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.7173 | μmol/L | 31.2646 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.627 | 102457.1983 | 288800.6895 | 30.45 | 114.2
98150 | 2021-04-19 16:03 | 20.9929 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.4419 | μmol/L | 31.2338 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.658 | 102600.5874 | 288791.6972 | 30.45 | 114.2
98160 | 2021-04-19 16:03 | 21.3258 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 159.0823 | μmol/L | 31.2091 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.693 | 102786.9331 | 288797.3676 | 30.45 | 114.2
98170 | 2021-04-19 16:03 | 21.6591 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.6502 | μmol/L | 31.1968 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.729 | 102934.7242 | 288792.5998 | 30.45 | 114.2
98180 | 2021-04-19 16:04 | 21.9927 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 158.2902 | μmol/L | 31.1783 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.762 | 103114.1371 | 288800.4315 | 30.45 | 114.2
98190 | 2021-04-19 16:04 | 22.3264 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 157.8038 | μmol/L | 31.1721 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.8 | 103303.2045 | 288801.4118 | 30.45 | 114.2