## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 15:32

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97044 | 2021-04-19 15:15 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.6079 | μmol/L | 29.367 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.76 | 121926.6714 | 264981.4975 | 32.55 | 27.7
97054 | 2021-04-19 15:16 | 0.33451 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.0777 | μmol/L | 29.3486 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.796 | 122212.6238 | 264957.6492 | 32.55 | 27.7
97064 | 2021-04-19 15:16 | 0.66771 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.262 | μmol/L | 29.3609 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.838 | 122524.7088 | 264924.1053 | 32.55 | 27.7
97074 | 2021-04-19 15:16 | 1.001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.747 | μmol/L | 29.3854 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.859 | 122716.4138 | 264883.0313 | 32.55 | 27.7
97084 | 2021-04-19 15:17 | 1.3344 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.2564 | μmol/L | 29.3793 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.889 | 122910.9642 | 264879.4403 | 32.55 | 27.7
97094 | 2021-04-19 15:17 | 1.6678 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.3583 | μmol/L | 29.4161 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.928 | 123147.005 | 264868.726 | 32.55 | 27.7
97104 | 2021-04-19 15:17 | 2.0009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.8327 | μmol/L | 29.4345 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.952 | 123314.518 | 264857.5801 | 32.55 | 27.7
97114 | 2021-04-19 15:18 | 2.3346 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.3781 | μmol/L | 29.4529 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.972 | 123500.4428 | 264873.0832 | 32.55 | 27.7
97124 | 2021-04-19 15:18 | 2.6681 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2823 | μmol/L | 29.41 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.992 | 123667.2962 | 264843.4021 | 32.55 | 27.7
97134 | 2021-04-19 15:18 | 3.001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.7972 | μmol/L | 29.4161 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.018 | 123848.1359 | 264841.7033 | 32.55 | 27.7
97144 | 2021-04-19 15:19 | 3.3346 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4893 | μmol/L | 29.4038 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.04 | 124005.7578 | 264841.6534 | 32.55 | 27.7
97154 | 2021-04-19 15:19 | 3.6678 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.1833 | μmol/L | 29.3854 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.064 | 124179.6345 | 264813.9043 | 32.55 | 27.7
97164 | 2021-04-19 15:19 | 4.0011 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.5049 | μmol/L | 29.4345 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.087 | 124332.2119 | 264824.3038 | 32.55 | 27.7
97174 | 2021-04-19 15:20 | 4.3349 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.969 | μmol/L | 29.4652 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.108 | 124476.6395 | 264810.9222 | 32.55 | 27.7
97184 | 2021-04-19 15:20 | 4.6676 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.716 | μmol/L | 29.4529 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.127 | 124624.0213 | 264810.0131 | 32.55 | 27.7
97194 | 2021-04-19 15:20 | 5.001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.3733 | μmol/L | 29.4652 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.143 | 124775.7155 | 264803.7411 | 32.55 | 27.7
97204 | 2021-04-19 15:21 | 5.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.0352 | μmol/L | 29.459 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.165 | 124899.5569 | 264799.5432 | 32.55 | 27.7
97214 | 2021-04-19 15:21 | 5.6676 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.5169 | μmol/L | 29.5081 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.179 | 125000.03 | 264793.8868 | 32.55 | 27.7
97224 | 2021-04-19 15:21 | 6.001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.9284 | μmol/L | 29.5756 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.191 | 125130.2702 | 264777.63 | 32.55 | 27.7
97234 | 2021-04-19 15:22 | 6.3345 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.732 | μmol/L | 29.5511 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.211 | 125239.7299 | 264793.4287 | 32.55 | 27.7
97244 | 2021-04-19 15:22 | 6.6679 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 190.3961 | μmol/L | 29.5511 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.231 | 125367.7878 | 264779.6647 | 32.55 | 27.7
97254 | 2021-04-19 15:22 | 7.001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.9353 | μmol/L | 29.5879 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.246 | 125497.4737 | 264770.8182 | 32.55 | 27.7
97264 | 2021-04-19 15:23 | 7.3347 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.7906 | μmol/L | 29.5633 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.263 | 125621.1677 | 264788.1256 | 32.55 | 27.7
97274 | 2021-04-19 15:23 | 7.668 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.3162 | μmol/L | 29.594 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.281 | 125748.3218 | 264780.0256 | 32.55 | 27.7
97284 | 2021-04-19 15:23 | 8.0015 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 189.1237 | μmol/L | 29.5633 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.303 | 125907.7732 | 264770.8066 | 32.55 | 27.7
97294 | 2021-04-19 15:24 | 8.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.4193 | μmol/L | 29.594 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.335 | 126098.3536 | 264769.3891 | 32.55 | 27.7
97304 | 2021-04-19 15:24 | 8.6676 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.4523 | μmol/L | 29.5265 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.356 | 126268.3178 | 264765.2149 | 32.55 | 27.7
97314 | 2021-04-19 15:24 | 9.0012 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 188.1546 | μmol/L | 29.5265 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.374 | 126402.0507 | 264755.2646 | 32.55 | 27.7
97324 | 2021-04-19 15:25 | 9.3346 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.4903 | μmol/L | 29.6124 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.385 | 126509.6751 | 264755.266 | 32.55 | 27.7
97334 | 2021-04-19 15:25 | 9.6679 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 187.2257 | μmol/L | 29.6186 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.399 | 126595.2327 | 264739.9119 | 32.55 | 27.7
97344 | 2021-04-19 15:25 | 10.0011 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.9779 | μmol/L | 29.6247 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.412 | 126692.6245 | 264749.7115 | 32.55 | 27.7
97354 | 2021-04-19 15:26 | 10.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.616 | μmol/L | 29.6308 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.432 | 126817.2413 | 264751.2836 | 32.55 | 27.7
97364 | 2021-04-19 15:26 | 10.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 186.6465 | μmol/L | 29.5756 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.449 | 126947.5632 | 264746.1644 | 32.55 | 27.7
97374 | 2021-04-19 15:26 | 11.0014 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.823 | μmol/L | 29.6676 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.468 | 127075.1863 | 264743.7131 | 32.55 | 27.7
97384 | 2021-04-19 15:27 | 11.3345 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.6506 | μmol/L | 29.6431 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.487 | 127201.3623 | 264727.3044 | 32.55 | 27.7
97394 | 2021-04-19 15:27 | 11.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.5726 | μmol/L | 29.6308 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.496 | 127279.6731 | 264731.2592 | 32.55 | 27.7
97404 | 2021-04-19 15:27 | 12.0012 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 185.3113 | μmol/L | 29.637 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.51 | 127367.0711 | 264728.6392 | 32.55 | 27.7
97414 | 2021-04-19 15:28 | 12.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.9031 | μmol/L | 29.6492 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.531 | 127514.8243 | 264727.6626 | 32.55 | 27.7
97424 | 2021-04-19 15:28 | 12.6676 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 184.5912 | μmol/L | 29.6676 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.544 | 127640.4414 | 264715.0807 | 32.55 | 27.7
97434 | 2021-04-19 15:28 | 13.001 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.9529 | μmol/L | 29.7044 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.571 | 127787.1319 | 264718.6862 | 32.55 | 27.7
97444 | 2021-04-19 15:29 | 13.3344 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.81 | μmol/L | 29.6983 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.582 | 127893.8171 | 264716.6751 | 32.55 | 27.7
97454 | 2021-04-19 15:29 | 13.6681 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.6261 | μmol/L | 29.6676 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.604 | 127972.1697 | 264690.2851 | 32.55 | 27.7
97464 | 2021-04-19 15:29 | 14.0017 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 183.3469 | μmol/L | 29.6922 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.613 | 128082.6885 | 264696.0013 | 32.55 | 27.7
97474 | 2021-04-19 15:30 | 14.3343 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.8216 | μmol/L | 29.7413 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.629 | 128187.9657 | 264695.2626 | 32.55 | 27.7
97484 | 2021-04-19 15:30 | 14.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.5453 | μmol/L | 29.7597 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.64 | 128279.9393 | 264678.8728 | 32.55 | 27.7
97494 | 2021-04-19 15:30 | 15.0009 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.4746 | μmol/L | 29.729 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.655 | 128370.0275 | 264683.2853 | 32.55 | 27.7
97504 | 2021-04-19 15:31 | 15.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 182.1532 | μmol/L | 29.7413 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.671 | 128513.0526 | 264675.5676 | 32.55 | 27.7
97514 | 2021-04-19 15:31 | 15.6676 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 181.6826 | μmol/L | 29.7781 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 21.688 | 128607.0075 | 264681.09 | 32.55 | 27.7