## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97522 | 2021-04-19 15:42 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 174.2111 | μmol/L | 32.5412 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.881 | 134471.5458 | 297103.8369 | 33.25 | 68.6
97532 | 2021-04-19 15:42 | 0.32575 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.7965 | μmol/L | 32.5106 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.92 | 134695.9032 | 297099.7087 | 33.25 | 68.6
97542 | 2021-04-19 15:42 | 0.65903 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.5218 | μmol/L | 32.474 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.952 | 134904.7495 | 297096.3745 | 33.25 | 68.6
97552 | 2021-04-19 15:43 | 0.99247 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.3412 | μmol/L | 32.4312 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.98 | 135095.0014 | 297101.714 | 33.25 | 68.6
97562 | 2021-04-19 15:43 | 1.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.2244 | μmol/L | 32.3823 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.006 | 135260.3717 | 297094.5748 | 33.25 | 68.6
97572 | 2021-04-19 15:43 | 1.6591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 173.1186 | μmol/L | 32.3396 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.029 | 135419.8604 | 297096.5451 | 33.25 | 68.6
97582 | 2021-04-19 15:44 | 1.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.9157 | μmol/L | 32.309 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.054 | 135579.6221 | 297091.6722 | 33.25 | 68.6
97592 | 2021-04-19 15:44 | 2.3257 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.8209 | μmol/L | 32.2724 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.074 | 135709.8142 | 297079.638 | 33.25 | 68.6
97602 | 2021-04-19 15:44 | 2.6591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.741 | μmol/L | 32.2357 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.093 | 135845.1102 | 297090.5165 | 33.25 | 68.6
97612 | 2021-04-19 15:45 | 2.9923 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.5871 | μmol/L | 32.1991 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.117 | 135976.7069 | 297086.5343 | 33.25 | 68.6
97622 | 2021-04-19 15:45 | 3.3255 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.5517 | μmol/L | 32.1624 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.133 | 136085.3797 | 297099.1335 | 33.25 | 68.6
97632 | 2021-04-19 15:45 | 3.6588 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.3458 | μmol/L | 32.138 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.156 | 136223.7858 | 297102.6161 | 33.25 | 68.6
97642 | 2021-04-19 15:46 | 3.992 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.3734 | μmol/L | 32.0952 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.17 | 136338.4893 | 297094.6316 | 33.25 | 68.6
97652 | 2021-04-19 15:46 | 4.3257 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.3045 | μmol/L | 32.0647 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.186 | 136436.6884 | 297092.5511 | 33.25 | 68.6
97662 | 2021-04-19 15:46 | 4.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.1727 | μmol/L | 32.0402 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.204 | 136550.3716 | 297099.6454 | 33.25 | 68.6
97672 | 2021-04-19 15:47 | 4.9922 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.1333 | μmol/L | 32.0097 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.218 | 136645.41 | 297085.149 | 33.25 | 68.6
97682 | 2021-04-19 15:47 | 5.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.0684 | μmol/L | 31.973 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.236 | 136747.9256 | 297093.8182 | 33.25 | 68.6
97692 | 2021-04-19 15:47 | 5.6591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 172.0251 | μmol/L | 31.9486 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.248 | 136856.9285 | 297088.3312 | 33.25 | 68.6
97702 | 2021-04-19 15:48 | 5.9921 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.9121 | μmol/L | 31.9181 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.267 | 136966.8226 | 297081.8606 | 33.25 | 68.6
97712 | 2021-04-19 15:48 | 6.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.8248 | μmol/L | 31.8936 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.282 | 137056.1108 | 297075.0228 | 33.25 | 68.6
97722 | 2021-04-19 15:48 | 6.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.8148 | μmol/L | 31.8631 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.294 | 137161.8514 | 297085.2411 | 33.25 | 68.6
97732 | 2021-04-19 15:49 | 6.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.6688 | μmol/L | 31.8387 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.313 | 137249.5684 | 297074.996 | 33.25 | 68.6
97742 | 2021-04-19 15:49 | 7.3256 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.5593 | μmol/L | 31.8264 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.325 | 137348.1146 | 297076.0874 | 33.25 | 68.6
97752 | 2021-04-19 15:49 | 7.6591 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.476 | μmol/L | 31.7959 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.342 | 137432.5856 | 297067.0497 | 33.25 | 68.6
97762 | 2021-04-19 15:50 | 7.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.4367 | μmol/L | 31.7653 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.356 | 137550.9039 | 297058.0874 | 33.25 | 68.6
97772 | 2021-04-19 15:50 | 8.3254 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.3351 | μmol/L | 31.7409 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.372 | 137629.9511 | 297057.1463 | 33.25 | 68.6
97782 | 2021-04-19 15:50 | 8.6589 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.1675 | μmol/L | 31.7287 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.388 | 137725.9379 | 297055.7272 | 33.25 | 68.6
97792 | 2021-04-19 15:51 | 8.9927 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.1574 | μmol/L | 31.6982 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.4 | 137850.016 | 297077.7508 | 33.25 | 68.6
97802 | 2021-04-19 15:51 | 9.3255 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 171.0376 | μmol/L | 31.6798 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.415 | 137927.0805 | 297074.0551 | 33.25 | 68.6
97812 | 2021-04-19 15:51 | 9.6589 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.9692 | μmol/L | 31.6493 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.431 | 138023.5583 | 297068.5843 | 33.25 | 68.6
97822 | 2021-04-19 15:52 | 9.9923 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.8749 | μmol/L | 31.6371 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.442 | 138105.3978 | 297065.3267 | 33.25 | 68.6
97832 | 2021-04-19 15:52 | 10.3255 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.7775 | μmol/L | 31.6065 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.46 | 138210.2486 | 297051.534 | 33.25 | 68.6
97842 | 2021-04-19 15:52 | 10.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.749 | μmol/L | 31.5821 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.471 | 138296.4912 | 297039.1978 | 33.25 | 68.6
97852 | 2021-04-19 15:53 | 10.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.6113 | μmol/L | 31.5699 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.485 | 138390.0395 | 297054.3218 | 33.25 | 68.6
97862 | 2021-04-19 15:53 | 11.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.6157 | μmol/L | 31.5393 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.496 | 138460.2305 | 297065.6171 | 33.25 | 68.6
97872 | 2021-04-19 15:53 | 11.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.5469 | μmol/L | 31.5332 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.503 | 138517.5525 | 297069.7412 | 33.25 | 68.6
97882 | 2021-04-19 15:54 | 11.9921 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.446 | μmol/L | 31.5088 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.519 | 138597.9108 | 297060.979 | 33.25 | 68.6
97892 | 2021-04-19 15:54 | 12.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.3376 | μmol/L | 31.4966 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.531 | 138713.8754 | 297068.3576 | 33.25 | 68.6
97902 | 2021-04-19 15:54 | 12.6587 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.3023 | μmol/L | 31.4599 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.547 | 138809.5739 | 297063.771 | 33.25 | 68.6
97912 | 2021-04-19 15:55 | 12.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.1941 | μmol/L | 31.4477 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.559 | 138906.6441 | 297079.5518 | 33.25 | 68.6
97922 | 2021-04-19 15:55 | 13.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 170.0934 | μmol/L | 31.4233 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.575 | 139013.5413 | 297069.6065 | 33.25 | 68.6
97932 | 2021-04-19 15:55 | 13.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.971 | μmol/L | 31.4111 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.588 | 139098.6258 | 297070.0361 | 33.25 | 68.6
97942 | 2021-04-19 15:56 | 13.992 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.8016 | μmol/L | 31.405 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.602 | 139175.4351 | 297072.3208 | 33.25 | 68.6
97952 | 2021-04-19 15:56 | 14.3257 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.7915 | μmol/L | 31.3744 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.614 | 139269.8774 | 297065.9664 | 33.25 | 68.6
97962 | 2021-04-19 15:56 | 14.6587 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.6224 | μmol/L | 31.3683 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.628 | 139326.2006 | 297065.1133 | 33.25 | 68.6
97972 | 2021-04-19 15:57 | 14.9921 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.5654 | μmol/L | 31.3439 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.641 | 139431.7425 | 297055.6494 | 33.25 | 68.6
97982 | 2021-04-19 15:57 | 15.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.4148 | μmol/L | 31.3317 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.656 | 139515.4553 | 297038.0014 | 33.25 | 68.6
97992 | 2021-04-19 15:57 | 15.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.3579 | μmol/L | 31.3073 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.669 | 139589.3318 | 297038.2237 | 33.25 | 68.6
98002 | 2021-04-19 15:58 | 15.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.3871 | μmol/L | 31.2828 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.676 | 139686.0742 | 297040.1928 | 33.25 | 68.6
98012 | 2021-04-19 15:58 | 16.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.165 | μmol/L | 31.2706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.696 | 139774.6269 | 297038.2662 | 33.25 | 68.6
98022 | 2021-04-19 15:58 | 16.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 169.1226 | μmol/L | 31.2462 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.708 | 139852.6707 | 297030.7872 | 33.25 | 68.6
98032 | 2021-04-19 15:59 | 16.9922 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.9937 | μmol/L | 31.2462 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.717 | 139908.8837 | 297017.4099 | 33.25 | 68.6
98042 | 2021-04-19 15:59 | 17.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.8904 | μmol/L | 31.2279 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.731 | 140000.4272 | 297003.878 | 33.25 | 68.6
98052 | 2021-04-19 15:59 | 17.6589 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.8729 | μmol/L | 31.2095 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.739 | 140069.7455 | 297020.272 | 33.25 | 68.6
98062 | 2021-04-19 16:00 | 17.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.766 | μmol/L | 31.1973 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.751 | 140131.5099 | 297021.7077 | 33.25 | 68.6
98072 | 2021-04-19 16:00 | 18.3253 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.7057 | μmol/L | 31.179 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.762 | 140190.1884 | 297002.6043 | 33.25 | 68.6
98082 | 2021-04-19 16:00 | 18.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.656 | μmol/L | 31.1668 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.77 | 140254.4895 | 297012.0023 | 33.25 | 68.6
98092 | 2021-04-19 16:01 | 18.9941 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.5562 | μmol/L | 31.1668 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.777 | 140310.7402 | 297004.4766 | 33.25 | 68.6
98102 | 2021-04-19 16:01 | 19.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.4495 | μmol/L | 31.1546 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.789 | 140377.0618 | 297005.9312 | 33.25 | 68.6
98112 | 2021-04-19 16:01 | 19.6586 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.3536 | μmol/L | 31.1485 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.798 | 140426.6358 | 297006.1919 | 33.25 | 68.6
98122 | 2021-04-19 16:02 | 19.9923 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.3077 | μmol/L | 31.1301 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.808 | 140499.1715 | 296983.7137 | 33.25 | 68.6
98132 | 2021-04-19 16:02 | 20.3253 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.176 | μmol/L | 31.1363 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.815 | 140546.8556 | 296982.0031 | 33.25 | 68.6
98142 | 2021-04-19 16:02 | 20.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.2155 | μmol/L | 31.1179 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.819 | 140584.7879 | 296975.8195 | 33.25 | 68.6
98152 | 2021-04-19 16:03 | 20.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.3014 | μmol/L | 31.0935 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.822 | 140545.3313 | 296962.7589 | 33.25 | 68.6
98162 | 2021-04-19 16:03 | 21.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.3404 | μmol/L | 31.0996 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.817 | 140544.2687 | 296963.9163 | 33.25 | 68.6
98172 | 2021-04-19 16:03 | 21.6587 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.4046 | μmol/L | 31.0874 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.817 | 140530.4309 | 296963.4282 | 33.25 | 68.6
98182 | 2021-04-19 16:04 | 21.992 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 168.5332 | μmol/L | 31.063 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.817 | 140555.3859 | 296954.5154 | 33.25 | 68.6