## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-19 16:05

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
97523 | 2021-04-19 15:42 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.7341 | μmol/L | 33.0089 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.855 | 116367.6681 | 261715.0189 | 26.25 | 74
97533 | 2021-04-19 15:42 | 0.34185 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.8307 | μmol/L | 32.9967 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.916 | 116744.4014 | 261715.5529 | 26.25 | 74
97543 | 2021-04-19 15:42 | 0.67494 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.2954 | μmol/L | 32.9539 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.965 | 117040.2399 | 261721.994 | 26.25 | 74
97553 | 2021-04-19 15:43 | 1.0084 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.9632 | μmol/L | 32.8866 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.01 | 117302.2932 | 261719.1887 | 26.25 | 74
97563 | 2021-04-19 15:43 | 1.3416 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.3376 | μmol/L | 32.8437 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.065 | 117616.348 | 261713.6221 | 26.25 | 74
97573 | 2021-04-19 15:43 | 1.6748 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.8687 | μmol/L | 32.807 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.108 | 117855.333 | 261711.6364 | 26.25 | 74
97583 | 2021-04-19 15:44 | 2.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.4924 | μmol/L | 32.7764 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.143 | 118085.1433 | 261711.7814 | 26.25 | 74
97593 | 2021-04-19 15:44 | 2.3416 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.4639 | μmol/L | 32.703 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.171 | 118241.9129 | 261711.4665 | 26.25 | 74
97603 | 2021-04-19 15:44 | 2.6748 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.2373 | μmol/L | 32.6541 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.203 | 118439.5147 | 261717.0585 | 26.25 | 74
97613 | 2021-04-19 15:45 | 3.0081 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.6012 | μmol/L | 32.6541 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.244 | 118633.5144 | 261716.4064 | 26.25 | 74
97623 | 2021-04-19 15:45 | 3.3422 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.4774 | μmol/L | 32.5868 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.276 | 118844.0658 | 261720.8821 | 26.25 | 74
97633 | 2021-04-19 15:45 | 3.6754 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.5991 | μmol/L | 32.4889 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.303 | 119010.1806 | 261718.3878 | 26.25 | 74
97643 | 2021-04-19 15:46 | 4.0087 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.8887 | μmol/L | 32.5256 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.336 | 119198.4893 | 261723.1696 | 26.25 | 74
97653 | 2021-04-19 15:46 | 4.342 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.6679 | μmol/L | 32.4706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.37 | 119410.2436 | 261725.4638 | 26.25 | 74
97663 | 2021-04-19 15:46 | 4.6754 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.5367 | μmol/L | 32.4216 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.396 | 119558.0943 | 261724.9073 | 26.25 | 74
97673 | 2021-04-19 15:47 | 5.0089 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.2958 | μmol/L | 32.3788 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.427 | 119713.8955 | 261721.5546 | 26.25 | 74
97683 | 2021-04-19 15:47 | 5.3418 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.1845 | μmol/L | 32.3544 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.443 | 119832.8636 | 261723.867 | 26.25 | 74
97693 | 2021-04-19 15:47 | 5.6748 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.8681 | μmol/L | 32.3115 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.479 | 120001.9349 | 261721.8333 | 26.25 | 74
97703 | 2021-04-19 15:48 | 6.0087 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.3018 | μmol/L | 32.1586 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.505 | 120170.9904 | 261708.8899 | 26.25 | 74
97713 | 2021-04-19 15:48 | 6.3419 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.0023 | μmol/L | 32.1464 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.529 | 120317.2334 | 261716.9441 | 26.25 | 74
97723 | 2021-04-19 15:48 | 6.6754 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.5283 | μmol/L | 32.1525 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.558 | 120487.2102 | 261714.1514 | 26.25 | 74
97733 | 2021-04-19 15:49 | 7.0086 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.1824 | μmol/L | 32.1464 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.583 | 120623.7385 | 261710.1986 | 26.25 | 74
97743 | 2021-04-19 15:49 | 7.3422 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.2245 | μmol/L | 32.0852 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.602 | 120743.9031 | 261702.4383 | 26.25 | 74
97753 | 2021-04-19 15:49 | 7.675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.8493 | μmol/L | 32.0791 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.629 | 120877.8143 | 261711.4215 | 26.25 | 74
97763 | 2021-04-19 15:50 | 8.0084 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.9791 | μmol/L | 32.0241 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.64 | 120964.9867 | 261704.383 | 26.25 | 74
97773 | 2021-04-19 15:50 | 8.342 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.8185 | μmol/L | 32.0118 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.655 | 121010.7246 | 261698.9378 | 26.25 | 74
97783 | 2021-04-19 15:50 | 8.6748 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.6263 | μmol/L | 31.969 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.683 | 121171.6709 | 261704.3171 | 26.25 | 74
97793 | 2021-04-19 15:51 | 9.0085 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.6979 | μmol/L | 31.9079 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.7 | 121257.519 | 261708.3139 | 26.25 | 74
97803 | 2021-04-19 15:51 | 9.3418 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.4802 | μmol/L | 31.8895 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.721 | 121384.823 | 261701.8514 | 26.25 | 74
97813 | 2021-04-19 15:51 | 9.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.4915 | μmol/L | 31.8284 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.742 | 121490.8108 | 261698.809 | 26.25 | 74
97823 | 2021-04-19 15:52 | 10.0086 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.3825 | μmol/L | 31.7672 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.771 | 121667.1754 | 261704.5779 | 26.25 | 74
97833 | 2021-04-19 15:52 | 10.3415 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 172.1258 | μmol/L | 31.7366 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.799 | 121860.2118 | 261702.813 | 26.25 | 74
97843 | 2021-04-19 15:52 | 10.675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.7152 | μmol/L | 31.7183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.833 | 122081.0084 | 261691.0638 | 26.25 | 74
97853 | 2021-04-19 15:53 | 11.0088 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 171.0228 | μmol/L | 31.7366 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.873 | 122308.2322 | 261688.8648 | 26.25 | 74
97863 | 2021-04-19 15:53 | 11.3417 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.9757 | μmol/L | 31.6388 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.911 | 122546.5337 | 261707.6838 | 26.25 | 74
97873 | 2021-04-19 15:53 | 11.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.6299 | μmol/L | 31.651 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.93 | 122655.1496 | 261705.5524 | 26.25 | 74
97883 | 2021-04-19 15:54 | 12.0088 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.9675 | μmol/L | 31.6816 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.964 | 122860.4758 | 261712.4144 | 26.25 | 74
97893 | 2021-04-19 15:54 | 12.3417 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 170.0027 | μmol/L | 31.5654 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.003 | 123041.3776 | 261699.4919 | 26.25 | 74
97903 | 2021-04-19 15:54 | 12.6748 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.5888 | μmol/L | 31.5715 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.029 | 123247.7542 | 261707.4574 | 26.25 | 74
97913 | 2021-04-19 15:55 | 13.0081 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.6495 | μmol/L | 31.4981 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.051 | 123387.089 | 261706.9997 | 26.25 | 74
97923 | 2021-04-19 15:55 | 13.3423 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.2954 | μmol/L | 31.5042 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.073 | 123497.3951 | 261718.436 | 26.25 | 74
97933 | 2021-04-19 15:55 | 13.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.9793 | μmol/L | 31.492 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.099 | 123671.0886 | 261707.1935 | 26.25 | 74
97943 | 2021-04-19 15:56 | 14.0086 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 169.0158 | μmol/L | 31.4064 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.127 | 123814.5797 | 261706.8805 | 26.25 | 74
97953 | 2021-04-19 15:56 | 14.3422 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.8529 | μmol/L | 31.4125 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.136 | 123871.8238 | 261701.1539 | 26.25 | 74
97963 | 2021-04-19 15:56 | 14.6754 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.5935 | μmol/L | 31.4064 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.156 | 123965.4387 | 261708.4562 | 26.25 | 74
97973 | 2021-04-19 15:57 | 15.0088 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.2793 | μmol/L | 31.3942 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.182 | 124128.8161 | 261693.464 | 26.25 | 74
97983 | 2021-04-19 15:57 | 15.3414 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 168.1185 | μmol/L | 31.3636 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.204 | 124237.0243 | 261693.7118 | 26.25 | 74
97993 | 2021-04-19 15:57 | 15.6749 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.8081 | μmol/L | 31.3452 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.232 | 124402.6651 | 261686.1243 | 26.25 | 74
98003 | 2021-04-19 15:58 | 16.0087 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.4841 | μmol/L | 31.3269 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.261 | 124577.5824 | 261688.138 | 26.25 | 74
98013 | 2021-04-19 15:58 | 16.3415 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 167.1558 | μmol/L | 31.3208 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.286 | 124714.9156 | 261679.2238 | 26.25 | 74
98023 | 2021-04-19 15:58 | 16.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.797 | μmol/L | 31.3208 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.311 | 124885.8346 | 261663.9612 | 26.25 | 74
98033 | 2021-04-19 15:59 | 17.0089 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.6631 | μmol/L | 31.2657 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.34 | 125060.0505 | 261668.2535 | 26.25 | 74
98043 | 2021-04-19 15:59 | 17.3417 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.645 | μmol/L | 31.174 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.374 | 125261.1136 | 261673.9175 | 26.25 | 74
98053 | 2021-04-19 15:59 | 17.6751 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.2932 | μmol/L | 31.1618 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.403 | 125427.9559 | 261663.7984 | 26.25 | 74
98063 | 2021-04-19 16:00 | 18.0081 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.5848 | μmol/L | 31.0456 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.424 | 125548.6876 | 261667.1295 | 26.25 | 74
98073 | 2021-04-19 16:00 | 18.3418 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 166.3617 | μmol/L | 31.0334 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.444 | 125671.0136 | 261663.0829 | 26.25 | 74
98083 | 2021-04-19 16:00 | 18.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.3596 | μmol/L | 31.119 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.484 | 125890.4053 | 261663.1064 | 26.25 | 74
98093 | 2021-04-19 16:01 | 19.0082 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.4564 | μmol/L | 31.0578 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.499 | 126014.5214 | 261656.2489 | 26.25 | 74
98103 | 2021-04-19 16:01 | 19.342 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 165.149 | μmol/L | 31.0823 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.512 | 126077.8724 | 261651.0576 | 26.25 | 74
98113 | 2021-04-19 16:01 | 19.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.7373 | μmol/L | 31.0884 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.539 | 126197.6737 | 261641.9893 | 26.25 | 74
98123 | 2021-04-19 16:02 | 20.0086 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.6061 | μmol/L | 31.0334 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.568 | 126378.6208 | 261643.8404 | 26.25 | 74
98133 | 2021-04-19 16:02 | 20.342 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.6861 | μmol/L | 30.9111 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.606 | 126648.6334 | 261628.2101 | 26.25 | 74
98143 | 2021-04-19 16:02 | 20.675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.1435 | μmol/L | 30.9661 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.625 | 126744.9763 | 261642.7197 | 26.25 | 74
98153 | 2021-04-19 16:03 | 21.0082 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.0175 | μmol/L | 30.9661 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.634 | 126788.9808 | 261630.458 | 26.25 | 74
98163 | 2021-04-19 16:03 | 21.3419 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 164.028 | μmol/L | 30.9417 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.642 | 126841.3905 | 261624.9315 | 26.25 | 74
98173 | 2021-04-19 16:03 | 21.6755 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 163.587 | μmol/L | 30.96 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.667 | 126966.8539 | 261629.8937 | 26.25 | 74
98183 | 2021-04-19 16:04 | 22.0088 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 162.7475 | μmol/L | 30.9722 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.723 | 127287.5874 | 261621.8608 | 26.25 | 74