## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 14:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
104241 | 2021-04-23 13:49 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.391 | μmol/L | 30.303 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.388 | 124047.4905 | 268957.1705 | 36.4 | 83.1
104251 | 2021-04-23 13:49 | 0.32979 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.9973 | μmol/L | 30.1924 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.394 | 124084.0308 | 268968.3103 | 36.4 | 83.1
104261 | 2021-04-23 13:50 | 0.66294 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.8459 | μmol/L | 30.1924 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.402 | 124127.3122 | 268947.8271 | 36.4 | 83.1
104271 | 2021-04-23 13:50 | 0.99585 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.261 | μmol/L | 30.2968 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.397 | 124096.7366 | 268942.0685 | 36.4 | 83.1
104281 | 2021-04-23 13:50 | 1.3297 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.1312 | μmol/L | 30.2907 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.406 | 124157.7505 | 268938.1423 | 36.4 | 83.1
104291 | 2021-04-23 13:51 | 1.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.3628 | μmol/L | 30.2231 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.417 | 124199.4446 | 268937.2895 | 36.4 | 83.1
104301 | 2021-04-23 13:51 | 1.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.9925 | μmol/L | 30.2046 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.443 | 124341.4667 | 268921.2468 | 36.4 | 83.1
104311 | 2021-04-23 13:51 | 2.3297 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.5801 | μmol/L | 30.2538 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.448 | 124361.8143 | 268919.7056 | 36.4 | 83.1
104321 | 2021-04-23 13:52 | 2.6631 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.4929 | μmol/L | 30.2354 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.459 | 124445.6598 | 268912.4301 | 36.4 | 83.1
104331 | 2021-04-23 13:52 | 2.9961 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.5304 | μmol/L | 30.2354 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.457 | 124451.4735 | 268915.6632 | 36.4 | 83.1
104341 | 2021-04-23 13:52 | 3.3298 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.0636 | μmol/L | 30.0572 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.49 | 124614.3347 | 268912.5515 | 36.4 | 83.1
104351 | 2021-04-23 13:53 | 3.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.9024 | μmol/L | 30.0879 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.488 | 124633.6926 | 268889.2169 | 36.4 | 83.1
104361 | 2021-04-23 13:53 | 3.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.7753 | μmol/L | 30.0756 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.499 | 124688.1062 | 268894.6316 | 36.4 | 83.1
104371 | 2021-04-23 13:53 | 4.3297 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.8882 | μmol/L | 30.1985 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.504 | 124691.5171 | 268885.3692 | 36.4 | 83.1
104381 | 2021-04-23 13:54 | 4.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.564 | μmol/L | 30.2169 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.515 | 124772.2723 | 268876.1582 | 36.4 | 83.1
104391 | 2021-04-23 13:54 | 4.9961 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.3076 | μmol/L | 30.2046 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.533 | 124875.7537 | 268878.4681 | 36.4 | 83.1
104401 | 2021-04-23 13:54 | 5.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.9541 | μmol/L | 30.2046 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.552 | 124996.8494 | 268871.2808 | 36.4 | 83.1
104411 | 2021-04-23 13:55 | 5.6629 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.7707 | μmol/L | 30.1985 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.564 | 125072.2918 | 268872.5296 | 36.4 | 83.1
104421 | 2021-04-23 13:55 | 5.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.0743 | μmol/L | 30.1309 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.571 | 125110.5345 | 268862.119 | 36.4 | 83.1
104431 | 2021-04-23 13:55 | 6.3296 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.6291 | μmol/L | 30.1801 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.578 | 125122.8059 | 268859.7961 | 36.4 | 83.1
104441 | 2021-04-23 13:56 | 6.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.9279 | μmol/L | 30.1248 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.581 | 125190.0727 | 268858.1832 | 36.4 | 83.1
104451 | 2021-04-23 13:56 | 6.9957 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.7299 | μmol/L | 29.965 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.593 | 125256.322 | 268844.1386 | 36.4 | 83.1
104461 | 2021-04-23 13:56 | 7.3295 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.4932 | μmol/L | 30.0018 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.593 | 125249.1245 | 268853.1375 | 36.4 | 83.1
104471 | 2021-04-23 13:57 | 7.6625 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.9944 | μmol/L | 30.0449 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.605 | 125317.1796 | 268837.6322 | 36.4 | 83.1
104481 | 2021-04-23 13:57 | 7.9964 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.9201 | μmol/L | 30.0449 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.609 | 125336.6617 | 268827.3937 | 36.4 | 83.1
104491 | 2021-04-23 13:57 | 8.3293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.0484 | μmol/L | 30.1493 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.62 | 125382.7465 | 268826.5541 | 36.4 | 83.1
104501 | 2021-04-23 13:58 | 8.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.2239 | μmol/L | 30.1248 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.619 | 125375.7693 | 268832.1979 | 36.4 | 83.1
104511 | 2021-04-23 13:58 | 8.9963 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.1361 | μmol/L | 30.1125 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.628 | 125433.3133 | 268826.3544 | 36.4 | 83.1
104521 | 2021-04-23 13:58 | 9.3294 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.7255 | μmol/L | 30.1248 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.646 | 125532.3203 | 268804.4464 | 36.4 | 83.1
104531 | 2021-04-23 13:59 | 9.6627 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.7302 | μmol/L | 30.1125 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.65 | 125578.7829 | 268813.324 | 36.4 | 83.1
104541 | 2021-04-23 13:59 | 9.9965 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.2818 | μmol/L | 30.0817 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.685 | 125781.4139 | 268815.4034 | 36.4 | 83.1
104551 | 2021-04-23 13:59 | 10.3295 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.9904 | μmol/L | 30.0756 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.703 | 125909.7219 | 268806.0682 | 36.4 | 83.1
104561 | 2021-04-23 14:00 | 10.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.9331 | μmol/L | 30.0817 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.704 | 125935.7789 | 268797.4537 | 36.4 | 83.1
104571 | 2021-04-23 14:00 | 10.9962 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.5368 | μmol/L | 30.1125 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.715 | 126012.3787 | 268797.121 | 36.4 | 83.1
104581 | 2021-04-23 14:00 | 11.3296 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.6583 | μmol/L | 30.0817 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.719 | 126024.8969 | 268790.9829 | 36.4 | 83.1
104591 | 2021-04-23 14:01 | 11.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.5327 | μmol/L | 30.0756 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.728 | 126095.1075 | 268790.8206 | 36.4 | 83.1
104601 | 2021-04-23 14:01 | 11.9963 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.4619 | μmol/L | 30.0694 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.734 | 126124.6664 | 268779.668 | 36.4 | 83.1
104611 | 2021-04-23 14:01 | 12.3294 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.4277 | μmol/L | 30.0633 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.738 | 126131.3543 | 268783.8272 | 36.4 | 83.1
104621 | 2021-04-23 14:02 | 12.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.3205 | μmol/L | 30.0572 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.746 | 126171.5061 | 268788.1125 | 36.4 | 83.1
104631 | 2021-04-23 14:02 | 12.9958 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.9573 | μmol/L | 30.1002 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.751 | 126200.1619 | 268779.8174 | 36.4 | 83.1
104641 | 2021-04-23 14:02 | 13.3297 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.9961 | μmol/L | 30.094 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.751 | 126203.7566 | 268762.2174 | 36.4 | 83.1
104651 | 2021-04-23 14:03 | 13.6626 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.2292 | μmol/L | 30.0572 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.751 | 126201.6747 | 268769.9905 | 36.4 | 83.1
104661 | 2021-04-23 14:03 | 13.9964 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.3181 | μmol/L | 30.0633 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.744 | 126174.1676 | 268762.0469 | 36.4 | 83.1
104671 | 2021-04-23 14:03 | 14.3295 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.8298 | μmol/L | 30.1002 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.758 | 126245.2354 | 268727.984 | 36.4 | 83.1
104681 | 2021-04-23 14:04 | 14.6628 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.5315 | μmol/L | 30.1186 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.768 | 126321.3244 | 268740.0409 | 36.4 | 83.1
104691 | 2021-04-23 14:04 | 14.996 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.6937 | μmol/L | 30.0756 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.774 | 126353.0387 | 268732.0027 | 36.4 | 83.1
104701 | 2021-04-23 14:04 | 15.3292 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.8734 | μmol/L | 30.0817 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.762 | 126275.7295 | 268725.5487 | 36.4 | 83.1
104711 | 2021-04-23 14:05 | 15.663 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2228 | μmol/L | 30.1186 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.785 | 126413.3825 | 268724.0568 | 36.4 | 83.1
104721 | 2021-04-23 14:05 | 15.9959 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2735 | μmol/L | 30.0817 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.795 | 126473.0467 | 268718.5443 | 36.4 | 83.1
104731 | 2021-04-23 14:05 | 16.3294 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2397 | μmol/L | 30.0756 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.799 | 126514.3702 | 268713.807 | 36.4 | 83.1
104741 | 2021-04-23 14:06 | 16.6632 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.87 | μmol/L | 30.094 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.813 | 126589.2573 | 268706.7864 | 36.4 | 83.1
104751 | 2021-04-23 14:06 | 16.9961 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.6012 | μmol/L | 30.0879 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.83 | 126666.6408 | 268704.54 | 36.4 | 83.1
104761 | 2021-04-23 14:06 | 17.3295 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.4904 | μmol/L | 30.094 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.834 | 126734.7583 | 268700.0983 | 36.4 | 83.1
104771 | 2021-04-23 14:07 | 17.6624 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.1092 | μmol/L | 30.1002 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.853 | 126823.6038 | 268672.1739 | 36.4 | 83.1
104781 | 2021-04-23 14:07 | 17.9962 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.9243 | μmol/L | 30.1125 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.859 | 126874.2399 | 268681.1302 | 36.4 | 83.1
104791 | 2021-04-23 14:07 | 18.3293 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.8343 | μmol/L | 30.1125 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.864 | 126919.366 | 268673.7417 | 36.4 | 83.1
104801 | 2021-04-23 14:08 | 18.6631 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.6725 | μmol/L | 30.1125 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.873 | 126963.9815 | 268669.6572 | 36.4 | 83.1
104811 | 2021-04-23 14:08 | 18.9961 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.493 | μmol/L | 30.1125 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.883 | 127033.7524 | 268665.0384 | 36.4 | 83.1
104821 | 2021-04-23 14:08 | 19.329 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.5543 | μmol/L | 30.094 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.886 | 127098.6176 | 268666.5216 | 36.4 | 83.1
104831 | 2021-04-23 14:09 | 19.6631 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.9559 | μmol/L | 30.1555 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.898 | 127139.342 | 268658.9747 | 36.4 | 83.1
104841 | 2021-04-23 14:09 | 19.9965 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.9913 | μmol/L | 30.1125 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.911 | 127222.2556 | 268635.1347 | 36.4 | 83.1