## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 14:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
104243 | 2021-04-23 13:49 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.8974 | μmol/L | 30.0616 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.474 | 123780.2215 | 292045.8002 | 59.9307 | 49.4
104253 | 2021-04-23 13:49 | 0.32634 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.2719 | μmol/L | 30.0245 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.521 | 124076.1536 | 292023.6749 | 59.9307 | 49.4
104263 | 2021-04-23 13:50 | 0.65935 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.3152 | μmol/L | 30.0431 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.568 | 124167.6448 | 292033.9309 | 59.9307 | 49.4
104273 | 2021-04-23 13:50 | 0.99259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.3189 | μmol/L | 30.0245 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.574 | 122982.5065 | 292012.4639 | 59.9307 | 49.4
104283 | 2021-04-23 13:50 | 1.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.7501 | μmol/L | 30.0926 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.583 | 122811.7 | 291999.7581 | 59.9307 | 49.4
104293 | 2021-04-23 13:51 | 1.6593 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.8425 | μmol/L | 30.0864 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.636 | 123596.1941 | 291984.0102 | 59.9307 | 49.4
104303 | 2021-04-23 13:51 | 1.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.1494 | μmol/L | 30.0121 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.7 | 124479.0907 | 291982.1483 | 59.9307 | 49.4
104313 | 2021-04-23 13:51 | 2.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.605 | μmol/L | 29.9997 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.735 | 124208.3765 | 291973.5063 | 59.9307 | 49.4
104323 | 2021-04-23 13:52 | 2.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.3583 | μmol/L | 30.0802 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.722 | 123363.0294 | 291967.9141 | 59.9307 | 49.4
104333 | 2021-04-23 13:52 | 2.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.5688 | μmol/L | 30.1545 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.742 | 123714.6764 | 291973.3141 | 59.9307 | 49.4
104343 | 2021-04-23 13:52 | 3.3263 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.2306 | μmol/L | 30.1421 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.765 | 123536.5565 | 291961.9162 | 59.9307 | 49.4
104353 | 2021-04-23 13:53 | 3.6593 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.7593 | μmol/L | 30.1421 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.792 | 124050.1521 | 291957.2185 | 59.9307 | 49.4
104363 | 2021-04-23 13:53 | 3.9925 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.4313 | μmol/L | 30.0926 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.828 | 124399.9832 | 291944.5849 | 59.9307 | 49.4
104373 | 2021-04-23 13:53 | 4.3263 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.7503 | μmol/L | 30.1112 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.861 | 125168.5472 | 291934.31 | 59.9307 | 49.4
104383 | 2021-04-23 13:54 | 4.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.6416 | μmol/L | 30.0245 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.896 | 126076.6093 | 291960.6243 | 59.9307 | 49.4
104393 | 2021-04-23 13:54 | 4.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.6854 | μmol/L | 30.0926 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.929 | 126317.2276 | 291928.4281 | 59.9307 | 49.4
104403 | 2021-04-23 13:54 | 5.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.8952 | μmol/L | 30.0988 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.973 | 126683.6724 | 291934.3374 | 59.9307 | 49.4
104413 | 2021-04-23 13:55 | 5.6593 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.8781 | μmol/L | 30.0307 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.997 | 126739.4035 | 291960.2435 | 59.9307 | 49.4
104423 | 2021-04-23 13:55 | 5.9923 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.4198 | μmol/L | 30.0554 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.015 | 126862.1796 | 291942.4515 | 59.9307 | 49.4
104433 | 2021-04-23 13:55 | 6.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.8232 | μmol/L | 30.0926 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.038 | 127022.9988 | 291947.0513 | 59.9307 | 49.4
104443 | 2021-04-23 13:56 | 6.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.7463 | μmol/L | 30.0616 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.053 | 127078.9072 | 291935.4382 | 59.9307 | 49.4
104453 | 2021-04-23 13:56 | 6.9925 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.4243 | μmol/L | 30.0616 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.072 | 127283.003 | 291941.4708 | 59.9307 | 49.4
104463 | 2021-04-23 13:56 | 7.3265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.7066 | μmol/L | 30.0926 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.104 | 127736.5225 | 291927.743 | 59.9307 | 49.4
104473 | 2021-04-23 13:57 | 7.6595 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.5751 | μmol/L | 30.0802 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.116 | 127955.392 | 291925.8332 | 59.9307 | 49.4
104483 | 2021-04-23 13:57 | 7.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.3801 | μmol/L | 30.0864 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.125 | 127925.8777 | 291913.5395 | 59.9307 | 49.4
104493 | 2021-04-23 13:57 | 8.3263 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.2303 | μmol/L | 30.1112 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.126 | 128045.2994 | 291896.2844 | 59.9307 | 49.4
104503 | 2021-04-23 13:58 | 8.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.9602 | μmol/L | 30.0864 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.15 | 128153.1592 | 291911.351 | 59.9307 | 49.4
104513 | 2021-04-23 13:58 | 8.9931 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.7205 | μmol/L | 30.105 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.158 | 128046.5467 | 291903.2442 | 59.9307 | 49.4
104523 | 2021-04-23 13:58 | 9.3264 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.6469 | μmol/L | 30.0678 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.175 | 128100.6942 | 291903.3633 | 59.9307 | 49.4
104533 | 2021-04-23 13:59 | 9.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.2806 | μmol/L | 30.0926 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.189 | 128287.885 | 291889.8502 | 59.9307 | 49.4
104543 | 2021-04-23 13:59 | 9.9925 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.2107 | μmol/L | 30.074 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.199 | 128289.0123 | 291876.6898 | 59.9307 | 49.4
104553 | 2021-04-23 13:59 | 10.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.2921 | μmol/L | 30.0059 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.158 | 127283.5664 | 291896.0687 | 59.9307 | 49.4
104563 | 2021-04-23 14:00 | 10.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.349 | μmol/L | 29.9502 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.173 | 126482.7157 | 291894.4692 | 59.9307 | 49.4
104573 | 2021-04-23 14:00 | 10.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.908 | μmol/L | 30.0616 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.162 | 126484.1704 | 291875.034 | 59.9307 | 49.4
104583 | 2021-04-23 14:00 | 11.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.1075 | μmol/L | 30.0245 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.222 | 128282.5383 | 291882.8917 | 59.9307 | 49.4
104593 | 2021-04-23 14:01 | 11.659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.0606 | μmol/L | 30.0431 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.219 | 128480.7653 | 291862.4069 | 59.9307 | 49.4
104603 | 2021-04-23 14:01 | 11.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.7655 | μmol/L | 30.0307 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.181 | 127590.7934 | 291855.526 | 59.9307 | 49.4
104613 | 2021-04-23 14:01 | 12.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.2956 | μmol/L | 30.0988 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.186 | 127434.2464 | 291873.1209 | 59.9307 | 49.4
104623 | 2021-04-23 14:02 | 12.659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.3997 | μmol/L | 30.1174 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.233 | 128339.7552 | 291851.8067 | 59.9307 | 49.4
104633 | 2021-04-23 14:02 | 12.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.0831 | μmol/L | 30.0926 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.261 | 128772.2769 | 291862.9381 | 59.9307 | 49.4
104643 | 2021-04-23 14:02 | 13.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.0997 | μmol/L | 30.0926 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.26 | 128382.2864 | 291871.8195 | 59.9307 | 49.4
104653 | 2021-04-23 14:03 | 13.659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.9419 | μmol/L | 30.1235 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.259 | 128444.7946 | 291863.2767 | 59.9307 | 49.4
104663 | 2021-04-23 14:03 | 13.9929 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.7434 | μmol/L | 30.1235 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.271 | 128383.7624 | 291852.9657 | 59.9307 | 49.4
104673 | 2021-04-23 14:03 | 14.3262 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.3764 | μmol/L | 30.1112 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.237 | 127279.8249 | 291847.9115 | 59.9307 | 49.4
104683 | 2021-04-23 14:04 | 14.6597 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.3179 | μmol/L | 30.1421 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.23 | 126544.0813 | 291832.7133 | 59.9307 | 49.4
104693 | 2021-04-23 14:04 | 14.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.6318 | μmol/L | 30.1483 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.209 | 126244.0439 | 291826.4145 | 59.9307 | 49.4
104703 | 2021-04-23 14:04 | 15.3257 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.8785 | μmol/L | 30.1297 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.2 | 126229.2868 | 291829.575 | 59.9307 | 49.4
104713 | 2021-04-23 14:05 | 15.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.0153 | μmol/L | 30.1174 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.196 | 126150.1756 | 291805.1556 | 59.9307 | 49.4
104723 | 2021-04-23 14:05 | 15.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.2588 | μmol/L | 30.1112 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.184 | 126593.5001 | 291796.5364 | 59.9307 | 49.4
104733 | 2021-04-23 14:05 | 16.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.1153 | μmol/L | 30.1174 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.19 | 127170.704 | 291807.22 | 59.9307 | 49.4
104743 | 2021-04-23 14:06 | 16.6597 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.9819 | μmol/L | 30.1174 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.198 | 128447.4903 | 291800.3083 | 59.9307 | 49.4
104753 | 2021-04-23 14:06 | 16.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.0136 | μmol/L | 30.1235 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.194 | 128936.9412 | 291793.3203 | 59.9307 | 49.4
104763 | 2021-04-23 14:06 | 17.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.1303 | μmol/L | 30.1235 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.187 | 128673.3904 | 291804.0256 | 59.9307 | 49.4
104773 | 2021-04-23 14:07 | 17.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.032 | μmol/L | 30.1174 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.195 | 130039.9977 | 291781.7442 | 59.9307 | 49.4
104783 | 2021-04-23 14:07 | 17.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.747 | μmol/L | 30.1235 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.21 | 130131.3568 | 291784.3295 | 59.9307 | 49.4
104793 | 2021-04-23 14:07 | 18.3257 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.3779 | μmol/L | 30.1359 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.228 | 128760.3823 | 291776.2935 | 59.9307 | 49.4
104803 | 2021-04-23 14:08 | 18.6596 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.7564 | μmol/L | 30.1359 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.266 | 126624.7666 | 291757.1057 | 59.9307 | 49.4
104813 | 2021-04-23 14:08 | 18.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.3555 | μmol/L | 30.1235 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.294 | 126656.4652 | 291763.5053 | 59.9307 | 49.4
104823 | 2021-04-23 14:08 | 19.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.5061 | μmol/L | 30.1607 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.333 | 127028.4681 | 291752.7245 | 59.9307 | 49.4
104833 | 2021-04-23 14:09 | 19.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.2403 | μmol/L | 30.1731 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.345 | 127605.6354 | 291757.0311 | 59.9307 | 49.4
104843 | 2021-04-23 14:09 | 19.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.193 | μmol/L | 30.1669 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.35 | 127435.3357 | 291764.5231 | 59.9307 | 49.4