## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 14:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
104244 | 2021-04-23 13:49 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9509 | μmol/L | 30.1226 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.454 | 136686.9788 | 303674.9102 | 33.25 | 68.6
104254 | 2021-04-23 13:49 | 0.33249 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6334 | μmol/L | 30.1592 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.519 | 137211.9692 | 303682.7815 | 33.25 | 68.6
104264 | 2021-04-23 13:50 | 0.6656 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.2564 | μmol/L | 30.2386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.573 | 137597.5639 | 303663.3069 | 33.25 | 68.6
104274 | 2021-04-23 13:50 | 0.99849 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.7847 | μmol/L | 30.2142 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.61 | 137844.774 | 303667.0475 | 33.25 | 68.6
104284 | 2021-04-23 13:50 | 1.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1512 | μmol/L | 30.2203 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.646 | 138110.3925 | 303662.964 | 33.25 | 68.6
104294 | 2021-04-23 13:51 | 1.6655 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.7679 | μmol/L | 30.2264 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.667 | 138244.2748 | 303663.7284 | 33.25 | 68.6
104304 | 2021-04-23 13:51 | 1.9985 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0358 | μmol/L | 30.2753 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.694 | 138417.8014 | 303648.0232 | 33.25 | 68.6
104314 | 2021-04-23 13:51 | 2.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8104 | μmol/L | 30.2997 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.699 | 138481.0434 | 303642.704 | 33.25 | 68.6
104324 | 2021-04-23 13:52 | 2.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3453 | μmol/L | 30.3119 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.723 | 138625.5571 | 303635.5764 | 33.25 | 68.6
104334 | 2021-04-23 13:52 | 2.9984 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3273 | μmol/L | 30.2814 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.735 | 138674.7679 | 303629.1642 | 33.25 | 68.6
104344 | 2021-04-23 13:52 | 3.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1905 | μmol/L | 30.2936 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.739 | 138721.3624 | 303615.6901 | 33.25 | 68.6
104354 | 2021-04-23 13:53 | 3.6656 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8563 | μmol/L | 30.2753 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.766 | 138899.0278 | 303612.0495 | 33.25 | 68.6
104364 | 2021-04-23 13:53 | 3.9985 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6191 | μmol/L | 30.2936 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.774 | 138967.3369 | 303597.5711 | 33.25 | 68.6
104374 | 2021-04-23 13:53 | 4.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3762 | μmol/L | 30.3241 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.778 | 138983.0443 | 303610.3909 | 33.25 | 68.6
104384 | 2021-04-23 13:54 | 4.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4784 | μmol/L | 30.2814 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.787 | 139031.8969 | 303595.1527 | 33.25 | 68.6
104394 | 2021-04-23 13:54 | 4.9984 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5155 | μmol/L | 30.2386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.8 | 139103.0374 | 303588.6324 | 33.25 | 68.6
104404 | 2021-04-23 13:54 | 5.3317 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4963 | μmol/L | 30.2447 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.799 | 139114.2098 | 303579.6941 | 33.25 | 68.6
104414 | 2021-04-23 13:55 | 5.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3776 | μmol/L | 30.0738 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.806 | 139166.3746 | 303591.7867 | 33.25 | 68.6
104424 | 2021-04-23 13:55 | 5.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.18 | μmol/L | 30.2264 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.825 | 139289.4281 | 303583.137 | 33.25 | 68.6
104434 | 2021-04-23 13:55 | 6.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7789 | μmol/L | 30.2508 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.841 | 139374.9637 | 303576.4493 | 33.25 | 68.6
104444 | 2021-04-23 13:56 | 6.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9307 | μmol/L | 30.2386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.836 | 139364.3108 | 303573.8664 | 33.25 | 68.6
104454 | 2021-04-23 13:56 | 6.9989 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4636 | μmol/L | 30.1104 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.849 | 139446.5194 | 303553.6892 | 33.25 | 68.6
104464 | 2021-04-23 13:56 | 7.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7499 | μmol/L | 30.1776 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.869 | 139555.7539 | 303557.1077 | 33.25 | 68.6
104474 | 2021-04-23 13:57 | 7.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6247 | μmol/L | 30.202 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.868 | 139583.9084 | 303564.5337 | 33.25 | 68.6
104484 | 2021-04-23 13:57 | 7.9989 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.3733 | μmol/L | 30.2203 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.877 | 139627.9997 | 303540.3368 | 33.25 | 68.6
104494 | 2021-04-23 13:57 | 8.3319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.35 | μmol/L | 30.202 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.885 | 139707.7054 | 303538.6679 | 33.25 | 68.6
104504 | 2021-04-23 13:58 | 8.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.3106 | μmol/L | 30.1837 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.894 | 139744.588 | 303521.9914 | 33.25 | 68.6
104514 | 2021-04-23 13:58 | 8.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.1594 | μmol/L | 30.1959 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.899 | 139765.5123 | 303509.5775 | 33.25 | 68.6
104524 | 2021-04-23 13:58 | 9.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9922 | μmol/L | 30.2081 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.905 | 139812.4325 | 303510.3944 | 33.25 | 68.6
104534 | 2021-04-23 13:59 | 9.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.969 | μmol/L | 30.1898 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.913 | 139865.8759 | 303507.4087 | 33.25 | 68.6
104544 | 2021-04-23 13:59 | 9.9984 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7096 | μmol/L | 30.2264 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.916 | 139892.5276 | 303503.3891 | 33.25 | 68.6
104554 | 2021-04-23 13:59 | 10.3324 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6544 | μmol/L | 30.2081 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.926 | 139963.4746 | 303499.4655 | 33.25 | 68.6
104564 | 2021-04-23 14:00 | 10.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9267 | μmol/L | 30.1776 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.92 | 139930.3247 | 303495.451 | 33.25 | 68.6
104574 | 2021-04-23 14:00 | 10.9984 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.5891 | μmol/L | 30.1776 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.941 | 140041.6951 | 303489.7682 | 33.25 | 68.6
104584 | 2021-04-23 14:00 | 11.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.3875 | μmol/L | 30.1959 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.947 | 140073.0652 | 303472.4347 | 33.25 | 68.6
104594 | 2021-04-23 14:01 | 11.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.5089 | μmol/L | 30.1776 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.946 | 140109.1184 | 303471.8392 | 33.25 | 68.6
104604 | 2021-04-23 14:01 | 11.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.3103 | μmol/L | 30.1898 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.954 | 140164.4126 | 303475.8007 | 33.25 | 68.6
104614 | 2021-04-23 14:01 | 12.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.013 | μmol/L | 30.2081 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.966 | 140236.0598 | 303463.6126 | 33.25 | 68.6
104624 | 2021-04-23 14:02 | 12.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.879 | μmol/L | 30.2203 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.97 | 140276.3533 | 303464.6836 | 33.25 | 68.6
104634 | 2021-04-23 14:02 | 12.9985 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.6872 | μmol/L | 30.2203 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.982 | 140342.7047 | 303463.0201 | 33.25 | 68.6
104644 | 2021-04-23 14:02 | 13.3325 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.8462 | μmol/L | 30.1898 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.983 | 140359.8324 | 303445.0685 | 33.25 | 68.6
104654 | 2021-04-23 14:03 | 13.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.6006 | μmol/L | 30.202 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.994 | 140425.3213 | 303445.6652 | 33.25 | 68.6
104664 | 2021-04-23 14:03 | 13.9984 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.5079 | μmol/L | 30.1959 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.002 | 140472.5802 | 303440.6946 | 33.25 | 68.6
104674 | 2021-04-23 14:03 | 14.3317 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.495 | μmol/L | 30.1898 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.005 | 140478.7002 | 303443.4539 | 33.25 | 68.6
104684 | 2021-04-23 14:04 | 14.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.3591 | μmol/L | 30.2386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.996 | 140449.467 | 303426.9765 | 33.25 | 68.6
104694 | 2021-04-23 14:04 | 14.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.9648 | μmol/L | 30.263 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.012 | 140539.6319 | 303436.0529 | 33.25 | 68.6
104704 | 2021-04-23 14:04 | 15.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.9295 | μmol/L | 30.2386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.023 | 140609.9298 | 303408.3102 | 33.25 | 68.6
104714 | 2021-04-23 14:05 | 15.6651 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.9167 | μmol/L | 30.2325 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.026 | 140637.3193 | 303418.1083 | 33.25 | 68.6
104724 | 2021-04-23 14:05 | 15.999 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.99 | μmol/L | 30.2447 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.017 | 140614.7734 | 303412.0057 | 33.25 | 68.6
104734 | 2021-04-23 14:05 | 16.3322 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.8501 | μmol/L | 30.2386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.028 | 140685.6364 | 303401.6958 | 33.25 | 68.6
104744 | 2021-04-23 14:06 | 16.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.761 | μmol/L | 30.2264 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.038 | 140724.1168 | 303397.3401 | 33.25 | 68.6
104754 | 2021-04-23 14:06 | 16.9991 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.5201 | μmol/L | 30.2325 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.051 | 140807.4611 | 303385.0205 | 33.25 | 68.6
104764 | 2021-04-23 14:06 | 17.3323 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.2008 | μmol/L | 30.2691 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.058 | 140885.2284 | 303390.1559 | 33.25 | 68.6
104774 | 2021-04-23 14:07 | 17.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 184.0523 | μmol/L | 30.2814 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.063 | 140907.0172 | 303387.5621 | 33.25 | 68.6
104784 | 2021-04-23 14:07 | 17.9986 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.8409 | μmol/L | 30.2936 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.072 | 140991.1264 | 303383.421 | 33.25 | 68.6
104794 | 2021-04-23 14:07 | 18.3317 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.4187 | μmol/L | 30.318 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.09 | 141080.0782 | 303359.6868 | 33.25 | 68.6
104804 | 2021-04-23 14:08 | 18.6655 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.2708 | μmol/L | 30.2997 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.106 | 141214.1479 | 303375.3968 | 33.25 | 68.6
104814 | 2021-04-23 14:08 | 18.9986 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.1797 | μmol/L | 30.2936 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.114 | 141261.9402 | 303357.0128 | 33.25 | 68.6
104824 | 2021-04-23 14:08 | 19.3325 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.3538 | μmol/L | 30.2447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.12 | 141315.5122 | 303349.3907 | 33.25 | 68.6
104834 | 2021-04-23 14:09 | 19.6656 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 183.5063 | μmol/L | 30.2081 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 22.124 | 141332.118 | 303353.3289 | 33.25 | 68.6