## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 14:10

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
104245 | 2021-04-23 13:49 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.7857 | μmol/L | 29.8474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.424 | 122531.1893 | 267621.6386 | 26.25 | 74
104255 | 2021-04-23 13:49 | 0.33807 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.0396 | μmol/L | 30.0552 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.504 | 123223.1489 | 267609.3844 | 26.25 | 74
104265 | 2021-04-23 13:50 | 0.67096 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.9322 | μmol/L | 30.0491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.567 | 123703.3102 | 267606.2314 | 26.25 | 74
104275 | 2021-04-23 13:50 | 1.004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.2297 | μmol/L | 30.0369 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.61 | 124068.7971 | 267614.358 | 26.25 | 74
104285 | 2021-04-23 13:50 | 1.338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.9127 | μmol/L | 30.0797 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.669 | 124463.2927 | 267607.0623 | 26.25 | 74
104295 | 2021-04-23 13:51 | 1.671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2936 | μmol/L | 30.0491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.714 | 124792.8958 | 267604.7335 | 26.25 | 74
104305 | 2021-04-23 13:51 | 2.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.7461 | μmol/L | 30.0308 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.751 | 125046.1748 | 267588.8343 | 26.25 | 74
104315 | 2021-04-23 13:51 | 2.3378 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.0892 | μmol/L | 30.043 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.784 | 125288.4162 | 267574.8071 | 26.25 | 74
104325 | 2021-04-23 13:52 | 2.6711 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.5253 | μmol/L | 30.043 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.816 | 125504.0878 | 267552.964 | 26.25 | 74
104335 | 2021-04-23 13:52 | 3.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.7776 | μmol/L | 30.098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.84 | 125667.4323 | 267568.8354 | 26.25 | 74
104345 | 2021-04-23 13:52 | 3.3379 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3729 | μmol/L | 30.1103 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.859 | 125804.0956 | 267557.2098 | 26.25 | 74
104355 | 2021-04-23 13:53 | 3.6714 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.0774 | μmol/L | 30.1041 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.878 | 125905.2252 | 267545.7632 | 26.25 | 74
104365 | 2021-04-23 13:53 | 4.0045 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3396 | μmol/L | 30.0124 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.894 | 126026.3793 | 267545.4497 | 26.25 | 74
104375 | 2021-04-23 13:53 | 4.3376 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.9178 | μmol/L | 30.0308 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.912 | 126138.9166 | 267520.6907 | 26.25 | 74
104385 | 2021-04-23 13:54 | 4.6707 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.8914 | μmol/L | 29.988 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.928 | 126242.3045 | 267538.0278 | 26.25 | 74
104395 | 2021-04-23 13:54 | 5.0047 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.8416 | μmol/L | 29.9758 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.935 | 126289.0574 | 267526.0691 | 26.25 | 74
104405 | 2021-04-23 13:54 | 5.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8952 | μmol/L | 30.1103 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.944 | 126354.434 | 267530.7147 | 26.25 | 74
104415 | 2021-04-23 13:55 | 5.6707 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.988 | μmol/L | 30.0797 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.949 | 126398.0156 | 267519.3037 | 26.25 | 74
104425 | 2021-04-23 13:55 | 6.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.196 | μmol/L | 29.9941 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.966 | 126488.2758 | 267517.8763 | 26.25 | 74
104435 | 2021-04-23 13:55 | 6.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.2366 | μmol/L | 30.1225 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.978 | 126567.3516 | 267516.1287 | 26.25 | 74
104445 | 2021-04-23 13:56 | 6.6711 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1712 | μmol/L | 29.9452 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.984 | 126616.0251 | 267500.3124 | 26.25 | 74
104455 | 2021-04-23 13:56 | 7.0042 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4257 | μmol/L | 30.043 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.994 | 126667.9811 | 267502.8963 | 26.25 | 74
104465 | 2021-04-23 13:56 | 7.338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4506 | μmol/L | 30.0063 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.005 | 126738.406 | 267487.973 | 26.25 | 74
104475 | 2021-04-23 13:57 | 7.6709 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.133 | μmol/L | 30.043 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.011 | 126778.5837 | 267485.0423 | 26.25 | 74
104485 | 2021-04-23 13:57 | 8.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.7088 | μmol/L | 30.098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.017 | 126813.5266 | 267505.5146 | 26.25 | 74
104495 | 2021-04-23 13:57 | 8.3378 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.2614 | μmol/L | 30.1836 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.014 | 126802.64 | 267500.2529 | 26.25 | 74
104505 | 2021-04-23 13:58 | 8.6709 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5259 | μmol/L | 29.9758 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.011 | 126798.9836 | 267480.3411 | 26.25 | 74
104515 | 2021-04-23 13:58 | 9.0046 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5061 | μmol/L | 29.988 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.008 | 126780.6232 | 267481.2449 | 26.25 | 74
104525 | 2021-04-23 13:58 | 9.3379 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.8488 | μmol/L | 30.0858 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.013 | 126838.718 | 267485.0214 | 26.25 | 74
104535 | 2021-04-23 13:59 | 9.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.1356 | μmol/L | 30.0308 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.015 | 126852.7384 | 267472.5168 | 26.25 | 74
104545 | 2021-04-23 13:59 | 10.0046 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.2956 | μmol/L | 30.0063 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.014 | 126847.7066 | 267457.3798 | 26.25 | 74
104555 | 2021-04-23 13:59 | 10.3376 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9967 | μmol/L | 30.0369 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.021 | 126891.7612 | 267460.8227 | 26.25 | 74
104565 | 2021-04-23 14:00 | 10.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.5083 | μmol/L | 30.0736 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.037 | 126957.6096 | 267465.2113 | 26.25 | 74
104575 | 2021-04-23 14:00 | 11.0045 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.755 | μmol/L | 30.043 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.033 | 126955.0057 | 267456.7218 | 26.25 | 74
104585 | 2021-04-23 14:00 | 11.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.5044 | μmol/L | 30.0919 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.031 | 126940.1807 | 267452.3867 | 26.25 | 74
104595 | 2021-04-23 14:01 | 11.6714 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.4372 | μmol/L | 30.0858 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.037 | 127004.7344 | 267443.6313 | 26.25 | 74
104605 | 2021-04-23 14:01 | 12.0046 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.4767 | μmol/L | 30.0613 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.043 | 127035.9417 | 267437.289 | 26.25 | 74
104615 | 2021-04-23 14:01 | 12.3375 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.6903 | μmol/L | 30.0247 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.043 | 127039.8164 | 267419.1793 | 26.25 | 74
104625 | 2021-04-23 14:02 | 12.6712 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.7826 | μmol/L | 29.9941 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.048 | 127046.6291 | 267424.3238 | 26.25 | 74
104635 | 2021-04-23 14:02 | 13.0043 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.5888 | μmol/L | 30.0186 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.051 | 127082.3906 | 267432.4171 | 26.25 | 74
104645 | 2021-04-23 14:02 | 13.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.8869 | μmol/L | 29.988 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.044 | 127069.4902 | 267418.4138 | 26.25 | 74
104655 | 2021-04-23 14:03 | 13.6712 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.4096 | μmol/L | 30.0552 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.049 | 127086.6817 | 267425.9338 | 26.25 | 74
104665 | 2021-04-23 14:03 | 14.004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.4307 | μmol/L | 30.0369 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.054 | 127091.0399 | 267403.6325 | 26.25 | 74
104675 | 2021-04-23 14:03 | 14.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.0198 | μmol/L | 30.1164 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.051 | 127081.5697 | 267394.8516 | 26.25 | 74
104685 | 2021-04-23 14:04 | 14.6714 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.324 | μmol/L | 30.0552 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.054 | 127109.6298 | 267401.7123 | 26.25 | 74
104695 | 2021-04-23 14:04 | 15.0044 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.095 | μmol/L | 30.0858 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.057 | 127124.2223 | 267399.8955 | 26.25 | 74
104705 | 2021-04-23 14:04 | 15.3377 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.0779 | μmol/L | 30.0858 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.058 | 127124.9239 | 267383.5041 | 26.25 | 74
104715 | 2021-04-23 14:05 | 15.6709 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.9754 | μmol/L | 30.0858 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.064 | 127151.1773 | 267382.738 | 26.25 | 74
104725 | 2021-04-23 14:05 | 16.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.9583 | μmol/L | 30.0858 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.065 | 127168.538 | 267385.7054 | 26.25 | 74
104735 | 2021-04-23 14:05 | 16.338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.9241 | μmol/L | 30.0858 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.067 | 127195.8092 | 267378.7415 | 26.25 | 74
104745 | 2021-04-23 14:06 | 16.6711 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.5237 | μmol/L | 30.1225 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.078 | 127254.6787 | 267364.6738 | 26.25 | 74
104755 | 2021-04-23 14:06 | 17.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.6301 | μmol/L | 30.1041 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.078 | 127257.668 | 267385.4818 | 26.25 | 74
104765 | 2021-04-23 14:06 | 17.338 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.7406 | μmol/L | 30.0675 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.084 | 127293.3202 | 267365.8955 | 26.25 | 74
104775 | 2021-04-23 14:07 | 17.671 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.2431 | μmol/L | 30.1592 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.082 | 127277.7555 | 267354.5066 | 26.25 | 74
104785 | 2021-04-23 14:07 | 18.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.3848 | μmol/L | 30.1347 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.082 | 127301.0478 | 267344.0523 | 26.25 | 74
104795 | 2021-04-23 14:07 | 18.3379 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.95 | μmol/L | 30.1775 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.093 | 127321.7646 | 267340.6845 | 26.25 | 74
104805 | 2021-04-23 14:08 | 18.6711 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.1779 | μmol/L | 30.1469 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.09 | 127347.8295 | 267333.7093 | 26.25 | 74
104815 | 2021-04-23 14:08 | 19.0042 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.2515 | μmol/L | 30.1225 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.094 | 127370.8131 | 267329.991 | 26.25 | 74
104825 | 2021-04-23 14:08 | 19.3381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.2019 | μmol/L | 30.1164 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.099 | 127386.0695 | 267327.1851 | 26.25 | 74
104835 | 2021-04-23 14:09 | 19.6714 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.8398 | μmol/L | 30.1408 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.112 | 127449.7329 | 267323.9892 | 26.25 | 74