## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 14:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
104845 | 2021-04-23 14:17 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.6923 | μmol/L | 29.4445 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.677 | 137638.0501 | 271468.5694 | 33.25 | 75.7
104855 | 2021-04-23 14:17 | 0.32919 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.2512 | μmol/L | 29.4076 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.714 | 137690.9951 | 271474.0309 | 33.25 | 75.7
104865 | 2021-04-23 14:18 | 0.66276 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.5404 | μmol/L | 29.4076 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.754 | 137974.8688 | 271460.459 | 33.25 | 75.7
104875 | 2021-04-23 14:18 | 0.99564 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.7215 | μmol/L | 29.4445 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.788 | 138243.788 | 271448.9141 | 33.25 | 75.7
104885 | 2021-04-23 14:18 | 1.3291 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.8235 | μmol/L | 29.4507 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.837 | 138565.6239 | 271447.5869 | 33.25 | 75.7
104895 | 2021-04-23 14:19 | 1.6628 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.5324 | μmol/L | 29.4076 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.868 | 138781.2816 | 271444.3372 | 33.25 | 75.7
104905 | 2021-04-23 14:19 | 1.9956 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.9102 | μmol/L | 29.4753 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.881 | 138911.2083 | 271421.8714 | 33.25 | 75.7
104915 | 2021-04-23 14:19 | 2.3297 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.6151 | μmol/L | 29.4691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.9 | 139058.1603 | 271424.2082 | 33.25 | 75.7
104925 | 2021-04-23 14:20 | 2.6626 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.002 | μmol/L | 29.4999 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.925 | 139202.4142 | 271410.7019 | 33.25 | 75.7
104935 | 2021-04-23 14:20 | 2.9957 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.1737 | μmol/L | 29.4076 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.946 | 139332.8792 | 271391.2276 | 33.25 | 75.7
104945 | 2021-04-23 14:20 | 3.3295 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.5474 | μmol/L | 29.4261 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.976 | 139529.4428 | 271390.9067 | 33.25 | 75.7
104955 | 2021-04-23 14:21 | 3.6628 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.5894 | μmol/L | 29.383 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.988 | 139623.2979 | 271383.6921 | 33.25 | 75.7
104965 | 2021-04-23 14:21 | 3.996 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.057 | μmol/L | 29.4691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.99 | 139645.8458 | 271375.1643 | 33.25 | 75.7
104975 | 2021-04-23 14:21 | 4.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.9559 | μmol/L | 29.4568 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21 | 139742.4953 | 271375.4827 | 33.25 | 75.7
104985 | 2021-04-23 14:22 | 4.6628 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.699 | μmol/L | 29.4507 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.017 | 139859.0163 | 271372.091 | 33.25 | 75.7
104995 | 2021-04-23 14:22 | 4.9958 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.468 | μmol/L | 29.4938 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.016 | 139873.8115 | 271360.0081 | 33.25 | 75.7
105005 | 2021-04-23 14:22 | 5.3293 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.1789 | μmol/L | 29.4814 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.037 | 139976.394 | 271348.2464 | 33.25 | 75.7
105015 | 2021-04-23 14:23 | 5.6626 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.4963 | μmol/L | 29.4322 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.035 | 139988.278 | 271346.9938 | 33.25 | 75.7
105025 | 2021-04-23 14:23 | 5.9959 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.3239 | μmol/L | 29.4876 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.085 | 140309.5347 | 271347.2352 | 33.25 | 75.7
105035 | 2021-04-23 14:23 | 6.3292 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.9142 | μmol/L | 29.4322 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.069 | 140219.7367 | 271348.8246 | 33.25 | 75.7
105045 | 2021-04-23 14:24 | 6.6624 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.0521 | μmol/L | 29.4261 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.063 | 140194.1455 | 271342.5408 | 33.25 | 75.7
105055 | 2021-04-23 14:24 | 6.9964 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.4419 | μmol/L | 29.4938 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.076 | 140284.6132 | 271337.4855 | 33.25 | 75.7
105065 | 2021-04-23 14:24 | 7.3296 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.8079 | μmol/L | 29.5184 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.105 | 140454.2672 | 271337.3304 | 33.25 | 75.7
105075 | 2021-04-23 14:25 | 7.6628 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.3227 | μmol/L | 29.4938 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.083 | 140346.5664 | 271337.9553 | 33.25 | 75.7
105085 | 2021-04-23 14:25 | 7.9959 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.3638 | μmol/L | 29.4568 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.093 | 140412.505 | 271341.9224 | 33.25 | 75.7
105095 | 2021-04-23 14:25 | 8.329 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.7788 | μmol/L | 29.4938 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.115 | 140546.1266 | 271327.2232 | 33.25 | 75.7
105105 | 2021-04-23 14:26 | 8.6626 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.2775 | μmol/L | 29.463 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.096 | 140466.3576 | 271313.9858 | 33.25 | 75.7
105115 | 2021-04-23 14:26 | 8.9964 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.2718 | μmol/L | 29.4876 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.147 | 140755.1885 | 271307.0075 | 33.25 | 75.7
105125 | 2021-04-23 14:26 | 9.3295 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.302 | μmol/L | 29.5061 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.139 | 140720.6434 | 271306.5515 | 33.25 | 75.7
105135 | 2021-04-23 14:27 | 9.6627 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.0629 | μmol/L | 29.5184 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.149 | 140789.2814 | 271317.9581 | 33.25 | 75.7
105145 | 2021-04-23 14:27 | 9.9957 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.2463 | μmol/L | 29.5307 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.134 | 140708.4586 | 271310.5143 | 33.25 | 75.7
105155 | 2021-04-23 14:27 | 10.3297 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.1449 | μmol/L | 29.5307 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.14 | 140743.2603 | 271298.7794 | 33.25 | 75.7
105165 | 2021-04-23 14:28 | 10.6627 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.215 | μmol/L | 29.5184 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.14 | 140741.7358 | 271305.5024 | 33.25 | 75.7
105175 | 2021-04-23 14:28 | 10.9957 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.1136 | μmol/L | 29.5184 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.146 | 140799.1416 | 271304.2547 | 33.25 | 75.7
105185 | 2021-04-23 14:28 | 11.3296 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.0435 | μmol/L | 29.5307 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.146 | 140803.6699 | 271304.679 | 33.25 | 75.7
105195 | 2021-04-23 14:29 | 11.6625 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.8035 | μmol/L | 29.5491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.154 | 140847.4806 | 271299.4321 | 33.25 | 75.7
105205 | 2021-04-23 14:29 | 11.9957 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.8204 | μmol/L | 29.5491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.153 | 140849.3944 | 271287.6068 | 33.25 | 75.7
105215 | 2021-04-23 14:29 | 12.3296 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.7323 | μmol/L | 29.5676 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.152 | 140835.9361 | 271294.2775 | 33.25 | 75.7
105225 | 2021-04-23 14:30 | 12.6626 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.8978 | μmol/L | 29.4999 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.165 | 140917.8184 | 271288.6047 | 33.25 | 75.7
105235 | 2021-04-23 14:30 | 12.9964 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.5832 | μmol/L | 29.5553 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.165 | 140928.6292 | 271288.1745 | 33.25 | 75.7
105245 | 2021-04-23 14:30 | 13.3296 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.0724 | μmol/L | 29.586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.185 | 141074.2873 | 271275.6812 | 33.25 | 75.7
105255 | 2021-04-23 14:31 | 13.6627 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.0001 | μmol/L | 29.6106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.181 | 141048.5982 | 271271.8754 | 33.25 | 75.7
105265 | 2021-04-23 14:31 | 13.9961 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.9704 | μmol/L | 29.5922 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.189 | 141093.9342 | 271278.344 | 33.25 | 75.7
105275 | 2021-04-23 14:31 | 14.3291 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.8878 | μmol/L | 29.586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.196 | 141163.4619 | 271268.2063 | 33.25 | 75.7
105285 | 2021-04-23 14:32 | 14.6624 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.2054 | μmol/L | 29.6476 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.216 | 141003.1041 | 271255.0972 | 33.25 | 75.7
105295 | 2021-04-23 14:32 | 14.9963 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.3443 | μmol/L | 29.623 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.216 | 141353.6781 | 271259.194 | 33.25 | 75.7
105305 | 2021-04-23 14:32 | 15.3293 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.6149 | μmol/L | 29.5307 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.231 | 141390.9994 | 271258.9147 | 33.25 | 75.7
105315 | 2021-04-23 14:33 | 15.6625 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.6333 | μmol/L | 29.6722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.242 | 141479.7574 | 271250.7771 | 33.25 | 75.7
105325 | 2021-04-23 14:33 | 15.9963 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.2995 | μmol/L | 29.6783 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.26 | 141605.4715 | 271249.0511 | 33.25 | 75.7
105335 | 2021-04-23 14:33 | 16.3293 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.2843 | μmol/L | 29.6722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.263 | 141647.0086 | 271243.4869 | 33.25 | 75.7
105345 | 2021-04-23 14:34 | 16.6627 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.75 | μmol/L | 29.6906 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.289 | 141852.5537 | 271233.8409 | 33.25 | 75.7
105355 | 2021-04-23 14:34 | 16.9964 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.5228 | μmol/L | 29.6722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.309 | 141990.1235 | 271246.8743 | 33.25 | 75.7
105365 | 2021-04-23 14:34 | 17.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.6248 | μmol/L | 29.6599 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.307 | 141985.2024 | 271239.4774 | 33.25 | 75.7
105375 | 2021-04-23 14:35 | 17.6631 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.6536 | μmol/L | 29.6783 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.299 | 141935.4791 | 271231.7083 | 33.25 | 75.7
105385 | 2021-04-23 14:35 | 17.9962 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.1679 | μmol/L | 29.7091 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.318 | 142055.4329 | 271227.0889 | 33.25 | 75.7
105395 | 2021-04-23 14:35 | 18.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.0333 | μmol/L | 29.7214 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.322 | 142086.7187 | 271213.6603 | 33.25 | 75.7
105405 | 2021-04-23 14:36 | 18.6623 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.0405 | μmol/L | 29.6906 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.332 | 142150.055 | 271222.2672 | 33.25 | 75.7
105415 | 2021-04-23 14:36 | 18.9961 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.9432 | μmol/L | 29.6845 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.34 | 142223.7641 | 271216.7251 | 33.25 | 75.7
105425 | 2021-04-23 14:36 | 19.3292 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.7296 | μmol/L | 29.6845 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.353 | 142302.1023 | 271208.9272 | 33.25 | 75.7
105435 | 2021-04-23 14:37 | 19.6631 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.6953 | μmol/L | 29.6906 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.353 | 142306.9228 | 271203.948 | 33.25 | 75.7
105445 | 2021-04-23 14:37 | 19.996 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.7189 | μmol/L | 29.6599 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.362 | 142360.8315 | 271198.4082 | 33.25 | 75.7
105455 | 2021-04-23 14:37 | 20.3298 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.3108 | μmol/L | 29.5184 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.374 | 142444.9281 | 271189.3764 | 33.25 | 75.7
105465 | 2021-04-23 14:38 | 20.6629 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.5235 | μmol/L | 29.6537 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.376 | 142472.8362 | 271180.7993 | 33.25 | 75.7
105475 | 2021-04-23 14:38 | 20.9961 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.3254 | μmol/L | 29.6599 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.386 | 142525.1357 | 271177.1673 | 33.25 | 75.7
105485 | 2021-04-23 14:38 | 21.3292 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.1204 | μmol/L | 29.4876 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.396 | 142593.8893 | 271171.4339 | 33.25 | 75.7
105495 | 2021-04-23 14:39 | 21.6624 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.6614 | μmol/L | 29.5553 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.401 | 142666.4262 | 271173.8964 | 33.25 | 75.7
105505 | 2021-04-23 14:39 | 21.9963 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.2179 | μmol/L | 29.5614 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.426 | 142818.8743 | 271170.9249 | 33.25 | 75.7
105515 | 2021-04-23 14:39 | 22.3296 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.4522 | μmol/L | 29.4691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.443 | 142968.2719 | 271163.552 | 33.25 | 75.7
105525 | 2021-04-23 14:40 | 22.6625 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.8629 | μmol/L | 29.4753 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.477 | 143186.9334 | 271168.5855 | 33.25 | 75.7
105535 | 2021-04-23 14:40 | 22.9957 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.5699 | μmol/L | 29.543 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.472 | 143184.2462 | 271163.3177 | 33.25 | 75.7
105545 | 2021-04-23 14:40 | 23.3296 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.2783 | μmol/L | 29.6537 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.514 | 143440.0519 | 271159.8713 | 33.25 | 75.7
105555 | 2021-04-23 14:41 | 23.6625 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.3799 | μmol/L | 29.6353 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.514 | 143437.7146 | 271158.6101 | 33.25 | 75.7
105565 | 2021-04-23 14:41 | 23.9964 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.7418 | μmol/L | 29.6106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.5 | 143374.6038 | 271150.06 | 33.25 | 75.7
105575 | 2021-04-23 14:41 | 24.3296 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.483 | μmol/L | 29.6106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.516 | 143490.8061 | 271146.5261 | 33.25 | 75.7
105585 | 2021-04-23 14:42 | 24.6626 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.9295 | μmol/L | 29.5061 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.524 | 143566.0102 | 271143.4812 | 33.25 | 75.7
105595 | 2021-04-23 14:42 | 24.9962 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.0083 | μmol/L | 29.5737 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.558 | 143793.4838 | 271146.2212 | 33.25 | 75.7
105605 | 2021-04-23 14:42 | 25.3293 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.148 | μmol/L | 29.5307 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.564 | 143870.5991 | 271139.7391 | 33.25 | 75.7
105615 | 2021-04-23 14:43 | 25.6626 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.754 | μmol/L | 29.5614 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.578 | 143958.2484 | 271134.191 | 33.25 | 75.7
105625 | 2021-04-23 14:43 | 25.9964 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.4121 | μmol/L | 29.5799 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.593 | 144031.4113 | 271126.5503 | 33.25 | 75.7
105635 | 2021-04-23 14:43 | 26.3295 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.2503 | μmol/L | 29.586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.601 | 144120.2212 | 271139.3331 | 33.25 | 75.7
105645 | 2021-04-23 14:44 | 26.6626 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.1238 | μmol/L | 29.5799 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.611 | 144203.645 | 271121.612 | 33.25 | 75.7
105655 | 2021-04-23 14:44 | 26.9963 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.5485 | μmol/L | 29.6414 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.626 | 144309.3822 | 271127.1034 | 33.25 | 75.7
105665 | 2021-04-23 14:44 | 27.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.681 | μmol/L | 29.623 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.624 | 144319.6718 | 271114.6883 | 33.25 | 75.7
105675 | 2021-04-23 14:45 | 27.6625 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.5169 | μmol/L | 29.5799 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.649 | 144480.8075 | 271120.1549 | 33.25 | 75.7
105685 | 2021-04-23 14:45 | 27.9964 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.0149 | μmol/L | 29.6722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.649 | 144498.7037 | 271103.5044 | 33.25 | 75.7
105695 | 2021-04-23 14:45 | 28.3295 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.7976 | μmol/L | 29.6537 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.669 | 144633.2999 | 271115.2281 | 33.25 | 75.7
105705 | 2021-04-23 14:46 | 28.6626 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.24 | μmol/L | 29.543 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.679 | 144666.787 | 271095.7928 | 33.25 | 75.7
105715 | 2021-04-23 14:46 | 28.9964 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.3052 | μmol/L | 29.5368 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.677 | 144666.478 | 271097.7391 | 33.25 | 75.7
105725 | 2021-04-23 14:46 | 29.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.3052 | μmol/L | 29.5368 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.677 | 144694.2244 | 271094.6907 | 33.25 | 75.7
105735 | 2021-04-23 14:47 | 29.6625 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.1748 | μmol/L | 29.5491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.681 | 144725.5898 | 271094.5499 | 33.25 | 75.7
105745 | 2021-04-23 14:47 | 29.9958 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.7129 | μmol/L | 29.5553 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.708 | 144918.9184 | 271099.1136 | 33.25 | 75.7
105755 | 2021-04-23 14:47 | 30.329 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.8661 | μmol/L | 29.6476 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.73 | 145081.3894 | 271093.9019 | 33.25 | 75.7
105765 | 2021-04-23 14:48 | 30.6628 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.5601 | μmol/L | 29.6722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.741 | 145157.0244 | 271084.9364 | 33.25 | 75.7
105775 | 2021-04-23 14:48 | 30.9961 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.7997 | μmol/L | 29.6599 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.73 | 145085.0515 | 271088.3899 | 33.25 | 75.7
105785 | 2021-04-23 14:48 | 31.3291 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.1171 | μmol/L | 29.5368 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.752 | 145244.1963 | 271082.8907 | 33.25 | 75.7
105795 | 2021-04-23 14:49 | 31.6631 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.5873 | μmol/L | 29.5737 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.773 | 145377.7397 | 271082.8911 | 33.25 | 75.7
105805 | 2021-04-23 14:49 | 31.9961 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.249 | μmol/L | 29.6045 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.784 | 145467.6636 | 271078.1519 | 33.25 | 75.7
105815 | 2021-04-23 14:49 | 32.329 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.2278 | μmol/L | 29.5676 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.798 | 145576.6814 | 271078.783 | 33.25 | 75.7
105825 | 2021-04-23 14:50 | 32.6628 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.7426 | μmol/L | 29.623 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.81 | 145685.7653 | 271076.0422 | 33.25 | 75.7
105835 | 2021-04-23 14:50 | 32.9956 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.4753 | μmol/L | 29.6291 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.825 | 145784.5568 | 271071.5596 | 33.25 | 75.7
105845 | 2021-04-23 14:50 | 33.3296 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.8121 | μmol/L | 29.7152 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.838 | 145882.0576 | 271075.5985 | 33.25 | 75.7
105855 | 2021-04-23 14:51 | 33.6624 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.3679 | μmol/L | 29.5676 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.853 | 145991.9471 | 271065.5621 | 33.25 | 75.7
105865 | 2021-04-23 14:51 | 33.9962 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.9818 | μmol/L | 29.666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.844 | 145930.9039 | 271067.7722 | 33.25 | 75.7
105875 | 2021-04-23 14:51 | 34.3292 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.0701 | μmol/L | 29.6291 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.851 | 146006.8908 | 271061.7844 | 33.25 | 75.7
105885 | 2021-04-23 14:52 | 34.6624 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.2964 | μmol/L | 29.7275 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.867 | 146145.0842 | 271050.2705 | 33.25 | 75.7
105895 | 2021-04-23 14:52 | 34.9957 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.6749 | μmol/L | 29.5983 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.887 | 146268.906 | 271053.6393 | 33.25 | 75.7
105905 | 2021-04-23 14:52 | 35.3296 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.7399 | μmol/L | 29.7275 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.903 | 146366.7917 | 271032.6295 | 33.25 | 75.7
105915 | 2021-04-23 14:53 | 35.6627 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.6836 | μmol/L | 29.7091 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.913 | 146431.4357 | 271037.5753 | 33.25 | 75.7
105925 | 2021-04-23 14:53 | 35.996 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.3012 | μmol/L | 29.7522 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.923 | 146497.9416 | 271034.2849 | 33.25 | 75.7
105935 | 2021-04-23 14:53 | 36.3296 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.4643 | μmol/L | 29.7214 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.923 | 146533.8834 | 271016.3207 | 33.25 | 75.7
105945 | 2021-04-23 14:54 | 36.663 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.5251 | μmol/L | 29.6722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.936 | 146754.2954 | 271025.1472 | 33.25 | 75.7