## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 14:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
104847 | 2021-04-23 14:17 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.0603 | μmol/L | 29.3138 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.196 | 100032.5942 | 213188.5105 | 27.3 | 43.4
104857 | 2021-04-23 14:17 | 0.33374 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.331 | μmol/L | 29.2586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.303 | 101661.8098 | 213195.6125 | 27.3 | 43.4
104867 | 2021-04-23 14:18 | 0.66717 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.9742 | μmol/L | 29.2586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.373 | 102017.838 | 213196.2294 | 27.3 | 43.4
104877 | 2021-04-23 14:18 | 1.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.7403 | μmol/L | 29.2709 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.433 | 102313.7385 | 213188.0811 | 27.3 | 43.4
104887 | 2021-04-23 14:18 | 1.3332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.6852 | μmol/L | 29.3628 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.457 | 102463.4725 | 213176.4652 | 27.3 | 43.4
104897 | 2021-04-23 14:19 | 1.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.2316 | μmol/L | 29.3506 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.485 | 102594.4672 | 213168.4395 | 27.3 | 43.4
104907 | 2021-04-23 14:19 | 2.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.3441 | μmol/L | 29.2831 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.502 | 102720.6288 | 213168.1886 | 27.3 | 43.4
104917 | 2021-04-23 14:19 | 2.3333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.6976 | μmol/L | 29.2893 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.534 | 102909.0792 | 213160.9317 | 27.3 | 43.4
104927 | 2021-04-23 14:20 | 2.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.4324 | μmol/L | 29.2954 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.599 | 103094.0085 | 213162.715 | 27.3 | 43.4
104937 | 2021-04-23 14:20 | 3.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.7014 | μmol/L | 29.2954 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.638 | 103253.2303 | 213164.7869 | 27.3 | 43.4
104947 | 2021-04-23 14:20 | 3.3333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.3277 | μmol/L | 29.2954 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.658 | 103361.1205 | 213147.4811 | 27.3 | 43.4
104957 | 2021-04-23 14:21 | 3.6667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.1802 | μmol/L | 29.2893 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.668 | 103383.6135 | 213158.1374 | 27.3 | 43.4
104967 | 2021-04-23 14:21 | 3.9999 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.1439 | μmol/L | 29.3383 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.707 | 103628.1608 | 213149.9701 | 27.3 | 43.4
104977 | 2021-04-23 14:21 | 4.3332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.2828 | μmol/L | 29.3751 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.741 | 103787.9358 | 213154.325 | 27.3 | 43.4
104987 | 2021-04-23 14:22 | 4.6665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.0633 | μmol/L | 29.3077 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.776 | 103981.6088 | 213147.8769 | 27.3 | 43.4
104997 | 2021-04-23 14:22 | 5.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.7838 | μmol/L | 29.2586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.808 | 104104.805 | 213145.6665 | 27.3 | 43.4
105007 | 2021-04-23 14:22 | 5.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.8124 | μmol/L | 29.3812 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.819 | 104158.2675 | 213137.3982 | 27.3 | 43.4
105017 | 2021-04-23 14:23 | 5.6666 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.9423 | μmol/L | 29.3751 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.814 | 104174.7319 | 213128.906 | 27.3 | 43.4
105027 | 2021-04-23 14:23 | 6.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.6141 | μmol/L | 29.4854 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.849 | 104291.8038 | 213135.4748 | 27.3 | 43.4
105037 | 2021-04-23 14:23 | 6.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.9443 | μmol/L | 29.418 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.854 | 104355.5062 | 213131.8371 | 27.3 | 43.4
105047 | 2021-04-23 14:24 | 6.6671 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.0027 | μmol/L | 29.4057 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.855 | 104389.6411 | 213134.0956 | 27.3 | 43.4
105057 | 2021-04-23 14:24 | 7.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 205.9539 | μmol/L | 29.3873 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.864 | 104433.6315 | 213118.4087 | 27.3 | 43.4
105067 | 2021-04-23 14:24 | 7.3334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.7331 | μmol/L | 29.5222 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.885 | 104543.6151 | 213131.3503 | 27.3 | 43.4
105077 | 2021-04-23 14:25 | 7.6667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.4144 | μmol/L | 29.5038 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.909 | 104641.0742 | 213121.1869 | 27.3 | 43.4
105087 | 2021-04-23 14:25 | 8.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.4044 | μmol/L | 29.5344 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.899 | 104610.2398 | 213116.188 | 27.3 | 43.4
105097 | 2021-04-23 14:25 | 8.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 204.1522 | μmol/L | 29.5344 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.913 | 104652.1331 | 213115.704 | 27.3 | 43.4
105107 | 2021-04-23 14:26 | 8.6673 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.647 | μmol/L | 29.5406 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.939 | 104775.2279 | 213112.6306 | 27.3 | 43.4
105117 | 2021-04-23 14:26 | 8.9999 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.8204 | μmol/L | 29.5589 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.923 | 104740.3961 | 213096.7814 | 27.3 | 43.4
105127 | 2021-04-23 14:26 | 9.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.3879 | μmol/L | 29.5651 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.945 | 104830.0232 | 213100.4201 | 27.3 | 43.4
105137 | 2021-04-23 14:27 | 9.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 203.3321 | μmol/L | 29.5712 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.946 | 104840.9434 | 213099.5166 | 27.3 | 43.4
105147 | 2021-04-23 14:27 | 9.9999 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.8883 | μmol/L | 29.6141 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.956 | 104891.8435 | 213102.4752 | 27.3 | 43.4
105157 | 2021-04-23 14:27 | 10.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.6761 | μmol/L | 29.608 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.97 | 104971.0534 | 213107.2186 | 27.3 | 43.4
105167 | 2021-04-23 14:28 | 10.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.5261 | μmol/L | 29.5773 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.989 | 105044.942 | 213106.8489 | 27.3 | 43.4
105177 | 2021-04-23 14:28 | 10.9999 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.8199 | μmol/L | 29.6141 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.016 | 105164.9991 | 213108.8724 | 27.3 | 43.4
105187 | 2021-04-23 14:28 | 11.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.871 | μmol/L | 29.6202 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.011 | 105163.9421 | 213098.0213 | 27.3 | 43.4
105197 | 2021-04-23 14:29 | 11.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 202.146 | μmol/L | 29.5957 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.004 | 105170.3084 | 213103.5512 | 27.3 | 43.4
105207 | 2021-04-23 14:29 | 12.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.7667 | μmol/L | 29.6141 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.019 | 105251.8078 | 213089.765 | 27.3 | 43.4
105217 | 2021-04-23 14:29 | 12.3331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.4321 | μmol/L | 29.608 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.04 | 105322.3854 | 213093.8975 | 27.3 | 43.4
105227 | 2021-04-23 14:30 | 12.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 201.3784 | μmol/L | 29.5589 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.06 | 105416.9829 | 213097.61 | 27.3 | 43.4
105237 | 2021-04-23 14:30 | 13.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.9419 | μmol/L | 29.6448 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.055 | 105426.8308 | 213096.9451 | 27.3 | 43.4
105247 | 2021-04-23 14:30 | 13.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.8756 | μmol/L | 29.6325 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.063 | 105447.4417 | 213089.8293 | 27.3 | 43.4
105257 | 2021-04-23 14:31 | 13.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.7611 | μmol/L | 29.657 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.061 | 105467.126 | 213092.1113 | 27.3 | 43.4
105267 | 2021-04-23 14:31 | 13.9998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.2088 | μmol/L | 29.6754 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.086 | 105570.033 | 213088.4946 | 27.3 | 43.4
105277 | 2021-04-23 14:31 | 14.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.5123 | μmol/L | 29.6631 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.073 | 105538.647 | 213096.6969 | 27.3 | 43.4
105287 | 2021-04-23 14:32 | 14.667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 200.0025 | μmol/L | 29.6631 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.102 | 105662.692 | 213091.0824 | 27.3 | 43.4
105297 | 2021-04-23 14:32 | 15.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.9981 | μmol/L | 29.6754 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.098 | 105642.192 | 213087.8987 | 27.3 | 43.4
105307 | 2021-04-23 14:32 | 15.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.7876 | μmol/L | 29.6754 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.11 | 105923.8085 | 213089.6187 | 27.3 | 43.4
105317 | 2021-04-23 14:33 | 15.6665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.6519 | μmol/L | 29.6631 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.122 | 106027.5103 | 213081.6191 | 27.3 | 43.4
105327 | 2021-04-23 14:33 | 16.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.7024 | μmol/L | 29.6202 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.134 | 106083.4723 | 213073.5672 | 27.3 | 43.4
105337 | 2021-04-23 14:33 | 16.3334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.5449 | μmol/L | 29.6202 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.143 | 106142.8833 | 213067.565 | 27.3 | 43.4
105347 | 2021-04-23 14:34 | 16.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 199.0295 | μmol/L | 29.6448 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.164 | 106249.1505 | 213073.2505 | 27.3 | 43.4
105357 | 2021-04-23 14:34 | 16.9998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.916 | μmol/L | 29.6693 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.162 | 106259.3682 | 213076.2413 | 27.3 | 43.4
105367 | 2021-04-23 14:34 | 17.3338 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.9356 | μmol/L | 29.6631 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.163 | 106290.2331 | 213058.865 | 27.3 | 43.4
105377 | 2021-04-23 14:35 | 17.6667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.5134 | μmol/L | 29.6754 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.183 | 106334.3074 | 213061.3193 | 27.3 | 43.4
105387 | 2021-04-23 14:35 | 18.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.1245 | μmol/L | 29.6938 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.199 | 106420.8574 | 213058.7932 | 27.3 | 43.4
105397 | 2021-04-23 14:35 | 18.3331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.4854 | μmol/L | 29.657 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.191 | 106421.123 | 213043.4428 | 27.3 | 43.4
105407 | 2021-04-23 14:36 | 18.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.1186 | μmol/L | 29.6631 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.21 | 106510.1772 | 213058.1325 | 27.3 | 43.4
105417 | 2021-04-23 14:36 | 19.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 198.0146 | μmol/L | 29.6631 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.216 | 106545.031 | 213046.9369 | 27.3 | 43.4
105427 | 2021-04-23 14:36 | 19.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.4622 | μmol/L | 29.706 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.233 | 106619.8184 | 213045.8486 | 27.3 | 43.4
105437 | 2021-04-23 14:37 | 19.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.3656 | μmol/L | 29.6877 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.245 | 106686.3397 | 213042.5296 | 27.3 | 43.4
105447 | 2021-04-23 14:37 | 19.9999 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 197.1195 | μmol/L | 29.6999 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.255 | 106727.4009 | 213038.1281 | 27.3 | 43.4
105457 | 2021-04-23 14:37 | 20.3331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.8714 | μmol/L | 29.7183 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.263 | 106779.0128 | 213037.1819 | 27.3 | 43.4
105467 | 2021-04-23 14:38 | 20.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.6823 | μmol/L | 29.7183 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.274 | 106817.8753 | 213038.1518 | 27.3 | 43.4
105477 | 2021-04-23 14:38 | 21.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.5081 | μmol/L | 29.7244 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.282 | 106878.8638 | 213042.9254 | 27.3 | 43.4
105487 | 2021-04-23 14:38 | 21.3331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 196.2703 | μmol/L | 29.7183 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.298 | 106965.6014 | 213031.8299 | 27.3 | 43.4
105497 | 2021-04-23 14:39 | 21.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.8082 | μmol/L | 29.7183 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.325 | 107103.4235 | 213039.4355 | 27.3 | 43.4
105507 | 2021-04-23 14:39 | 22.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.8837 | μmol/L | 29.6999 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.327 | 107098.4572 | 213037.9015 | 27.3 | 43.4
105517 | 2021-04-23 14:39 | 22.3333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.8054 | μmol/L | 29.6815 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.338 | 107171.594 | 213030.1531 | 27.3 | 43.4
105527 | 2021-04-23 14:40 | 22.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.3084 | μmol/L | 29.6877 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.365 | 107296.5059 | 213038.1227 | 27.3 | 43.4
105537 | 2021-04-23 14:40 | 23.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.3813 | μmol/L | 29.6754 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.365 | 107295.2895 | 213020.707 | 27.3 | 43.4
105547 | 2021-04-23 14:40 | 23.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 195.1236 | μmol/L | 29.6815 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.378 | 107382.6562 | 213019.5902 | 27.3 | 43.4
105557 | 2021-04-23 14:41 | 23.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.9658 | μmol/L | 29.6938 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.383 | 107418.7746 | 213036.6942 | 27.3 | 43.4
105567 | 2021-04-23 14:41 | 24 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.3359 | μmol/L | 29.6999 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.418 | 107570.3027 | 213018.956 | 27.3 | 43.4
105577 | 2021-04-23 14:41 | 24.3331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.8224 | μmol/L | 29.6264 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.415 | 107566.5408 | 213017.955 | 27.3 | 43.4
105587 | 2021-04-23 14:42 | 24.667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.9674 | μmol/L | 29.5589 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.43 | 107633.1151 | 213018.7256 | 27.3 | 43.4
105597 | 2021-04-23 14:42 | 24.9999 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 194.8898 | μmol/L | 29.5406 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.441 | 107690.8306 | 213020.1941 | 27.3 | 43.4
105607 | 2021-04-23 14:42 | 25.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.8652 | μmol/L | 29.6938 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.448 | 107754.2403 | 213024.3935 | 27.3 | 43.4
105617 | 2021-04-23 14:43 | 25.667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.6966 | μmol/L | 29.6938 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.458 | 107814.5088 | 213019.9695 | 27.3 | 43.4
105627 | 2021-04-23 14:43 | 26.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.5233 | μmol/L | 29.706 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.464 | 107826.114 | 213010.0235 | 27.3 | 43.4
105637 | 2021-04-23 14:43 | 26.3333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 193.0527 | μmol/L | 29.706 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.492 | 107963.7477 | 213009.2369 | 27.3 | 43.4
105647 | 2021-04-23 14:44 | 26.6666 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.8011 | μmol/L | 29.706 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.507 | 108040.6382 | 213016.2463 | 27.3 | 43.4
105657 | 2021-04-23 14:44 | 26.9998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.9234 | μmol/L | 29.6938 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.504 | 108045.5428 | 213003.1329 | 27.3 | 43.4
105667 | 2021-04-23 14:44 | 27.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.8588 | μmol/L | 29.6877 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.51 | 108084.4567 | 213007.7616 | 27.3 | 43.4
105677 | 2021-04-23 14:45 | 27.667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.9817 | μmol/L | 29.6325 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.522 | 108147.474 | 213006.106 | 27.3 | 43.4
105687 | 2021-04-23 14:45 | 28.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.635 | μmol/L | 29.6202 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.547 | 108249.8512 | 213010.047 | 27.3 | 43.4
105697 | 2021-04-23 14:45 | 28.3332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.6133 | μmol/L | 29.6325 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.544 | 108253.5065 | 213012.2738 | 27.3 | 43.4
105707 | 2021-04-23 14:46 | 28.667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.9324 | μmol/L | 29.706 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.559 | 108340.5627 | 213011.093 | 27.3 | 43.4
105717 | 2021-04-23 14:46 | 29.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.0832 | μmol/L | 29.6631 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.565 | 108370.5807 | 212999.6333 | 27.3 | 43.4
105727 | 2021-04-23 14:46 | 29.3331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 192.2217 | μmol/L | 29.6509 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.561 | 108356.7887 | 213002.313 | 27.3 | 43.4
105737 | 2021-04-23 14:47 | 29.6664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.6379 | μmol/L | 29.6938 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.581 | 108483.6073 | 213007.026 | 27.3 | 43.4
105747 | 2021-04-23 14:47 | 30.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.3274 | μmol/L | 29.6815 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.604 | 108568.2543 | 212997.9846 | 27.3 | 43.4
105757 | 2021-04-23 14:47 | 30.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 191.3184 | μmol/L | 29.6631 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.611 | 108651.7271 | 213006.3664 | 27.3 | 43.4
105767 | 2021-04-23 14:48 | 30.6666 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.622 | μmol/L | 29.706 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.638 | 108749.6776 | 213004.328 | 27.3 | 43.4
105777 | 2021-04-23 14:48 | 31 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.3096 | μmol/L | 29.7428 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.644 | 108790.1498 | 213001.771 | 27.3 | 43.4
105787 | 2021-04-23 14:48 | 31.3332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.1639 | μmol/L | 29.7367 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.655 | 108845.2506 | 212995.2625 | 27.3 | 43.4
105797 | 2021-04-23 14:49 | 31.6672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.8539 | μmol/L | 29.7306 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.676 | 108942.1313 | 213000.3321 | 27.3 | 43.4
105807 | 2021-04-23 14:49 | 32.0002 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.2581 | μmol/L | 29.6693 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.673 | 108945.3731 | 213005.3611 | 27.3 | 43.4
105817 | 2021-04-23 14:49 | 32.3339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 190.2164 | μmol/L | 29.6509 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.682 | 109003.5965 | 212988.8556 | 27.3 | 43.4
105827 | 2021-04-23 14:50 | 32.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.7104 | μmol/L | 29.6815 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.702 | 109094.8364 | 212988.4306 | 27.3 | 43.4
105837 | 2021-04-23 14:50 | 32.9998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.6801 | μmol/L | 29.6754 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.706 | 109112.6279 | 212993.3477 | 27.3 | 43.4
105847 | 2021-04-23 14:50 | 33.3337 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 189.2772 | μmol/L | 29.7367 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.709 | 109150.3226 | 212991.2014 | 27.3 | 43.4
105857 | 2021-04-23 14:51 | 33.6667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.8142 | μmol/L | 29.749 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.733 | 109258.9501 | 212983.9926 | 27.3 | 43.4
105867 | 2021-04-23 14:51 | 34.0003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.9037 | μmol/L | 29.7306 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.734 | 109292.5497 | 212984.2855 | 27.3 | 43.4
105877 | 2021-04-23 14:51 | 34.3334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.9174 | μmol/L | 29.7367 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.731 | 109292.8989 | 212979.0611 | 27.3 | 43.4
105887 | 2021-04-23 14:52 | 34.6666 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.7352 | μmol/L | 29.7428 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.74 | 109355.4872 | 212973.974 | 27.3 | 43.4
105897 | 2021-04-23 14:52 | 35.0005 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.0629 | μmol/L | 29.7919 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.764 | 109459.1791 | 212963.2229 | 27.3 | 43.4
105907 | 2021-04-23 14:52 | 35.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 188.1464 | μmol/L | 29.749 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.774 | 109508.6629 | 212965.3391 | 27.3 | 43.4
105917 | 2021-04-23 14:53 | 35.6665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.9436 | μmol/L | 29.7673 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.78 | 109531.5307 | 212968.6162 | 27.3 | 43.4
105927 | 2021-04-23 14:53 | 36.0004 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.7787 | μmol/L | 29.7735 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.788 | 109587.5848 | 212976.0315 | 27.3 | 43.4
105937 | 2021-04-23 14:53 | 36.3334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.5679 | μmol/L | 29.7367 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.814 | 109710.8987 | 212966.3241 | 27.3 | 43.4
105947 | 2021-04-23 14:54 | 36.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 187.3685 | μmol/L | 29.749 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.822 | 110361.0151 | 212968.3534 | 27.3 | 43.4