## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 14:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
104848 | 2021-04-23 14:17 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.3603 | μmol/L | 29.3254 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.932 | 91221.7448 | 292064.5178 | 28.7 | 67.6
104858 | 2021-04-23 14:17 | 0.34098 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.3098 | μmol/L | 29.3376 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.988 | 91376.4052 | 292057.573 | 28.7 | 67.6
104868 | 2021-04-23 14:18 | 0.67452 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.0367 | μmol/L | 29.3864 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.045 | 91666.8944 | 292070.0016 | 28.7 | 67.6
104878 | 2021-04-23 14:18 | 1.0074 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.1558 | μmol/L | 29.3986 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.092 | 91922.1973 | 292065.2862 | 28.7 | 67.6
104888 | 2021-04-23 14:18 | 1.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.5251 | μmol/L | 29.3681 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.139 | 92109.751 | 292055.413 | 28.7 | 67.6
104898 | 2021-04-23 14:19 | 1.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.6706 | μmol/L | 29.3742 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.187 | 92350.0709 | 292046.907 | 28.7 | 67.6
104908 | 2021-04-23 14:19 | 2.0073 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.9733 | μmol/L | 29.3803 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.226 | 92543.0156 | 292048.3047 | 28.7 | 67.6
104918 | 2021-04-23 14:19 | 2.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4291 | μmol/L | 29.3986 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.252 | 92686.5718 | 292040.4277 | 28.7 | 67.6
104928 | 2021-04-23 14:20 | 2.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.8045 | μmol/L | 29.4047 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.287 | 92835.0449 | 292032.4824 | 28.7 | 67.6
104938 | 2021-04-23 14:20 | 3.0073 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.5504 | μmol/L | 29.4169 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.298 | 92901.6901 | 292016.4255 | 28.7 | 67.6
104948 | 2021-04-23 14:20 | 3.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.8092 | μmol/L | 29.4413 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.334 | 93053.7331 | 292011.8151 | 28.7 | 67.6
104958 | 2021-04-23 14:21 | 3.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.3898 | μmol/L | 29.4535 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.355 | 93138.1065 | 292007.6247 | 28.7 | 67.6
104968 | 2021-04-23 14:21 | 4.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.1722 | μmol/L | 29.4596 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.366 | 93222.4426 | 292024.0828 | 28.7 | 67.6
104978 | 2021-04-23 14:21 | 4.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.906 | μmol/L | 29.4596 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.382 | 93301.9297 | 291996.3377 | 28.7 | 67.6
104988 | 2021-04-23 14:22 | 4.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.0452 | μmol/L | 29.423 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.386 | 93316.9596 | 291989.9733 | 28.7 | 67.6
104998 | 2021-04-23 14:22 | 5.0076 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.5263 | μmol/L | 29.4474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.409 | 93424.2827 | 291981.4498 | 28.7 | 67.6
105008 | 2021-04-23 14:22 | 5.3409 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.2272 | μmol/L | 29.4535 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.425 | 93530.4241 | 291980.3442 | 28.7 | 67.6
105018 | 2021-04-23 14:23 | 5.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.8 | μmol/L | 29.484 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 21.441 | 93581.9502 | 291977.1759 | 28.7 | 67.6
105028 | 2021-04-23 14:23 | 6.0076 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.5087 | μmol/L | 29.5023 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.452 | 93654.1647 | 291961.4008 | 28.7 | 67.6
105038 | 2021-04-23 14:23 | 6.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.3429 | μmol/L | 29.5084 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.46 | 93697.5298 | 291976.5874 | 28.7 | 67.6
105048 | 2021-04-23 14:24 | 6.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.1139 | μmol/L | 29.5023 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.476 | 93759.5331 | 291963.5432 | 28.7 | 67.6
105058 | 2021-04-23 14:24 | 7.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.8642 | μmol/L | 29.5206 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.485 | 93807.5121 | 291964.0414 | 28.7 | 67.6
105068 | 2021-04-23 14:24 | 7.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.7178 | μmol/L | 29.5145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.496 | 93878.21 | 291959.4525 | 28.7 | 67.6
105078 | 2021-04-23 14:25 | 7.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.2504 | μmol/L | 29.5633 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.508 | 93926.6196 | 291951.3845 | 28.7 | 67.6
105088 | 2021-04-23 14:25 | 8.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.2528 | μmol/L | 29.5511 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.512 | 93959.831 | 291956.598 | 28.7 | 67.6
105098 | 2021-04-23 14:25 | 8.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.037 | μmol/L | 29.5694 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.519 | 93989.0115 | 291937.8175 | 28.7 | 67.6
105108 | 2021-04-23 14:26 | 8.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.9566 | μmol/L | 29.5633 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.526 | 94017.5123 | 291936.0501 | 28.7 | 67.6
105118 | 2021-04-23 14:26 | 9.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.8774 | μmol/L | 29.5511 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.535 | 94069.7724 | 291932.0709 | 28.7 | 67.6
105128 | 2021-04-23 14:26 | 9.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.5343 | μmol/L | 29.5572 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.554 | 94156.1489 | 291949.9961 | 28.7 | 67.6
105138 | 2021-04-23 14:27 | 9.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.0538 | μmol/L | 29.6061 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.567 | 94221.0002 | 291948.7069 | 28.7 | 67.6
105148 | 2021-04-23 14:27 | 10.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.6726 | μmol/L | 29.6488 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.576 | 94278.9004 | 291934.9406 | 28.7 | 67.6
105158 | 2021-04-23 14:27 | 10.3409 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.3618 | μmol/L | 29.6671 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.589 | 94348.3936 | 291936.9406 | 28.7 | 67.6
105168 | 2021-04-23 14:28 | 10.674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.3196 | μmol/L | 29.6366 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.602 | 94418.3052 | 291926.3937 | 28.7 | 67.6
105178 | 2021-04-23 14:28 | 11.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.1596 | μmol/L | 29.6305 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.614 | 94480.5603 | 291915.3378 | 28.7 | 67.6
105188 | 2021-04-23 14:28 | 11.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.8485 | μmol/L | 29.6549 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.625 | 94527.9733 | 291927.2181 | 28.7 | 67.6
105198 | 2021-04-23 14:29 | 11.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.835 | μmol/L | 29.6427 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.63 | 94572.1412 | 291931.277 | 28.7 | 67.6
105208 | 2021-04-23 14:29 | 12.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.6408 | μmol/L | 29.6488 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.64 | 94623.2934 | 291915.0957 | 28.7 | 67.6
105218 | 2021-04-23 14:29 | 12.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.2319 | μmol/L | 29.6854 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.653 | 94676.3271 | 291912.3994 | 28.7 | 67.6
105228 | 2021-04-23 14:30 | 12.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.7639 | μmol/L | 29.7037 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.676 | 94763.6599 | 291920.0372 | 28.7 | 67.6
105238 | 2021-04-23 14:30 | 13.0074 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.6175 | μmol/L | 29.7159 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.681 | 94796.1348 | 291905.3381 | 28.7 | 67.6
105248 | 2021-04-23 14:30 | 13.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.7187 | μmol/L | 29.6915 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.683 | 94826.2268 | 291904.9885 | 28.7 | 67.6
105258 | 2021-04-23 14:31 | 13.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.4567 | μmol/L | 29.722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.689 | 94874.4396 | 291897.677 | 28.7 | 67.6
105268 | 2021-04-23 14:31 | 14.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.0254 | μmol/L | 29.7281 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.714 | 94949.342 | 291900.7444 | 28.7 | 67.6
105278 | 2021-04-23 14:31 | 14.3409 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.9446 | μmol/L | 29.7342 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.717 | 94988.4065 | 291890.5661 | 28.7 | 67.6
105288 | 2021-04-23 14:32 | 14.6744 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.1621 | μmol/L | 29.6854 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.72 | 95043.7594 | 291887.323 | 28.7 | 67.6
105298 | 2021-04-23 14:32 | 15.0076 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.2616 | μmol/L | 29.6671 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.72 | 95025.3602 | 291883.3179 | 28.7 | 67.6
105308 | 2021-04-23 14:32 | 15.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.8044 | μmol/L | 29.722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.73 | 95055.5043 | 291876.0244 | 28.7 | 67.6
105318 | 2021-04-23 14:33 | 15.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.5251 | μmol/L | 29.7647 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.733 | 95093.3982 | 291879.8614 | 28.7 | 67.6
105328 | 2021-04-23 14:33 | 16.0076 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.0549 | μmol/L | 29.8136 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.746 | 95150.3738 | 291879.8276 | 28.7 | 67.6
105338 | 2021-04-23 14:33 | 16.3415 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.7091 | μmol/L | 29.8074 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.77 | 95259.4837 | 291868.0077 | 28.7 | 67.6
105348 | 2021-04-23 14:34 | 16.6742 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.6832 | μmol/L | 29.783 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.78 | 95332.1739 | 291866.8187 | 28.7 | 67.6
105358 | 2021-04-23 14:34 | 17.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.6889 | μmol/L | 29.7586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.788 | 95361.8217 | 291854.8131 | 28.7 | 67.6
105368 | 2021-04-23 14:34 | 17.3412 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.2998 | μmol/L | 29.8074 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.796 | 95408.5522 | 291845.4634 | 28.7 | 67.6
105378 | 2021-04-23 14:35 | 17.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.1655 | μmol/L | 29.7769 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.815 | 95499.8836 | 291853.4493 | 28.7 | 67.6
105388 | 2021-04-23 14:35 | 18.0082 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.2683 | μmol/L | 29.7403 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.821 | 95513.7092 | 291844.7683 | 28.7 | 67.6
105398 | 2021-04-23 14:35 | 18.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.9673 | μmol/L | 29.7525 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.836 | 95576.7496 | 291847.1791 | 28.7 | 67.6
105408 | 2021-04-23 14:36 | 18.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.6439 | μmol/L | 29.7952 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.842 | 95623.7222 | 291853.7765 | 28.7 | 67.6
105418 | 2021-04-23 14:36 | 19.0076 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.7935 | μmol/L | 29.7586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.845 | 95667.4136 | 291843.4049 | 28.7 | 67.6
105428 | 2021-04-23 14:36 | 19.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.6399 | μmol/L | 29.7464 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.859 | 95695.8598 | 291838.1143 | 28.7 | 67.6
105438 | 2021-04-23 14:37 | 19.6748 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.637 | μmol/L | 29.7586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.855 | 95700.2636 | 291833.5236 | 28.7 | 67.6
105448 | 2021-04-23 14:37 | 20.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.1269 | μmol/L | 29.8013 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.873 | 95774.5936 | 291824.2874 | 28.7 | 67.6
105458 | 2021-04-23 14:37 | 20.3411 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.8702 | μmol/L | 29.8319 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.879 | 95811.3986 | 291832.392 | 28.7 | 67.6
105468 | 2021-04-23 14:38 | 20.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.6339 | μmol/L | 29.8441 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.89 | 95863.0451 | 291812.9981 | 28.7 | 67.6
105478 | 2021-04-23 14:38 | 21.0079 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.8058 | μmol/L | 29.7769 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.902 | 95891.2267 | 291800.5626 | 28.7 | 67.6
105488 | 2021-04-23 14:38 | 21.3409 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.6273 | μmol/L | 29.8074 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.903 | 95919.2078 | 291810.8701 | 28.7 | 67.6
105498 | 2021-04-23 14:39 | 21.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.5852 | μmol/L | 29.7891 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.912 | 95945.5665 | 291812.969 | 28.7 | 67.6
105508 | 2021-04-23 14:39 | 22.0076 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.7398 | μmol/L | 29.7281 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.923 | 95993.3701 | 291807.4432 | 28.7 | 67.6
105518 | 2021-04-23 14:39 | 22.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.1804 | μmol/L | 29.7952 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.936 | 96057.8473 | 291796.808 | 28.7 | 67.6
105528 | 2021-04-23 14:40 | 22.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.9452 | μmol/L | 29.8074 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.947 | 96107.0905 | 291778.8333 | 28.7 | 67.6
105538 | 2021-04-23 14:40 | 23.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.6177 | μmol/L | 29.8197 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.964 | 96198.4388 | 291790.4531 | 28.7 | 67.6
105548 | 2021-04-23 14:40 | 23.3408 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.4989 | μmol/L | 29.8013 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.978 | 96267.4692 | 291775.2488 | 28.7 | 67.6
105558 | 2021-04-23 14:41 | 23.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.9095 | μmol/L | 29.8197 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.01 | 96400.6641 | 291786.8554 | 28.7 | 67.6
105568 | 2021-04-23 14:41 | 24.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.8159 | μmol/L | 29.8258 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.014 | 96449.3803 | 291786.3648 | 28.7 | 67.6
105578 | 2021-04-23 14:41 | 24.3409 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.0648 | μmol/L | 29.7525 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.023 | 96492.9739 | 291788.2497 | 28.7 | 67.6
105588 | 2021-04-23 14:42 | 24.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.0248 | μmol/L | 29.7281 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.034 | 96540.8837 | 291779.7383 | 28.7 | 67.6
105598 | 2021-04-23 14:42 | 25.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.6014 | μmol/L | 29.7647 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.049 | 96609.3021 | 291765.3818 | 28.7 | 67.6
105608 | 2021-04-23 14:42 | 25.3409 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.1043 | μmol/L | 29.7952 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.071 | 96702.2919 | 291774.0355 | 28.7 | 67.6
105618 | 2021-04-23 14:43 | 25.674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.1016 | μmol/L | 29.7464 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.088 | 96788.3693 | 291768.4493 | 28.7 | 67.6
105628 | 2021-04-23 14:43 | 26.0074 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.4325 | μmol/L | 29.8013 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.113 | 96897.5797 | 291762.1075 | 28.7 | 67.6
105638 | 2021-04-23 14:43 | 26.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.4484 | μmol/L | 29.7403 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.133 | 96996.9691 | 291745.8447 | 28.7 | 67.6
105648 | 2021-04-23 14:44 | 26.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.1376 | μmol/L | 29.8258 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.124 | 96985.9679 | 291748.2272 | 28.7 | 67.6
105658 | 2021-04-23 14:44 | 27.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.0076 | μmol/L | 29.8013 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.141 | 97063.1825 | 291758.9741 | 28.7 | 67.6
105668 | 2021-04-23 14:44 | 27.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.0946 | μmol/L | 29.7586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.15 | 97110.0996 | 291751.2903 | 28.7 | 67.6
105678 | 2021-04-23 14:45 | 27.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.9734 | μmol/L | 29.7586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.158 | 97159.8053 | 291743.3075 | 28.7 | 67.6
105688 | 2021-04-23 14:45 | 28.0081 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.1636 | μmol/L | 29.8502 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.18 | 97253.6613 | 291742.891 | 28.7 | 67.6
105698 | 2021-04-23 14:45 | 28.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.0197 | μmol/L | 29.8258 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.198 | 97327.4512 | 291735.7519 | 28.7 | 67.6
105708 | 2021-04-23 14:46 | 28.674 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.2635 | μmol/L | 29.7586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.205 | 97374.3428 | 291741.9547 | 28.7 | 67.6
105718 | 2021-04-23 14:46 | 29.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.4821 | μmol/L | 29.6732 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.22 | 97421.3946 | 291738.4221 | 28.7 | 67.6
105728 | 2021-04-23 14:46 | 29.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.564 | μmol/L | 29.8441 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.222 | 97454.0847 | 291734.8954 | 28.7 | 67.6
105738 | 2021-04-23 14:47 | 29.6743 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.569 | μmol/L | 29.8258 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.228 | 97481.5148 | 291730.0045 | 28.7 | 67.6
105748 | 2021-04-23 14:47 | 30.0075 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.5372 | μmol/L | 29.7769 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.247 | 97548.0961 | 291713.2448 | 28.7 | 67.6
105758 | 2021-04-23 14:47 | 30.3414 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.5506 | μmol/L | 29.783 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.244 | 97557.6492 | 291726.4567 | 28.7 | 67.6
105768 | 2021-04-23 14:48 | 30.6745 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.1762 | μmol/L | 29.838 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.25 | 97608.6594 | 291724.7407 | 28.7 | 67.6
105778 | 2021-04-23 14:48 | 31.0078 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.7827 | μmol/L | 29.8563 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.27 | 97680.9759 | 291717.0219 | 28.7 | 67.6
105788 | 2021-04-23 14:48 | 31.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.7413 | μmol/L | 29.8441 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.277 | 97735.9949 | 291717.0658 | 28.7 | 67.6
105798 | 2021-04-23 14:49 | 31.6741 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.3622 | μmol/L | 29.8685 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.294 | 97795.3093 | 291713.3988 | 28.7 | 67.6
105808 | 2021-04-23 14:49 | 32.008 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.4251 | μmol/L | 29.8563 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.294 | 97834.9282 | 291705.1994 | 28.7 | 67.6
105818 | 2021-04-23 14:49 | 32.341 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.5726 | μmol/L | 29.8074 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.301 | 97856.0707 | 291709.7122 | 28.7 | 67.6
105828 | 2021-04-23 14:50 | 32.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.0981 | μmol/L | 29.8563 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.316 | 97929.1661 | 291707.0725 | 28.7 | 67.6
105838 | 2021-04-23 14:50 | 33.0076 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.8049 | μmol/L | 29.8441 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.34 | 98033.0206 | 291700.9574 | 28.7 | 67.6
105848 | 2021-04-23 14:50 | 33.3409 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.2795 | μmol/L | 29.9234 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.348 | 98081.3644 | 291698.2025 | 28.7 | 67.6
105858 | 2021-04-23 14:51 | 33.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.0658 | μmol/L | 29.9478 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.354 | 98111.9243 | 291676.8403 | 28.7 | 67.6
105868 | 2021-04-23 14:51 | 34.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.5965 | μmol/L | 29.9417 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.388 | 98237.8488 | 291686.0895 | 28.7 | 67.6
105878 | 2021-04-23 14:51 | 34.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.7877 | μmol/L | 29.9417 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.375 | 98231.9195 | 291705.5108 | 28.7 | 67.6
105888 | 2021-04-23 14:52 | 34.6747 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.5507 | μmol/L | 29.9478 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.389 | 98289.0891 | 291685.8146 | 28.7 | 67.6
105898 | 2021-04-23 14:52 | 35.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.3451 | μmol/L | 29.9478 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.403 | 98356.0776 | 291667.4655 | 28.7 | 67.6
105908 | 2021-04-23 14:52 | 35.3407 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.0045 | μmol/L | 29.96 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.422 | 98441.8773 | 291684.5077 | 28.7 | 67.6
105918 | 2021-04-23 14:53 | 35.6746 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.7579 | μmol/L | 30.0027 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.424 | 98457.0628 | 291680.7073 | 28.7 | 67.6
105928 | 2021-04-23 14:53 | 36.0077 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.5425 | μmol/L | 29.9905 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.443 | 98549.6433 | 291649.9293 | 28.7 | 67.6
105938 | 2021-04-23 14:53 | 36.3413 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.3421 | μmol/L | 29.9783 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.461 | 98625.0703 | 291659.6895 | 28.7 | 67.6
105948 | 2021-04-23 14:54 | 36.6742 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.8385 | μmol/L | 30.0088 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.485 | 98781.734 | 291663.6909 | 28.7 | 67.6