## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 14:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
104850 | 2021-04-23 14:17 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1126 | μmol/L | 29.2119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.93 | 96459.313 | 294500.6867 | 30.45 | 114.2
104860 | 2021-04-23 14:17 | 0.33959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5 | μmol/L | 29.2858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.055 | 97583.2345 | 294497.2368 | 30.45 | 114.2
104870 | 2021-04-23 14:18 | 0.67348 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.8591 | μmol/L | 29.2735 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.213 | 98376.3943 | 294491.4756 | 30.45 | 114.2
104880 | 2021-04-23 14:18 | 1.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.8954 | μmol/L | 29.2858 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.325 | 99006.4218 | 294495.7614 | 30.45 | 114.2
104890 | 2021-04-23 14:18 | 1.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.182 | μmol/L | 29.329 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.413 | 99451.6449 | 294495.4496 | 30.45 | 114.2
104900 | 2021-04-23 14:19 | 1.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.5444 | μmol/L | 29.3351 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.51 | 99939.7433 | 294484.6028 | 30.45 | 114.2
104910 | 2021-04-23 14:19 | 2.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.5258 | μmol/L | 29.3475 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.568 | 100268.3716 | 294477.5698 | 30.45 | 114.2
104920 | 2021-04-23 14:19 | 2.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.3128 | μmol/L | 29.2119 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.627 | 100573.0125 | 294466.9694 | 30.45 | 114.2
104930 | 2021-04-23 14:20 | 2.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.3666 | μmol/L | 29.2304 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.679 | 100973.6033 | 294462.4897 | 30.45 | 114.2
104940 | 2021-04-23 14:20 | 3.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.4378 | μmol/L | 29.2674 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.724 | 101195.7871 | 294446.9174 | 30.45 | 114.2
104950 | 2021-04-23 14:20 | 3.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.5225 | μmol/L | 29.3351 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.758 | 101401.0438 | 294440.2061 | 30.45 | 114.2
104960 | 2021-04-23 14:21 | 3.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.841 | μmol/L | 29.3783 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.786 | 101545.8397 | 294428.431 | 30.45 | 114.2
104970 | 2021-04-23 14:21 | 4.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.1434 | μmol/L | 29.3721 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.832 | 101790.8419 | 294432.2512 | 30.45 | 114.2
104980 | 2021-04-23 14:21 | 4.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.2202 | μmol/L | 29.3968 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.882 | 102007.7039 | 294424.8335 | 30.45 | 114.2
104990 | 2021-04-23 14:22 | 4.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.6543 | μmol/L | 29.366 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.865 | 101950.4966 | 294427.4777 | 30.45 | 114.2
105000 | 2021-04-23 14:22 | 5.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.137 | μmol/L | 29.3968 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.824 | 101775.9469 | 294406.5872 | 30.45 | 114.2
105010 | 2021-04-23 14:22 | 5.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.148 | μmol/L | 29.4153 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.817 | 101744.123 | 294410.8611 | 30.45 | 114.2
105020 | 2021-04-23 14:23 | 5.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.7455 | μmol/L | 29.4399 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.834 | 101830.5878 | 294403.3005 | 30.45 | 114.2
105030 | 2021-04-23 14:23 | 6.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.3473 | μmol/L | 29.4522 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.855 | 101961.0984 | 294397.2578 | 30.45 | 114.2
105040 | 2021-04-23 14:23 | 6.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.9865 | μmol/L | 29.4461 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.88 | 102058.3514 | 294389.7287 | 30.45 | 114.2
105050 | 2021-04-23 14:24 | 6.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.0876 | μmol/L | 29.4214 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.882 | 102100.9111 | 294385.7723 | 30.45 | 114.2
105060 | 2021-04-23 14:24 | 7.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.5085 | μmol/L | 29.4707 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.902 | 102169.8453 | 294379.7295 | 30.45 | 114.2
105070 | 2021-04-23 14:24 | 7.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.1447 | μmol/L | 29.483 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.921 | 102273.4674 | 294377.0161 | 30.45 | 114.2
105080 | 2021-04-23 14:25 | 7.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.6861 | μmol/L | 29.4522 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.897 | 102146.4074 | 294372.8365 | 30.45 | 114.2
105090 | 2021-04-23 14:25 | 8.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.3746 | μmol/L | 29.5015 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.9 | 102199.7198 | 294370.1601 | 30.45 | 114.2
105100 | 2021-04-23 14:25 | 8.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.0406 | μmol/L | 29.52 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.915 | 102257.7145 | 294366.9573 | 30.45 | 114.2
105110 | 2021-04-23 14:26 | 8.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.7247 | μmol/L | 29.5324 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.931 | 102336.0595 | 294358.0315 | 30.45 | 114.2
105120 | 2021-04-23 14:26 | 9.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.5998 | μmol/L | 29.5324 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.939 | 102447.1899 | 294353.5168 | 30.45 | 114.2
105130 | 2021-04-23 14:26 | 9.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.7176 | μmol/L | 29.5015 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.942 | 102454.4785 | 294353.1438 | 30.45 | 114.2
105140 | 2021-04-23 14:27 | 9.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.1723 | μmol/L | 29.557 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.958 | 102515.513 | 294348.5223 | 30.45 | 114.2
105150 | 2021-04-23 14:27 | 10.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.1049 | μmol/L | 29.5755 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.956 | 102498.5288 | 294320.993 | 30.45 | 114.2
105160 | 2021-04-23 14:27 | 10.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.8856 | μmol/L | 29.5817 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.968 | 102575.63 | 294336.5331 | 30.45 | 114.2
105170 | 2021-04-23 14:28 | 10.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.7269 | μmol/L | 29.594 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.974 | 102609.2269 | 294341.1712 | 30.45 | 114.2
105180 | 2021-04-23 14:28 | 11.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.82 | μmol/L | 29.594 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.968 | 102619.6685 | 294327.3814 | 30.45 | 114.2
105190 | 2021-04-23 14:28 | 11.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.5821 | μmol/L | 29.6125 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.977 | 102669.069 | 294317.3219 | 30.45 | 114.2
105200 | 2021-04-23 14:29 | 11.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.9909 | μmol/L | 29.594 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.957 | 102558.9862 | 294321.5445 | 30.45 | 114.2
105210 | 2021-04-23 14:29 | 12.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.5923 | μmol/L | 29.631 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.97 | 102653.6532 | 294328.2458 | 30.45 | 114.2
105220 | 2021-04-23 14:29 | 12.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.4701 | μmol/L | 29.6248 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.98 | 102697.944 | 294312.8564 | 30.45 | 114.2
105230 | 2021-04-23 14:30 | 12.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.1417 | μmol/L | 29.6371 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.997 | 102756.3084 | 294301.3345 | 30.45 | 114.2
105240 | 2021-04-23 14:30 | 13.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.1863 | μmol/L | 29.6433 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.992 | 102745.337 | 294287.9676 | 30.45 | 114.2
105250 | 2021-04-23 14:30 | 13.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.8312 | μmol/L | 29.6433 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.015 | 102843.0864 | 294295.8412 | 30.45 | 114.2
105260 | 2021-04-23 14:31 | 13.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.8049 | μmol/L | 29.6803 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.004 | 102824.5251 | 294291.2027 | 30.45 | 114.2
105270 | 2021-04-23 14:31 | 14.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.9574 | μmol/L | 29.6864 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 21.992 | 102759.695 | 294299.0952 | 30.45 | 114.2
105280 | 2021-04-23 14:31 | 14.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.932 | μmol/L | 29.6679 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22 | 102782.5963 | 294300.3976 | 30.45 | 114.2
105290 | 2021-04-23 14:32 | 14.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.6472 | μmol/L | 29.6926 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.01 | 102835.3516 | 294283.1472 | 30.45 | 114.2
105300 | 2021-04-23 14:32 | 15.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.4796 | μmol/L | 29.6864 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.023 | 102896.6144 | 294281.6353 | 30.45 | 114.2
105310 | 2021-04-23 14:32 | 15.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.2951 | μmol/L | 29.6864 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.035 | 102957.8407 | 294288.978 | 30.45 | 114.2
105320 | 2021-04-23 14:33 | 15.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.768 | μmol/L | 29.7049 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.063 | 103121.6671 | 294268.0612 | 30.45 | 114.2
105330 | 2021-04-23 14:33 | 16.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.6034 | μmol/L | 29.6926 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.078 | 103206.041 | 294262.8773 | 30.45 | 114.2
105340 | 2021-04-23 14:33 | 16.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.5098 | μmol/L | 29.6988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.082 | 103236.4043 | 294261.4755 | 30.45 | 114.2
105350 | 2021-04-23 14:34 | 16.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.3552 | μmol/L | 29.7049 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.09 | 103276.5656 | 294246.0492 | 30.45 | 114.2
105360 | 2021-04-23 14:34 | 17.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.6719 | μmol/L | 29.6679 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.082 | 103261.3045 | 294251.1614 | 30.45 | 114.2
105370 | 2021-04-23 14:34 | 17.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.6109 | μmol/L | 29.6988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.141 | 103523.6099 | 294246.2823 | 30.45 | 114.2
105380 | 2021-04-23 14:35 | 17.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.3529 | μmol/L | 29.6988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.158 | 103617.4201 | 294237.556 | 30.45 | 114.2
105390 | 2021-04-23 14:35 | 18.0069 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.9063 | μmol/L | 29.7234 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.179 | 103697.9445 | 294237.296 | 30.45 | 114.2
105400 | 2021-04-23 14:35 | 18.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.8648 | μmol/L | 29.7111 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.186 | 103746.8294 | 294235.3606 | 30.45 | 114.2
105410 | 2021-04-23 14:36 | 18.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.8816 | μmol/L | 29.7542 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.17 | 103650.314 | 294235.5397 | 30.45 | 114.2
105420 | 2021-04-23 14:36 | 19.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.791 | μmol/L | 29.7542 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.176 | 103683.9339 | 294216.704 | 30.45 | 114.2
105430 | 2021-04-23 14:36 | 19.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.0992 | μmol/L | 29.6864 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.179 | 103701.7991 | 294217.5616 | 30.45 | 114.2
105440 | 2021-04-23 14:37 | 19.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.6477 | μmol/L | 29.7296 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.194 | 103822.4762 | 294222.0276 | 30.45 | 114.2
105450 | 2021-04-23 14:37 | 20.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.9005 | μmol/L | 29.7604 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.233 | 103974.1978 | 294204.9729 | 30.45 | 114.2
105460 | 2021-04-23 14:37 | 20.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.1094 | μmol/L | 29.7172 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.234 | 104005.4504 | 294210.6959 | 30.45 | 114.2
105470 | 2021-04-23 14:38 | 20.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.9964 | μmol/L | 29.7419 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.233 | 104051.3333 | 294192.2145 | 30.45 | 114.2
105480 | 2021-04-23 14:38 | 21.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.0792 | μmol/L | 29.7542 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.29 | 104252.554 | 294206.8837 | 30.45 | 114.2
105490 | 2021-04-23 14:38 | 21.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.6616 | μmol/L | 29.6618 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.283 | 104249.5447 | 294186.6962 | 30.45 | 114.2
105500 | 2021-04-23 14:39 | 21.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.1975 | μmol/L | 29.7111 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.297 | 104335.7049 | 294186.0214 | 30.45 | 114.2
105510 | 2021-04-23 14:39 | 22.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.0917 | μmol/L | 29.6679 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.319 | 104432.0905 | 294189.1181 | 30.45 | 114.2
105520 | 2021-04-23 14:39 | 22.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.4078 | μmol/L | 29.6125 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.317 | 104430.008 | 294180.1642 | 30.45 | 114.2
105530 | 2021-04-23 14:40 | 22.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.0827 | μmol/L | 29.6495 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.326 | 104466.3584 | 294173.0368 | 30.45 | 114.2
105540 | 2021-04-23 14:40 | 23.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.905 | μmol/L | 29.6926 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.323 | 104477.3939 | 294176.5486 | 30.45 | 114.2
105550 | 2021-04-23 14:40 | 23.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.2838 | μmol/L | 29.6741 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.304 | 104436.5913 | 294164.7261 | 30.45 | 114.2
105560 | 2021-04-23 14:41 | 23.6735 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.3677 | μmol/L | 29.6926 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.292 | 104356.3165 | 294168.1211 | 30.45 | 114.2
105570 | 2021-04-23 14:41 | 24.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.2312 | μmol/L | 29.6988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.299 | 104408.8377 | 294152.2837 | 30.45 | 114.2
105580 | 2021-04-23 14:41 | 24.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.0411 | μmol/L | 29.6864 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.316 | 104481.0738 | 294156.8257 | 30.45 | 114.2
105590 | 2021-04-23 14:42 | 24.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.438 | μmol/L | 29.7111 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.348 | 104617.6871 | 294152.0557 | 30.45 | 114.2
105600 | 2021-04-23 14:42 | 25.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.9516 | μmol/L | 29.7481 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.368 | 104745.7058 | 294145.1323 | 30.45 | 114.2
105610 | 2021-04-23 14:42 | 25.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.419 | μmol/L | 29.7049 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.419 | 104947.8026 | 294142.5246 | 30.45 | 114.2
105620 | 2021-04-23 14:43 | 25.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.5557 | μmol/L | 29.6926 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.414 | 104923.0961 | 294136.0847 | 30.45 | 114.2
105630 | 2021-04-23 14:43 | 26.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.2682 | μmol/L | 29.7604 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.41 | 104903.0118 | 294134.6432 | 30.45 | 114.2
105640 | 2021-04-23 14:43 | 26.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.0208 | μmol/L | 29.7172 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.374 | 104773.865 | 294134.5447 | 30.45 | 114.2
105650 | 2021-04-23 14:44 | 26.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.688 | μmol/L | 29.785 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.373 | 104771.9087 | 294133.518 | 30.45 | 114.2
105660 | 2021-04-23 14:44 | 27.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.8124 | μmol/L | 29.7666 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.371 | 104753.3223 | 294117.2635 | 30.45 | 114.2
105670 | 2021-04-23 14:44 | 27.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.8883 | μmol/L | 29.7604 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.368 | 104732.1147 | 294120.0028 | 30.45 | 114.2
105680 | 2021-04-23 14:45 | 27.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.089 | μmol/L | 29.6433 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.395 | 104899.6704 | 294133.1659 | 30.45 | 114.2
105690 | 2021-04-23 14:45 | 28.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.5792 | μmol/L | 29.7111 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.406 | 104958.5282 | 294114.2573 | 30.45 | 114.2
105700 | 2021-04-23 14:45 | 28.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.751 | μmol/L | 29.7234 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.458 | 105205.9502 | 294108.6872 | 30.45 | 114.2
105710 | 2021-04-23 14:46 | 28.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.8538 | μmol/L | 29.7234 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.451 | 105209.392 | 294108.08 | 30.45 | 114.2
105720 | 2021-04-23 14:46 | 29.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.6671 | μmol/L | 29.7111 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.468 | 105293.9292 | 294099.2744 | 30.45 | 114.2
105730 | 2021-04-23 14:46 | 29.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.4081 | μmol/L | 29.785 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.46 | 105224.0499 | 294085.534 | 30.45 | 114.2
105740 | 2021-04-23 14:47 | 29.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.5648 | μmol/L | 29.7542 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.46 | 105187.6964 | 294085.3033 | 30.45 | 114.2
105750 | 2021-04-23 14:47 | 30.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.6215 | μmol/L | 29.7604 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.454 | 105193.3501 | 294088.6542 | 30.45 | 114.2
105760 | 2021-04-23 14:47 | 30.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.0468 | μmol/L | 29.859 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.459 | 105228.4911 | 294090.4433 | 30.45 | 114.2
105770 | 2021-04-23 14:48 | 30.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.0301 | μmol/L | 29.822 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.473 | 105266.8783 | 294064.9637 | 30.45 | 114.2
105780 | 2021-04-23 14:48 | 31.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.0923 | μmol/L | 29.7542 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.561 | 105694.5955 | 294068.9889 | 30.45 | 114.2
105790 | 2021-04-23 14:48 | 31.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.6089 | μmol/L | 29.6864 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.549 | 105701.8577 | 294063.8936 | 30.45 | 114.2
105800 | 2021-04-23 14:49 | 31.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.5466 | μmol/L | 29.6988 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.549 | 105686.6077 | 294067.9801 | 30.45 | 114.2
105810 | 2021-04-23 14:49 | 32.0068 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.1236 | μmol/L | 29.7974 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.613 | 105966.1919 | 294058.6052 | 30.45 | 114.2
105820 | 2021-04-23 14:49 | 32.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.4391 | μmol/L | 29.7604 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.604 | 105943.3323 | 294058.3986 | 30.45 | 114.2
105830 | 2021-04-23 14:50 | 32.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.666 | μmol/L | 29.7727 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.584 | 105873.4144 | 294056.3461 | 30.45 | 114.2
105840 | 2021-04-23 14:50 | 33.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.872 | μmol/L | 29.859 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.609 | 106007.5848 | 294062.2108 | 30.45 | 114.2
105850 | 2021-04-23 14:50 | 33.3402 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.6176 | μmol/L | 29.8467 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.631 | 106083.2119 | 294045.2596 | 30.45 | 114.2
105860 | 2021-04-23 14:51 | 33.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.6866 | μmol/L | 29.8344 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.63 | 106096.9772 | 294039.0111 | 30.45 | 114.2
105870 | 2021-04-23 14:51 | 34.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.4835 | μmol/L | 29.9022 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.621 | 106031.2379 | 294038.0375 | 30.45 | 114.2
105880 | 2021-04-23 14:51 | 34.3401 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.1728 | μmol/L | 29.822 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.601 | 105967.7166 | 294037.8059 | 30.45 | 114.2
105890 | 2021-04-23 14:52 | 34.6734 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.8246 | μmol/L | 29.8713 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.608 | 106008.4082 | 294036.6834 | 30.45 | 114.2
105900 | 2021-04-23 14:52 | 35.0067 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.928 | μmol/L | 29.822 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.618 | 106066.6845 | 294047.573 | 30.45 | 114.2
105910 | 2021-04-23 14:52 | 35.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.685 | μmol/L | 29.7974 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.643 | 106158.4784 | 294035.8227 | 30.45 | 114.2
105920 | 2021-04-23 14:53 | 35.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.2742 | μmol/L | 29.8035 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.67 | 106302.3189 | 294021.1383 | 30.45 | 114.2
105930 | 2021-04-23 14:53 | 36.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.5492 | μmol/L | 29.7542 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.668 | 106292.2101 | 294004.4336 | 30.45 | 114.2
105940 | 2021-04-23 14:53 | 36.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.651 | μmol/L | 29.7296 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.669 | 106311.1087 | 294002.5316 | 30.45 | 114.2
105950 | 2021-04-23 14:54 | 36.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.4554 | μmol/L | 29.7974 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.659 | 106388.7732 | 294005.9165 | 30.45 | 114.2