## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 14:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
104851 | 2021-04-23 14:17 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.0806 | μmol/L | 29.0092 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.758 | 124867.073 | 291644.2242 | 59.9307 | 49.4
104861 | 2021-04-23 14:18 | 0.32785 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.7013 | μmol/L | 28.9597 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.851 | 125706.0323 | 291655.9253 | 59.9307 | 49.4
104871 | 2021-04-23 14:18 | 0.66141 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.2328 | μmol/L | 28.8669 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.908 | 126093.2219 | 291655.0769 | 59.9307 | 49.4
104881 | 2021-04-23 14:18 | 0.99415 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.7384 | μmol/L | 28.8359 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.946 | 127105.5579 | 291644.5117 | 59.9307 | 49.4
104891 | 2021-04-23 14:19 | 1.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.7746 | μmol/L | 28.8669 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.99 | 126287.2179 | 291613.871 | 59.9307 | 49.4
104901 | 2021-04-23 14:19 | 1.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.0526 | μmol/L | 28.8545 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.035 | 127112.2963 | 291613.9785 | 59.9307 | 49.4
104911 | 2021-04-23 14:19 | 1.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.6228 | μmol/L | 28.904 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.1 | 127528.3149 | 291618.2461 | 59.9307 | 49.4
104921 | 2021-04-23 14:20 | 2.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.9047 | μmol/L | 28.9226 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.135 | 128795.8749 | 291587.129 | 59.9307 | 49.4
104931 | 2021-04-23 14:20 | 2.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.2191 | μmol/L | 28.8792 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.189 | 128552.4537 | 291617.8135 | 59.9307 | 49.4
104941 | 2021-04-23 14:20 | 2.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.8167 | μmol/L | 28.9968 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.231 | 129393.8584 | 291584.5752 | 59.9307 | 49.4
104951 | 2021-04-23 14:21 | 3.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.6083 | μmol/L | 29.0092 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.239 | 131687.1119 | 291604.8032 | 59.9307 | 49.4
104961 | 2021-04-23 14:21 | 3.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.1276 | μmol/L | 28.904 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.244 | 131456.6477 | 291606.1586 | 59.9307 | 49.4
104971 | 2021-04-23 14:21 | 3.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.2038 | μmol/L | 28.9783 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.273 | 131520.2351 | 291602.1331 | 59.9307 | 49.4
104981 | 2021-04-23 14:22 | 4.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.2762 | μmol/L | 29.0897 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.29 | 130992.2112 | 291577.3233 | 59.9307 | 49.4
104991 | 2021-04-23 14:22 | 4.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.1192 | μmol/L | 29.1083 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.293 | 130267.7526 | 291585.5095 | 59.9307 | 49.4
105001 | 2021-04-23 14:22 | 4.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.5534 | μmol/L | 29.0587 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.343 | 130358.8465 | 291584.2306 | 59.9307 | 49.4
105011 | 2021-04-23 14:23 | 5.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.9707 | μmol/L | 29.0959 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.365 | 130864.9798 | 291579.4198 | 59.9307 | 49.4
105021 | 2021-04-23 14:23 | 5.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.5734 | μmol/L | 29.0649 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.399 | 131079.5317 | 291576.7603 | 59.9307 | 49.4
105031 | 2021-04-23 14:23 | 5.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.9591 | μmol/L | 29.1083 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.421 | 131130.2526 | 291559.018 | 59.9307 | 49.4
105041 | 2021-04-23 14:24 | 6.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.4142 | μmol/L | 29.2197 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.416 | 130270.2227 | 291588.294 | 59.9307 | 49.4
105051 | 2021-04-23 14:24 | 6.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.4098 | μmol/L | 29.2382 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.41 | 130764.9219 | 291581.2159 | 59.9307 | 49.4
105061 | 2021-04-23 14:24 | 6.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.1942 | μmol/L | 29.2321 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.425 | 131242.101 | 291559.198 | 59.9307 | 49.4
105071 | 2021-04-23 14:25 | 7.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.3724 | μmol/L | 29.3249 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.443 | 131936.9458 | 291563.1744 | 59.9307 | 49.4
105081 | 2021-04-23 14:25 | 7.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.8356 | μmol/L | 29.3497 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.467 | 132019.1854 | 291544.1282 | 59.9307 | 49.4
105091 | 2021-04-23 14:25 | 7.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.741 | μmol/L | 29.3311 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.479 | 131949.6798 | 291532.348 | 59.9307 | 49.4
105101 | 2021-04-23 14:26 | 8.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.6496 | μmol/L | 29.3001 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.495 | 132316.8737 | 291519.8464 | 59.9307 | 49.4
105111 | 2021-04-23 14:26 | 8.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.1122 | μmol/L | 29.3373 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.515 | 132473.1926 | 291526.7634 | 59.9307 | 49.4
105121 | 2021-04-23 14:26 | 8.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.9051 | μmol/L | 29.3744 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.515 | 132435.5702 | 291525.3576 | 59.9307 | 49.4
105131 | 2021-04-23 14:27 | 9.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.3025 | μmol/L | 29.4178 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.537 | 132567.9845 | 291517.113 | 59.9307 | 49.4
105141 | 2021-04-23 14:27 | 9.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.8556 | μmol/L | 29.4363 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.558 | 132713.5272 | 291521.4363 | 59.9307 | 49.4
105151 | 2021-04-23 14:27 | 9.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.3673 | μmol/L | 29.4921 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.569 | 132794.8764 | 291523.158 | 59.9307 | 49.4
105161 | 2021-04-23 14:28 | 10.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.0646 | μmol/L | 29.4673 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.596 | 132966.1503 | 291534.476 | 59.9307 | 49.4
105171 | 2021-04-23 14:28 | 10.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.7542 | μmol/L | 29.4735 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.613 | 133062.2013 | 291516.4796 | 59.9307 | 49.4
105181 | 2021-04-23 14:28 | 10.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.9979 | μmol/L | 29.4735 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.598 | 133027.5931 | 291512.7552 | 59.9307 | 49.4
105191 | 2021-04-23 14:29 | 11.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.1201 | μmol/L | 29.4425 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.601 | 133025.2108 | 291519.6655 | 59.9307 | 49.4
105201 | 2021-04-23 14:29 | 11.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.4486 | μmol/L | 29.4054 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.655 | 133298.1463 | 291531.1417 | 59.9307 | 49.4
105211 | 2021-04-23 14:29 | 11.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.8113 | μmol/L | 29.4425 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.62 | 133165.0365 | 291533.6785 | 59.9307 | 49.4
105221 | 2021-04-23 14:30 | 12.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.987 | μmol/L | 29.554 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.633 | 133268.6099 | 291538.5914 | 59.9307 | 49.4
105231 | 2021-04-23 14:30 | 12.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.467 | μmol/L | 29.5106 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.68 | 133545.1273 | 291520.0362 | 59.9307 | 49.4
105241 | 2021-04-23 14:30 | 12.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.4491 | μmol/L | 29.5168 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.679 | 133551.4045 | 291507.369 | 59.9307 | 49.4
105251 | 2021-04-23 14:31 | 13.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.3009 | μmol/L | 29.5292 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.684 | 133548.9447 | 291508.2996 | 59.9307 | 49.4
105261 | 2021-04-23 14:31 | 13.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.4418 | μmol/L | 29.4859 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.69 | 133620.9934 | 291499.4068 | 59.9307 | 49.4
105271 | 2021-04-23 14:31 | 13.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.9422 | μmol/L | 29.5478 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.7 | 133709.7379 | 291491.6616 | 59.9307 | 49.4
105281 | 2021-04-23 14:32 | 14.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.6253 | μmol/L | 29.5354 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.724 | 133818.9785 | 291485.1892 | 59.9307 | 49.4
105291 | 2021-04-23 14:32 | 14.6615 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.6359 | μmol/L | 29.554 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.717 | 133826.076 | 291471.9145 | 59.9307 | 49.4
105301 | 2021-04-23 14:32 | 14.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.5932 | μmol/L | 29.5911 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.707 | 134187.3609 | 291470.6584 | 59.9307 | 49.4
105311 | 2021-04-23 14:33 | 15.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.8068 | μmol/L | 29.5725 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.7 | 134499.0334 | 291482.0808 | 59.9307 | 49.4
105321 | 2021-04-23 14:33 | 15.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.5522 | μmol/L | 29.6221 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.699 | 134167.9493 | 291483.417 | 59.9307 | 49.4
105331 | 2021-04-23 14:33 | 15.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.5612 | μmol/L | 29.5911 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.709 | 134567.7033 | 291474.1285 | 59.9307 | 49.4
105341 | 2021-04-23 14:34 | 16.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.6395 | μmol/L | 29.5416 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.721 | 134538.0196 | 291468.3258 | 59.9307 | 49.4
105351 | 2021-04-23 14:34 | 16.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.7515 | μmol/L | 29.4859 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.733 | 134590.2969 | 291450.4524 | 59.9307 | 49.4
105361 | 2021-04-23 14:34 | 16.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.8502 | μmol/L | 29.5106 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.781 | 134782.4798 | 291457.5046 | 59.9307 | 49.4
105371 | 2021-04-23 14:35 | 17.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.4876 | μmol/L | 29.554 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.789 | 134933.7658 | 291447.8737 | 59.9307 | 49.4
105381 | 2021-04-23 14:35 | 17.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.2794 | μmol/L | 29.5601 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.8 | 135070.0301 | 291435.7622 | 59.9307 | 49.4
105391 | 2021-04-23 14:35 | 17.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.7914 | μmol/L | 29.6035 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.816 | 135158.8382 | 291433.7057 | 59.9307 | 49.4
105401 | 2021-04-23 14:36 | 18.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.6546 | μmol/L | 29.5849 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.831 | 135269.9537 | 291434.572 | 59.9307 | 49.4
105411 | 2021-04-23 14:36 | 18.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.4141 | μmol/L | 29.5973 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.842 | 135349.9894 | 291416.1914 | 59.9307 | 49.4
105421 | 2021-04-23 14:36 | 18.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.2463 | μmol/L | 29.5787 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.859 | 135510.7654 | 291437.858 | 59.9307 | 49.4
105431 | 2021-04-23 14:37 | 19.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.542 | μmol/L | 29.4859 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.872 | 135601.0967 | 291413.7232 | 59.9307 | 49.4
105441 | 2021-04-23 14:37 | 19.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.9177 | μmol/L | 29.5725 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.882 | 135663.9216 | 291420.5315 | 59.9307 | 49.4
105451 | 2021-04-23 14:37 | 19.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.6802 | μmol/L | 29.5787 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.895 | 135751.5551 | 291409.9443 | 59.9307 | 49.4
105461 | 2021-04-23 14:38 | 20.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.2751 | μmol/L | 29.6221 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.906 | 135758.5589 | 291418.7675 | 59.9307 | 49.4
105471 | 2021-04-23 14:38 | 20.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.5854 | μmol/L | 29.5292 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.918 | 135917.8846 | 291400.267 | 59.9307 | 49.4
105481 | 2021-04-23 14:38 | 20.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.3899 | μmol/L | 29.554 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.922 | 135983.1594 | 291400.8142 | 59.9307 | 49.4
105491 | 2021-04-23 14:39 | 21.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.3755 | μmol/L | 29.4982 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.942 | 136005.8427 | 291395.9472 | 59.9307 | 49.4
105501 | 2021-04-23 14:39 | 21.6608 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.2291 | μmol/L | 29.5168 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.945 | 136077.9251 | 291397.5036 | 59.9307 | 49.4
105511 | 2021-04-23 14:39 | 21.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.3991 | μmol/L | 29.6282 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.96 | 136147.8555 | 291395.3983 | 59.9307 | 49.4
105521 | 2021-04-23 14:40 | 22.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.7629 | μmol/L | 29.5601 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.96 | 136219.526 | 291372.2456 | 59.9307 | 49.4
105531 | 2021-04-23 14:40 | 22.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.4437 | μmol/L | 29.5849 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.972 | 136254.1243 | 291369.0226 | 59.9307 | 49.4
105541 | 2021-04-23 14:40 | 22.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.2882 | μmol/L | 29.5849 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.982 | 136284.984 | 291367.1595 | 59.9307 | 49.4
105551 | 2021-04-23 14:41 | 23.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.5601 | μmol/L | 29.5106 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.99 | 136381.3568 | 291370.8765 | 59.9307 | 49.4
105561 | 2021-04-23 14:41 | 23.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.0672 | μmol/L | 29.3806 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.002 | 136376.4004 | 291381.3177 | 59.9307 | 49.4
105571 | 2021-04-23 14:41 | 23.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.4451 | μmol/L | 29.4797 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.008 | 136564.596 | 291375.7727 | 59.9307 | 49.4
105581 | 2021-04-23 14:42 | 24.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.8207 | μmol/L | 29.5416 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.027 | 136648.6485 | 291385.5244 | 59.9307 | 49.4
105591 | 2021-04-23 14:42 | 24.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.0297 | μmol/L | 29.4673 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.039 | 136691.3419 | 291368.9141 | 59.9307 | 49.4
105601 | 2021-04-23 14:42 | 24.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.7104 | μmol/L | 29.4982 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.049 | 136841.7547 | 291361.5343 | 59.9307 | 49.4
105611 | 2021-04-23 14:43 | 25.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.6871 | μmol/L | 29.4735 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.059 | 136946.2996 | 291372.7332 | 59.9307 | 49.4
105621 | 2021-04-23 14:43 | 25.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.9867 | μmol/L | 29.5416 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.081 | 137033.572 | 291366.3575 | 59.9307 | 49.4
105631 | 2021-04-23 14:43 | 25.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.9129 | μmol/L | 29.3435 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.089 | 137048.0849 | 291367.8132 | 59.9307 | 49.4
105641 | 2021-04-23 14:44 | 26.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.1851 | μmol/L | 29.263 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.099 | 136857.2067 | 291360.66 | 59.9307 | 49.4
105651 | 2021-04-23 14:44 | 26.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.7058 | μmol/L | 29.3125 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.113 | 137085.1528 | 291336.0593 | 59.9307 | 49.4
105661 | 2021-04-23 14:44 | 26.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.5321 | μmol/L | 29.3249 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.12 | 137126.2587 | 291343.8167 | 59.9307 | 49.4
105671 | 2021-04-23 14:45 | 27.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.3335 | μmol/L | 29.3187 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.135 | 137192.4637 | 291351.3837 | 59.9307 | 49.4
105681 | 2021-04-23 14:45 | 27.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.4371 | μmol/L | 29.2321 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.158 | 136995.9719 | 291342.2989 | 59.9307 | 49.4
105691 | 2021-04-23 14:45 | 27.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.4232 | μmol/L | 29.1763 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.178 | 137163.8731 | 291335.3874 | 59.9307 | 49.4
105701 | 2021-04-23 14:46 | 28.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.941 | μmol/L | 29.294 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.169 | 137507.1119 | 291335.5617 | 59.9307 | 49.4
105711 | 2021-04-23 14:46 | 28.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.0287 | μmol/L | 29.4178 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.186 | 137439.1107 | 291346.9917 | 59.9307 | 49.4
105721 | 2021-04-23 14:46 | 28.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.9816 | μmol/L | 29.3249 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.221 | 137328.9496 | 291334.253 | 59.9307 | 49.4
105731 | 2021-04-23 14:47 | 29.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.0619 | μmol/L | 29.3125 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.22 | 137343.1786 | 291324.6953 | 59.9307 | 49.4
105741 | 2021-04-23 14:47 | 29.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.8842 | μmol/L | 29.3435 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.221 | 137842.9351 | 291317.4996 | 59.9307 | 49.4
105751 | 2021-04-23 14:47 | 29.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.9569 | μmol/L | 29.3063 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.229 | 137923.139 | 291318.193 | 59.9307 | 49.4
105761 | 2021-04-23 14:48 | 30.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.6504 | μmol/L | 29.263 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.264 | 137606.0895 | 291321.8354 | 59.9307 | 49.4
105771 | 2021-04-23 14:48 | 30.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.736 | μmol/L | 29.2816 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.252 | 138202.9173 | 291317.1012 | 59.9307 | 49.4
105781 | 2021-04-23 14:48 | 30.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3418 | μmol/L | 29.3249 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.263 | 138205.8485 | 291319.3029 | 59.9307 | 49.4
105791 | 2021-04-23 14:49 | 31.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.6486 | μmol/L | 29.4054 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.281 | 137998.578 | 291319.9385 | 59.9307 | 49.4
105801 | 2021-04-23 14:49 | 31.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.3633 | μmol/L | 29.2568 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.285 | 138448.9355 | 291314.8421 | 59.9307 | 49.4
105811 | 2021-04-23 14:49 | 31.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.8179 | μmol/L | 29.3497 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.289 | 138529.0046 | 291307.5564 | 59.9307 | 49.4
105821 | 2021-04-23 14:50 | 32.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.3401 | μmol/L | 29.424 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.295 | 138429.2666 | 291312.1245 | 59.9307 | 49.4
105831 | 2021-04-23 14:50 | 32.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.458 | μmol/L | 29.3868 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.3 | 138179.2039 | 291298.5179 | 59.9307 | 49.4
105841 | 2021-04-23 14:50 | 32.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.4286 | μmol/L | 29.3373 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.319 | 138451.6642 | 291313.7388 | 59.9307 | 49.4
105851 | 2021-04-23 14:51 | 33.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.1017 | μmol/L | 29.3682 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.33 | 138586.0997 | 291309.5635 | 59.9307 | 49.4
105861 | 2021-04-23 14:51 | 33.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.945 | μmol/L | 29.3868 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.334 | 138345.2595 | 291283.8312 | 59.9307 | 49.4
105871 | 2021-04-23 14:51 | 33.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.5698 | μmol/L | 29.4301 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.344 | 138208.7081 | 291285.2649 | 59.9307 | 49.4
105881 | 2021-04-23 14:52 | 34.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.2956 | μmol/L | 29.4425 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.358 | 138421.6744 | 291284.9521 | 59.9307 | 49.4
105891 | 2021-04-23 14:52 | 34.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.0238 | μmol/L | 29.4487 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.374 | 138325.8584 | 291271.3796 | 59.9307 | 49.4
105901 | 2021-04-23 14:52 | 34.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.3548 | μmol/L | 29.5725 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.376 | 138058.5827 | 291269.6925 | 59.9307 | 49.4
105911 | 2021-04-23 14:53 | 35.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.6759 | μmol/L | 29.4611 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.393 | 138195.2738 | 291272.1808 | 59.9307 | 49.4
105921 | 2021-04-23 14:53 | 35.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.0376 | μmol/L | 29.3621 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.403 | 138814.0392 | 291260.4541 | 59.9307 | 49.4
105931 | 2021-04-23 14:53 | 35.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.2878 | μmol/L | 29.4178 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.434 | 139486.0836 | 291253.5025 | 59.9307 | 49.4
105941 | 2021-04-23 14:54 | 36.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.8274 | μmol/L | 29.5044 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.435 | 139183.3179 | 291244.9536 | 59.9307 | 49.4
105951 | 2021-04-23 14:54 | 36.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.7362 | μmol/L | 29.4673 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.454 | 139569.0197 | 291232.7142 | 59.9307 | 49.4