## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 14:55

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
104853 | 2021-04-23 14:17 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.4435 | μmol/L | 29.0163 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.829 | 124551.6517 | 267219.7953 | 26.25 | 74
104863 | 2021-04-23 14:18 | 0.33695 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.8207 | μmol/L | 29.0651 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.015 | 125885.7773 | 267225.1849 | 26.25 | 74
104873 | 2021-04-23 14:18 | 0.67004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.2528 | μmol/L | 29.0957 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.151 | 126876.2821 | 267205.5814 | 26.25 | 74
104883 | 2021-04-23 14:18 | 1.003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.3632 | μmol/L | 29.114 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.254 | 127545.2665 | 267198.6288 | 26.25 | 74
104893 | 2021-04-23 14:19 | 1.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.074 | μmol/L | 29.1385 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.321 | 127987.7507 | 267191.1789 | 26.25 | 74
104903 | 2021-04-23 14:19 | 1.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.118 | μmol/L | 29.1568 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.371 | 128363.5676 | 267195.6231 | 26.25 | 74
104913 | 2021-04-23 14:19 | 2.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.3389 | μmol/L | 29.1629 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.415 | 128681.438 | 267190.0059 | 26.25 | 74
104923 | 2021-04-23 14:20 | 2.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.7976 | μmol/L | 29.1751 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.443 | 128896.8448 | 267176.2951 | 26.25 | 74
104933 | 2021-04-23 14:20 | 2.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.1189 | μmol/L | 29.2118 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.471 | 129105.4077 | 267162.8974 | 26.25 | 74
104943 | 2021-04-23 14:20 | 3.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.7472 | μmol/L | 29.2301 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.487 | 129198.4537 | 267170.5025 | 26.25 | 74
104953 | 2021-04-23 14:21 | 3.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.4596 | μmol/L | 29.2485 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.498 | 129296.0452 | 267160.6052 | 26.25 | 74
104963 | 2021-04-23 14:21 | 3.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.0062 | μmol/L | 29.2668 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.519 | 129451.2107 | 267163.0005 | 26.25 | 74
104973 | 2021-04-23 14:21 | 4.003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.7045 | μmol/L | 29.279 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.533 | 129542.3413 | 267154.7616 | 26.25 | 74
104983 | 2021-04-23 14:22 | 4.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.1125 | μmol/L | 29.334 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.55 | 129706.4452 | 267157.7946 | 26.25 | 74
104993 | 2021-04-23 14:22 | 4.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.7478 | μmol/L | 29.3401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.57 | 129839.1819 | 267141.3615 | 26.25 | 74
105003 | 2021-04-23 14:22 | 5.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.7751 | μmol/L | 29.3646 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.56 | 129797.2085 | 267149.443 | 26.25 | 74
105013 | 2021-04-23 14:23 | 5.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.1679 | μmol/L | 29.4257 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.576 | 129854.3441 | 267134.2258 | 26.25 | 74
105023 | 2021-04-23 14:23 | 5.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.1587 | μmol/L | 29.3951 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.587 | 129926.3344 | 267128.9711 | 26.25 | 74
105033 | 2021-04-23 14:23 | 6.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.3561 | μmol/L | 29.3951 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.575 | 129899.7993 | 267134.9023 | 26.25 | 74
105043 | 2021-04-23 14:24 | 6.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.0678 | μmol/L | 29.4318 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.58 | 129937.4374 | 267118.7082 | 26.25 | 74
105053 | 2021-04-23 14:24 | 6.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.9963 | μmol/L | 29.4563 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.576 | 129916.8612 | 267103.3247 | 26.25 | 74
105063 | 2021-04-23 14:24 | 7.003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.4657 | μmol/L | 29.4807 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.6 | 130049.4102 | 267106.3348 | 26.25 | 74
105073 | 2021-04-23 14:25 | 7.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.2976 | μmol/L | 29.499 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.604 | 130105.8427 | 267102.2567 | 26.25 | 74
105083 | 2021-04-23 14:25 | 7.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.6358 | μmol/L | 29.5357 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.632 | 130288.3355 | 267102.83 | 26.25 | 74
105093 | 2021-04-23 14:25 | 8.0031 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.5738 | μmol/L | 29.5235 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.64 | 130331.8722 | 267084.334 | 26.25 | 74
105103 | 2021-04-23 14:26 | 8.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.3074 | μmol/L | 29.5479 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.648 | 130406.824 | 267091.6585 | 26.25 | 74
105113 | 2021-04-23 14:26 | 8.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.2881 | μmol/L | 29.5602 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.645 | 130416.8011 | 267093.5411 | 26.25 | 74
105123 | 2021-04-23 14:26 | 9.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.1503 | μmol/L | 29.5907 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.643 | 130441.2256 | 267084.6481 | 26.25 | 74
105133 | 2021-04-23 14:27 | 9.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.0142 | μmol/L | 29.6152 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.643 | 130439.9513 | 267082.2426 | 26.25 | 74
105143 | 2021-04-23 14:27 | 9.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.7209 | μmol/L | 29.6213 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.659 | 130521.9638 | 267075.1969 | 26.25 | 74
105153 | 2021-04-23 14:27 | 10.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.5688 | μmol/L | 29.6457 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.66 | 130552.5599 | 267085.1498 | 26.25 | 74
105163 | 2021-04-23 14:28 | 10.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.5542 | μmol/L | 29.6396 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.663 | 130586.4249 | 267078.8749 | 26.25 | 74
105173 | 2021-04-23 14:28 | 10.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.4168 | μmol/L | 29.6702 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.661 | 130569.9983 | 267075.3649 | 26.25 | 74
105183 | 2021-04-23 14:28 | 11.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.315 | μmol/L | 29.6885 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.661 | 130587.0614 | 267067.9652 | 26.25 | 74
105193 | 2021-04-23 14:29 | 11.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.989 | μmol/L | 29.7007 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.677 | 130673.921 | 267062.415 | 26.25 | 74
105203 | 2021-04-23 14:29 | 11.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.7907 | μmol/L | 29.7191 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.683 | 130729.4765 | 267050.684 | 26.25 | 74
105213 | 2021-04-23 14:29 | 12.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.8114 | μmol/L | 29.7618 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.667 | 130671.5167 | 267043.911 | 26.25 | 74
105223 | 2021-04-23 14:30 | 12.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.9154 | μmol/L | 29.7496 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.727 | 131047.918 | 267058.9171 | 26.25 | 74
105233 | 2021-04-23 14:30 | 12.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.7503 | μmol/L | 29.768 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.731 | 131081.9967 | 267046.3124 | 26.25 | 74
105243 | 2021-04-23 14:30 | 13.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.6333 | μmol/L | 29.7863 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.732 | 131076.7447 | 267048.8834 | 26.25 | 74
105253 | 2021-04-23 14:31 | 13.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.6989 | μmol/L | 29.7802 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.73 | 131080.2945 | 267054.4686 | 26.25 | 74
105263 | 2021-04-23 14:31 | 13.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.9162 | μmol/L | 29.8046 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.708 | 130981.1028 | 267030.1119 | 26.25 | 74
105273 | 2021-04-23 14:31 | 14.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.2063 | μmol/L | 29.8291 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.744 | 131162.7418 | 267050.1482 | 26.25 | 74
105283 | 2021-04-23 14:32 | 14.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.2063 | μmol/L | 29.8291 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.744 | 131179.1673 | 267047.2744 | 26.25 | 74
105293 | 2021-04-23 14:32 | 14.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.0241 | μmol/L | 29.8535 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.747 | 131235.7418 | 267032.8293 | 26.25 | 74
105303 | 2021-04-23 14:32 | 15.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.7235 | μmol/L | 29.8474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.768 | 131321.1756 | 267039.1522 | 26.25 | 74
105313 | 2021-04-23 14:33 | 15.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 183.0081 | μmol/L | 29.8535 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.748 | 131244.3488 | 267018.5296 | 26.25 | 74
105323 | 2021-04-23 14:33 | 15.6697 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.9447 | μmol/L | 29.9085 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.733 | 131186.0459 | 267007.1792 | 26.25 | 74
105333 | 2021-04-23 14:33 | 16.0035 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.9233 | μmol/L | 29.8719 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.747 | 131231.4466 | 267007.1728 | 26.25 | 74
105343 | 2021-04-23 14:34 | 16.3367 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.7095 | μmol/L | 29.8963 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.752 | 131312.2112 | 267003.4091 | 26.25 | 74
105353 | 2021-04-23 14:34 | 16.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.6018 | μmol/L | 29.8841 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.763 | 131363.1746 | 267004.7329 | 26.25 | 74
105363 | 2021-04-23 14:34 | 17.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.3127 | μmol/L | 29.8963 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.777 | 131424.8617 | 266985.827 | 26.25 | 74
105373 | 2021-04-23 14:35 | 17.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 182.0488 | μmol/L | 29.878 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.8 | 131575.2787 | 266989.2505 | 26.25 | 74
105383 | 2021-04-23 14:35 | 17.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.9521 | μmol/L | 29.8841 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.804 | 131626.0596 | 266997.6132 | 26.25 | 74
105393 | 2021-04-23 14:35 | 18.0031 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.4326 | μmol/L | 29.933 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.82 | 131728.9696 | 267001.3025 | 26.25 | 74
105403 | 2021-04-23 14:36 | 18.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.3483 | μmol/L | 29.9513 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.819 | 131768.6929 | 267001.499 | 26.25 | 74
105413 | 2021-04-23 14:36 | 18.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.2315 | μmol/L | 29.9208 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.837 | 131857.0874 | 266980.7295 | 26.25 | 74
105423 | 2021-04-23 14:36 | 19.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.2436 | μmol/L | 29.933 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.832 | 131826.8913 | 266979.5913 | 26.25 | 74
105433 | 2021-04-23 14:37 | 19.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.1056 | μmol/L | 29.9208 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.845 | 131930.6522 | 266969.5566 | 26.25 | 74
105443 | 2021-04-23 14:37 | 19.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.8996 | μmol/L | 29.9269 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.856 | 131984.6757 | 266975.2134 | 26.25 | 74
105453 | 2021-04-23 14:37 | 20.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.7491 | μmol/L | 29.9574 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.855 | 132003.5803 | 266968.4562 | 26.25 | 74
105463 | 2021-04-23 14:38 | 20.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 181.0821 | μmol/L | 29.8413 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.874 | 132100.9768 | 266962.7375 | 26.25 | 74
105473 | 2021-04-23 14:38 | 20.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.6818 | μmol/L | 29.9208 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.872 | 132097.0935 | 266957.4203 | 26.25 | 74
105483 | 2021-04-23 14:38 | 21.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.363 | μmol/L | 29.9391 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.886 | 132167.7015 | 266961.1396 | 26.25 | 74
105493 | 2021-04-23 14:39 | 21.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 180.0799 | μmol/L | 29.9452 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.902 | 132248.1575 | 266951.7516 | 26.25 | 74
105503 | 2021-04-23 14:39 | 21.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.6981 | μmol/L | 29.9697 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.918 | 132366.3439 | 266954.1807 | 26.25 | 74
105513 | 2021-04-23 14:39 | 22.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.5618 | μmol/L | 29.9574 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.931 | 132462.9089 | 266944.9036 | 26.25 | 74
105523 | 2021-04-23 14:40 | 22.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.4067 | μmol/L | 30.0063 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.924 | 132456.5945 | 266941.62 | 26.25 | 74
105533 | 2021-04-23 14:40 | 22.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.9487 | μmol/L | 29.9819 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.962 | 132723.4522 | 266945.6464 | 26.25 | 74
105543 | 2021-04-23 14:40 | 23.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.5484 | μmol/L | 29.9758 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.99 | 132894.4894 | 266942.8006 | 26.25 | 74
105553 | 2021-04-23 14:41 | 23.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.672 | μmol/L | 29.9758 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.982 | 132867.9145 | 266930.5731 | 26.25 | 74
105563 | 2021-04-23 14:41 | 23.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.6044 | μmol/L | 29.9941 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.98 | 132842.0811 | 266928.4398 | 26.25 | 74
105573 | 2021-04-23 14:41 | 24.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.8537 | μmol/L | 29.9391 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.983 | 132870.7612 | 266924.2316 | 26.25 | 74
105583 | 2021-04-23 14:42 | 24.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.8923 | μmol/L | 29.9147 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.989 | 132910.5158 | 266926.5523 | 26.25 | 74
105593 | 2021-04-23 14:42 | 24.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 179.0177 | μmol/L | 29.8596 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22 | 132964.5299 | 266923.917 | 26.25 | 74
105603 | 2021-04-23 14:42 | 25.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.8787 | μmol/L | 29.9085 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.992 | 132932.6933 | 266926.542 | 26.25 | 74
105613 | 2021-04-23 14:43 | 25.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.3515 | μmol/L | 29.9635 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.007 | 133000.0759 | 266901.5492 | 26.25 | 74
105623 | 2021-04-23 14:43 | 25.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.0568 | μmol/L | 29.9697 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.024 | 133118.0698 | 266915.3039 | 26.25 | 74
105633 | 2021-04-23 14:43 | 26.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.3631 | μmol/L | 29.9269 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.019 | 133116.0419 | 266907.1111 | 26.25 | 74
105643 | 2021-04-23 14:44 | 26.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.2841 | μmol/L | 29.8841 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.039 | 133240.624 | 266914.6021 | 26.25 | 74
105653 | 2021-04-23 14:44 | 26.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 178.4593 | μmol/L | 29.8169 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.051 | 133307.6983 | 266915.9647 | 26.25 | 74
105663 | 2021-04-23 14:44 | 27.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.7707 | μmol/L | 29.9024 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.066 | 133390.505 | 266903.5956 | 26.25 | 74
105673 | 2021-04-23 14:45 | 27.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.1302 | μmol/L | 29.988 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.078 | 133482.8556 | 266897.0619 | 26.25 | 74
105683 | 2021-04-23 14:45 | 27.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.0518 | μmol/L | 29.9941 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.081 | 133546.4858 | 266894.9072 | 26.25 | 74
105693 | 2021-04-23 14:45 | 28.003 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 177.3281 | μmol/L | 29.8963 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.097 | 133638.4034 | 266903.4395 | 26.25 | 74
105703 | 2021-04-23 14:46 | 28.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.9208 | μmol/L | 29.9269 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.113 | 133724.7667 | 266895.6129 | 26.25 | 74
105713 | 2021-04-23 14:46 | 28.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.9335 | μmol/L | 29.9819 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.093 | 133649.074 | 266909.0826 | 26.25 | 74
105723 | 2021-04-23 14:46 | 29.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.5899 | μmol/L | 30.0063 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.107 | 133734.5105 | 266891.6168 | 26.25 | 74
105733 | 2021-04-23 14:47 | 29.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.6256 | μmol/L | 30.0369 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.094 | 133670.1723 | 266892.2681 | 26.25 | 74
105743 | 2021-04-23 14:47 | 29.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.8379 | μmol/L | 29.9941 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.095 | 133661.2094 | 266886.6772 | 26.25 | 74
105753 | 2021-04-23 14:47 | 30.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.2632 | μmol/L | 30.0736 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.105 | 133731.3514 | 266891.2835 | 26.25 | 74
105763 | 2021-04-23 14:48 | 30.3366 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.5157 | μmol/L | 30.0002 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.114 | 133804.7333 | 266875.607 | 26.25 | 74
105773 | 2021-04-23 14:48 | 30.6698 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.0726 | μmol/L | 30.098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.109 | 133786.1802 | 266878.8098 | 26.25 | 74
105783 | 2021-04-23 14:48 | 31.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 176.0615 | μmol/L | 30.0858 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.114 | 133812.7019 | 266881.6388 | 26.25 | 74
105793 | 2021-04-23 14:49 | 31.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.8318 | μmol/L | 30.0919 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.127 | 133877.9977 | 266871.7958 | 26.25 | 74
105803 | 2021-04-23 14:49 | 31.6703 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.7085 | μmol/L | 30.098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.133 | 133937.7217 | 266872.7178 | 26.25 | 74
105813 | 2021-04-23 14:49 | 32.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.5893 | μmol/L | 30.0919 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.143 | 133992.6568 | 266873.1912 | 26.25 | 74
105823 | 2021-04-23 14:50 | 32.3364 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.5914 | μmol/L | 30.0858 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.145 | 134034.3055 | 266854.3944 | 26.25 | 74
105833 | 2021-04-23 14:50 | 32.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 175.4311 | μmol/L | 30.0675 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.162 | 134150.9701 | 266864.1564 | 26.25 | 74
105843 | 2021-04-23 14:50 | 33.0033 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.9809 | μmol/L | 30.1041 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.179 | 134254.5787 | 266847.1374 | 26.25 | 74
105853 | 2021-04-23 14:51 | 33.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.9918 | μmol/L | 30.1164 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.174 | 134238.4144 | 266856.2425 | 26.25 | 74
105863 | 2021-04-23 14:51 | 33.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.7549 | μmol/L | 30.1041 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.194 | 134346.9023 | 266845.0182 | 26.25 | 74
105873 | 2021-04-23 14:51 | 34.0031 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.3473 | μmol/L | 30.153 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.204 | 134424.9199 | 266841.7428 | 26.25 | 74
105883 | 2021-04-23 14:52 | 34.3363 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.5167 | μmol/L | 30.1408 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.197 | 134392.956 | 266830.0554 | 26.25 | 74
105893 | 2021-04-23 14:52 | 34.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.622 | μmol/L | 30.1408 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.19 | 134382.9629 | 266825.176 | 26.25 | 74
105903 | 2021-04-23 14:52 | 35.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.2315 | μmol/L | 30.1408 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.216 | 134518.0243 | 266834.2139 | 26.25 | 74
105913 | 2021-04-23 14:53 | 35.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.5782 | μmol/L | 30.0491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.225 | 134594.3472 | 266825.9735 | 26.25 | 74
105923 | 2021-04-23 14:53 | 35.6699 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.9061 | μmol/L | 30.1286 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.242 | 134679.2889 | 266816.0197 | 26.25 | 74
105933 | 2021-04-23 14:53 | 36.0032 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.1069 | μmol/L | 30.0675 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.25 | 134723.0933 | 266810.7954 | 26.25 | 74
105943 | 2021-04-23 14:54 | 36.3365 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 174.0898 | μmol/L | 30.0736 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.249 | 134752.0604 | 266816.8883 | 26.25 | 74
105953 | 2021-04-23 14:54 | 36.67 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 173.3406 | μmol/L | 30.2081 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.252 | 134815.71 | 266810.8188 | 26.25 | 74