## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 15:28

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
105955 | 2021-04-23 15:02 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 217.3008 | μmol/L | 27.9745 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.22 | 133161.3615 | 270952.6656 | 33.25 | 75.7
105965 | 2021-04-23 15:02 | 0.32574 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 212.6213 | μmol/L | 28.6325 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.247 | 133238.9013 | 270953.8738 | 33.25 | 75.7
105975 | 2021-04-23 15:03 | 0.65889 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 211.3338 | μmol/L | 28.7986 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.26 | 133331.3713 | 270952.489 | 33.25 | 75.7
105985 | 2021-04-23 15:03 | 0.99264 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.9515 | μmol/L | 28.8109 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.276 | 133438.0285 | 270934.9139 | 33.25 | 75.7
105995 | 2021-04-23 15:03 | 1.3255 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.302 | μmol/L | 28.8786 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.288 | 133513.6132 | 270935.4499 | 33.25 | 75.7
106005 | 2021-04-23 15:04 | 1.6588 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.6927 | μmol/L | 28.9339 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.302 | 133586.368 | 270926.7644 | 33.25 | 75.7
106015 | 2021-04-23 15:04 | 1.9924 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.9042 | μmol/L | 28.8478 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.319 | 133699.872 | 270921.2206 | 33.25 | 75.7
106025 | 2021-04-23 15:04 | 2.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.3359 | μmol/L | 28.8601 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.345 | 133899.5365 | 270919.6261 | 33.25 | 75.7
106035 | 2021-04-23 15:05 | 2.6587 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.3138 | μmol/L | 28.9585 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.367 | 134053.5411 | 270905.6272 | 33.25 | 75.7
106045 | 2021-04-23 15:05 | 2.9924 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.3905 | μmol/L | 28.9278 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.373 | 134138.0006 | 270918.4611 | 33.25 | 75.7
106055 | 2021-04-23 15:05 | 3.3255 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.4674 | μmol/L | 28.8909 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.381 | 134186.0619 | 270909.8766 | 33.25 | 75.7
106065 | 2021-04-23 15:06 | 3.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.5247 | μmol/L | 28.8724 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.384 | 134228.3158 | 270911.5469 | 33.25 | 75.7
106075 | 2021-04-23 15:06 | 3.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.7917 | μmol/L | 28.897 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.415 | 134428.2025 | 270912.2872 | 33.25 | 75.7
106085 | 2021-04-23 15:06 | 4.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.4353 | μmol/L | 28.9155 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.428 | 134509.7295 | 270893.858 | 33.25 | 75.7
106095 | 2021-04-23 15:07 | 4.6588 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.0591 | μmol/L | 28.9647 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.432 | 134559.8019 | 270893.726 | 33.25 | 75.7
106105 | 2021-04-23 15:07 | 4.9925 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.4353 | μmol/L | 28.9155 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.428 | 134539.2391 | 270889.9438 | 33.25 | 75.7
106115 | 2021-04-23 15:07 | 5.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.6854 | μmol/L | 28.9831 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.446 | 134652.0973 | 270890.4542 | 33.25 | 75.7
106125 | 2021-04-23 15:08 | 5.6586 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.4986 | μmol/L | 28.9954 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.452 | 134707.5392 | 270890.7744 | 33.25 | 75.7
106135 | 2021-04-23 15:08 | 5.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.4812 | μmol/L | 28.977 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.459 | 134769.2317 | 270894.4008 | 33.25 | 75.7
106145 | 2021-04-23 15:08 | 6.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9945 | μmol/L | 29.0385 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.465 | 134793.4219 | 270895.8548 | 33.25 | 75.7
106155 | 2021-04-23 15:09 | 6.6593 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9199 | μmol/L | 29.0447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.467 | 134840.3311 | 270894.3698 | 33.25 | 75.7
106165 | 2021-04-23 15:09 | 6.9925 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6034 | μmol/L | 29.0693 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.476 | 134903.5486 | 270898.8319 | 33.25 | 75.7
106175 | 2021-04-23 15:09 | 7.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.7532 | μmol/L | 29.0447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.476 | 134925.4613 | 270895.4736 | 33.25 | 75.7
106185 | 2021-04-23 15:10 | 7.6587 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.3281 | μmol/L | 29.0447 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.499 | 135044.0785 | 270887.878 | 33.25 | 75.7
106195 | 2021-04-23 15:10 | 7.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.1781 | μmol/L | 29.0754 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.497 | 135066.239 | 270884.6502 | 33.25 | 75.7
106205 | 2021-04-23 15:10 | 8.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.9738 | μmol/L | 29.0939 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.502 | 135090.7986 | 270877.4245 | 33.25 | 75.7
106215 | 2021-04-23 15:11 | 8.6591 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.8817 | μmol/L | 29.0939 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.507 | 135130.4281 | 270879.3801 | 33.25 | 75.7
106225 | 2021-04-23 15:11 | 8.9923 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.8842 | μmol/L | 29.0631 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.517 | 135211.8034 | 270870.9116 | 33.25 | 75.7
106235 | 2021-04-23 15:11 | 9.3254 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.5327 | μmol/L | 29.0877 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.528 | 135270.3747 | 270881.4151 | 33.25 | 75.7
106245 | 2021-04-23 15:12 | 9.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.5537 | μmol/L | 29.057 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.537 | 135331.5429 | 270881.7959 | 33.25 | 75.7
106255 | 2021-04-23 15:12 | 9.9924 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.1263 | μmol/L | 29.1185 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.54 | 135362.8509 | 270876.2488 | 33.25 | 75.7
106265 | 2021-04-23 15:12 | 10.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.9059 | μmol/L | 29.1246 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.55 | 135451.8721 | 270874.2127 | 33.25 | 75.7
106275 | 2021-04-23 15:13 | 10.6588 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.6836 | μmol/L | 29.1554 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.552 | 135494.5882 | 270878.9527 | 33.25 | 75.7
106285 | 2021-04-23 15:13 | 10.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.2953 | μmol/L | 29.2046 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.557 | 135512.6505 | 270859.0187 | 33.25 | 75.7
106295 | 2021-04-23 15:13 | 11.326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.7784 | μmol/L | 29.1185 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.559 | 135549.8464 | 270863.9633 | 33.25 | 75.7
106305 | 2021-04-23 15:14 | 11.6592 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.4825 | μmol/L | 29.1554 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.563 | 135585.6934 | 270868.3314 | 33.25 | 75.7
106315 | 2021-04-23 15:14 | 11.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.3006 | μmol/L | 29.1492 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.575 | 135637.1567 | 270859.1116 | 33.25 | 75.7
106325 | 2021-04-23 15:14 | 12.3258 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.1706 | μmol/L | 29.1738 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.574 | 135678.0782 | 270862.7495 | 33.25 | 75.7
106335 | 2021-04-23 15:15 | 12.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.804 | μmol/L | 29.1985 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.586 | 135749.8596 | 270856.2472 | 33.25 | 75.7
106345 | 2021-04-23 15:15 | 12.9923 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.4905 | μmol/L | 29.2415 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.589 | 135766.1628 | 270852.9813 | 33.25 | 75.7
106355 | 2021-04-23 15:15 | 13.3255 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.1989 | μmol/L | 29.2538 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.601 | 135866.7696 | 270849.1203 | 33.25 | 75.7
106365 | 2021-04-23 15:16 | 13.659 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.0566 | μmol/L | 29.2292 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.617 | 135965.0596 | 270854.3138 | 33.25 | 75.7
106375 | 2021-04-23 15:16 | 13.9922 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.9634 | μmol/L | 29.2538 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.614 | 136002.2459 | 270844.2591 | 33.25 | 75.7
106385 | 2021-04-23 15:16 | 14.326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.9285 | μmol/L | 29.3092 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.653 | 136272.5376 | 270840.91 | 33.25 | 75.7
106395 | 2021-04-23 15:17 | 14.6589 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.7285 | μmol/L | 29.3276 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.658 | 136289.7143 | 270837.8672 | 33.25 | 75.7
106405 | 2021-04-23 15:17 | 14.9919 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.7083 | μmol/L | 29.3461 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.653 | 136271.5693 | 270821.7802 | 33.25 | 75.7
106415 | 2021-04-23 15:17 | 15.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6596 | μmol/L | 29.303 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.67 | 136373.9813 | 270826.3338 | 33.25 | 75.7
106425 | 2021-04-23 15:18 | 15.6588 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6214 | μmol/L | 29.3215 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.666 | 136365.1966 | 270821.5119 | 33.25 | 75.7
106435 | 2021-04-23 15:18 | 15.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.4031 | μmol/L | 29.3461 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.67 | 136394.0271 | 270822.7181 | 33.25 | 75.7
106445 | 2021-04-23 15:18 | 16.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.5317 | μmol/L | 29.3215 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.671 | 136423.9292 | 270830.7246 | 33.25 | 75.7
106455 | 2021-04-23 15:19 | 16.6586 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.516 | μmol/L | 29.303 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.678 | 136457.9439 | 270826.0731 | 33.25 | 75.7
106465 | 2021-04-23 15:19 | 16.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.9172 | μmol/L | 29.3646 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.691 | 136575.2468 | 270815.1099 | 33.25 | 75.7
106475 | 2021-04-23 15:19 | 17.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.0634 | μmol/L | 29.3399 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.691 | 136576.7553 | 270807.5141 | 33.25 | 75.7
106485 | 2021-04-23 15:20 | 17.6588 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.9398 | μmol/L | 29.3276 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.702 | 136596.3425 | 270801.8843 | 33.25 | 75.7
106495 | 2021-04-23 15:20 | 17.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.0487 | μmol/L | 29.3153 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.7 | 136642.1046 | 270810.0334 | 33.25 | 75.7
106505 | 2021-04-23 15:20 | 18.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.3258 | μmol/L | 29.383 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.718 | 136780.926 | 270820.6884 | 33.25 | 75.7
106515 | 2021-04-23 15:21 | 18.659 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.2731 | μmol/L | 29.3769 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.723 | 136812.435 | 270816.1284 | 33.25 | 75.7
106525 | 2021-04-23 15:21 | 18.9922 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.2537 | μmol/L | 29.3892 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.72 | 136792.063 | 270817.3193 | 33.25 | 75.7
106535 | 2021-04-23 15:21 | 19.326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.1096 | μmol/L | 29.4015 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.724 | 136826.0714 | 270810.6213 | 33.25 | 75.7
106545 | 2021-04-23 15:22 | 19.6592 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.0471 | μmol/L | 29.4076 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 20.725 | 136812.8421 | 270819.4703 | 33.25 | 75.7
106555 | 2021-04-23 15:22 | 19.9922 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.0571 | μmol/L | 29.3953 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.729 | 136871.111 | 270809.9935 | 33.25 | 75.7
106565 | 2021-04-23 15:22 | 20.3255 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.7347 | μmol/L | 29.4138 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.741 | 136944.4047 | 270813.3176 | 33.25 | 75.7
106575 | 2021-04-23 15:23 | 20.6587 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.0248 | μmol/L | 29.3707 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.739 | 136938.7634 | 270810.0191 | 33.25 | 75.7
106585 | 2021-04-23 15:23 | 20.9925 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.3251 | μmol/L | 29.4261 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.76 | 137059.0502 | 270804.8147 | 33.25 | 75.7
106595 | 2021-04-23 15:23 | 21.3255 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.7702 | μmol/L | 29.4138 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.739 | 136969.0601 | 270800.9946 | 33.25 | 75.7
106605 | 2021-04-23 15:24 | 21.6587 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.8277 | μmol/L | 29.383 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.746 | 137014.0732 | 270813.2597 | 33.25 | 75.7
106615 | 2021-04-23 15:24 | 21.9921 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.5961 | μmol/L | 29.3892 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.757 | 137061.9954 | 270794.5589 | 33.25 | 75.7
106625 | 2021-04-23 15:24 | 22.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.4366 | μmol/L | 29.3892 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.766 | 137130.9147 | 270811.4143 | 33.25 | 75.7
106635 | 2021-04-23 15:25 | 22.6587 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.2189 | μmol/L | 29.4261 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.766 | 137158.8938 | 270802.7141 | 33.25 | 75.7
106645 | 2021-04-23 15:25 | 22.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.0403 | μmol/L | 29.4384 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.772 | 137173.8495 | 270797.5969 | 33.25 | 75.7
106655 | 2021-04-23 15:25 | 23.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.9175 | μmol/L | 29.4322 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.781 | 137272.8503 | 270789.1975 | 33.25 | 75.7
106665 | 2021-04-23 15:26 | 23.6591 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.2802 | μmol/L | 29.4507 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.811 | 137412.5832 | 270804.1586 | 33.25 | 75.7
106675 | 2021-04-23 15:26 | 23.9924 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.4052 | μmol/L | 29.4384 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.808 | 137429.1785 | 270797.1929 | 33.25 | 75.7
106685 | 2021-04-23 15:26 | 24.3255 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.6935 | μmol/L | 29.3953 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.806 | 137489.0563 | 270792.8748 | 33.25 | 75.7
106695 | 2021-04-23 15:27 | 24.6593 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.842 | μmol/L | 29.4445 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.838 | 137681.475 | 270788.5029 | 33.25 | 75.7