## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 15:28

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
105956 | 2021-04-23 15:02 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.1364 | μmol/L | 28.6996 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.778 | 120756.3223 | 294864.0453 | 59.9307 | 38.1
105966 | 2021-04-23 15:02 | 0.33984 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.2582 | μmol/L | 28.8404 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.78 | 120791.0152 | 294862.8965 | 59.9307 | 38.1
105976 | 2021-04-23 15:03 | 0.67311 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.6237 | μmol/L | 28.8894 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.799 | 120883.6551 | 294840.0469 | 59.9307 | 38.1
105986 | 2021-04-23 15:03 | 1.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.4425 | μmol/L | 28.9078 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.803 | 120929.3188 | 294840.5284 | 59.9307 | 38.1
105996 | 2021-04-23 15:03 | 1.3393 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.1352 | μmol/L | 28.9323 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.812 | 120962.5708 | 294836.4144 | 59.9307 | 38.1
106006 | 2021-04-23 15:04 | 1.6726 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.9739 | μmol/L | 28.9323 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.821 | 120993.2934 | 294837.1782 | 59.9307 | 38.1
106016 | 2021-04-23 15:04 | 2.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7948 | μmol/L | 28.9323 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.831 | 121006.8146 | 294836.5696 | 59.9307 | 38.1
106026 | 2021-04-23 15:04 | 2.3394 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5752 | μmol/L | 28.9874 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.825 | 120997.2529 | 294832.3695 | 59.9307 | 38.1
106036 | 2021-04-23 15:05 | 2.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4875 | μmol/L | 28.969 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.836 | 121064.5387 | 294815.3623 | 59.9307 | 38.1
106046 | 2021-04-23 15:05 | 3.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.1628 | μmol/L | 29.0058 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.842 | 121099.6274 | 294808.7608 | 59.9307 | 38.1
106056 | 2021-04-23 15:05 | 3.3394 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.9637 | μmol/L | 29.0364 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.843 | 121098.0056 | 294814.7395 | 59.9307 | 38.1
106066 | 2021-04-23 15:06 | 3.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.0006 | μmol/L | 29.0242 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.845 | 121116.4509 | 294806.4136 | 59.9307 | 38.1
106076 | 2021-04-23 15:06 | 4.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.0552 | μmol/L | 29.0119 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.846 | 121129.7641 | 294813.2489 | 59.9307 | 38.1
106086 | 2021-04-23 15:06 | 4.3394 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.6084 | μmol/L | 29.0303 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.865 | 121228.5828 | 294805.7585 | 59.9307 | 38.1
106096 | 2021-04-23 15:07 | 4.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.7721 | μmol/L | 28.9935 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.868 | 121261.1776 | 294797.7449 | 59.9307 | 38.1
106106 | 2021-04-23 15:07 | 5.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.5747 | μmol/L | 29.0119 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.873 | 121328.6629 | 294796.9312 | 59.9307 | 38.1
106116 | 2021-04-23 15:07 | 5.3393 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.1291 | μmol/L | 29.0303 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.892 | 121381.043 | 294791.7396 | 59.9307 | 38.1
106126 | 2021-04-23 15:08 | 5.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.8937 | μmol/L | 29.0793 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.889 | 121383.7471 | 294785.4856 | 59.9307 | 38.1
106136 | 2021-04-23 15:08 | 6.0062 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.076 | μmol/L | 29.0303 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.895 | 121433.0998 | 294795.3977 | 59.9307 | 38.1
106146 | 2021-04-23 15:08 | 6.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.8957 | μmol/L | 29.0609 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.895 | 121441.9796 | 294796.8981 | 59.9307 | 38.1
106156 | 2021-04-23 15:09 | 6.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.8419 | μmol/L | 29.067 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.896 | 121462.798 | 294795.4091 | 59.9307 | 38.1
106166 | 2021-04-23 15:09 | 7.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.8957 | μmol/L | 29.0609 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.895 | 121479.6919 | 294798.3818 | 59.9307 | 38.1
106176 | 2021-04-23 15:09 | 7.3394 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.5721 | μmol/L | 29.1099 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.897 | 121500.1075 | 294790.9822 | 59.9307 | 38.1
106186 | 2021-04-23 15:10 | 7.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.3602 | μmol/L | 29.1099 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.909 | 121564.6534 | 294808.412 | 59.9307 | 38.1
106196 | 2021-04-23 15:10 | 8.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.3242 | μmol/L | 29.1161 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.909 | 121601.414 | 294811.5837 | 59.9307 | 38.1
106206 | 2021-04-23 15:10 | 8.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.1268 | μmol/L | 29.1467 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.91 | 121614.1197 | 294806.2189 | 59.9307 | 38.1
106216 | 2021-04-23 15:11 | 8.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.8957 | μmol/L | 29.1651 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.917 | 121651.2896 | 294798.7282 | 59.9307 | 38.1
106226 | 2021-04-23 15:11 | 9.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9675 | μmol/L | 29.1528 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.917 | 121659.5241 | 294802.48 | 59.9307 | 38.1
106236 | 2021-04-23 15:11 | 9.3394 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.3608 | μmol/L | 29.1038 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.911 | 121634.3123 | 294800.8084 | 59.9307 | 38.1
106246 | 2021-04-23 15:12 | 9.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.933 | μmol/L | 29.1467 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.921 | 121714.3138 | 294800.8766 | 59.9307 | 38.1
106256 | 2021-04-23 15:12 | 10.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9865 | μmol/L | 29.1406 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.92 | 121719.2848 | 294787.2747 | 59.9307 | 38.1
106266 | 2021-04-23 15:12 | 10.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9405 | μmol/L | 29.2263 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.951 | 121872.826 | 294778.8767 | 59.9307 | 38.1
106276 | 2021-04-23 15:13 | 10.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.0593 | μmol/L | 29.2569 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.934 | 121801.2088 | 294777.7477 | 59.9307 | 38.1
106286 | 2021-04-23 15:13 | 11.0065 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1689 | μmol/L | 29.2202 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.94 | 121801.0864 | 294777.0629 | 59.9307 | 38.1
106296 | 2021-04-23 15:13 | 11.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.0653 | μmol/L | 29.2079 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.95 | 121861.1202 | 294761.673 | 59.9307 | 38.1
106306 | 2021-04-23 15:14 | 11.6727 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.6568 | μmol/L | 29.2569 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.957 | 121901.9195 | 294757.6447 | 59.9307 | 38.1
106316 | 2021-04-23 15:14 | 12.006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.3164 | μmol/L | 29.3243 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.954 | 121893.1326 | 294770.8477 | 59.9307 | 38.1
106326 | 2021-04-23 15:14 | 12.3398 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.6195 | μmol/L | 29.2753 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.953 | 121891.9495 | 294761.1841 | 59.9307 | 38.1
106336 | 2021-04-23 15:15 | 12.6727 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.3592 | μmol/L | 29.2631 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.972 | 122008.7888 | 294769.2784 | 59.9307 | 38.1
106346 | 2021-04-23 15:15 | 13.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.6862 | μmol/L | 29.3488 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.982 | 122045.4469 | 294756.163 | 59.9307 | 38.1
106356 | 2021-04-23 15:15 | 13.3396 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.6862 | μmol/L | 29.3488 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.982 | 122042.9038 | 294743.281 | 59.9307 | 38.1
106366 | 2021-04-23 15:16 | 13.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.3677 | μmol/L | 29.3917 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.986 | 122075.808 | 294735.1561 | 59.9307 | 38.1
106376 | 2021-04-23 15:16 | 14.006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.6499 | μmol/L | 29.4468 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.009 | 122238.677 | 294746.007 | 59.9307 | 38.1
106386 | 2021-04-23 15:16 | 14.3398 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7469 | μmol/L | 29.3733 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.028 | 122370.9721 | 294755.8485 | 59.9307 | 38.1
106396 | 2021-04-23 15:17 | 14.6729 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.5026 | μmol/L | 29.3917 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.036 | 122427.6466 | 294744.7206 | 59.9307 | 38.1
106406 | 2021-04-23 15:17 | 15.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2195 | μmol/L | 29.4407 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.036 | 122442.2239 | 294744.5408 | 59.9307 | 38.1
106416 | 2021-04-23 15:17 | 15.3391 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2186 | μmol/L | 29.4468 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.034 | 122446.4525 | 294733.3618 | 59.9307 | 38.1
106426 | 2021-04-23 15:18 | 15.6729 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.1152 | μmol/L | 29.4468 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.04 | 122469.7681 | 294738.2754 | 59.9307 | 38.1
106436 | 2021-04-23 15:18 | 16.0058 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4508 | μmol/L | 29.3917 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.039 | 122474.9131 | 294751.4091 | 59.9307 | 38.1
106446 | 2021-04-23 15:18 | 16.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0319 | μmol/L | 29.4285 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.051 | 122545.1124 | 294757.7499 | 59.9307 | 38.1
106456 | 2021-04-23 15:19 | 16.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.8836 | μmol/L | 29.3856 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.074 | 122656.537 | 294756.4678 | 59.9307 | 38.1
106466 | 2021-04-23 15:19 | 17.006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.7949 | μmol/L | 29.404 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.073 | 122690.0453 | 294736.8692 | 59.9307 | 38.1
106476 | 2021-04-23 15:19 | 17.3391 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.4586 | μmol/L | 29.4713 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.07 | 122655.3321 | 294745.0551 | 59.9307 | 38.1
106486 | 2021-04-23 15:20 | 17.673 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.094 | μmol/L | 29.502 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.081 | 122692.5226 | 294733.7688 | 59.9307 | 38.1
106496 | 2021-04-23 15:20 | 18.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.0618 | μmol/L | 29.4897 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.087 | 122752.3257 | 294728.259 | 59.9307 | 38.1
106506 | 2021-04-23 15:20 | 18.3394 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.5746 | μmol/L | 29.3856 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.092 | 122804.5691 | 294739.082 | 59.9307 | 38.1
106516 | 2021-04-23 15:21 | 18.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.5908 | μmol/L | 29.3917 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.089 | 122818.3219 | 294734.9906 | 59.9307 | 38.1
106526 | 2021-04-23 15:21 | 19.0063 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.4013 | μmol/L | 29.3978 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.098 | 122861.5972 | 294728.6397 | 59.9307 | 38.1
106536 | 2021-04-23 15:21 | 19.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.8692 | μmol/L | 29.4101 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.125 | 123024.6086 | 294710.4176 | 59.9307 | 38.1
106546 | 2021-04-23 15:22 | 19.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.6796 | μmol/L | 29.4223 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.132 | 123061.9451 | 294714.8589 | 59.9307 | 38.1
106556 | 2021-04-23 15:22 | 20.0061 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2718 | μmol/L | 29.4162 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.158 | 123198.3949 | 294719.9662 | 59.9307 | 38.1
106566 | 2021-04-23 15:22 | 20.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4714 | μmol/L | 29.4346 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.199 | 123482.9152 | 294730.3792 | 59.9307 | 38.1
106576 | 2021-04-23 15:23 | 20.6732 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.6255 | μmol/L | 29.4468 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.245 | 123766.0769 | 294722.1897 | 59.9307 | 38.1
106586 | 2021-04-23 15:23 | 21.006 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.1171 | μmol/L | 29.4713 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.267 | 123944.0095 | 294737.2525 | 59.9307 | 38.1
106596 | 2021-04-23 15:23 | 21.3391 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.9792 | μmol/L | 29.3978 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.3 | 124098.7363 | 294728.1478 | 59.9307 | 38.1
106606 | 2021-04-23 15:24 | 21.6731 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.6514 | μmol/L | 29.453 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.301 | 124163.5672 | 294732.8275 | 59.9307 | 38.1
106616 | 2021-04-23 15:24 | 22.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.8376 | μmol/L | 29.4407 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.294 | 124117.8504 | 294737.6241 | 59.9307 | 38.1
106626 | 2021-04-23 15:24 | 22.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.2361 | μmol/L | 29.4407 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.33 | 124340.0444 | 294738.5315 | 59.9307 | 38.1
106636 | 2021-04-23 15:25 | 22.6726 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.8342 | μmol/L | 29.453 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.35 | 124447.1903 | 294737.1392 | 59.9307 | 38.1
106646 | 2021-04-23 15:25 | 23.0059 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.4996 | μmol/L | 29.4652 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.366 | 124567.6012 | 294714.523 | 59.9307 | 38.1
106656 | 2021-04-23 15:25 | 23.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.4864 | μmol/L | 29.4468 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.373 | 124610.4696 | 294722.8536 | 59.9307 | 38.1
106666 | 2021-04-23 15:26 | 23.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.4853 | μmol/L | 29.453 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.371 | 124633.9229 | 294733.0776 | 59.9307 | 38.1
106676 | 2021-04-23 15:26 | 24.0064 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.5883 | μmol/L | 29.4346 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.371 | 124626.7008 | 294727.6655 | 59.9307 | 38.1
106686 | 2021-04-23 15:26 | 24.3395 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.8209 | μmol/L | 29.4346 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.357 | 124530.0597 | 294721.9388 | 59.9307 | 38.1
106696 | 2021-04-23 15:27 | 24.6726 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.2793 | μmol/L | 29.4897 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.371 | 124619.6313 | 294709.1332 | 59.9307 | 38.1