## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 15:28

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
105958 | 2021-04-23 15:02 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.727 | μmol/L | 28.7579 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.764 | 89154.1975 | 291522.2956 | 28.7 | 67.6
105968 | 2021-04-23 15:02 | 0.32929 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.3252 | μmol/L | 28.8922 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.797 | 89251.707 | 291521.9551 | 28.7 | 67.6
105978 | 2021-04-23 15:03 | 0.66264 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.8037 | μmol/L | 28.88 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.83 | 89386.082 | 291528.9075 | 28.7 | 67.6
105988 | 2021-04-23 15:03 | 0.99593 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.4787 | μmol/L | 28.9044 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.84 | 89461.8754 | 291521.8412 | 28.7 | 67.6
105998 | 2021-04-23 15:03 | 1.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.2993 | μmol/L | 28.9044 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.85 | 89472.1082 | 291515.2476 | 28.7 | 67.6
106008 | 2021-04-23 15:04 | 1.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.139 | μmol/L | 28.8922 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.863 | 89515.6569 | 291510.665 | 28.7 | 67.6
106018 | 2021-04-23 15:04 | 1.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.49 | μmol/L | 28.9654 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.875 | 89569.8827 | 291508.1438 | 28.7 | 67.6
106028 | 2021-04-23 15:04 | 2.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.2929 | μmol/L | 28.9776 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.882 | 89603.9127 | 291525.9512 | 28.7 | 67.6
106038 | 2021-04-23 15:05 | 2.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.3102 | μmol/L | 28.9837 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.879 | 89618.1909 | 291520.0882 | 28.7 | 67.6
106048 | 2021-04-23 15:05 | 2.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.3107 | μmol/L | 28.9776 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.881 | 89624.9973 | 291523.3175 | 28.7 | 67.6
106058 | 2021-04-23 15:05 | 3.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.0945 | μmol/L | 29.0081 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.883 | 89633.7217 | 291527.7351 | 28.7 | 67.6
106068 | 2021-04-23 15:06 | 3.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.0213 | μmol/L | 29.0325 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.879 | 89642.9128 | 291509.0307 | 28.7 | 67.6
106078 | 2021-04-23 15:06 | 3.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.0579 | μmol/L | 29.0203 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.881 | 89640.0258 | 291498.7217 | 28.7 | 67.6
106088 | 2021-04-23 15:06 | 4.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.9689 | μmol/L | 29.0203 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.886 | 89660.099 | 291514.4968 | 28.7 | 67.6
106098 | 2021-04-23 15:07 | 4.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.7331 | μmol/L | 29.0752 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.881 | 89661.7285 | 291499.0107 | 28.7 | 67.6
106108 | 2021-04-23 15:07 | 4.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.6782 | μmol/L | 29.0935 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.878 | 89653.2519 | 291496.1748 | 28.7 | 67.6
106118 | 2021-04-23 15:07 | 5.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.5001 | μmol/L | 29.0996 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.886 | 89646.1114 | 291488.601 | 28.7 | 67.6
106128 | 2021-04-23 15:08 | 5.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.7498 | μmol/L | 29.0874 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.876 | 89649.2314 | 291494.8732 | 28.7 | 67.6
106138 | 2021-04-23 15:08 | 5.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.5507 | μmol/L | 29.1301 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.873 | 89666.893 | 291506.7414 | 28.7 | 67.6
106148 | 2021-04-23 15:08 | 6.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.2828 | μmol/L | 29.1484 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.882 | 89664.7979 | 291510.8621 | 28.7 | 67.6
106158 | 2021-04-23 15:09 | 6.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.2108 | μmol/L | 29.1606 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.882 | 89678.3521 | 291504.9155 | 28.7 | 67.6
106168 | 2021-04-23 15:09 | 6.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.2113 | μmol/L | 29.1545 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.884 | 89684.0699 | 291510.8881 | 28.7 | 67.6
106178 | 2021-04-23 15:09 | 7.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.0136 | μmol/L | 29.185 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.885 | 89702.038 | 291512.3586 | 28.7 | 67.6
106188 | 2021-04-23 15:10 | 7.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.9234 | μmol/L | 29.2033 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.884 | 89704.4503 | 291506.1555 | 28.7 | 67.6
106198 | 2021-04-23 15:10 | 7.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.868 | μmol/L | 29.2277 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.879 | 89699.4906 | 291513.4921 | 28.7 | 67.6
106208 | 2021-04-23 15:10 | 8.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.7076 | μmol/L | 29.2399 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.884 | 89724.6062 | 291499.2091 | 28.7 | 67.6
106218 | 2021-04-23 15:11 | 8.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.3305 | μmol/L | 29.301 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.885 | 89724.6634 | 291510.3825 | 28.7 | 67.6
106228 | 2021-04-23 15:11 | 8.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.1869 | μmol/L | 29.3254 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.885 | 89739.155 | 291509.3833 | 28.7 | 67.6
106238 | 2021-04-23 15:11 | 9.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.168 | μmol/L | 29.3376 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.882 | 89744.2522 | 291492.7474 | 28.7 | 67.6
106248 | 2021-04-23 15:12 | 9.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.0956 | μmol/L | 29.3559 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.88 | 89729.7392 | 291496.5129 | 28.7 | 67.6
106258 | 2021-04-23 15:12 | 9.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.2928 | μmol/L | 29.3254 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.879 | 89754.663 | 291498.5442 | 28.7 | 67.6
106268 | 2021-04-23 15:12 | 10.3298 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.3293 | μmol/L | 29.3132 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.881 | 89738.655 | 291479.914 | 28.7 | 67.6
106278 | 2021-04-23 15:13 | 10.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.2209 | μmol/L | 29.3376 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.879 | 89750.2196 | 291485.0554 | 28.7 | 67.6
106288 | 2021-04-23 15:13 | 10.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.935 | μmol/L | 29.3742 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.883 | 89753.6667 | 291482.5246 | 28.7 | 67.6
106298 | 2021-04-23 15:13 | 11.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.6664 | μmol/L | 29.4169 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.884 | 89762.837 | 291489.6548 | 28.7 | 67.6
106308 | 2021-04-23 15:14 | 11.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.8463 | μmol/L | 29.3803 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.886 | 89790.4759 | 291480.3795 | 28.7 | 67.6
106318 | 2021-04-23 15:14 | 11.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.5954 | μmol/L | 29.423 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.886 | 89787.3885 | 291468.9131 | 28.7 | 67.6
106328 | 2021-04-23 15:14 | 12.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.4521 | μmol/L | 29.4474 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.886 | 89788.7783 | 291473.2033 | 28.7 | 67.6
106338 | 2021-04-23 15:15 | 12.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.1312 | μmol/L | 29.4901 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.89 | 89800.0159 | 291476.9951 | 28.7 | 67.6
106348 | 2021-04-23 15:15 | 12.9964 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.0071 | μmol/L | 29.5023 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.893 | 89799.3638 | 291457.1715 | 28.7 | 67.6
106358 | 2021-04-23 15:15 | 13.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.167 | μmol/L | 29.484 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.89 | 89835.3612 | 291467.4433 | 28.7 | 67.6
106368 | 2021-04-23 15:16 | 13.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.7035 | μmol/L | 29.5511 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.894 | 89840.9389 | 291453.9249 | 28.7 | 67.6
106378 | 2021-04-23 15:16 | 13.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.8662 | μmol/L | 29.5084 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.899 | 89847.8181 | 291461.7044 | 28.7 | 67.6
106388 | 2021-04-23 15:16 | 14.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.9355 | μmol/L | 29.5145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.893 | 89839.0875 | 291457.2888 | 28.7 | 67.6
106398 | 2021-04-23 15:17 | 14.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.6533 | μmol/L | 29.5328 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.903 | 89858.5931 | 291452.6428 | 28.7 | 67.6
106408 | 2021-04-23 15:17 | 14.9963 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.9005 | μmol/L | 29.5145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.895 | 89854.3413 | 291446.2007 | 28.7 | 67.6
106418 | 2021-04-23 15:17 | 15.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.4709 | μmol/L | 29.5939 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.893 | 89853.7012 | 291449.9403 | 28.7 | 67.6
106428 | 2021-04-23 15:18 | 15.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.1694 | μmol/L | 29.6305 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.898 | 89865.1815 | 291447.8783 | 28.7 | 67.6
106438 | 2021-04-23 15:18 | 15.9962 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.8857 | μmol/L | 29.6671 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.902 | 89885.9525 | 291448.5044 | 28.7 | 67.6
106448 | 2021-04-23 15:18 | 16.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.1202 | μmol/L | 29.6061 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.909 | 89918.9337 | 291439.3607 | 28.7 | 67.6
106458 | 2021-04-23 15:19 | 16.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.8192 | μmol/L | 29.6427 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.914 | 89936.1723 | 291439.3232 | 28.7 | 67.6
106468 | 2021-04-23 15:19 | 16.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.9974 | μmol/L | 29.6122 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.914 | 89956.3107 | 291453.3282 | 28.7 | 67.6
106478 | 2021-04-23 15:19 | 17.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.8715 | μmol/L | 29.6427 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.911 | 89965.0519 | 291435.441 | 28.7 | 67.6
106488 | 2021-04-23 15:20 | 17.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.7844 | μmol/L | 29.6427 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.916 | 89972.9386 | 291445.3104 | 28.7 | 67.6
106498 | 2021-04-23 15:20 | 17.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.3234 | μmol/L | 29.7098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.92 | 89999.3548 | 291450.4682 | 28.7 | 67.6
106508 | 2021-04-23 15:20 | 18.3294 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5716 | μmol/L | 29.6732 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.918 | 90006.493 | 291424.1448 | 28.7 | 67.6
106518 | 2021-04-23 15:21 | 18.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.3069 | μmol/L | 29.7037 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.923 | 90006.3526 | 291425.7667 | 28.7 | 67.6
106528 | 2021-04-23 15:21 | 18.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2581 | μmol/L | 29.6793 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.934 | 90052.5843 | 291435.4963 | 28.7 | 67.6
106538 | 2021-04-23 15:21 | 19.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2754 | μmol/L | 29.6793 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.933 | 90058.5338 | 291434.9879 | 28.7 | 67.6
106548 | 2021-04-23 15:22 | 19.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2763 | μmol/L | 29.6732 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.935 | 90074.9397 | 291438.9539 | 28.7 | 67.6
106558 | 2021-04-23 15:22 | 19.9961 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.3324 | μmol/L | 29.6427 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.942 | 90102.5608 | 291428.9731 | 28.7 | 67.6
106568 | 2021-04-23 15:22 | 20.3296 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1028 | μmol/L | 29.6732 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.945 | 90140.2242 | 291436.337 | 28.7 | 67.6
106578 | 2021-04-23 15:23 | 20.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.0178 | μmol/L | 29.661 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.954 | 90158.1698 | 291438.4503 | 28.7 | 67.6
106588 | 2021-04-23 15:23 | 20.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.6822 | μmol/L | 29.7098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.957 | 90172.1526 | 291422.9277 | 28.7 | 67.6
106598 | 2021-04-23 15:23 | 21.3295 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.6294 | μmol/L | 29.7159 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.958 | 90177.309 | 291442.8207 | 28.7 | 67.6
106608 | 2021-04-23 15:24 | 21.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.2053 | μmol/L | 29.783 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.96 | 90194.3632 | 291437.7028 | 28.7 | 67.6
106618 | 2021-04-23 15:24 | 21.9965 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.169 | μmol/L | 29.7952 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.958 | 90207.2867 | 291442.262 | 28.7 | 67.6
106628 | 2021-04-23 15:24 | 22.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.385 | μmol/L | 29.7342 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.966 | 90235.0264 | 291436.4738 | 28.7 | 67.6
106638 | 2021-04-23 15:25 | 22.6631 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.6156 | μmol/L | 29.6915 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.967 | 90242.262 | 291456.6555 | 28.7 | 67.6
106648 | 2021-04-23 15:25 | 22.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.12 | μmol/L | 29.7769 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.967 | 90258.3646 | 291432.7681 | 28.7 | 67.6
106658 | 2021-04-23 15:25 | 23.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.8933 | μmol/L | 29.7952 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.974 | 90282.6011 | 291438.1797 | 28.7 | 67.6
106668 | 2021-04-23 15:26 | 23.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.1072 | μmol/L | 29.7464 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.978 | 90292.2512 | 291437.8053 | 28.7 | 67.6
106678 | 2021-04-23 15:26 | 23.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.0401 | μmol/L | 29.7342 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.986 | 90310.8255 | 291427.1254 | 28.7 | 67.6
106688 | 2021-04-23 15:26 | 24.3297 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.9159 | μmol/L | 29.7586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.985 | 90340.2941 | 291415.9402 | 28.7 | 67.6
106698 | 2021-04-23 15:27 | 24.6629 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.8643 | μmol/L | 29.7586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.988 | 90355.3572 | 291430.1234 | 28.7 | 67.6