## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 15:28

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
105959 | 2021-04-23 15:02 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 231.1129 | μmol/L | 28.6379 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 19.959 | 119762.427 | 268029.7164 | 36.4 | 83.1
105969 | 2021-04-23 15:02 | 0.34115 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 226.7503 | μmol/L | 28.8959 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.084 | 120821.7857 | 268018.528 | 36.4 | 83.1
105979 | 2021-04-23 15:03 | 0.67419 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 224.0409 | μmol/L | 28.9635 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.195 | 121594.3053 | 268014.2269 | 36.4 | 83.1
105989 | 2021-04-23 15:03 | 1.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.0495 | μmol/L | 29.0126 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.278 | 122203.6705 | 267998.8956 | 36.4 | 83.1
105999 | 2021-04-23 15:03 | 1.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.3942 | μmol/L | 29.0618 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.345 | 122667.2288 | 267989.8537 | 36.4 | 83.1
106009 | 2021-04-23 15:04 | 1.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.6031 | μmol/L | 29.0802 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.379 | 122895.7715 | 267992.6748 | 36.4 | 83.1
106019 | 2021-04-23 15:04 | 2.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.2178 | μmol/L | 29.0556 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.407 | 123074.2135 | 268002.7494 | 36.4 | 83.1
106029 | 2021-04-23 15:04 | 2.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.036 | μmol/L | 29.0986 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.453 | 123408.795 | 267982.5321 | 36.4 | 83.1
106039 | 2021-04-23 15:05 | 2.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.3588 | μmol/L | 29.0925 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.49 | 123637.8254 | 267985.9013 | 36.4 | 83.1
106049 | 2021-04-23 15:05 | 3.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.0652 | μmol/L | 29.1048 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.501 | 123746.9322 | 267988.6053 | 36.4 | 83.1
106059 | 2021-04-23 15:05 | 3.3411 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.851 | μmol/L | 29.1109 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.51 | 123799.8697 | 267983.4296 | 36.4 | 83.1
106069 | 2021-04-23 15:06 | 3.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3795 | μmol/L | 29.1416 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.524 | 123913.6209 | 267979.759 | 36.4 | 83.1
106079 | 2021-04-23 15:06 | 4.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1084 | μmol/L | 29.1478 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.536 | 123977.5926 | 267978.7084 | 36.4 | 83.1
106089 | 2021-04-23 15:06 | 4.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0141 | μmol/L | 29.1416 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.543 | 124049.7841 | 267974.4935 | 36.4 | 83.1
106099 | 2021-04-23 15:07 | 4.6747 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.8623 | μmol/L | 29.1355 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.553 | 124115.1409 | 267977.0464 | 36.4 | 83.1
106109 | 2021-04-23 15:07 | 5.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.395 | μmol/L | 29.1601 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.569 | 124251.533 | 267983.1958 | 36.4 | 83.1
106119 | 2021-04-23 15:07 | 5.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.776 | μmol/L | 29.1846 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.593 | 124384.226 | 267969.5486 | 36.4 | 83.1
106129 | 2021-04-23 15:08 | 5.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.7114 | μmol/L | 29.2092 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.588 | 124374.624 | 267969.1653 | 36.4 | 83.1
106139 | 2021-04-23 15:08 | 6.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.7249 | μmol/L | 29.2276 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.581 | 124295.5717 | 267969.4236 | 36.4 | 83.1
106149 | 2021-04-23 15:08 | 6.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.0094 | μmol/L | 29.2338 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.564 | 124221.9935 | 267973.8944 | 36.4 | 83.1
106159 | 2021-04-23 15:09 | 6.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.9866 | μmol/L | 29.2461 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.561 | 124180.3688 | 267959.4523 | 36.4 | 83.1
106169 | 2021-04-23 15:09 | 7.0076 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.9582 | μmol/L | 29.2768 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.552 | 124151.1936 | 267962.9225 | 36.4 | 83.1
106179 | 2021-04-23 15:09 | 7.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.899 | μmol/L | 29.2829 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.553 | 124156.8034 | 267962.1812 | 36.4 | 83.1
106189 | 2021-04-23 15:10 | 7.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.647 | μmol/L | 29.2952 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.562 | 124175.2214 | 267963.4124 | 36.4 | 83.1
106199 | 2021-04-23 15:10 | 8.0075 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.9778 | μmol/L | 29.3382 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.53 | 124000.6008 | 267973.9666 | 36.4 | 83.1
106209 | 2021-04-23 15:10 | 8.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.0142 | μmol/L | 29.3444 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.526 | 123965.7357 | 267958.7716 | 36.4 | 83.1
106219 | 2021-04-23 15:11 | 8.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.8248 | μmol/L | 29.3382 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.538 | 124048.8415 | 267948.1717 | 36.4 | 83.1
106229 | 2021-04-23 15:11 | 9.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.125 | μmol/L | 29.3812 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.56 | 124196.6471 | 267951.913 | 36.4 | 83.1
106239 | 2021-04-23 15:11 | 9.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.7559 | μmol/L | 29.4058 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.571 | 124272.4646 | 267952.8048 | 36.4 | 83.1
106249 | 2021-04-23 15:12 | 9.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.4916 | μmol/L | 29.4611 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.566 | 124283.3303 | 267940.6637 | 36.4 | 83.1
106259 | 2021-04-23 15:12 | 10.008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.249 | μmol/L | 29.4488 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.583 | 124379.5111 | 267941.7059 | 36.4 | 83.1
106269 | 2021-04-23 15:12 | 10.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.0987 | μmol/L | 29.5041 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.572 | 124286.6897 | 267937.9969 | 36.4 | 83.1
106279 | 2021-04-23 15:13 | 10.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.034 | μmol/L | 29.5287 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.567 | 124283.8688 | 267926.9058 | 36.4 | 83.1
106289 | 2021-04-23 15:13 | 11.0074 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.1725 | μmol/L | 29.5103 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.566 | 124286.0191 | 267934.3688 | 36.4 | 83.1
106299 | 2021-04-23 15:13 | 11.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.2385 | μmol/L | 29.541 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.552 | 124185.9905 | 267911.009 | 36.4 | 83.1
106309 | 2021-04-23 15:14 | 11.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.9932 | μmol/L | 29.498 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.527 | 124028.0034 | 267917.8509 | 36.4 | 83.1
106319 | 2021-04-23 15:14 | 12.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.7222 | μmol/L | 29.4857 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.493 | 123796.3312 | 267924.1509 | 36.4 | 83.1
106329 | 2021-04-23 15:14 | 12.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.8237 | μmol/L | 29.5287 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.473 | 123678.7921 | 267911.931 | 36.4 | 83.1
106339 | 2021-04-23 15:15 | 12.6741 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.117 | μmol/L | 29.5717 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.443 | 123506.5203 | 267901.7984 | 36.4 | 83.1
106349 | 2021-04-23 15:15 | 13.0072 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.8543 | μmol/L | 29.5533 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.463 | 123606.9618 | 267908.5981 | 36.4 | 83.1
106359 | 2021-04-23 15:15 | 13.3412 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.9674 | μmol/L | 29.5594 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.455 | 123576.1652 | 267896.8752 | 36.4 | 83.1
106369 | 2021-04-23 15:16 | 13.6743 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.6668 | μmol/L | 29.6024 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.456 | 123606.1491 | 267896.6539 | 36.4 | 83.1
106379 | 2021-04-23 15:16 | 14.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.4564 | μmol/L | 29.6024 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.467 | 123685.4431 | 267905.7191 | 36.4 | 83.1
106389 | 2021-04-23 15:16 | 14.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.3226 | μmol/L | 29.6024 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.474 | 123723.8794 | 267891.7258 | 36.4 | 83.1
106399 | 2021-04-23 15:17 | 14.6742 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.5328 | μmol/L | 29.6885 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.486 | 123800.4444 | 267888.0597 | 36.4 | 83.1
106409 | 2021-04-23 15:17 | 15.0073 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.6509 | μmol/L | 29.6762 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.484 | 123784.7863 | 267873.1766 | 36.4 | 83.1
106419 | 2021-04-23 15:17 | 15.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.7599 | μmol/L | 29.6332 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.493 | 123839.9731 | 267874.0561 | 36.4 | 83.1
106429 | 2021-04-23 15:18 | 15.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.0999 | μmol/L | 29.6762 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.513 | 123977.2531 | 267877.047 | 36.4 | 83.1
106439 | 2021-04-23 15:18 | 16.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.7777 | μmol/L | 29.6762 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.53 | 124095.1501 | 267889.575 | 36.4 | 83.1
106449 | 2021-04-23 15:18 | 16.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.517 | μmol/L | 29.6639 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.548 | 124233.2123 | 267871.3729 | 36.4 | 83.1
106459 | 2021-04-23 15:19 | 16.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.173 | μmol/L | 29.6762 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.562 | 124308.1013 | 267874.8812 | 36.4 | 83.1
106469 | 2021-04-23 15:19 | 17.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.0914 | μmol/L | 29.6946 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.56 | 124338.2593 | 267885.2973 | 36.4 | 83.1
106479 | 2021-04-23 15:19 | 17.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.7544 | μmol/L | 29.6885 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.58 | 124424.6161 | 267871.8232 | 36.4 | 83.1
106489 | 2021-04-23 15:20 | 17.6744 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.268 | μmol/L | 29.6823 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.608 | 124606.504 | 267864.2307 | 36.4 | 83.1
106499 | 2021-04-23 15:20 | 18.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.7955 | μmol/L | 29.6946 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.629 | 124743.5141 | 267861.9543 | 36.4 | 83.1
106509 | 2021-04-23 15:20 | 18.3407 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.4569 | μmol/L | 29.7007 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.645 | 124844.8711 | 267864.7229 | 36.4 | 83.1
106519 | 2021-04-23 15:21 | 18.6746 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.3055 | μmol/L | 29.7069 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.651 | 124947.4241 | 267873.2237 | 36.4 | 83.1
106529 | 2021-04-23 15:21 | 19.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.3386 | μmol/L | 29.7192 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.645 | 124889.406 | 267865.5988 | 36.4 | 83.1
106539 | 2021-04-23 15:21 | 19.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.4879 | μmol/L | 29.7192 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.637 | 124835.9383 | 267861.6921 | 36.4 | 83.1
106549 | 2021-04-23 15:22 | 19.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.9586 | μmol/L | 29.7929 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.64 | 124866.2437 | 267867.3585 | 36.4 | 83.1
106559 | 2021-04-23 15:22 | 20.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.1995 | μmol/L | 29.7438 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.644 | 124867.5335 | 267863.4592 | 36.4 | 83.1
106569 | 2021-04-23 15:22 | 20.3406 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.6893 | μmol/L | 29.7315 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.622 | 124726.9233 | 267863.8706 | 36.4 | 83.1
106579 | 2021-04-23 15:23 | 20.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.552 | μmol/L | 29.7499 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.623 | 124746.1372 | 267863.3138 | 36.4 | 83.1
106589 | 2021-04-23 15:23 | 21.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.4629 | μmol/L | 29.7376 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.632 | 124818.5797 | 267876.1181 | 36.4 | 83.1
106599 | 2021-04-23 15:23 | 21.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.1514 | μmol/L | 29.7745 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.636 | 124833.6352 | 267874.9552 | 36.4 | 83.1
106609 | 2021-04-23 15:24 | 21.6739 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.0869 | μmol/L | 29.7991 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.631 | 124803.6198 | 267878.7977 | 36.4 | 83.1
106619 | 2021-04-23 15:24 | 22.0077 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.3668 | μmol/L | 29.7991 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.616 | 124716.0729 | 267879.4766 | 36.4 | 83.1
106629 | 2021-04-23 15:24 | 22.3408 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.3711 | μmol/L | 29.7868 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.62 | 124745.909 | 267872.6027 | 36.4 | 83.1
106639 | 2021-04-23 15:25 | 22.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.4106 | μmol/L | 29.7806 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.62 | 124759.3187 | 267866.6893 | 36.4 | 83.1
106649 | 2021-04-23 15:25 | 23.0079 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.4933 | μmol/L | 29.8114 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.605 | 124681.3773 | 267879.4156 | 36.4 | 83.1
106659 | 2021-04-23 15:25 | 23.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.1385 | μmol/L | 29.8114 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.624 | 124785.6035 | 267875.6482 | 36.4 | 83.1
106669 | 2021-04-23 15:26 | 23.6745 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.0726 | μmol/L | 29.7868 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.636 | 124849.5924 | 267863.6358 | 36.4 | 83.1
106679 | 2021-04-23 15:26 | 24.0078 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.7603 | μmol/L | 29.7745 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.657 | 125019.8825 | 267856.5382 | 36.4 | 83.1
106689 | 2021-04-23 15:26 | 24.341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.2588 | μmol/L | 29.7745 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.684 | 125184.6399 | 267857.5027 | 36.4 | 83.1
106699 | 2021-04-23 15:27 | 24.674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.2468 | μmol/L | 29.756 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.691 | 125239.5948 | 267853.7294 | 36.4 | 83.1