## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 15:28

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
105960 | 2021-04-23 15:02 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.97 | μmol/L | 29.0332 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 20.884 | 95029.6032 | 293901.2675 | 30.45 | 114.2
105970 | 2021-04-23 15:02 | 0.32978 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.96 | μmol/L | 29.0332 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 20.941 | 95322.3402 | 293902.7665 | 30.45 | 114.2
105980 | 2021-04-23 15:03 | 0.66284 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.1439 | μmol/L | 29.0702 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 20.975 | 95505.8504 | 293881.4273 | 30.45 | 114.2
105990 | 2021-04-23 15:03 | 0.99601 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4521 | μmol/L | 29.1195 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 20.998 | 95633.8984 | 293881.1565 | 30.45 | 114.2
106000 | 2021-04-23 15:03 | 1.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.592 | μmol/L | 29.0085 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.027 | 95755.0325 | 293865.0509 | 30.45 | 114.2
106010 | 2021-04-23 15:04 | 1.6623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.2607 | μmol/L | 29.0024 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.048 | 95886.4061 | 293863.5876 | 30.45 | 114.2
106020 | 2021-04-23 15:04 | 1.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4491 | μmol/L | 29.064 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.074 | 95987.7268 | 293879.7414 | 30.45 | 114.2
106030 | 2021-04-23 15:04 | 2.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.1344 | μmol/L | 29.0763 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.088 | 96077.0937 | 293861.6131 | 30.45 | 114.2
106040 | 2021-04-23 15:05 | 2.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9069 | μmol/L | 29.0886 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.097 | 96158.4756 | 293861.5244 | 30.45 | 114.2
106050 | 2021-04-23 15:05 | 2.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5402 | μmol/L | 29.1071 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.112 | 96236.7022 | 293856.9504 | 30.45 | 114.2
106060 | 2021-04-23 15:05 | 3.3291 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.156 | μmol/L | 29.1318 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.126 | 96299.1907 | 293862.158 | 30.45 | 114.2
106070 | 2021-04-23 15:06 | 3.6623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.4936 | μmol/L | 29.0763 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.125 | 96293.5479 | 293856.2592 | 30.45 | 114.2
106080 | 2021-04-23 15:06 | 3.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.2638 | μmol/L | 29.1071 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.128 | 96332.3261 | 293849.7575 | 30.45 | 114.2
106090 | 2021-04-23 15:06 | 4.3292 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.1021 | μmol/L | 29.1441 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.125 | 96339.422 | 293855.1762 | 30.45 | 114.2
106100 | 2021-04-23 15:07 | 4.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.962 | μmol/L | 29.1564 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.129 | 96363.1398 | 293831.7065 | 30.45 | 114.2
106110 | 2021-04-23 15:07 | 4.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4325 | μmol/L | 29.2304 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.135 | 96402.4451 | 293844.377 | 30.45 | 114.2
106120 | 2021-04-23 15:07 | 5.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5561 | μmol/L | 29.2119 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.134 | 96419.9101 | 293846.036 | 30.45 | 114.2
106130 | 2021-04-23 15:08 | 5.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7337 | μmol/L | 29.1811 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.134 | 96408.9675 | 293832.186 | 30.45 | 114.2
106140 | 2021-04-23 15:08 | 5.9957 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5195 | μmol/L | 29.2242 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.132 | 96408.8966 | 293835.5349 | 30.45 | 114.2
106150 | 2021-04-23 15:08 | 6.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5678 | μmol/L | 29.2427 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.123 | 96374.5201 | 293826.9454 | 30.45 | 114.2
106160 | 2021-04-23 15:09 | 6.6624 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4485 | μmol/L | 29.2365 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.132 | 96434.7362 | 293834.9095 | 30.45 | 114.2
106170 | 2021-04-23 15:09 | 6.9964 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1166 | μmol/L | 29.2674 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.141 | 96483.6947 | 293823.8664 | 30.45 | 114.2
106180 | 2021-04-23 15:09 | 7.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.8663 | μmol/L | 29.3228 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.137 | 96472.0647 | 293823.6161 | 30.45 | 114.2
106190 | 2021-04-23 15:10 | 7.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.7429 | μmol/L | 29.3413 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.138 | 96469.8124 | 293816.2621 | 30.45 | 114.2
106200 | 2021-04-23 15:10 | 7.9958 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.7075 | μmol/L | 29.3475 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.138 | 96458.9006 | 293815.1324 | 30.45 | 114.2
106210 | 2021-04-23 15:10 | 8.3298 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3802 | μmol/L | 29.3598 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.153 | 96572.7758 | 293818.5136 | 30.45 | 114.2
106220 | 2021-04-23 15:11 | 8.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.8941 | μmol/L | 29.4029 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.167 | 96618.0375 | 293812.5007 | 30.45 | 114.2
106230 | 2021-04-23 15:11 | 8.9958 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.8259 | μmol/L | 29.4029 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.171 | 96646.8149 | 293814.6444 | 30.45 | 114.2
106240 | 2021-04-23 15:11 | 9.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.9087 | μmol/L | 29.4153 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.162 | 96615.0278 | 293807.2173 | 30.45 | 114.2
106250 | 2021-04-23 15:12 | 9.6628 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.8283 | μmol/L | 29.3906 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.175 | 96671.1751 | 293809.7713 | 30.45 | 114.2
106260 | 2021-04-23 15:12 | 9.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.6727 | μmol/L | 29.4029 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.18 | 96676.6428 | 293803.208 | 30.45 | 114.2
106270 | 2021-04-23 15:12 | 10.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2902 | μmol/L | 29.4461 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.188 | 96737.7062 | 293804.7617 | 30.45 | 114.2
106280 | 2021-04-23 15:13 | 10.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2708 | μmol/L | 29.4584 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.185 | 96710.5626 | 293802.7102 | 30.45 | 114.2
106290 | 2021-04-23 15:13 | 10.9957 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.2708 | μmol/L | 29.4584 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.185 | 96733.3233 | 293795.9589 | 30.45 | 114.2
106300 | 2021-04-23 15:13 | 11.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.0609 | μmol/L | 29.4892 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.187 | 96743.2661 | 293796.0679 | 30.45 | 114.2
106310 | 2021-04-23 15:14 | 11.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.7091 | μmol/L | 29.4707 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.214 | 96871.8506 | 293797.0871 | 30.45 | 114.2
106320 | 2021-04-23 15:14 | 11.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.196 | μmol/L | 29.5015 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.234 | 96954.2839 | 293787.263 | 30.45 | 114.2
106330 | 2021-04-23 15:14 | 12.3292 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.2751 | μmol/L | 29.5262 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.221 | 96923.2838 | 293776.7151 | 30.45 | 114.2
106340 | 2021-04-23 15:15 | 12.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.2051 | μmol/L | 29.5385 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.221 | 96921.3105 | 293778.8306 | 30.45 | 114.2
106350 | 2021-04-23 15:15 | 12.996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.0352 | μmol/L | 29.5447 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.229 | 96965.3331 | 293770.96 | 30.45 | 114.2
106360 | 2021-04-23 15:15 | 13.3291 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.9665 | μmol/L | 29.5508 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.231 | 96957.8828 | 293762.597 | 30.45 | 114.2
106370 | 2021-04-23 15:16 | 13.663 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.7424 | μmol/L | 29.5755 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.236 | 97014.1841 | 293764.9119 | 30.45 | 114.2
106380 | 2021-04-23 15:16 | 13.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4681 | μmol/L | 29.6001 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.244 | 97068.3977 | 293759.96 | 30.45 | 114.2
106390 | 2021-04-23 15:16 | 14.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.0823 | μmol/L | 29.6001 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.267 | 97173.2636 | 293758.475 | 30.45 | 114.2
106400 | 2021-04-23 15:17 | 14.6627 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.7101 | μmol/L | 29.6186 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.283 | 97257.5966 | 293746.5099 | 30.45 | 114.2
106410 | 2021-04-23 15:17 | 14.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.7074 | μmol/L | 29.631 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.279 | 97245.2578 | 293747.9299 | 30.45 | 114.2
106420 | 2021-04-23 15:17 | 15.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.7589 | μmol/L | 29.6248 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.278 | 97268.4382 | 293747.7872 | 30.45 | 114.2
106430 | 2021-04-23 15:18 | 15.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3068 | μmol/L | 29.631 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.303 | 97344.1577 | 293727.6316 | 30.45 | 114.2
106440 | 2021-04-23 15:18 | 15.9961 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.254 | μmol/L | 29.6433 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.302 | 97378.571 | 293738.5176 | 30.45 | 114.2
106450 | 2021-04-23 15:18 | 16.3293 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.1887 | μmol/L | 29.6371 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.308 | 97411.5867 | 293740.6106 | 30.45 | 114.2
106460 | 2021-04-23 15:19 | 16.6625 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.9681 | μmol/L | 29.6556 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.315 | 97453.8329 | 293730.4856 | 30.45 | 114.2
106470 | 2021-04-23 15:19 | 16.996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.9723 | μmol/L | 29.6371 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.321 | 97481.5492 | 293731.1941 | 30.45 | 114.2
106480 | 2021-04-23 15:19 | 17.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.9766 | μmol/L | 29.6186 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.327 | 97516.2365 | 293724.1257 | 30.45 | 114.2
106490 | 2021-04-23 15:20 | 17.6629 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.6177 | μmol/L | 29.6618 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.334 | 97569.4371 | 293736.5812 | 30.45 | 114.2
106500 | 2021-04-23 15:20 | 17.9962 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.2624 | μmol/L | 29.6926 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.345 | 97612.7041 | 293723.2273 | 30.45 | 114.2
106510 | 2021-04-23 15:20 | 18.3292 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.9602 | μmol/L | 29.7111 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.357 | 97693.3988 | 293724.5471 | 30.45 | 114.2
106520 | 2021-04-23 15:21 | 18.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.9164 | μmol/L | 29.6864 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.368 | 97718.3195 | 293716.9206 | 30.45 | 114.2
106530 | 2021-04-23 15:21 | 18.9965 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.8246 | μmol/L | 29.6556 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.384 | 97818.7806 | 293712.9735 | 30.45 | 114.2
106540 | 2021-04-23 15:21 | 19.3294 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.4051 | μmol/L | 29.6864 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.399 | 97895.6618 | 293715.5219 | 30.45 | 114.2
106550 | 2021-04-23 15:22 | 19.6623 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.3527 | μmol/L | 29.6988 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.398 | 97914.4782 | 293721.8921 | 30.45 | 114.2
106560 | 2021-04-23 15:22 | 19.996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9522 | μmol/L | 29.7234 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.414 | 98000.2262 | 293699.526 | 30.45 | 114.2
106570 | 2021-04-23 15:22 | 20.3296 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.6702 | μmol/L | 29.7357 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.427 | 98062.1539 | 293710.1821 | 30.45 | 114.2
106580 | 2021-04-23 15:23 | 20.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.621 | μmol/L | 29.7357 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.43 | 98096.54 | 293705.01 | 30.45 | 114.2
106590 | 2021-04-23 15:23 | 20.9957 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.3458 | μmol/L | 29.7234 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.451 | 98184.8355 | 293715.8199 | 30.45 | 114.2
106600 | 2021-04-23 15:23 | 21.3297 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.1155 | μmol/L | 29.7296 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.463 | 98242.5802 | 293704.4635 | 30.45 | 114.2
106610 | 2021-04-23 15:24 | 21.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.8529 | μmol/L | 29.7357 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.477 | 98301.9094 | 293712.638 | 30.45 | 114.2
106620 | 2021-04-23 15:24 | 21.9963 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.9289 | μmol/L | 29.6926 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.487 | 98356.1204 | 293716.1914 | 30.45 | 114.2
106630 | 2021-04-23 15:24 | 22.3295 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.88 | μmol/L | 29.6926 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.49 | 98414.1721 | 293712.5888 | 30.45 | 114.2
106640 | 2021-04-23 15:25 | 22.6625 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.3421 | μmol/L | 29.7604 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.5 | 98468.3412 | 293703.5149 | 30.45 | 114.2
106650 | 2021-04-23 15:25 | 22.9959 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.3437 | μmol/L | 29.7542 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.502 | 98472.6214 | 293715.0057 | 30.45 | 114.2
106660 | 2021-04-23 15:25 | 23.329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.3809 | μmol/L | 29.7357 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.506 | 98491.3483 | 293706.994 | 30.45 | 114.2
106670 | 2021-04-23 15:26 | 23.6631 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.2153 | μmol/L | 29.7481 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.512 | 98501.777 | 293711.711 | 30.45 | 114.2
106680 | 2021-04-23 15:26 | 23.996 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4868 | μmol/L | 29.7666 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.489 | 98404.0575 | 293710.7974 | 30.45 | 114.2
106690 | 2021-04-23 15:26 | 24.329 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.1781 | μmol/L | 29.7666 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.508 | 98465.3257 | 293705.3982 | 30.45 | 114.2
106700 | 2021-04-23 15:27 | 24.6626 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.3059 | μmol/L | 29.7111 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.519 | 98537.5894 | 293722.1481 | 30.45 | 114.2