## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 15:28

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
105961 | 2021-04-23 15:02 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 207.43 | μmol/L | 29.0402 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.457 | 122734.0773 | 291216.813 | 59.9307 | 49.4
105971 | 2021-04-23 15:02 | 0.33614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.7321 | μmol/L | 29.1021 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.474 | 122797.7206 | 291197.9767 | 59.9307 | 49.4
105981 | 2021-04-23 15:03 | 0.66951 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.4149 | μmol/L | 29.1083 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.489 | 122794.1396 | 291186.2324 | 59.9307 | 49.4
105991 | 2021-04-23 15:03 | 1.0029 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.0224 | μmol/L | 29.1268 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.504 | 122861.7555 | 291191.2605 | 59.9307 | 49.4
106001 | 2021-04-23 15:03 | 1.336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.837 | μmol/L | 29.1268 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.514 | 122969.5311 | 291191.8389 | 59.9307 | 49.4
106011 | 2021-04-23 15:04 | 1.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.6509 | μmol/L | 29.133 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.522 | 122945.2093 | 291182.8247 | 59.9307 | 49.4
106021 | 2021-04-23 15:04 | 2.0028 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.3509 | μmol/L | 29.164 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.528 | 123003.0312 | 291202.6045 | 59.9307 | 49.4
106031 | 2021-04-23 15:04 | 2.336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.3734 | μmol/L | 29.133 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.537 | 123083.738 | 291180.6029 | 59.9307 | 49.4
106041 | 2021-04-23 15:05 | 2.6698 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.4289 | μmol/L | 29.133 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.534 | 123404.3569 | 291184.7641 | 59.9307 | 49.4
106051 | 2021-04-23 15:05 | 3.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.8877 | μmol/L | 29.1763 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.549 | 123477.0938 | 291164.8398 | 59.9307 | 49.4
106061 | 2021-04-23 15:05 | 3.3366 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.7939 | μmol/L | 29.1887 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.55 | 123531.6181 | 291174.6088 | 59.9307 | 49.4
106071 | 2021-04-23 15:06 | 3.6697 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.5888 | μmol/L | 29.2073 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.555 | 123971.6701 | 291156.7413 | 59.9307 | 49.4
106081 | 2021-04-23 15:06 | 4.003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.327 | μmol/L | 29.2382 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.559 | 124047.425 | 291154.9872 | 59.9307 | 49.4
106091 | 2021-04-23 15:06 | 4.3364 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.3095 | μmol/L | 29.2321 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.562 | 124152.0262 | 291151.2408 | 59.9307 | 49.4
106101 | 2021-04-23 15:07 | 4.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.0672 | μmol/L | 29.2568 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.567 | 124402.8154 | 291145.8908 | 59.9307 | 49.4
106111 | 2021-04-23 15:07 | 5.003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.083 | μmol/L | 29.2754 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.56 | 124577.8463 | 291152.3518 | 59.9307 | 49.4
106121 | 2021-04-23 15:07 | 5.3361 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.083 | μmol/L | 29.2754 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.56 | 124616.1429 | 291157.6145 | 59.9307 | 49.4
106131 | 2021-04-23 15:08 | 5.67 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.9326 | μmol/L | 29.3001 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.56 | 124614.8917 | 291147.0513 | 59.9307 | 49.4
106141 | 2021-04-23 15:08 | 6.0032 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.7492 | μmol/L | 29.3001 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.57 | 124668.2716 | 291142.889 | 59.9307 | 49.4
106151 | 2021-04-23 15:08 | 6.3364 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.7859 | μmol/L | 29.3001 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.568 | 124669.6971 | 291119.659 | 59.9307 | 49.4
106161 | 2021-04-23 15:09 | 6.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.7676 | μmol/L | 29.3001 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.569 | 124666.1525 | 291138.1009 | 59.9307 | 49.4
106171 | 2021-04-23 15:09 | 7.0032 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.3767 | μmol/L | 29.3435 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.576 | 124678.8986 | 291137.5653 | 59.9307 | 49.4
106181 | 2021-04-23 15:09 | 7.3363 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.4307 | μmol/L | 29.3497 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.571 | 124641.9518 | 291120.298 | 59.9307 | 49.4
106191 | 2021-04-23 15:10 | 7.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.3566 | μmol/L | 29.3559 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.573 | 124644.9128 | 291130.413 | 59.9307 | 49.4
106201 | 2021-04-23 15:10 | 8.0033 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.3373 | μmol/L | 29.3621 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.572 | 124665.6908 | 291138.3717 | 59.9307 | 49.4
106211 | 2021-04-23 15:10 | 8.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.9452 | μmol/L | 29.4178 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.575 | 124680.6244 | 291123.3052 | 59.9307 | 49.4
106221 | 2021-04-23 15:11 | 8.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.7762 | μmol/L | 29.4487 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.574 | 124727.5373 | 291119.1633 | 59.9307 | 49.4
106231 | 2021-04-23 15:11 | 9.0033 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.1316 | μmol/L | 29.393 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.573 | 124790.922 | 291129.7988 | 59.9307 | 49.4
106241 | 2021-04-23 15:11 | 9.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.7752 | μmol/L | 29.4549 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.572 | 124903.3456 | 291111.0227 | 59.9307 | 49.4
106251 | 2021-04-23 15:12 | 9.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.4069 | μmol/L | 29.4797 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.584 | 124965.427 | 291114.1053 | 59.9307 | 49.4
106261 | 2021-04-23 15:12 | 10.0033 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.314 | μmol/L | 29.4921 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.585 | 125309.5483 | 291119.5893 | 59.9307 | 49.4
106271 | 2021-04-23 15:12 | 10.3366 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.2968 | μmol/L | 29.4859 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.588 | 125414.1486 | 291111.121 | 59.9307 | 49.4
106281 | 2021-04-23 15:13 | 10.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.1291 | μmol/L | 29.5106 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.589 | 125421.6502 | 291087.5263 | 59.9307 | 49.4
106291 | 2021-04-23 15:13 | 11.0031 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.9414 | μmol/L | 29.5478 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.587 | 125395.5405 | 291098.9548 | 59.9307 | 49.4
106301 | 2021-04-23 15:13 | 11.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.7578 | μmol/L | 29.5601 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.593 | 125240.798 | 291103.3193 | 59.9307 | 49.4
106311 | 2021-04-23 15:14 | 11.6697 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.3924 | μmol/L | 29.5787 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.607 | 125491.9704 | 291095.0463 | 59.9307 | 49.4
106321 | 2021-04-23 15:14 | 12.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.3764 | μmol/L | 29.5663 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.612 | 125595.5377 | 291078.0042 | 59.9307 | 49.4
106331 | 2021-04-23 15:14 | 12.3364 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.4199 | μmol/L | 29.523 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.624 | 125452.3617 | 291094.4599 | 59.9307 | 49.4
106341 | 2021-04-23 15:15 | 12.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.1796 | μmol/L | 29.554 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.627 | 125243.2271 | 291091.5485 | 59.9307 | 49.4
106351 | 2021-04-23 15:15 | 13.0033 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.864 | μmol/L | 29.6035 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.628 | 124850.5548 | 291075.1724 | 59.9307 | 49.4
106361 | 2021-04-23 15:15 | 13.3361 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.6084 | μmol/L | 29.6221 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.636 | 125285.2194 | 291076.1306 | 59.9307 | 49.4
106371 | 2021-04-23 15:16 | 13.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.1148 | μmol/L | 29.6654 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.649 | 125176.9968 | 291068.2445 | 59.9307 | 49.4
106381 | 2021-04-23 15:16 | 14.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.135 | μmol/L | 29.653 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.652 | 125199.6575 | 291078.4698 | 59.9307 | 49.4
106391 | 2021-04-23 15:16 | 14.3367 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.0666 | μmol/L | 29.6344 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.662 | 124947.5802 | 291079.3577 | 59.9307 | 49.4
106401 | 2021-04-23 15:17 | 14.6698 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.9465 | μmol/L | 29.6035 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.679 | 125623.8246 | 291081.1305 | 59.9307 | 49.4
106411 | 2021-04-23 15:17 | 15.0029 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.7056 | μmol/L | 29.6468 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.678 | 125298.205 | 291066.661 | 59.9307 | 49.4
106421 | 2021-04-23 15:17 | 15.3361 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.4359 | μmol/L | 29.653 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.691 | 125224.3992 | 291072.0417 | 59.9307 | 49.4
106431 | 2021-04-23 15:18 | 15.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.1464 | μmol/L | 29.6716 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.701 | 125045.6379 | 291056.3625 | 59.9307 | 49.4
106441 | 2021-04-23 15:18 | 16.003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.589 | μmol/L | 29.6963 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.724 | 125232.1582 | 291052.2456 | 59.9307 | 49.4
106451 | 2021-04-23 15:18 | 16.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.1919 | μmol/L | 29.7273 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.736 | 125750.8535 | 291058.8822 | 59.9307 | 49.4
106461 | 2021-04-23 15:19 | 16.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2641 | μmol/L | 29.7211 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.734 | 124544.9306 | 291053.0412 | 59.9307 | 49.4
106471 | 2021-04-23 15:19 | 17.0034 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.0131 | μmol/L | 29.7335 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.744 | 124134.8092 | 291052.209 | 59.9307 | 49.4
106481 | 2021-04-23 15:19 | 17.3365 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.1116 | μmol/L | 29.684 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.755 | 124127.5301 | 291054.7572 | 59.9307 | 49.4
106491 | 2021-04-23 15:20 | 17.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6967 | μmol/L | 29.7211 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.766 | 124274.4651 | 291055.1345 | 59.9307 | 49.4
106501 | 2021-04-23 15:20 | 18.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.3721 | μmol/L | 29.7521 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.774 | 125321.0675 | 291027.2258 | 59.9307 | 49.4
106511 | 2021-04-23 15:20 | 18.3365 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.1778 | μmol/L | 29.7521 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.785 | 125249.0301 | 291046.582 | 59.9307 | 49.4
106521 | 2021-04-23 15:21 | 18.6697 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.8352 | μmol/L | 29.7892 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.792 | 124425.7028 | 291046.5591 | 59.9307 | 49.4
106531 | 2021-04-23 15:21 | 19.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.3577 | μmol/L | 29.8016 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.815 | 124646.3479 | 291038.8795 | 59.9307 | 49.4
106541 | 2021-04-23 15:21 | 19.3364 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.8304 | μmol/L | 29.8078 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.843 | 126457.5139 | 291033.7952 | 59.9307 | 49.4
106551 | 2021-04-23 15:22 | 19.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.7645 | μmol/L | 29.7892 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.853 | 126894.0916 | 291050.3266 | 59.9307 | 49.4
106561 | 2021-04-23 15:22 | 20.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.9636 | μmol/L | 29.7583 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.852 | 125555.9765 | 291040.2347 | 59.9307 | 49.4
106571 | 2021-04-23 15:22 | 20.336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.5372 | μmol/L | 29.7892 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.866 | 125359.3508 | 291033.5508 | 59.9307 | 49.4
106581 | 2021-04-23 15:23 | 20.67 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.2002 | μmol/L | 29.814 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.877 | 125120.7531 | 291031.5116 | 59.9307 | 49.4
106591 | 2021-04-23 15:23 | 21.0031 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.7797 | μmol/L | 29.8264 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.897 | 126377.9669 | 291029.2463 | 59.9307 | 49.4
106601 | 2021-04-23 15:23 | 21.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.8609 | μmol/L | 29.8264 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.95 | 127825.4989 | 291052.1617 | 59.9307 | 49.4
106611 | 2021-04-23 15:24 | 21.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.8552 | μmol/L | 29.8511 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.942 | 127467.3133 | 291023.5283 | 59.9307 | 49.4
106621 | 2021-04-23 15:24 | 22.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.6781 | μmol/L | 29.8697 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.946 | 126761.7364 | 291062.7452 | 59.9307 | 49.4
106631 | 2021-04-23 15:24 | 22.3366 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.7198 | μmol/L | 29.8387 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.954 | 126718.3575 | 291043.1503 | 59.9307 | 49.4
106641 | 2021-04-23 15:25 | 22.6698 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.4523 | μmol/L | 29.8759 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.957 | 126495.0215 | 291042.9342 | 59.9307 | 49.4
106651 | 2021-04-23 15:25 | 23.0029 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.5113 | μmol/L | 29.8449 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.964 | 125889.7557 | 291030.6947 | 59.9307 | 49.4
106661 | 2021-04-23 15:25 | 23.3361 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.4782 | μmol/L | 29.8387 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.968 | 125509.8594 | 291021.5507 | 59.9307 | 49.4
106671 | 2021-04-23 15:26 | 23.6696 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.2857 | μmol/L | 29.8511 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.975 | 125613.336 | 291010.73 | 59.9307 | 49.4
106681 | 2021-04-23 15:26 | 24.0028 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.4337 | μmol/L | 29.8078 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.981 | 125636.6932 | 291038.0324 | 59.9307 | 49.4
106691 | 2021-04-23 15:26 | 24.3366 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.7813 | μmol/L | 29.7211 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.99 | 125851.7388 | 291024.0814 | 59.9307 | 49.4
106701 | 2021-04-23 15:27 | 24.6698 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.8602 | μmol/L | 29.8325 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.006 | 125860.1847 | 291030.22 | 59.9307 | 49.4