## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 15:28

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
105962 | 2021-04-23 15:02 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 199.0819 | μmol/L | 29.2436 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.522 | 134475.3533 | 302654.7251 | 33.25 | 68.6
105972 | 2021-04-23 15:02 | 0.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.4704 | μmol/L | 29.2619 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.551 | 134684.8519 | 302671.0554 | 33.25 | 68.6
105982 | 2021-04-23 15:03 | 0.65936 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.1434 | μmol/L | 29.2619 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.57 | 134830.5138 | 302670.8624 | 33.25 | 68.6
105992 | 2021-04-23 15:03 | 0.99272 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.6331 | μmol/L | 29.2924 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.589 | 134959.0116 | 302656.5672 | 33.25 | 68.6
106002 | 2021-04-23 15:03 | 1.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.5746 | μmol/L | 29.268 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.601 | 135055.8952 | 302643.5312 | 33.25 | 68.6
106012 | 2021-04-23 15:04 | 1.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.2515 | μmol/L | 29.3046 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.607 | 135082.3013 | 302634.3734 | 33.25 | 68.6
106022 | 2021-04-23 15:04 | 1.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.8681 | μmol/L | 29.3229 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.623 | 135163.9665 | 302623.2044 | 33.25 | 68.6
106032 | 2021-04-23 15:04 | 2.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.7241 | μmol/L | 29.3412 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.625 | 135197.2261 | 302643.1528 | 33.25 | 68.6
106042 | 2021-04-23 15:05 | 2.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.5903 | μmol/L | 29.3351 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.635 | 135255.088 | 302629.0665 | 33.25 | 68.6
106052 | 2021-04-23 15:05 | 2.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.4074 | μmol/L | 29.3656 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.635 | 135268.0357 | 302620.1763 | 33.25 | 68.6
106062 | 2021-04-23 15:05 | 3.3262 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.1004 | μmol/L | 29.4084 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.638 | 135308.2004 | 302619.5026 | 33.25 | 68.6
106072 | 2021-04-23 15:06 | 3.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2075 | μmol/L | 29.3962 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.636 | 135291.9516 | 302617.822 | 33.25 | 68.6
106082 | 2021-04-23 15:06 | 3.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2126 | μmol/L | 29.3839 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.64 | 135310.1755 | 302619.558 | 33.25 | 68.6
106092 | 2021-04-23 15:06 | 4.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.0665 | μmol/L | 29.4084 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.64 | 135332.9297 | 302609.6564 | 33.25 | 68.6
106102 | 2021-04-23 15:07 | 4.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.4068 | μmol/L | 29.445 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.666 | 135504.9504 | 302605.8606 | 33.25 | 68.6
106112 | 2021-04-23 15:07 | 4.9928 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3964 | μmol/L | 29.4694 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.658 | 135478.598 | 302601.8528 | 33.25 | 68.6
106122 | 2021-04-23 15:07 | 5.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8274 | μmol/L | 29.4572 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.696 | 135753.7493 | 302590.1814 | 33.25 | 68.6
106132 | 2021-04-23 15:08 | 5.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.7379 | μmol/L | 29.4694 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.697 | 135728.0954 | 302596.0415 | 33.25 | 68.6
106142 | 2021-04-23 15:08 | 5.9931 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5048 | μmol/L | 29.4633 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.713 | 135854.4276 | 302595.9893 | 33.25 | 68.6
106152 | 2021-04-23 15:08 | 6.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0469 | μmol/L | 29.5121 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.723 | 135933.4942 | 302593.7241 | 33.25 | 68.6
106162 | 2021-04-23 15:09 | 6.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.7539 | μmol/L | 29.5304 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.734 | 135968.2438 | 302580.35 | 33.25 | 68.6
106172 | 2021-04-23 15:09 | 6.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6154 | μmol/L | 29.5793 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.725 | 135951.9744 | 302585.0367 | 33.25 | 68.6
106182 | 2021-04-23 15:09 | 7.3257 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.7185 | μmol/L | 29.5732 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.721 | 135926.4533 | 302579.9272 | 33.25 | 68.6
106192 | 2021-04-23 15:10 | 7.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0142 | μmol/L | 29.5488 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.712 | 135889.4331 | 302585.4528 | 33.25 | 68.6
106202 | 2021-04-23 15:10 | 7.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.4233 | μmol/L | 29.5976 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.73 | 136002.5576 | 302573.0972 | 33.25 | 68.6
106212 | 2021-04-23 15:10 | 8.3257 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.226 | μmol/L | 29.6281 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.731 | 136029.5215 | 302592.6544 | 33.25 | 68.6
106222 | 2021-04-23 15:11 | 8.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2901 | μmol/L | 29.6342 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.725 | 135994.9463 | 302583.6907 | 33.25 | 68.6
106232 | 2021-04-23 15:11 | 8.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1516 | μmol/L | 29.6831 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.716 | 135938.0659 | 302596.2416 | 33.25 | 68.6
106242 | 2021-04-23 15:11 | 9.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.99 | μmol/L | 29.6708 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.73 | 136037.1029 | 302582.8167 | 33.25 | 68.6
106252 | 2021-04-23 15:12 | 9.659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1452 | μmol/L | 29.622 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.738 | 136063.036 | 302567.667 | 33.25 | 68.6
106262 | 2021-04-23 15:12 | 9.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.288 | μmol/L | 29.677 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.71 | 135931.0416 | 302570.6363 | 33.25 | 68.6
106272 | 2021-04-23 15:12 | 10.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2292 | μmol/L | 29.6586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.72 | 135965.0759 | 302555.9791 | 33.25 | 68.6
106282 | 2021-04-23 15:13 | 10.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8318 | μmol/L | 29.6892 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.733 | 136059.5943 | 302578.0238 | 33.25 | 68.6
106292 | 2021-04-23 15:13 | 10.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8236 | μmol/L | 29.7075 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.727 | 136067.8722 | 302551.9653 | 33.25 | 68.6
106302 | 2021-04-23 15:13 | 11.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6933 | μmol/L | 29.738 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.724 | 136071.5559 | 302565.375 | 33.25 | 68.6
106312 | 2021-04-23 15:14 | 11.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.9315 | μmol/L | 29.7685 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.759 | 136291.4985 | 302547.0051 | 33.25 | 68.6
106322 | 2021-04-23 15:14 | 11.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.8983 | μmol/L | 29.7319 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.774 | 136397.3555 | 302559.1631 | 33.25 | 68.6
106332 | 2021-04-23 15:14 | 12.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.5255 | μmol/L | 29.8235 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.764 | 136346.8755 | 302543.2947 | 33.25 | 68.6
106342 | 2021-04-23 15:15 | 12.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3822 | μmol/L | 29.8113 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.777 | 136397.9605 | 302538.695 | 33.25 | 68.6
106352 | 2021-04-23 15:15 | 12.9923 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1208 | μmol/L | 29.8052 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.795 | 136528.6358 | 302533.3871 | 33.25 | 68.6
106362 | 2021-04-23 15:15 | 13.326 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.5655 | μmol/L | 29.8662 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.807 | 136618.6315 | 302531.2178 | 33.25 | 68.6
106372 | 2021-04-23 15:16 | 13.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.6642 | μmol/L | 29.8662 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.801 | 136613.0469 | 302528.136 | 33.25 | 68.6
106382 | 2021-04-23 15:16 | 13.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.7333 | μmol/L | 29.8235 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.812 | 136686.3963 | 302531.2304 | 33.25 | 68.6
106392 | 2021-04-23 15:16 | 14.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.3603 | μmol/L | 29.8479 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.826 | 136773.4753 | 302525.0706 | 33.25 | 68.6
106402 | 2021-04-23 15:17 | 14.659 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.234 | μmol/L | 29.8723 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.825 | 136801.7726 | 302514.4186 | 33.25 | 68.6
106412 | 2021-04-23 15:17 | 14.9923 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0592 | μmol/L | 29.8601 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.84 | 136874.6446 | 302512.7039 | 33.25 | 68.6
106422 | 2021-04-23 15:17 | 15.3263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7666 | μmol/L | 29.8906 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.847 | 136926.1301 | 302506.796 | 33.25 | 68.6
106432 | 2021-04-23 15:18 | 15.6593 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4003 | μmol/L | 29.9395 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.852 | 136959.6886 | 302505.0819 | 33.25 | 68.6
106442 | 2021-04-23 15:18 | 15.9923 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.145 | μmol/L | 29.9272 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.872 | 137088.3173 | 302500.2702 | 33.25 | 68.6
106452 | 2021-04-23 15:18 | 16.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1153 | μmol/L | 29.9211 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.876 | 137155.0851 | 302502.0788 | 33.25 | 68.6
106462 | 2021-04-23 15:19 | 16.6592 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.0117 | μmol/L | 29.9334 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.878 | 137159.9007 | 302493.5469 | 33.25 | 68.6
106472 | 2021-04-23 15:19 | 16.9924 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6259 | μmol/L | 29.9578 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.893 | 137252.4554 | 302503.6943 | 33.25 | 68.6
106482 | 2021-04-23 15:19 | 17.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6834 | μmol/L | 29.9395 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.896 | 137278.9312 | 302493.276 | 33.25 | 68.6
106492 | 2021-04-23 15:20 | 17.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6892 | μmol/L | 29.9272 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.9 | 137314.3889 | 302503.2381 | 33.25 | 68.6
106502 | 2021-04-23 15:20 | 17.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8327 | μmol/L | 29.9334 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.889 | 137275.2421 | 302504.5224 | 33.25 | 68.6
106512 | 2021-04-23 15:20 | 18.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4177 | μmol/L | 29.9517 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.908 | 137355.2652 | 302490.4684 | 33.25 | 68.6
106522 | 2021-04-23 15:21 | 18.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2851 | μmol/L | 29.9578 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.914 | 137408.4748 | 302477.8753 | 33.25 | 68.6
106532 | 2021-04-23 15:21 | 18.9927 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3795 | μmol/L | 29.9639 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.906 | 137403.633 | 302487.6853 | 33.25 | 68.6
106542 | 2021-04-23 15:21 | 19.3257 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8641 | μmol/L | 29.9578 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.94 | 137593.1872 | 302499.9564 | 33.25 | 68.6
106552 | 2021-04-23 15:22 | 19.6596 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6218 | μmol/L | 29.9578 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.955 | 137722.7925 | 302485.6091 | 33.25 | 68.6
106562 | 2021-04-23 15:22 | 19.9929 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.2977 | μmol/L | 29.9944 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.962 | 137787.7848 | 302481.1334 | 33.25 | 68.6
106572 | 2021-04-23 15:22 | 20.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9086 | μmol/L | 30.0005 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.984 | 137935.3726 | 302490.2819 | 33.25 | 68.6
106582 | 2021-04-23 15:23 | 20.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.0109 | μmol/L | 29.9883 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.982 | 137916.5496 | 302487.7748 | 33.25 | 68.6
106592 | 2021-04-23 15:23 | 20.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.8021 | μmol/L | 29.9883 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.995 | 137988.212 | 302490.6216 | 33.25 | 68.6
106602 | 2021-04-23 15:23 | 21.3259 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.6867 | μmol/L | 29.9944 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22 | 138034.0498 | 302473.9314 | 33.25 | 68.6
106612 | 2021-04-23 15:24 | 21.6597 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9686 | μmol/L | 29.9761 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.989 | 137967.5346 | 302475.7813 | 33.25 | 68.6
106622 | 2021-04-23 15:24 | 21.9925 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7378 | μmol/L | 29.9883 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.999 | 138067.5823 | 302483.888 | 33.25 | 68.6
106632 | 2021-04-23 15:24 | 22.3264 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.4623 | μmol/L | 29.9944 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.014 | 138128.2063 | 302486.2807 | 33.25 | 68.6
106642 | 2021-04-23 15:25 | 22.6595 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.4913 | μmol/L | 30.0005 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.01 | 138129.3958 | 302485.1191 | 33.25 | 68.6
106652 | 2021-04-23 15:25 | 22.9926 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.2642 | μmol/L | 30.0066 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.022 | 138195.6206 | 302493.086 | 33.25 | 68.6
106662 | 2021-04-23 15:25 | 23.3258 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.2102 | μmol/L | 30.0188 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.021 | 138204.5005 | 302490.7284 | 33.25 | 68.6
106672 | 2021-04-23 15:26 | 23.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.9325 | μmol/L | 30.031 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.034 | 138305.8787 | 302494.7919 | 33.25 | 68.6
106682 | 2021-04-23 15:26 | 23.993 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.9385 | μmol/L | 30.0188 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.038 | 138335.4392 | 302477.3963 | 33.25 | 68.6
106692 | 2021-04-23 15:26 | 24.3261 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.4232 | μmol/L | 30.0616 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.055 | 138438.2923 | 302491.2729 | 33.25 | 68.6
106702 | 2021-04-23 15:27 | 24.6594 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.5338 | μmol/L | 30.031 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.059 | 138503.3438 | 302501.5655 | 33.25 | 68.6