## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 15:28

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
105963 | 2021-04-23 15:02 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 206.317 | μmol/L | 29.169 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.621 | 122786.654 | 266738.128 | 26.25 | 74
105973 | 2021-04-23 15:02 | 0.33168 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.6506 | μmol/L | 29.1996 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.647 | 122956.5425 | 266741.0944 | 26.25 | 74
105983 | 2021-04-23 15:03 | 0.66507 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.3559 | μmol/L | 29.2057 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.661 | 123047.5718 | 266722.2777 | 26.25 | 74
105993 | 2021-04-23 15:03 | 0.99807 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.0795 | μmol/L | 29.2179 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.672 | 123160.06 | 266724.6488 | 26.25 | 74
106003 | 2021-04-23 15:03 | 1.3312 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.7113 | μmol/L | 29.2363 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.686 | 123225.4135 | 266711.8979 | 26.25 | 74
106013 | 2021-04-23 15:04 | 1.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.3635 | μmol/L | 29.2424 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.703 | 123326.022 | 266720.7458 | 26.25 | 74
106023 | 2021-04-23 15:04 | 1.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.3081 | μmol/L | 29.2485 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.704 | 123342.9929 | 266725.6414 | 26.25 | 74
106033 | 2021-04-23 15:04 | 2.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.1061 | μmol/L | 29.2607 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.711 | 123380.2514 | 266706.6986 | 26.25 | 74
106043 | 2021-04-23 15:05 | 2.6645 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.0319 | μmol/L | 29.2729 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.711 | 123401.8344 | 266709.0188 | 26.25 | 74
106053 | 2021-04-23 15:05 | 2.9979 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.7371 | μmol/L | 29.3035 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.717 | 123427.1872 | 266699.0426 | 26.25 | 74
106063 | 2021-04-23 15:05 | 3.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.6629 | μmol/L | 29.3157 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.717 | 123453.9464 | 266695.4912 | 26.25 | 74
106073 | 2021-04-23 15:06 | 3.6643 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.5706 | μmol/L | 29.3279 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.718 | 123485.4661 | 266708.3608 | 26.25 | 74
106083 | 2021-04-23 15:06 | 3.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.5335 | μmol/L | 29.334 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.718 | 123501.0678 | 266696.7688 | 26.25 | 74
106093 | 2021-04-23 15:06 | 4.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.4601 | μmol/L | 29.3401 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.72 | 123503.6876 | 266700.2774 | 26.25 | 74
106103 | 2021-04-23 15:07 | 4.6644 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.4768 | μmol/L | 29.3524 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.715 | 123506.9539 | 266697.3585 | 26.25 | 74
106113 | 2021-04-23 15:07 | 4.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.1653 | μmol/L | 29.3768 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.724 | 123541.179 | 266694.3736 | 26.25 | 74
106123 | 2021-04-23 15:07 | 5.3315 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.9108 | μmol/L | 29.3829 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.736 | 123631.4628 | 266690.5187 | 26.25 | 74
106133 | 2021-04-23 15:08 | 5.6644 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.8526 | μmol/L | 29.4135 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.729 | 123619.2996 | 266687.0513 | 26.25 | 74
106143 | 2021-04-23 15:08 | 5.9978 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.6355 | μmol/L | 29.4135 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.741 | 123679.5769 | 266678.7791 | 26.25 | 74
106153 | 2021-04-23 15:08 | 6.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.3032 | μmol/L | 29.4685 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.741 | 123669.2808 | 266675.5119 | 26.25 | 74
106163 | 2021-04-23 15:09 | 6.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.5059 | μmol/L | 29.4379 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.74 | 123680.266 | 266682.7122 | 26.25 | 74
106173 | 2021-04-23 15:09 | 6.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.9933 | μmol/L | 29.4929 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.75 | 123743.5345 | 266681.6712 | 26.25 | 74
106183 | 2021-04-23 15:09 | 7.3314 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.1941 | μmol/L | 29.4746 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.745 | 123712.0054 | 266671.2873 | 26.25 | 74
106193 | 2021-04-23 15:10 | 7.6644 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.7525 | μmol/L | 29.5418 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.747 | 123761.7405 | 266680.9471 | 26.25 | 74
106203 | 2021-04-23 15:10 | 7.9982 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.1572 | μmol/L | 29.4807 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.745 | 123725.5022 | 266661.3201 | 26.25 | 74
106213 | 2021-04-23 15:10 | 8.3312 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.8246 | μmol/L | 29.5418 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.743 | 123738.5457 | 266670.4927 | 26.25 | 74
106223 | 2021-04-23 15:11 | 8.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.2954 | μmol/L | 29.5968 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.754 | 123830.1669 | 266672.4293 | 26.25 | 74
106233 | 2021-04-23 15:11 | 8.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.6112 | μmol/L | 29.5235 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.761 | 123878.4987 | 266675.0016 | 26.25 | 74
106243 | 2021-04-23 15:11 | 9.3312 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.5727 | μmol/L | 29.5418 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.757 | 123872.5519 | 266673.5971 | 26.25 | 74
106253 | 2021-04-23 15:12 | 9.6644 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.9833 | μmol/L | 29.6457 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.755 | 123868.4728 | 266658.9592 | 26.25 | 74
106263 | 2021-04-23 15:12 | 9.9977 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.0971 | μmol/L | 29.6029 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.763 | 123923.0476 | 266664.7561 | 26.25 | 74
106273 | 2021-04-23 15:12 | 10.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.7674 | μmol/L | 29.6518 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.765 | 123904.9817 | 266660.5041 | 26.25 | 74
106283 | 2021-04-23 15:13 | 10.6647 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.3733 | μmol/L | 29.554 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.764 | 123936.3661 | 266652.2067 | 26.25 | 74
106293 | 2021-04-23 15:13 | 10.998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.6779 | μmol/L | 29.6518 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.77 | 123987.8225 | 266649.1237 | 26.25 | 74
106303 | 2021-04-23 15:13 | 11.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.594 | μmol/L | 29.5174 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.764 | 123986.5597 | 266630.9344 | 26.25 | 74
106313 | 2021-04-23 15:14 | 11.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.0495 | μmol/L | 29.5602 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.78 | 124072.9971 | 266640.7374 | 26.25 | 74
106323 | 2021-04-23 15:14 | 11.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.9403 | μmol/L | 29.5724 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.782 | 124087.4241 | 266655.597 | 26.25 | 74
106333 | 2021-04-23 15:14 | 12.3313 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.6146 | μmol/L | 29.5968 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.792 | 124147.0898 | 266636.2962 | 26.25 | 74
106343 | 2021-04-23 15:15 | 12.6644 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.5958 | μmol/L | 29.6029 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.791 | 124161.6709 | 266633.2471 | 26.25 | 74
106353 | 2021-04-23 15:15 | 12.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.1749 | μmol/L | 29.6702 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.792 | 124179.958 | 266627.8232 | 26.25 | 74
106363 | 2021-04-23 15:15 | 13.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.3782 | μmol/L | 29.7557 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.808 | 124250.5067 | 266626.8924 | 26.25 | 74
106373 | 2021-04-23 15:16 | 13.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.8364 | μmol/L | 29.6702 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.811 | 124268.4873 | 266621.4025 | 26.25 | 74
106383 | 2021-04-23 15:16 | 13.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.5272 | μmol/L | 29.7129 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.814 | 124332.1297 | 266618.4069 | 26.25 | 74
106393 | 2021-04-23 15:16 | 14.3314 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.2057 | μmol/L | 29.7252 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.828 | 124406.9945 | 266610.5457 | 26.25 | 74
106403 | 2021-04-23 15:17 | 14.6645 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.9546 | μmol/L | 29.7435 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.836 | 124455.4672 | 266607.3151 | 26.25 | 74
106413 | 2021-04-23 15:17 | 14.9979 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4295 | μmol/L | 29.6579 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.838 | 124488.8351 | 266607.7465 | 26.25 | 74
106423 | 2021-04-23 15:17 | 15.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.7974 | μmol/L | 29.7313 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.849 | 124553.4583 | 266602.7022 | 26.25 | 74
106433 | 2021-04-23 15:18 | 15.6649 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.5686 | μmol/L | 29.7252 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.864 | 124632.8127 | 266608.3754 | 26.25 | 74
106443 | 2021-04-23 15:18 | 15.9979 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6029 | μmol/L | 29.7313 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.86 | 124655.4619 | 266609.1133 | 26.25 | 74
106453 | 2021-04-23 15:18 | 16.3312 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.2095 | μmol/L | 29.7618 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.872 | 124752.2437 | 266607.6179 | 26.25 | 74
106463 | 2021-04-23 15:19 | 16.6646 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.819 | μmol/L | 29.7802 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.888 | 124869.6531 | 266605.2472 | 26.25 | 74
106473 | 2021-04-23 15:19 | 16.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.6422 | μmol/L | 29.7863 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.896 | 124905.5477 | 266599.9173 | 26.25 | 74
106483 | 2021-04-23 15:19 | 17.3312 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.516 | μmol/L | 29.8046 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.897 | 124927.0327 | 266591.8695 | 26.25 | 74
106493 | 2021-04-23 15:20 | 17.6644 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.1773 | μmol/L | 29.8352 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.906 | 124990.4296 | 266599.627 | 26.25 | 74
106503 | 2021-04-23 15:20 | 17.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.0197 | μmol/L | 29.8352 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.915 | 125047.2883 | 266576.8227 | 26.25 | 74
106513 | 2021-04-23 15:20 | 18.331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.4875 | μmol/L | 29.878 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.931 | 125122.5465 | 266588.4127 | 26.25 | 74
106523 | 2021-04-23 15:21 | 18.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.2701 | μmol/L | 29.9208 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.929 | 125121.7003 | 266589.5317 | 26.25 | 74
106533 | 2021-04-23 15:21 | 18.9983 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.982 | μmol/L | 29.9697 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.929 | 125150.609 | 266588.7465 | 26.25 | 74
106543 | 2021-04-23 15:21 | 19.3311 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.72 | μmol/L | 29.9758 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.942 | 125245.3073 | 266584.3236 | 26.25 | 74
106553 | 2021-04-23 15:22 | 19.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.8488 | μmol/L | 29.9391 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.947 | 125301.6546 | 266584.7758 | 26.25 | 74
106563 | 2021-04-23 15:22 | 19.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.8698 | μmol/L | 29.9208 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.952 | 125335.7885 | 266587.603 | 26.25 | 74
106573 | 2021-04-23 15:22 | 20.3314 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.0381 | μmol/L | 29.8596 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.963 | 125403.6729 | 266597.0232 | 26.25 | 74
106583 | 2021-04-23 15:23 | 20.6645 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.4431 | μmol/L | 29.8841 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.989 | 125538.8306 | 266601.5732 | 26.25 | 74
106593 | 2021-04-23 15:23 | 20.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8798 | μmol/L | 29.933 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.005 | 125638.8178 | 266594.4713 | 26.25 | 74
106603 | 2021-04-23 15:23 | 21.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7294 | μmol/L | 29.9085 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.022 | 125779.4512 | 266593.296 | 26.25 | 74
106613 | 2021-04-23 15:24 | 21.665 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.6407 | μmol/L | 29.9208 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.023 | 125801.7887 | 266604.0873 | 26.25 | 74
106623 | 2021-04-23 15:24 | 21.998 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7688 | μmol/L | 29.8841 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.028 | 125851.987 | 266598.1348 | 26.25 | 74
106633 | 2021-04-23 15:24 | 22.331 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.3256 | μmol/L | 29.9452 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.033 | 125868.2264 | 266595.6229 | 26.25 | 74
106643 | 2021-04-23 15:25 | 22.6648 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.0943 | μmol/L | 29.8107 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.034 | 125869.859 | 266595.545 | 26.25 | 74
106653 | 2021-04-23 15:25 | 22.9981 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.1351 | μmol/L | 29.9513 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.042 | 125932.8205 | 266602.619 | 26.25 | 74
106663 | 2021-04-23 15:25 | 23.3312 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.4307 | μmol/L | 30.0369 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.054 | 126038.6516 | 266591.8769 | 26.25 | 74
106673 | 2021-04-23 15:26 | 23.6644 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.0662 | μmol/L | 30.0613 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.067 | 126127.6819 | 266584.9516 | 26.25 | 74
106683 | 2021-04-23 15:26 | 23.9984 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.952 | μmol/L | 30.0369 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.082 | 126221.0568 | 266594.9228 | 26.25 | 74
106693 | 2021-04-23 15:26 | 24.3316 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.0193 | μmol/L | 30.098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.116 | 126430.1868 | 266597.0983 | 26.25 | 74
106703 | 2021-04-23 15:27 | 24.6644 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.1244 | μmol/L | 29.8719 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.128 | 126528.4485 | 266588.325 | 26.25 | 74