## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 15:28

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
105964 | 2021-04-23 15:02 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.6824 | μmol/L | 29.1769 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.448 | 117989.4608 | 268745.9954 | 32.55 | 27.7
105974 | 2021-04-23 15:03 | 0.33481 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.5531 | μmol/L | 29.1584 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.461 | 118121.6208 | 268721.0463 | 32.55 | 27.7
105984 | 2021-04-23 15:03 | 0.66839 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.989 | μmol/L | 29.2259 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.469 | 118205.034 | 268712.413 | 32.55 | 27.7
105994 | 2021-04-23 15:03 | 1.0022 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.5019 | μmol/L | 29.275 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.479 | 118309.1439 | 268701.5403 | 32.55 | 27.7
106004 | 2021-04-23 15:04 | 1.3353 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.3891 | μmol/L | 29.2934 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.479 | 118481.9789 | 268682.0544 | 32.55 | 27.7
106014 | 2021-04-23 15:04 | 1.6687 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.316 | μmol/L | 29.2811 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.487 | 118559.8535 | 268676.8979 | 32.55 | 27.7
106024 | 2021-04-23 15:04 | 2.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.0181 | μmol/L | 29.2995 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.497 | 118620.945 | 268668.8141 | 32.55 | 27.7
106034 | 2021-04-23 15:05 | 2.3349 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.9604 | μmol/L | 29.3241 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.492 | 118616.1328 | 268681.7914 | 32.55 | 27.7
106044 | 2021-04-23 15:05 | 2.6688 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.0355 | μmol/L | 29.3118 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.492 | 118635.1931 | 268654.8255 | 32.55 | 27.7
106054 | 2021-04-23 15:05 | 3.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.9234 | μmol/L | 29.3241 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.494 | 118663.7621 | 268638.7724 | 32.55 | 27.7
106064 | 2021-04-23 15:06 | 3.3352 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.6814 | μmol/L | 29.3425 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.501 | 118736.4603 | 268641.7222 | 32.55 | 27.7
106074 | 2021-04-23 15:06 | 3.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.1093 | μmol/L | 29.3486 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.53 | 118928.4637 | 268632.4082 | 32.55 | 27.7
106084 | 2021-04-23 15:06 | 4.0022 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.2434 | μmol/L | 29.3793 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.567 | 119197.2383 | 268618.4518 | 32.55 | 27.7
106094 | 2021-04-23 15:07 | 4.3352 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.9873 | μmol/L | 29.3793 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.581 | 119301.9763 | 268627.8227 | 32.55 | 27.7
106104 | 2021-04-23 15:07 | 4.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.8743 | μmol/L | 29.41 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.577 | 119284.9642 | 268614.384 | 32.55 | 27.7
106114 | 2021-04-23 15:07 | 5.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.967 | μmol/L | 29.3977 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.576 | 119280.3305 | 268603.9002 | 32.55 | 27.7
106124 | 2021-04-23 15:08 | 5.3348 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.8905 | μmol/L | 29.4284 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.57 | 119288.7254 | 268602.5391 | 32.55 | 27.7
106134 | 2021-04-23 15:08 | 5.6686 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.4483 | μmol/L | 29.4652 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.582 | 119378.4712 | 268611.4138 | 32.55 | 27.7
106144 | 2021-04-23 15:08 | 6.002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.3011 | μmol/L | 29.4774 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.586 | 119415.5794 | 268602.4396 | 32.55 | 27.7
106154 | 2021-04-23 15:09 | 6.3356 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2458 | μmol/L | 29.4836 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.587 | 119423.9227 | 268599.5645 | 32.55 | 27.7
106164 | 2021-04-23 15:09 | 6.6691 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.1708 | μmol/L | 29.502 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.585 | 119420.5453 | 268595.5625 | 32.55 | 27.7
106174 | 2021-04-23 15:09 | 7.0016 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.8754 | μmol/L | 29.5388 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.589 | 119465.0124 | 268593.5692 | 32.55 | 27.7
106184 | 2021-04-23 15:10 | 7.3355 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.8579 | μmol/L | 29.5327 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.592 | 119507.077 | 268586.5156 | 32.55 | 27.7
106194 | 2021-04-23 15:10 | 7.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.4752 | μmol/L | 29.5449 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.609 | 119622.6064 | 268575.9519 | 32.55 | 27.7
106204 | 2021-04-23 15:10 | 8.0017 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.0565 | μmol/L | 29.5633 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.626 | 119747.4846 | 268581.9256 | 32.55 | 27.7
106214 | 2021-04-23 15:11 | 8.3348 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.8914 | μmol/L | 29.5817 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.629 | 119782.5637 | 268573.1818 | 32.55 | 27.7
106224 | 2021-04-23 15:11 | 8.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.8331 | μmol/L | 29.6124 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.622 | 119758.2915 | 268566.7992 | 32.55 | 27.7
106234 | 2021-04-23 15:11 | 9.0015 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.6124 | μmol/L | 29.6431 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.624 | 119780.6531 | 268561.1499 | 32.55 | 27.7
106244 | 2021-04-23 15:12 | 9.3353 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.6665 | μmol/L | 29.6431 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.621 | 119778.0745 | 268568.1451 | 32.55 | 27.7
106254 | 2021-04-23 15:12 | 9.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.6313 | μmol/L | 29.637 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.625 | 119795.1067 | 268553.1756 | 32.55 | 27.7
106264 | 2021-04-23 15:12 | 10.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.3574 | μmol/L | 29.6615 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.632 | 119882.126 | 268564.3176 | 32.55 | 27.7
106274 | 2021-04-23 15:13 | 10.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.1945 | μmol/L | 29.6676 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.639 | 119930.0187 | 268562.0465 | 32.55 | 27.7
106284 | 2021-04-23 15:13 | 10.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.7219 | μmol/L | 29.7044 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.653 | 120020.7175 | 268558.1655 | 32.55 | 27.7
106294 | 2021-04-23 15:13 | 11.0016 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.5058 | μmol/L | 29.7106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.663 | 120157.272 | 268559.2815 | 32.55 | 27.7
106304 | 2021-04-23 15:14 | 11.3354 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.3445 | μmol/L | 29.7106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.672 | 120198.7872 | 268539.8347 | 32.55 | 27.7
106314 | 2021-04-23 15:14 | 11.6688 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.0894 | μmol/L | 29.7413 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.676 | 120234.179 | 268535.4748 | 32.55 | 27.7
106324 | 2021-04-23 15:14 | 12.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.5847 | μmol/L | 29.7719 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.694 | 120346.2946 | 268522.9794 | 32.55 | 27.7
106334 | 2021-04-23 15:15 | 12.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.4411 | μmol/L | 29.7781 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.7 | 120409.1131 | 268518.0809 | 32.55 | 27.7
106344 | 2021-04-23 15:15 | 12.6689 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.3858 | μmol/L | 29.7903 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.699 | 120445.5623 | 268534.436 | 32.55 | 27.7
106354 | 2021-04-23 15:15 | 13.002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.0794 | μmol/L | 29.8149 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.708 | 120489.2188 | 268534.737 | 32.55 | 27.7
106364 | 2021-04-23 15:16 | 13.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.8474 | μmol/L | 29.821 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.719 | 120569.2589 | 268541.9042 | 32.55 | 27.7
106374 | 2021-04-23 15:16 | 13.6687 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.7962 | μmol/L | 29.8088 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.726 | 120595.1053 | 268525.8848 | 32.55 | 27.7
106384 | 2021-04-23 15:16 | 14.0015 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.5793 | μmol/L | 29.8333 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.73 | 120656.7597 | 268509.7876 | 32.55 | 27.7
106394 | 2021-04-23 15:17 | 14.3355 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.4179 | μmol/L | 29.8456 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.735 | 120712.1606 | 268504.7085 | 32.55 | 27.7
106404 | 2021-04-23 15:17 | 14.6686 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.1535 | μmol/L | 29.8394 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.752 | 120826.1138 | 268508.7015 | 32.55 | 27.7
106414 | 2021-04-23 15:17 | 15.002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.9062 | μmol/L | 29.8394 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.766 | 120960.5805 | 268504.1684 | 32.55 | 27.7
106424 | 2021-04-23 15:18 | 15.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.5339 | μmol/L | 29.8517 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.783 | 121049.1528 | 268499.4376 | 32.55 | 27.7
106434 | 2021-04-23 15:18 | 15.6687 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.213 | μmol/L | 29.8762 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.793 | 121117.0216 | 268521.6538 | 32.55 | 27.7
106444 | 2021-04-23 15:18 | 16.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.1768 | μmol/L | 29.8824 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.793 | 121130.0678 | 268506.6741 | 32.55 | 27.7
106454 | 2021-04-23 15:19 | 16.3353 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.0714 | μmol/L | 29.8824 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.799 | 121171.8736 | 268495.9204 | 32.55 | 27.7
106464 | 2021-04-23 15:19 | 16.6688 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.8586 | μmol/L | 29.8946 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.807 | 121228.7292 | 268498.2295 | 32.55 | 27.7
106474 | 2021-04-23 15:19 | 17.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.7173 | μmol/L | 29.9008 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.813 | 121298.3218 | 268488.9999 | 32.55 | 27.7
106484 | 2021-04-23 15:20 | 17.3349 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.4536 | μmol/L | 29.9069 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.826 | 121390.3533 | 268505.4518 | 32.55 | 27.7
106494 | 2021-04-23 15:20 | 17.6688 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.0473 | μmol/L | 29.9315 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.841 | 121455.518 | 268499.7023 | 32.55 | 27.7
106504 | 2021-04-23 15:20 | 18.002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.9589 | μmol/L | 29.9376 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.844 | 121508.3373 | 268490.8641 | 32.55 | 27.7
106514 | 2021-04-23 15:21 | 18.3352 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.1717 | μmol/L | 29.9192 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.838 | 121492.5757 | 268501.8562 | 32.55 | 27.7
106524 | 2021-04-23 15:21 | 18.6689 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.9763 | μmol/L | 29.9376 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.843 | 121519.8854 | 268495.3565 | 32.55 | 27.7
106534 | 2021-04-23 15:21 | 19.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.838 | μmol/L | 29.9315 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.853 | 121597.8976 | 268491.9416 | 32.55 | 27.7
106544 | 2021-04-23 15:22 | 19.3352 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.5374 | μmol/L | 29.956 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.862 | 121663.5496 | 268490.8868 | 32.55 | 27.7
106554 | 2021-04-23 15:22 | 19.6682 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.5734 | μmol/L | 29.9499 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.862 | 121661.3997 | 268488.8951 | 32.55 | 27.7
106564 | 2021-04-23 15:22 | 20.0021 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.4331 | μmol/L | 29.956 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.868 | 121714.8984 | 268480.3862 | 32.55 | 27.7
106574 | 2021-04-23 15:23 | 20.3353 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2223 | μmol/L | 29.9683 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.876 | 121773.0997 | 268479.6871 | 32.55 | 27.7
106584 | 2021-04-23 15:23 | 20.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.3612 | μmol/L | 29.9683 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.868 | 121728.3646 | 268474.3205 | 32.55 | 27.7
106594 | 2021-04-23 15:23 | 21.0022 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.0589 | μmol/L | 30.0051 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.873 | 121737.3302 | 268479.1227 | 32.55 | 27.7
106604 | 2021-04-23 15:24 | 21.3352 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.8174 | μmol/L | 29.999 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.889 | 121866.717 | 268470.9809 | 32.55 | 27.7
106614 | 2021-04-23 15:24 | 21.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.648 | μmol/L | 29.9805 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.905 | 121966.7063 | 268484.6956 | 32.55 | 27.7
106624 | 2021-04-23 15:24 | 22.0023 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4555 | μmol/L | 29.9928 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.912 | 121982.8118 | 268473.2437 | 32.55 | 27.7
106634 | 2021-04-23 15:25 | 22.3353 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.5604 | μmol/L | 29.9867 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.908 | 122013.132 | 268467.6033 | 32.55 | 27.7
106644 | 2021-04-23 15:25 | 22.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4542 | μmol/L | 29.999 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.91 | 122002.3337 | 268464.444 | 32.55 | 27.7
106654 | 2021-04-23 15:25 | 23.0015 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.3001 | μmol/L | 29.9928 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.921 | 122078.3149 | 268462.1081 | 32.55 | 27.7
106664 | 2021-04-23 15:26 | 23.3353 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.2705 | μmol/L | 29.9683 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.931 | 122143.8479 | 268455.9468 | 32.55 | 27.7
106674 | 2021-04-23 15:26 | 23.6683 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.1498 | μmol/L | 29.9683 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.938 | 122215.8351 | 268461.273 | 32.55 | 27.7
106684 | 2021-04-23 15:26 | 24.0023 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.9221 | μmol/L | 29.9867 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.945 | 122232.5314 | 268469.3631 | 32.55 | 27.7
106694 | 2021-04-23 15:27 | 24.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.8323 | μmol/L | 30.0051 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.944 | 122247.5487 | 268447.7489 | 32.55 | 27.7
106704 | 2021-04-23 15:27 | 24.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.8336 | μmol/L | 29.999 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.946 | 122260.9393 | 268452.2445 | 32.55 | 27.7