## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 16:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
106705 | 2021-04-23 15:34 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.4283 | μmol/L | 29.3461 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.287 | 132234.0926 | 270540.5498 | 33.25 | 75.7
106712 | 2021-04-23 15:34 | 0.3405 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4859 | μmol/L | 29.3892 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.377 | 132926.8587 | 270525.6025 | 33.25 | 75.7
106719 | 2021-04-23 15:34 | 0.6736 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.0834 | μmol/L | 29.3892 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.453 | 133502.9209 | 270511.913 | 33.25 | 75.7
106726 | 2021-04-23 15:35 | 1.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.8039 | μmol/L | 29.3769 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.527 | 134135.4265 | 270509.7886 | 33.25 | 75.7
106733 | 2021-04-23 15:35 | 1.3403 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.9775 | μmol/L | 29.2907 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.601 | 134664.3727 | 270493.6835 | 33.25 | 75.7
106740 | 2021-04-23 15:35 | 1.6732 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.8752 | μmol/L | 29.303 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.658 | 135137.8326 | 270474.5442 | 33.25 | 75.7
106750 | 2021-04-23 15:36 | 2.0074 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.6663 | μmol/L | 29.3707 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.703 | 135355.2421 | 270455.108 | 33.25 | 75.7
106760 | 2021-04-23 15:36 | 2.3405 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.9935 | μmol/L | 29.3399 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.751 | 135649.9338 | 270429.3109 | 33.25 | 75.7
106770 | 2021-04-23 15:36 | 2.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.9714 | μmol/L | 29.4261 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.78 | 135866.3857 | 270430.2615 | 33.25 | 75.7
106780 | 2021-04-23 15:37 | 3.007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.7676 | μmol/L | 29.3707 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.81 | 136071.4177 | 270408.3892 | 33.25 | 75.7
106790 | 2021-04-23 15:37 | 3.34 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.0241 | μmol/L | 29.4015 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.842 | 136296.0372 | 270399.0334 | 33.25 | 75.7
106800 | 2021-04-23 15:37 | 3.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.6024 | μmol/L | 29.4076 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.864 | 136448.9337 | 270397.5999 | 33.25 | 75.7
106810 | 2021-04-23 15:38 | 4.007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.5207 | μmol/L | 29.3707 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.881 | 136583.8968 | 270391.2826 | 33.25 | 75.7
106820 | 2021-04-23 15:38 | 4.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.116 | μmol/L | 29.3892 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.898 | 136693.9445 | 270372.6784 | 33.25 | 75.7
106830 | 2021-04-23 15:38 | 4.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.8341 | μmol/L | 29.4076 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.908 | 136798.6665 | 270375.4517 | 33.25 | 75.7
106840 | 2021-04-23 15:39 | 5.0071 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.2154 | μmol/L | 29.4691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.923 | 136922.4066 | 270353.0173 | 33.25 | 75.7
106850 | 2021-04-23 15:39 | 5.3402 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.9899 | μmol/L | 29.4691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.936 | 137013.459 | 270348.1347 | 33.25 | 75.7
106860 | 2021-04-23 15:39 | 5.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.6751 | μmol/L | 29.4876 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.948 | 137077.8052 | 270344.3927 | 33.25 | 75.7
106870 | 2021-04-23 15:40 | 6.007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.5368 | μmol/L | 29.4876 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.956 | 137147.6677 | 270337.6008 | 33.25 | 75.7
106880 | 2021-04-23 15:40 | 6.3399 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.3652 | μmol/L | 29.4814 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.968 | 137254.2618 | 270331.1765 | 33.25 | 75.7
106890 | 2021-04-23 15:40 | 6.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.4072 | μmol/L | 29.4384 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.98 | 137302.5134 | 270322.1993 | 33.25 | 75.7
106900 | 2021-04-23 15:41 | 7.007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.2325 | μmol/L | 29.4507 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.986 | 137359.1345 | 270312.9125 | 33.25 | 75.7
106910 | 2021-04-23 15:41 | 7.3402 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.8643 | μmol/L | 29.4876 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.995 | 137420.5028 | 270318.2715 | 33.25 | 75.7
106920 | 2021-04-23 15:41 | 7.6734 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.6613 | μmol/L | 29.4691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.013 | 137567.3615 | 270301.2251 | 33.25 | 75.7
106930 | 2021-04-23 15:42 | 8.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.2909 | μmol/L | 29.5245 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.016 | 137575.6653 | 270306.9616 | 33.25 | 75.7
106940 | 2021-04-23 15:42 | 8.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.0282 | μmol/L | 29.5553 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.021 | 137615.9635 | 270289.8386 | 33.25 | 75.7
106950 | 2021-04-23 15:42 | 8.6733 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.929 | μmol/L | 29.5368 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.033 | 137679.8281 | 270292.7741 | 33.25 | 75.7
106960 | 2021-04-23 15:43 | 9.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.7068 | μmol/L | 29.5368 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.046 | 137765.5782 | 270278.8372 | 33.25 | 75.7
106970 | 2021-04-23 15:43 | 9.3402 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.5178 | μmol/L | 29.543 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.055 | 137814.433 | 270269.4418 | 33.25 | 75.7
106980 | 2021-04-23 15:43 | 9.6733 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.4179 | μmol/L | 29.5307 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.065 | 137909.4519 | 270268.2234 | 33.25 | 75.7
106990 | 2021-04-23 15:44 | 10.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.3168 | μmol/L | 29.5245 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.073 | 137961.5403 | 270265.3273 | 33.25 | 75.7
107000 | 2021-04-23 15:44 | 10.3404 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.4079 | μmol/L | 29.4938 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.078 | 138001.498 | 270260.4463 | 33.25 | 75.7
107010 | 2021-04-23 15:44 | 10.6733 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.0675 | μmol/L | 29.4938 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.098 | 138169.0878 | 270258.1444 | 33.25 | 75.7
107020 | 2021-04-23 15:45 | 11.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.654 | μmol/L | 29.5245 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.112 | 138254.7822 | 270259.3836 | 33.25 | 75.7
107030 | 2021-04-23 15:45 | 11.3403 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.2559 | μmol/L | 29.5676 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.121 | 138331.7564 | 270247.5594 | 33.25 | 75.7
107040 | 2021-04-23 15:45 | 11.6733 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.3611 | μmol/L | 29.5491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.121 | 138316.0714 | 270234.6833 | 33.25 | 75.7
107050 | 2021-04-23 15:46 | 12.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.9891 | μmol/L | 29.5491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.143 | 138460.2199 | 270239.304 | 33.25 | 75.7
107060 | 2021-04-23 15:46 | 12.3405 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.5848 | μmol/L | 29.6291 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.14 | 138444.6084 | 270226.0572 | 33.25 | 75.7
107070 | 2021-04-23 15:46 | 12.6736 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.8504 | μmol/L | 29.5676 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.145 | 138495.2731 | 270227.1999 | 33.25 | 75.7
107080 | 2021-04-23 15:47 | 13.0067 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.4796 | μmol/L | 29.5676 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.167 | 138633.6148 | 270215.809 | 33.25 | 75.7
107090 | 2021-04-23 15:47 | 13.3405 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.4834 | μmol/L | 29.5491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.173 | 138705.6915 | 270220.0364 | 33.25 | 75.7
107100 | 2021-04-23 15:47 | 13.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.0917 | μmol/L | 29.5737 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.188 | 138791.8559 | 270228.8537 | 33.25 | 75.7
107110 | 2021-04-23 15:48 | 14.0068 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.4288 | μmol/L | 29.4876 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.197 | 138837.2806 | 270221.3694 | 33.25 | 75.7
107120 | 2021-04-23 15:48 | 14.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.8879 | μmol/L | 29.5061 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.223 | 139005.8375 | 270197.3785 | 33.25 | 75.7
107130 | 2021-04-23 15:48 | 14.6737 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.732 | μmol/L | 29.5307 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.224 | 139041.8889 | 270199.375 | 33.25 | 75.7
107140 | 2021-04-23 15:49 | 15.0067 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.7153 | μmol/L | 29.5307 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.225 | 139085.625 | 270197.5893 | 33.25 | 75.7
107150 | 2021-04-23 15:49 | 15.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.2714 | μmol/L | 29.5737 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.237 | 139146.9078 | 270197.1884 | 33.25 | 75.7
107160 | 2021-04-23 15:49 | 15.6738 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.3281 | μmol/L | 29.543 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.244 | 139202.5082 | 270192.8363 | 33.25 | 75.7
107170 | 2021-04-23 15:50 | 16.0071 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 189.0186 | μmol/L | 29.586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.248 | 139256.6625 | 270192.2461 | 33.25 | 75.7
107180 | 2021-04-23 15:50 | 16.3402 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.7355 | μmol/L | 29.586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.265 | 139340.4044 | 270188.7097 | 33.25 | 75.7
107190 | 2021-04-23 15:50 | 16.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.6259 | μmol/L | 29.5553 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.282 | 139450.0432 | 270177.3695 | 33.25 | 75.7
107200 | 2021-04-23 15:51 | 17.007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.9899 | μmol/L | 29.4876 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.283 | 139446.8917 | 270182.0928 | 33.25 | 75.7
107210 | 2021-04-23 15:51 | 17.3403 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.5994 | μmol/L | 29.5245 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.294 | 139524.3497 | 270168.853 | 33.25 | 75.7
107220 | 2021-04-23 15:51 | 17.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.4279 | μmol/L | 29.5491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.296 | 139580.0144 | 270158.2702 | 33.25 | 75.7
107230 | 2021-04-23 15:52 | 18.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 188.3227 | μmol/L | 29.4999 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.319 | 139724.6784 | 270155.1555 | 33.25 | 75.7
107240 | 2021-04-23 15:52 | 18.34 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.4201 | μmol/L | 29.6168 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.334 | 139871.8101 | 270160.612 | 33.25 | 75.7
107250 | 2021-04-23 15:52 | 18.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.6693 | μmol/L | 29.5368 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.346 | 139937.1555 | 270155.0612 | 33.25 | 75.7
107260 | 2021-04-23 15:53 | 19.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.5345 | μmol/L | 29.5491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.35 | 139989.5997 | 270148.8275 | 33.25 | 75.7
107270 | 2021-04-23 15:53 | 19.3403 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.102 | μmol/L | 29.5676 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.37 | 140110.5549 | 270131.435 | 33.25 | 75.7
107280 | 2021-04-23 15:53 | 19.6735 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.1669 | μmol/L | 29.4999 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.389 | 140208.4127 | 270132.6839 | 33.25 | 75.7
107290 | 2021-04-23 15:54 | 20.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.1368 | μmol/L | 29.4876 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.395 | 140274.5905 | 270120.8096 | 33.25 | 75.7
107300 | 2021-04-23 15:54 | 20.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.9147 | μmol/L | 29.5245 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.396 | 140305.6409 | 270125.2063 | 33.25 | 75.7
107310 | 2021-04-23 15:54 | 20.6739 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 187.2288 | μmol/L | 29.4445 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.404 | 140348.8404 | 270116.2867 | 33.25 | 75.7
107320 | 2021-04-23 15:55 | 21.0071 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.9603 | μmol/L | 29.4691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.412 | 140428.5131 | 270125.4275 | 33.25 | 75.7
107330 | 2021-04-23 15:55 | 21.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 186.0411 | μmol/L | 29.5491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.441 | 140592.9618 | 270115.3526 | 33.25 | 75.7
107340 | 2021-04-23 15:55 | 21.6733 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.9047 | μmol/L | 29.5737 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.441 | 140628.8704 | 270114.642 | 33.25 | 75.7
107350 | 2021-04-23 15:56 | 22.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.6439 | μmol/L | 29.5737 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.457 | 140724.0333 | 270117.7081 | 33.25 | 75.7
107360 | 2021-04-23 15:56 | 22.3403 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.5521 | μmol/L | 29.5491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.471 | 140852.1687 | 270123.108 | 33.25 | 75.7
107370 | 2021-04-23 15:56 | 22.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.459 | μmol/L | 29.5307 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.483 | 140920.6653 | 270089.9755 | 33.25 | 75.7
107380 | 2021-04-23 15:57 | 23.0068 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.3512 | μmol/L | 29.5061 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.498 | 141008.1149 | 270110.3722 | 33.25 | 75.7
107390 | 2021-04-23 15:57 | 23.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.4088 | μmol/L | 29.4691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.507 | 141100.8808 | 270098.9995 | 33.25 | 75.7
107400 | 2021-04-23 15:57 | 23.6738 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.1224 | μmol/L | 29.5122 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.51 | 141113.1723 | 270098.9021 | 33.25 | 75.7
107410 | 2021-04-23 15:58 | 24.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.8703 | μmol/L | 29.5491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.513 | 141168.0976 | 270115.1793 | 33.25 | 75.7
107420 | 2021-04-23 15:58 | 24.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 185.0945 | μmol/L | 29.4938 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.518 | 141224.1138 | 270108.2678 | 33.25 | 75.7
107430 | 2021-04-23 15:58 | 24.6737 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.7408 | μmol/L | 29.5491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.521 | 141250.6014 | 270114.2767 | 33.25 | 75.7
107440 | 2021-04-23 15:59 | 25.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.9708 | μmol/L | 29.4691 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.534 | 141343.501 | 270121.1477 | 33.25 | 75.7
107450 | 2021-04-23 15:59 | 25.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.4398 | μmol/L | 29.5245 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.548 | 141451.7192 | 270132.9855 | 33.25 | 75.7
107460 | 2021-04-23 15:59 | 25.6738 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.0114 | μmol/L | 29.5614 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.562 | 141552.4284 | 270120.1184 | 33.25 | 75.7
107470 | 2021-04-23 16:00 | 26.0068 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.8266 | μmol/L | 29.5922 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.563 | 141557.8097 | 270123.8576 | 33.25 | 75.7
107480 | 2021-04-23 16:00 | 26.3399 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 184.0107 | μmol/L | 29.4999 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.583 | 141701.8143 | 270135.7062 | 33.25 | 75.7
107490 | 2021-04-23 16:00 | 26.6736 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.943 | μmol/L | 29.6599 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.595 | 141804.1883 | 270131.6957 | 33.25 | 75.7
107500 | 2021-04-23 16:01 | 27.007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.239 | μmol/L | 29.5676 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.608 | 141869.6228 | 270141.1994 | 33.25 | 75.7
107510 | 2021-04-23 16:01 | 27.3404 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.4071 | μmol/L | 29.5368 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.608 | 141906.4843 | 270136.1871 | 33.25 | 75.7
107520 | 2021-04-23 16:01 | 27.6734 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.0406 | μmol/L | 29.5922 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.612 | 141944.188 | 270144.2175 | 33.25 | 75.7
107530 | 2021-04-23 16:02 | 28.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 183.1765 | μmol/L | 29.5614 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.614 | 141972.5469 | 270152.1392 | 33.25 | 75.7
107540 | 2021-04-23 16:02 | 28.3404 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.681 | μmol/L | 29.623 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.624 | 142036.0816 | 270158.1711 | 33.25 | 75.7
107550 | 2021-04-23 16:02 | 28.6737 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.4067 | μmol/L | 29.6353 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.637 | 142124.4991 | 270160.909 | 33.25 | 75.7
107560 | 2021-04-23 16:03 | 29.0068 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.3621 | μmol/L | 29.623 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.644 | 142190.5637 | 270163.1394 | 33.25 | 75.7
107570 | 2021-04-23 16:03 | 29.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.5727 | μmol/L | 29.5491 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.656 | 142295.7832 | 270166.8759 | 33.25 | 75.7
107580 | 2021-04-23 16:03 | 29.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.3527 | μmol/L | 29.5983 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.653 | 142310.2623 | 270170.6196 | 33.25 | 75.7
107590 | 2021-04-23 16:04 | 30.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.9487 | μmol/L | 29.623 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.67 | 142419.3294 | 270169.8262 | 33.25 | 75.7
107600 | 2021-04-23 16:04 | 30.3399 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 182.0155 | μmol/L | 29.6106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.67 | 142417.0231 | 270180.9162 | 33.25 | 75.7
107610 | 2021-04-23 16:04 | 30.6733 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.6915 | μmol/L | 29.6353 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.682 | 142524.3479 | 270172.0793 | 33.25 | 75.7
107620 | 2021-04-23 16:05 | 31.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.6456 | μmol/L | 29.6291 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.687 | 142552.2221 | 270196.2546 | 33.25 | 75.7
107630 | 2021-04-23 16:05 | 31.3403 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.6264 | μmol/L | 29.6414 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.684 | 142586.6396 | 270186.4579 | 33.25 | 75.7
107640 | 2021-04-23 16:05 | 31.6734 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.2433 | μmol/L | 29.6537 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.704 | 142671.5117 | 270180.6483 | 33.25 | 75.7
107650 | 2021-04-23 16:06 | 32.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.2866 | μmol/L | 29.6106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.716 | 142782.132 | 270183.8725 | 33.25 | 75.7
107660 | 2021-04-23 16:06 | 32.3406 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 181.181 | μmol/L | 29.5922 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.729 | 142886.5393 | 270193.3636 | 33.25 | 75.7
107670 | 2021-04-23 16:06 | 32.6738 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.2163 | μmol/L | 29.7214 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.746 | 143002.1038 | 270209.0975 | 33.25 | 75.7
107680 | 2021-04-23 16:07 | 33.007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.5929 | μmol/L | 29.6106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.76 | 143094.8039 | 270191.0373 | 33.25 | 75.7
107690 | 2021-04-23 16:07 | 33.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.3609 | μmol/L | 29.6537 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.76 | 143136.4719 | 270201.0862 | 33.25 | 75.7
107700 | 2021-04-23 16:07 | 33.6737 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.3575 | μmol/L | 29.666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.756 | 143118.7289 | 270201.4131 | 33.25 | 75.7
107710 | 2021-04-23 16:08 | 34.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.1186 | μmol/L | 29.6783 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.767 | 143186.5486 | 270204.242 | 33.25 | 75.7
107720 | 2021-04-23 16:08 | 34.3403 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.9096 | μmol/L | 29.6968 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.774 | 143259.9943 | 270212.9995 | 33.25 | 75.7
107730 | 2021-04-23 16:08 | 34.6734 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 180.0123 | μmol/L | 29.666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.778 | 143301.3127 | 270211.4696 | 33.25 | 75.7
107740 | 2021-04-23 16:09 | 35.0067 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.7913 | μmol/L | 29.6722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.79 | 143358.0548 | 270210.0377 | 33.25 | 75.7
107750 | 2021-04-23 16:09 | 35.34 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.6558 | μmol/L | 29.6537 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.805 | 143480.2543 | 270219.3669 | 33.25 | 75.7
107760 | 2021-04-23 16:09 | 35.6738 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.7617 | μmol/L | 29.6106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.813 | 143545.5065 | 270222.6893 | 33.25 | 75.7
107770 | 2021-04-23 16:10 | 36.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.3071 | μmol/L | 29.6722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.821 | 143607.1886 | 270234.1834 | 33.25 | 75.7
107780 | 2021-04-23 16:10 | 36.34 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.1703 | μmol/L | 29.6599 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.834 | 143681.6142 | 270238.3763 | 33.25 | 75.7
107790 | 2021-04-23 16:10 | 36.6737 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.9609 | μmol/L | 29.6845 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.839 | 143745.888 | 270230.1783 | 33.25 | 75.7
107800 | 2021-04-23 16:11 | 37.007 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 179.0857 | μmol/L | 29.6291 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.85 | 143824.1439 | 270252.1097 | 33.25 | 75.7
107810 | 2021-04-23 16:11 | 37.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.7952 | μmol/L | 29.666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.856 | 143873.2353 | 270241.2834 | 33.25 | 75.7
107820 | 2021-04-23 16:11 | 37.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.4794 | μmol/L | 29.6845 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.87 | 143977.7366 | 270248.2751 | 33.25 | 75.7
107830 | 2021-04-23 16:12 | 38.0068 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.8061 | μmol/L | 29.7645 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.886 | 144075.9528 | 270245.8321 | 33.25 | 75.7
107840 | 2021-04-23 16:12 | 38.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.4574 | μmol/L | 29.6537 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.882 | 144098.745 | 270248.6654 | 33.25 | 75.7
107850 | 2021-04-23 16:12 | 38.6734 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 178.2143 | μmol/L | 29.6906 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.885 | 144122.4376 | 270246.9314 | 33.25 | 75.7
107860 | 2021-04-23 16:13 | 39.0069 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.7717 | μmol/L | 29.6722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.92 | 144368.1036 | 270248.594 | 33.25 | 75.7
107870 | 2021-04-23 16:13 | 39.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.7209 | μmol/L | 29.6353 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.936 | 144467.5817 | 270262.6076 | 33.25 | 75.7
107880 | 2021-04-23 16:13 | 39.6741 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.5423 | μmol/L | 29.666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.937 | 144503.5337 | 270250.2074 | 33.25 | 75.7
107890 | 2021-04-23 16:14 | 40.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.4419 | μmol/L | 29.6414 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.952 | 144604.1546 | 270273.1843 | 33.25 | 75.7
107900 | 2021-04-23 16:14 | 40.3401 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.6547 | μmol/L | 29.5983 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.953 | 144620.8721 | 270263.4243 | 33.25 | 75.7
107910 | 2021-04-23 16:14 | 40.6738 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.4609 | μmol/L | 29.6291 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.955 | 144640.3524 | 270261.4737 | 33.25 | 75.7
107920 | 2021-04-23 16:15 | 41.0067 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 177.0449 | μmol/L | 29.6845 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.963 | 144721.8428 | 270275.0153 | 33.25 | 75.7
107930 | 2021-04-23 16:15 | 41.3407 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.897 | μmol/L | 29.666 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.979 | 144808.5771 | 270278.3845 | 33.25 | 75.7
107940 | 2021-04-23 16:15 | 41.6735 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.8468 | μmol/L | 29.6291 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.995 | 144926.0224 | 270267.5201 | 33.25 | 75.7
107950 | 2021-04-23 16:16 | 42.0066 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.7818 | μmol/L | 29.6168 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.003 | 144969.7053 | 270282.0047 | 33.25 | 75.7
107960 | 2021-04-23 16:16 | 42.3399 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.837 | μmol/L | 29.6106 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.002 | 145002.5791 | 270285.4195 | 33.25 | 75.7
107970 | 2021-04-23 16:16 | 42.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.4778 | μmol/L | 29.6353 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.017 | 145105.9103 | 270281.9472 | 33.25 | 75.7
107980 | 2021-04-23 16:17 | 43.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.3024 | μmol/L | 29.6353 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.028 | 145198.3976 | 270283.4195 | 33.25 | 75.7
107990 | 2021-04-23 16:17 | 43.3402 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.388 | μmol/L | 29.6045 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.033 | 145250.6464 | 270295.0083 | 33.25 | 75.7
108000 | 2021-04-23 16:17 | 43.6734 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.1477 | μmol/L | 29.6168 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.045 | 145336.9139 | 270289.6369 | 33.25 | 75.7
108010 | 2021-04-23 16:18 | 44.0073 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 176.0507 | μmol/L | 29.6106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.053 | 145382.1495 | 270293.7306 | 33.25 | 75.7
108020 | 2021-04-23 16:18 | 44.3403 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.8833 | μmol/L | 29.6106 | °C | 1012 | hPa | Humid | 28 | 0 | 0 | 22.064 | 145453.7137 | 270296.5331 | 33.25 | 75.7
108030 | 2021-04-23 16:18 | 44.674 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.6609 | μmol/L | 29.6168 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.077 | 145557.6414 | 270295.6766 | 33.25 | 75.7
108040 | 2021-04-23 16:19 | 45.0072 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 175.6494 | μmol/L | 29.6045 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.082 | 145603.0921 | 270306.975 | 33.25 | 75.7