## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 16:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
106706 | 2021-04-23 15:34 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.1289 | μmol/L | 29.1283 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.916 | 121608.9179 | 294520.3543 | 59.9307 | 38.1
106713 | 2021-04-23 15:34 | 0.33809 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.9577 | μmol/L | 29.2692 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 20.993 | 122158.4446 | 294513.0251 | 59.9307 | 38.1
106720 | 2021-04-23 15:34 | 0.67126 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.1453 | μmol/L | 29.2447 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.048 | 122490.8249 | 294500.0874 | 59.9307 | 38.1
106727 | 2021-04-23 15:35 | 1.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.471 | μmol/L | 29.2508 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.085 | 122790.0983 | 294498.3881 | 59.9307 | 38.1
106734 | 2021-04-23 15:35 | 1.3381 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.0722 | μmol/L | 29.3121 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.146 | 123157.0693 | 294471.3805 | 59.9307 | 38.1
106741 | 2021-04-23 15:35 | 1.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.3252 | μmol/L | 29.2937 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.196 | 123457.5996 | 294450.3063 | 59.9307 | 38.1
106751 | 2021-04-23 15:36 | 2.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.6458 | μmol/L | 29.2998 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.234 | 123833.1379 | 294461.5887 | 59.9307 | 38.1
106761 | 2021-04-23 15:36 | 2.3381 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9734 | μmol/L | 29.2814 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.28 | 124140.516 | 294441.1734 | 59.9307 | 38.1
106771 | 2021-04-23 15:36 | 2.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.3503 | μmol/L | 29.2876 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.315 | 124365.8757 | 294424.9964 | 59.9307 | 38.1
106781 | 2021-04-23 15:37 | 3.0046 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.6585 | μmol/L | 29.3182 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.346 | 124559.6641 | 294420.3461 | 59.9307 | 38.1
106791 | 2021-04-23 15:37 | 3.3379 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.2226 | μmol/L | 29.3304 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.368 | 124688.3549 | 294404.7614 | 59.9307 | 38.1
106801 | 2021-04-23 15:37 | 3.6713 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.6173 | μmol/L | 29.3672 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.392 | 124841.2919 | 294389.0417 | 59.9307 | 38.1
106811 | 2021-04-23 15:38 | 4.0044 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.4394 | μmol/L | 29.3427 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.411 | 124962.8643 | 294378.2157 | 59.9307 | 38.1
106821 | 2021-04-23 15:38 | 4.3376 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.54 | μmol/L | 29.4652 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.424 | 125018.3762 | 294372.5771 | 59.9307 | 38.1
106831 | 2021-04-23 15:38 | 4.6715 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.3988 | μmol/L | 29.4285 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.445 | 125116.0425 | 294350.957 | 59.9307 | 38.1
106841 | 2021-04-23 15:39 | 5.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.0709 | μmol/L | 29.4223 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.467 | 125249.3955 | 294350.314 | 59.9307 | 38.1
106851 | 2021-04-23 15:39 | 5.3379 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.8514 | μmol/L | 29.453 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.47 | 125272.0611 | 294347.1483 | 59.9307 | 38.1
106861 | 2021-04-23 15:39 | 5.6711 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.0581 | μmol/L | 29.4897 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.506 | 125485.2179 | 294336.4908 | 59.9307 | 38.1
106871 | 2021-04-23 15:40 | 6.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.9614 | μmol/L | 29.4836 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.514 | 125505.983 | 294313.1176 | 59.9307 | 38.1
106881 | 2021-04-23 15:40 | 6.3381 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.426 | μmol/L | 29.551 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.524 | 125587.1424 | 294325.5223 | 59.9307 | 38.1
106891 | 2021-04-23 15:40 | 6.6712 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.8986 | μmol/L | 29.4713 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.522 | 125553.7216 | 294313.0185 | 59.9307 | 38.1
106901 | 2021-04-23 15:41 | 7.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.1621 | μmol/L | 29.5694 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.534 | 125655.866 | 294298.8923 | 59.9307 | 38.1
106911 | 2021-04-23 15:41 | 7.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.7806 | μmol/L | 29.5326 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.57 | 125877.1839 | 294278.3861 | 59.9307 | 38.1
106921 | 2021-04-23 15:41 | 7.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.0588 | μmol/L | 29.5081 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.623 | 126178.5791 | 294275.1378 | 59.9307 | 38.1
106931 | 2021-04-23 15:42 | 8.004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.5665 | μmol/L | 29.6245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.614 | 126164.9829 | 294271.6178 | 59.9307 | 38.1
106941 | 2021-04-23 15:42 | 8.3381 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.651 | μmol/L | 29.6061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.615 | 126170.6297 | 294271.0161 | 59.9307 | 38.1
106951 | 2021-04-23 15:42 | 8.6712 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.3997 | μmol/L | 29.4223 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.631 | 126273.918 | 294262.8634 | 59.9307 | 38.1
106961 | 2021-04-23 15:43 | 9.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.4045 | μmol/L | 29.6306 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.622 | 126211.0055 | 294240.7562 | 59.9307 | 38.1
106971 | 2021-04-23 15:43 | 9.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.146 | μmol/L | 29.4775 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.628 | 126249.677 | 294237.5065 | 59.9307 | 38.1
106981 | 2021-04-23 15:43 | 9.6712 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.5469 | μmol/L | 29.6 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.686 | 126575.2507 | 294237.0067 | 59.9307 | 38.1
106991 | 2021-04-23 15:44 | 10.0044 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.4068 | μmol/L | 29.5142 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.724 | 126820.2858 | 294242.3253 | 59.9307 | 38.1
107001 | 2021-04-23 15:44 | 10.3382 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.1403 | μmol/L | 29.6367 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.762 | 127018.1211 | 294231.653 | 59.9307 | 38.1
107011 | 2021-04-23 15:44 | 10.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.2026 | μmol/L | 29.502 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.741 | 126978.4402 | 294238.5088 | 59.9307 | 38.1
107021 | 2021-04-23 15:45 | 11.0047 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.2653 | μmol/L | 29.5081 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.798 | 127264.9572 | 294233.0707 | 59.9307 | 38.1
107031 | 2021-04-23 15:45 | 11.3378 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.0728 | μmol/L | 29.5203 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.806 | 127330.5828 | 294220.2438 | 59.9307 | 38.1
107041 | 2021-04-23 15:45 | 11.6711 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.4871 | μmol/L | 29.5755 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.761 | 127094.6262 | 294209.7065 | 59.9307 | 38.1
107051 | 2021-04-23 15:46 | 12.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.5244 | μmol/L | 29.551 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.767 | 127133.0548 | 294214.9876 | 59.9307 | 38.1
107061 | 2021-04-23 15:46 | 12.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.1332 | μmol/L | 29.6306 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.828 | 127462.2554 | 294211.2697 | 59.9307 | 38.1
107071 | 2021-04-23 15:46 | 12.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.9524 | μmol/L | 29.6 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.85 | 127595.5776 | 294216.5416 | 59.9307 | 38.1
107081 | 2021-04-23 15:47 | 13.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.2423 | μmol/L | 29.5694 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.842 | 127592.3813 | 294197.3528 | 59.9307 | 38.1
107091 | 2021-04-23 15:47 | 13.3377 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.9793 | μmol/L | 29.6184 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.842 | 127607.557 | 294184.8572 | 59.9307 | 38.1
107101 | 2021-04-23 15:47 | 13.6707 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.628 | μmol/L | 29.5816 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.877 | 127796.3307 | 294191.533 | 59.9307 | 38.1
107111 | 2021-04-23 15:48 | 14.0048 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.8643 | μmol/L | 29.5755 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.864 | 127730.5342 | 294185.9877 | 59.9307 | 38.1
107121 | 2021-04-23 15:48 | 14.338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.245 | μmol/L | 29.551 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.912 | 127994.0876 | 294162.7843 | 59.9307 | 38.1
107131 | 2021-04-23 15:48 | 14.6712 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.4859 | μmol/L | 29.6 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.944 | 128189.4619 | 294175.8491 | 59.9307 | 38.1
107141 | 2021-04-23 15:49 | 15.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.2037 | μmol/L | 29.6122 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.958 | 128292.0084 | 294173.4221 | 59.9307 | 38.1
107151 | 2021-04-23 15:49 | 15.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.1433 | μmol/L | 29.6061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.964 | 128318.7047 | 294175.8883 | 59.9307 | 38.1
107161 | 2021-04-23 15:49 | 15.6715 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.5883 | μmol/L | 29.5632 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.95 | 128266.5493 | 294167.1575 | 59.9307 | 38.1
107171 | 2021-04-23 15:50 | 16.0048 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.8961 | μmol/L | 29.5755 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.926 | 128126.4418 | 294161.0629 | 59.9307 | 38.1
107181 | 2021-04-23 15:50 | 16.338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 177.6071 | μmol/L | 29.6122 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.932 | 128169.1064 | 294156.9738 | 59.9307 | 38.1
107191 | 2021-04-23 15:50 | 16.6712 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.8788 | μmol/L | 29.6122 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.979 | 128432.4329 | 294155.9886 | 59.9307 | 38.1
107201 | 2021-04-23 15:51 | 17.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.5514 | μmol/L | 29.6245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.996 | 128537.1366 | 294148.8701 | 59.9307 | 38.1
107211 | 2021-04-23 15:51 | 17.3379 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.5268 | μmol/L | 29.6 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.006 | 128592.5168 | 294150.9307 | 59.9307 | 38.1
107221 | 2021-04-23 15:51 | 17.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.1202 | μmol/L | 29.6245 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.024 | 128698.21 | 294135.0509 | 59.9307 | 38.1
107231 | 2021-04-23 15:52 | 18.0048 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.3526 | μmol/L | 29.6184 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.011 | 128649.2704 | 294145.4988 | 59.9307 | 38.1
107241 | 2021-04-23 15:52 | 18.3379 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 176.6024 | μmol/L | 29.6061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 21.999 | 128574.5245 | 294124.826 | 59.9307 | 38.1
107251 | 2021-04-23 15:52 | 18.6715 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.8929 | μmol/L | 29.6122 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.043 | 128826.8656 | 294123.3975 | 59.9307 | 38.1
107261 | 2021-04-23 15:53 | 19.0048 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.7675 | μmol/L | 29.5632 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.068 | 129003.1831 | 294114.2502 | 59.9307 | 38.1
107271 | 2021-04-23 15:53 | 19.3381 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.6455 | μmol/L | 29.502 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.097 | 129140.1965 | 294099.6797 | 59.9307 | 38.1
107281 | 2021-04-23 15:53 | 19.6713 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.1933 | μmol/L | 29.5939 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.095 | 129135.6224 | 294106.3135 | 59.9307 | 38.1
107291 | 2021-04-23 15:54 | 20.0047 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.6014 | μmol/L | 29.698 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.098 | 129154.078 | 294094.4992 | 59.9307 | 38.1
107301 | 2021-04-23 15:54 | 20.3381 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.6423 | μmol/L | 29.5142 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.093 | 129145.4539 | 294104.9406 | 59.9307 | 38.1
107311 | 2021-04-23 15:54 | 20.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.6328 | μmol/L | 29.551 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.081 | 129081.6598 | 294099.7736 | 59.9307 | 38.1
107321 | 2021-04-23 15:55 | 21.0048 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.0672 | μmol/L | 29.551 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.118 | 129257.9481 | 294088.8815 | 59.9307 | 38.1
107331 | 2021-04-23 15:55 | 21.3377 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.7174 | μmol/L | 29.6061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.122 | 129330.4523 | 294079.3026 | 59.9307 | 38.1
107341 | 2021-04-23 15:55 | 21.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.5467 | μmol/L | 29.5877 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.074 | 129062.4456 | 294077.2381 | 59.9307 | 38.1
107351 | 2021-04-23 15:56 | 22.0048 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.5588 | μmol/L | 29.6 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.069 | 129019.268 | 294070.6875 | 59.9307 | 38.1
107361 | 2021-04-23 15:56 | 22.3377 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.5435 | μmol/L | 29.6 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.07 | 128989.979 | 294059.7866 | 59.9307 | 38.1
107371 | 2021-04-23 15:56 | 22.6715 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.8703 | μmol/L | 29.6613 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.093 | 129132.0096 | 294058.2451 | 59.9307 | 38.1
107381 | 2021-04-23 15:57 | 23.0044 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.4242 | μmol/L | 29.5877 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.082 | 129111.8814 | 294053.4109 | 59.9307 | 38.1
107391 | 2021-04-23 15:57 | 23.3376 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.8392 | μmol/L | 29.6061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.114 | 129293.1863 | 294046.3223 | 59.9307 | 38.1
107401 | 2021-04-23 15:57 | 23.6715 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.3996 | μmol/L | 29.6 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.145 | 129486.4977 | 294053.4885 | 59.9307 | 38.1
107411 | 2021-04-23 15:58 | 24.0047 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.0913 | μmol/L | 29.5755 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.108 | 129273.8117 | 294061.4049 | 59.9307 | 38.1
107421 | 2021-04-23 15:58 | 24.3379 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 175.1797 | μmol/L | 29.5877 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.098 | 129239.6948 | 294057.719 | 59.9307 | 38.1
107431 | 2021-04-23 15:58 | 24.6713 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.75 | μmol/L | 29.6551 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.103 | 129245.7353 | 294064.1126 | 59.9307 | 38.1
107441 | 2021-04-23 15:59 | 25.0044 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.0748 | μmol/L | 29.7348 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.12 | 129331.9536 | 294041.7564 | 59.9307 | 38.1
107451 | 2021-04-23 15:59 | 25.3378 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.2636 | μmol/L | 29.7103 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.116 | 129348.7791 | 294052.5173 | 59.9307 | 38.1
107461 | 2021-04-23 15:59 | 25.6711 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.3729 | μmol/L | 29.6429 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.132 | 129446.6494 | 294056.7196 | 59.9307 | 38.1
107471 | 2021-04-23 16:00 | 26.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.0559 | μmol/L | 29.6367 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.155 | 129576.9924 | 294056.3124 | 59.9307 | 38.1
107481 | 2021-04-23 16:00 | 26.3376 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.2901 | μmol/L | 29.6122 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.148 | 129546.5 | 294047.4368 | 59.9307 | 38.1
107491 | 2021-04-23 16:00 | 26.6715 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 174.4132 | μmol/L | 29.6061 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.142 | 129560.9768 | 294068.9169 | 59.9307 | 38.1
107501 | 2021-04-23 16:01 | 27.0047 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.5953 | μmol/L | 29.6613 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.177 | 129720.5135 | 294067.6971 | 59.9307 | 38.1
107511 | 2021-04-23 16:01 | 27.338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.0171 | μmol/L | 29.6796 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.209 | 129918.5821 | 294077.712 | 59.9307 | 38.1
107521 | 2021-04-23 16:01 | 27.6711 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.8403 | μmol/L | 29.6122 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.244 | 130110.5212 | 294077.1615 | 59.9307 | 38.1
107531 | 2021-04-23 16:02 | 28.0042 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.0221 | μmol/L | 29.698 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.269 | 130282.0803 | 294084.27 | 59.9307 | 38.1
107541 | 2021-04-23 16:02 | 28.3381 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.9453 | μmol/L | 29.6674 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.218 | 130053.6938 | 294088.8512 | 59.9307 | 38.1
107551 | 2021-04-23 16:02 | 28.6713 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.1512 | μmol/L | 29.5755 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.236 | 130140.5324 | 294098.9625 | 59.9307 | 38.1
107561 | 2021-04-23 16:03 | 29.0044 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 173.1929 | μmol/L | 29.6429 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.21 | 130049.4043 | 294104.0309 | 59.9307 | 38.1
107571 | 2021-04-23 16:03 | 29.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.5081 | μmol/L | 29.6735 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.245 | 130209.8007 | 294091.8326 | 59.9307 | 38.1
107581 | 2021-04-23 16:03 | 29.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.6323 | μmol/L | 29.7041 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.293 | 130466.031 | 294075.2263 | 59.9307 | 38.1
107591 | 2021-04-23 16:04 | 30.0048 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.9095 | μmol/L | 29.6735 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.285 | 130484.6284 | 294102.6793 | 59.9307 | 38.1
107601 | 2021-04-23 16:04 | 30.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.0669 | μmol/L | 29.698 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.266 | 130439.5015 | 294100.5899 | 59.9307 | 38.1
107611 | 2021-04-23 16:04 | 30.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 172.3565 | μmol/L | 29.6796 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.253 | 130370.9404 | 294090.9227 | 59.9307 | 38.1
107621 | 2021-04-23 16:05 | 31.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.6735 | μmol/L | 29.7164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.286 | 130546.3008 | 294110.1509 | 59.9307 | 38.1
107631 | 2021-04-23 16:05 | 31.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 171.3231 | μmol/L | 29.6919 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.318 | 130704.3138 | 294098.8895 | 59.9307 | 38.1
107641 | 2021-04-23 16:05 | 31.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.9684 | μmol/L | 29.6858 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.344 | 130862.5777 | 294109.1945 | 59.9307 | 38.1
107651 | 2021-04-23 16:06 | 32.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.0193 | μmol/L | 29.796 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.37 | 131008.1185 | 294110.6946 | 59.9307 | 38.1
107661 | 2021-04-23 16:06 | 32.3377 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.8038 | μmol/L | 29.7777 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.391 | 131151.2113 | 294112.7193 | 59.9307 | 38.1
107671 | 2021-04-23 16:06 | 32.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.15 | μmol/L | 29.7532 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.376 | 131113.3619 | 294125.1924 | 59.9307 | 38.1
107681 | 2021-04-23 16:07 | 33.0048 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.8314 | μmol/L | 29.698 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.349 | 131023.8034 | 294124.2317 | 59.9307 | 38.1
107691 | 2021-04-23 16:07 | 33.3378 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.604 | μmol/L | 29.7164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.358 | 131083.4403 | 294134.7585 | 59.9307 | 38.1
107701 | 2021-04-23 16:07 | 33.6713 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.9745 | μmol/L | 29.698 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.407 | 131313.4369 | 294148.0698 | 59.9307 | 38.1
107711 | 2021-04-23 16:08 | 34.0047 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.8064 | μmol/L | 29.6306 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.374 | 131203.6993 | 294149.1039 | 59.9307 | 38.1
107721 | 2021-04-23 16:08 | 34.3379 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 170.3858 | μmol/L | 29.7041 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.377 | 131245.8859 | 294138.0488 | 59.9307 | 38.1
107731 | 2021-04-23 16:08 | 34.671 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.8492 | μmol/L | 29.6735 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.424 | 131506.9025 | 294147.6727 | 59.9307 | 38.1
107741 | 2021-04-23 16:09 | 35.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 169.9192 | μmol/L | 29.6858 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.415 | 131488.9829 | 294149.3135 | 59.9307 | 38.1
107751 | 2021-04-23 16:09 | 35.3376 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.5328 | μmol/L | 29.7654 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.482 | 131783.883 | 294158.4265 | 59.9307 | 38.1
107761 | 2021-04-23 16:09 | 35.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.3415 | μmol/L | 29.7715 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.493 | 131873.4377 | 294148.5684 | 59.9307 | 38.1
107771 | 2021-04-23 16:10 | 36.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.9802 | μmol/L | 29.7348 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.462 | 131775.6445 | 294164.3793 | 59.9307 | 38.1
107781 | 2021-04-23 16:10 | 36.3376 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.6678 | μmol/L | 29.7532 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.477 | 131845.8826 | 294161.2996 | 59.9307 | 38.1
107791 | 2021-04-23 16:10 | 36.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.7519 | μmol/L | 29.7164 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.484 | 131900.4236 | 294159.8514 | 59.9307 | 38.1
107801 | 2021-04-23 16:11 | 37.0048 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.156 | μmol/L | 29.7593 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.51 | 132068.3275 | 294158.9125 | 59.9307 | 38.1
107811 | 2021-04-23 16:11 | 37.3379 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.7981 | μmol/L | 29.7899 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.524 | 132147.0587 | 294165.9155 | 59.9307 | 38.1
107821 | 2021-04-23 16:11 | 37.6711 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.7695 | μmol/L | 29.7409 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.543 | 132239.3558 | 294173.8935 | 59.9307 | 38.1
107831 | 2021-04-23 16:12 | 38.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.8472 | μmol/L | 29.7715 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.527 | 132217.2699 | 294181.2439 | 59.9307 | 38.1
107841 | 2021-04-23 16:12 | 38.3376 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.9905 | μmol/L | 29.7777 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.515 | 132202.5491 | 294185.4218 | 59.9307 | 38.1
107851 | 2021-04-23 16:12 | 38.6711 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 168.0871 | μmol/L | 29.747 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.519 | 132223.4543 | 294194.6504 | 59.9307 | 38.1
107861 | 2021-04-23 16:13 | 39.0045 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.5755 | μmol/L | 29.7593 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.55 | 132360.5599 | 294182.6578 | 59.9307 | 38.1
107871 | 2021-04-23 16:13 | 39.3374 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.4948 | μmol/L | 29.6919 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.579 | 132523.4988 | 294212.5633 | 59.9307 | 38.1
107881 | 2021-04-23 16:13 | 39.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 167.1888 | μmol/L | 29.747 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.581 | 132537.7031 | 294195.3277 | 59.9307 | 38.1
107891 | 2021-04-23 16:14 | 40.004 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.6615 | μmol/L | 29.8205 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.592 | 132624.5923 | 294185.0247 | 59.9307 | 38.1
107901 | 2021-04-23 16:14 | 40.3377 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.53 | μmol/L | 29.7348 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.631 | 132834.3915 | 294215.9518 | 59.9307 | 38.1
107911 | 2021-04-23 16:14 | 40.6708 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.7506 | μmol/L | 29.7654 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.605 | 132733.8181 | 294208.0957 | 59.9307 | 38.1
107921 | 2021-04-23 16:15 | 41.0048 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.1272 | μmol/L | 29.7838 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.642 | 132932.7343 | 294206.4651 | 59.9307 | 38.1
107931 | 2021-04-23 16:15 | 41.3379 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 166.4046 | μmol/L | 29.7225 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.644 | 132949.0815 | 294210.8305 | 59.9307 | 38.1
107941 | 2021-04-23 16:15 | 41.6709 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.8439 | μmol/L | 29.7286 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.681 | 133154.2629 | 294197.645 | 59.9307 | 38.1
107951 | 2021-04-23 16:16 | 42.0041 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.6667 | μmol/L | 29.747 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.687 | 133209.6252 | 294206.7175 | 59.9307 | 38.1
107961 | 2021-04-23 16:16 | 42.338 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.5972 | μmol/L | 29.7409 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.694 | 133245.4594 | 294213.3634 | 59.9307 | 38.1
107971 | 2021-04-23 16:16 | 42.6711 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.3691 | μmol/L | 29.7409 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.71 | 133356.5832 | 294224.6821 | 59.9307 | 38.1
107981 | 2021-04-23 16:17 | 43.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.4862 | μmol/L | 29.6858 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.721 | 133443.0357 | 294224.7478 | 59.9307 | 38.1
107991 | 2021-04-23 16:17 | 43.3381 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.3633 | μmol/L | 29.7593 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.704 | 133356.3971 | 294223.1443 | 59.9307 | 38.1
108001 | 2021-04-23 16:17 | 43.6714 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.2622 | μmol/L | 29.8083 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.694 | 133334.3983 | 294220.7494 | 59.9307 | 38.1
108011 | 2021-04-23 16:18 | 44.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.9574 | μmol/L | 29.6858 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.688 | 133361.8358 | 294225.2081 | 59.9307 | 38.1
108021 | 2021-04-23 16:18 | 44.3375 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.6439 | μmol/L | 29.7286 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.695 | 133414.3948 | 294241.0035 | 59.9307 | 38.1
108031 | 2021-04-23 16:18 | 44.6713 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 165.1963 | μmol/L | 29.747 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.72 | 133518.0133 | 294246.6645 | 59.9307 | 38.1
108041 | 2021-04-23 16:19 | 45.0043 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 164.7964 | μmol/L | 29.7532 | °C | 1012 | hPa | Humid | 28 | 1 | 0 | 22.746 | 133679.2683 | 294248.4724 | 59.9307 | 38.1