## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 16:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
106708 | 2021-04-23 15:34 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.6484 | μmol/L | 28.9227 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.769 | 88415.5828 | 291162.3991 | 28.7 | 67.6
106715 | 2021-04-23 15:34 | 0.32834 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.146 | μmol/L | 29.0935 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.908 | 89111.61 | 291153.4061 | 28.7 | 67.6
106722 | 2021-04-23 15:34 | 0.66159 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.9062 | μmol/L | 29.1545 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.015 | 89626.5815 | 291146.1209 | 28.7 | 67.6
106729 | 2021-04-23 15:35 | 0.99539 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.6023 | μmol/L | 29.1484 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.092 | 90015.5743 | 291151.0196 | 28.7 | 67.6
106736 | 2021-04-23 15:35 | 1.3285 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.5455 | μmol/L | 29.1789 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.143 | 90249.8332 | 291120.1646 | 28.7 | 67.6
106743 | 2021-04-23 15:35 | 1.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.8742 | μmol/L | 29.1911 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.178 | 90449.3593 | 291111.3511 | 28.7 | 67.6
106753 | 2021-04-23 15:36 | 1.9952 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.2074 | μmol/L | 29.1911 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.217 | 90599.7986 | 291077.8776 | 28.7 | 67.6
106763 | 2021-04-23 15:36 | 2.3284 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.7118 | μmol/L | 29.2033 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.242 | 90709.4516 | 291079.3429 | 28.7 | 67.6
106773 | 2021-04-23 15:36 | 2.6615 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.0768 | μmol/L | 29.2521 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.263 | 90808.1682 | 291061.0488 | 28.7 | 67.6
106783 | 2021-04-23 15:37 | 2.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.9074 | μmol/L | 29.2521 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.273 | 90892.3687 | 291052.9274 | 28.7 | 67.6
106793 | 2021-04-23 15:37 | 3.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.2264 | μmol/L | 29.2888 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.301 | 91003.6142 | 291069.4039 | 28.7 | 67.6
106803 | 2021-04-23 15:37 | 3.6617 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.9729 | μmol/L | 29.2949 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.314 | 91080.9198 | 291056.6919 | 28.7 | 67.6
106813 | 2021-04-23 15:38 | 3.9949 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.5145 | μmol/L | 29.3254 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.331 | 91151.8756 | 291043.5618 | 28.7 | 67.6
106823 | 2021-04-23 15:38 | 4.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.4483 | μmol/L | 29.3193 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.337 | 91191.6349 | 291025.5804 | 28.7 | 67.6
106833 | 2021-04-23 15:38 | 4.6619 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.0926 | μmol/L | 29.3437 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.35 | 91226.9991 | 291011.1379 | 28.7 | 67.6
106843 | 2021-04-23 15:39 | 4.995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.0257 | μmol/L | 29.3437 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.354 | 91271.275 | 290988.254 | 28.7 | 67.6
106853 | 2021-04-23 15:39 | 5.3281 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.6885 | μmol/L | 29.362 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.368 | 91318.4108 | 291002.4032 | 28.7 | 67.6
106863 | 2021-04-23 15:39 | 5.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.3146 | μmol/L | 29.4047 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.376 | 91362.3557 | 290983.5786 | 28.7 | 67.6
106873 | 2021-04-23 15:40 | 5.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.0972 | μmol/L | 29.4108 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.387 | 91406.6508 | 290968.1417 | 28.7 | 67.6
106883 | 2021-04-23 15:40 | 6.3284 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.879 | μmol/L | 29.423 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.396 | 91451.56 | 290989.9304 | 28.7 | 67.6
106893 | 2021-04-23 15:40 | 6.6615 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.9164 | μmol/L | 29.3986 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.402 | 91474.3003 | 290952.3025 | 28.7 | 67.6
106903 | 2021-04-23 15:41 | 6.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.3719 | μmol/L | 29.4779 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.408 | 91525.5444 | 290955.8488 | 28.7 | 67.6
106913 | 2021-04-23 15:41 | 7.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.1193 | μmol/L | 29.5023 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.415 | 91571.7569 | 290949.8451 | 28.7 | 67.6
106923 | 2021-04-23 15:41 | 7.6618 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.7999 | μmol/L | 29.5328 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.424 | 91617.6715 | 290948.4356 | 28.7 | 67.6
106933 | 2021-04-23 15:42 | 7.995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.4163 | μmol/L | 29.5572 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.439 | 91687.2473 | 290957.6099 | 28.7 | 67.6
106943 | 2021-04-23 15:42 | 8.3282 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.3912 | μmol/L | 29.5145 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.455 | 91752.2738 | 290944.8631 | 28.7 | 67.6
106953 | 2021-04-23 15:42 | 8.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.221 | μmol/L | 29.545 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.455 | 91797.5351 | 290932.6121 | 28.7 | 67.6
106963 | 2021-04-23 15:43 | 8.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.106 | μmol/L | 29.545 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.462 | 91822.3085 | 290908.8261 | 28.7 | 67.6
106973 | 2021-04-23 15:43 | 9.3285 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.3917 | μmol/L | 29.5939 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.489 | 91914.4117 | 290924.7911 | 28.7 | 67.6
106983 | 2021-04-23 15:43 | 9.6617 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.3555 | μmol/L | 29.6122 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.485 | 91943.5066 | 290924.908 | 28.7 | 67.6
106993 | 2021-04-23 15:44 | 9.9951 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.1127 | μmol/L | 29.6 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.504 | 92013.6612 | 290915.0028 | 28.7 | 67.6
107003 | 2021-04-23 15:44 | 10.3282 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.9308 | μmol/L | 29.6122 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.511 | 92050.0781 | 290901.2378 | 28.7 | 67.6
107013 | 2021-04-23 15:44 | 10.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.5025 | μmol/L | 29.6366 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.529 | 92112.4397 | 290908.9377 | 28.7 | 67.6
107023 | 2021-04-23 15:45 | 10.9952 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.5175 | μmol/L | 29.6427 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.526 | 92144.4476 | 290899.4788 | 28.7 | 67.6
107033 | 2021-04-23 15:45 | 11.3284 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.6116 | μmol/L | 29.7098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.559 | 92256.6298 | 290892.5852 | 28.7 | 67.6
107043 | 2021-04-23 15:45 | 11.6615 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.7013 | μmol/L | 29.6671 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.568 | 92323.3435 | 290886.6859 | 28.7 | 67.6
107053 | 2021-04-23 15:46 | 11.9952 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.7099 | μmol/L | 29.6244 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.582 | 92385.5592 | 290878.636 | 28.7 | 67.6
107063 | 2021-04-23 15:46 | 12.3283 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.2042 | μmol/L | 29.6488 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.605 | 92484.4791 | 290848.5156 | 28.7 | 67.6
107073 | 2021-04-23 15:46 | 12.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.9934 | μmol/L | 29.6549 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.616 | 92549.5277 | 290857.3926 | 28.7 | 67.6
107083 | 2021-04-23 15:47 | 12.995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.538 | μmol/L | 29.6793 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.636 | 92653.5903 | 290847.2313 | 28.7 | 67.6
107093 | 2021-04-23 15:47 | 13.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.28 | μmol/L | 29.6854 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.65 | 92715.4937 | 290847.2268 | 28.7 | 67.6
107103 | 2021-04-23 15:47 | 13.6617 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.1211 | μmol/L | 29.6793 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.662 | 92787.7013 | 290836.8746 | 28.7 | 67.6
107113 | 2021-04-23 15:48 | 13.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.0557 | μmol/L | 29.6854 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.664 | 92797.8601 | 290840.8986 | 28.7 | 67.6
107123 | 2021-04-23 15:48 | 14.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.9277 | μmol/L | 29.6854 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.672 | 92818.5587 | 290850.8671 | 28.7 | 67.6
107133 | 2021-04-23 15:48 | 14.6618 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.8132 | μmol/L | 29.6976 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.675 | 92860.2426 | 290848.9398 | 28.7 | 67.6
107143 | 2021-04-23 15:49 | 14.9949 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.7959 | μmol/L | 29.7037 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.674 | 92851.2984 | 290828.3591 | 28.7 | 67.6
107153 | 2021-04-23 15:49 | 15.3283 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.6175 | μmol/L | 29.7159 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.681 | 92903.06 | 290834.5754 | 28.7 | 67.6
107163 | 2021-04-23 15:49 | 15.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.357 | μmol/L | 29.7403 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.689 | 92925.2266 | 290834.9982 | 28.7 | 67.6
107173 | 2021-04-23 15:50 | 15.9953 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.2787 | μmol/L | 29.7342 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.696 | 92940.1336 | 290816.8429 | 28.7 | 67.6
107183 | 2021-04-23 15:50 | 16.3283 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.2349 | μmol/L | 29.7159 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.705 | 93010.8745 | 290812.7118 | 28.7 | 67.6
107193 | 2021-04-23 15:50 | 16.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.1634 | μmol/L | 29.6793 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.722 | 93132.2234 | 290813.2847 | 28.7 | 67.6
107203 | 2021-04-23 15:51 | 16.9948 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.6933 | μmol/L | 29.722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.737 | 93169.6656 | 290803.1348 | 28.7 | 67.6
107213 | 2021-04-23 15:51 | 17.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.1879 | μmol/L | 29.7159 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.771 | 93312.1763 | 290800.371 | 28.7 | 67.6
107223 | 2021-04-23 15:51 | 17.6617 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.2395 | μmol/L | 29.6976 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.774 | 93318.3774 | 290783.4453 | 28.7 | 67.6
107233 | 2021-04-23 15:52 | 17.9948 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.1577 | μmol/L | 29.7098 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.775 | 93341.7037 | 290787.0284 | 28.7 | 67.6
107243 | 2021-04-23 15:52 | 18.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.9153 | μmol/L | 29.7342 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.782 | 93369.3107 | 290769.5221 | 28.7 | 67.6
107253 | 2021-04-23 15:52 | 18.6617 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.7145 | μmol/L | 29.7159 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.801 | 93421.2374 | 290765.3584 | 28.7 | 67.6
107263 | 2021-04-23 15:53 | 18.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.5171 | μmol/L | 29.7525 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.801 | 93445.7658 | 290754.5538 | 28.7 | 67.6
107273 | 2021-04-23 15:53 | 19.3284 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.1384 | μmol/L | 29.7586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.823 | 93537.7451 | 290751.5854 | 28.7 | 67.6
107283 | 2021-04-23 15:53 | 19.6615 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.1955 | μmol/L | 29.7159 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.834 | 93583.985 | 290741.5629 | 28.7 | 67.6
107293 | 2021-04-23 15:54 | 19.9949 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.3455 | μmol/L | 29.7464 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.814 | 93525.2544 | 290742.0871 | 28.7 | 67.6
107303 | 2021-04-23 15:54 | 20.3283 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.07 | μmol/L | 29.7159 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.842 | 93641.2817 | 290731.5078 | 28.7 | 67.6
107313 | 2021-04-23 15:54 | 20.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 179.0514 | μmol/L | 29.7281 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.839 | 93630.0303 | 290729.3609 | 28.7 | 67.6
107323 | 2021-04-23 15:55 | 20.995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.6555 | μmol/L | 29.7464 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.858 | 93703.7939 | 290700.2979 | 28.7 | 67.6
107333 | 2021-04-23 15:55 | 21.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.3869 | μmol/L | 29.7586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.871 | 93759.6666 | 290705.3838 | 28.7 | 67.6
107343 | 2021-04-23 15:55 | 21.6619 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.3869 | μmol/L | 29.7586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.871 | 93796.4514 | 290695.1371 | 28.7 | 67.6
107353 | 2021-04-23 15:56 | 21.9951 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.6071 | μmol/L | 29.7525 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.859 | 93753.4195 | 290685.3011 | 28.7 | 67.6
107363 | 2021-04-23 15:56 | 22.3284 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.8548 | μmol/L | 29.6976 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.862 | 93788.1996 | 290693.0914 | 28.7 | 67.6
107373 | 2021-04-23 15:56 | 22.6615 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.4381 | μmol/L | 29.7403 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.874 | 93830.1412 | 290692.3365 | 28.7 | 67.6
107383 | 2021-04-23 15:57 | 22.9952 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 178.0126 | μmol/L | 29.7586 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.895 | 93918.2814 | 290675.9546 | 28.7 | 67.6
107393 | 2021-04-23 15:57 | 23.3282 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.6673 | μmol/L | 29.7708 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.913 | 93998.5451 | 290685.8161 | 28.7 | 67.6
107403 | 2021-04-23 15:57 | 23.6616 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.7591 | μmol/L | 29.7769 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.905 | 94006.1054 | 290686.3781 | 28.7 | 67.6
107413 | 2021-04-23 15:58 | 23.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.495 | μmol/L | 29.7769 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.922 | 94068.19 | 290689.1085 | 28.7 | 67.6
107423 | 2021-04-23 15:58 | 24.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 177.3679 | μmol/L | 29.7891 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.926 | 94091.4383 | 290681.4531 | 28.7 | 67.6
107433 | 2021-04-23 15:58 | 24.662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.4372 | μmol/L | 29.8013 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.982 | 94329.9756 | 290700.4303 | 28.7 | 67.6
107443 | 2021-04-23 15:59 | 24.9949 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.485 | μmol/L | 29.7952 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.981 | 94339.9733 | 290696.0517 | 28.7 | 67.6
107453 | 2021-04-23 15:59 | 25.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.9852 | μmol/L | 29.7708 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.957 | 94278.682 | 290698.355 | 28.7 | 67.6
107463 | 2021-04-23 15:59 | 25.6619 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.9463 | μmol/L | 29.7403 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.97 | 94323.757 | 290697.4625 | 28.7 | 67.6
107473 | 2021-04-23 16:00 | 25.995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.707 | μmol/L | 29.7708 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.975 | 94346.633 | 290701.5849 | 28.7 | 67.6
107483 | 2021-04-23 16:00 | 26.3282 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.3263 | μmol/L | 29.8136 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.985 | 94402.6929 | 290704.6393 | 28.7 | 67.6
107493 | 2021-04-23 16:00 | 26.6615 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.2508 | μmol/L | 29.8074 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.992 | 94450.7393 | 290717.2166 | 28.7 | 67.6
107503 | 2021-04-23 16:01 | 26.9948 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 176.0663 | μmol/L | 29.8074 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.004 | 94492.3984 | 290706.2267 | 28.7 | 67.6
107513 | 2021-04-23 16:01 | 27.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.6715 | μmol/L | 29.8502 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.015 | 94543.0193 | 290706.6523 | 28.7 | 67.6
107523 | 2021-04-23 16:01 | 27.6616 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.5458 | μmol/L | 29.8624 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.019 | 94608.2796 | 290721.0923 | 28.7 | 67.6
107533 | 2021-04-23 16:02 | 27.9949 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.3852 | μmol/L | 29.8319 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.04 | 94663.9555 | 290712.925 | 28.7 | 67.6
107543 | 2021-04-23 16:02 | 28.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.2613 | μmol/L | 29.838 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.046 | 94704.6405 | 290720.361 | 28.7 | 67.6
107553 | 2021-04-23 16:02 | 28.6617 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.4924 | μmol/L | 29.8319 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.033 | 94677.7396 | 290724.9655 | 28.7 | 67.6
107563 | 2021-04-23 16:03 | 28.9951 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.8627 | μmol/L | 29.8441 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.07 | 94821.1276 | 290719.1289 | 28.7 | 67.6
107573 | 2021-04-23 16:03 | 29.3281 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.0385 | μmol/L | 29.8136 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.069 | 94839.3784 | 290731.7631 | 28.7 | 67.6
107583 | 2021-04-23 16:03 | 29.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 175.0553 | μmol/L | 29.8074 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.07 | 94860.9879 | 290729.7782 | 28.7 | 67.6
107593 | 2021-04-23 16:04 | 29.9948 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.7055 | μmol/L | 29.8624 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.074 | 94889.5927 | 290737.5929 | 28.7 | 67.6
107603 | 2021-04-23 16:04 | 30.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.4252 | μmol/L | 29.8868 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.084 | 94940.2682 | 290753.0182 | 28.7 | 67.6
107613 | 2021-04-23 16:04 | 30.662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.7209 | μmol/L | 29.9112 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.122 | 95079.5544 | 290748.7941 | 28.7 | 67.6
107623 | 2021-04-23 16:05 | 30.9953 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 174.071 | μmol/L | 29.9051 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.101 | 95027.7441 | 290754.8055 | 28.7 | 67.6
107633 | 2021-04-23 16:05 | 31.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.6906 | μmol/L | 29.9112 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.124 | 95088.0649 | 290746.8749 | 28.7 | 67.6
107643 | 2021-04-23 16:05 | 31.6616 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.5076 | μmol/L | 29.9173 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.134 | 95145.5742 | 290747.0546 | 28.7 | 67.6
107653 | 2021-04-23 16:06 | 31.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.4488 | μmol/L | 29.9112 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.14 | 95197.2734 | 290758.7036 | 28.7 | 67.6
107663 | 2021-04-23 16:06 | 32.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.2224 | μmol/L | 29.9112 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.155 | 95258.398 | 290752.4542 | 28.7 | 67.6
107673 | 2021-04-23 16:06 | 32.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.1772 | μmol/L | 29.9112 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.158 | 95317.9571 | 290760.5767 | 28.7 | 67.6
107683 | 2021-04-23 16:07 | 32.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.64 | μmol/L | 29.8746 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.14 | 95246.5215 | 290762.8836 | 28.7 | 67.6
107693 | 2021-04-23 16:07 | 33.3284 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 173.3481 | μmol/L | 29.8929 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.153 | 95299.081 | 290770.7689 | 28.7 | 67.6
107703 | 2021-04-23 16:07 | 33.6616 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.6756 | μmol/L | 29.9295 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.185 | 95427.6404 | 290774.5044 | 28.7 | 67.6
107713 | 2021-04-23 16:08 | 33.995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.6056 | μmol/L | 29.9112 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.196 | 95474.0484 | 290774.9156 | 28.7 | 67.6
107723 | 2021-04-23 16:08 | 34.3282 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.2788 | μmol/L | 29.9539 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.203 | 95527.9345 | 290772.4602 | 28.7 | 67.6
107733 | 2021-04-23 16:08 | 34.6616 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.4604 | μmol/L | 29.9478 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.193 | 95511.2589 | 290766.7698 | 28.7 | 67.6
107743 | 2021-04-23 16:09 | 34.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.2689 | μmol/L | 29.9356 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.21 | 95585.6546 | 290775.8797 | 28.7 | 67.6
107753 | 2021-04-23 16:09 | 35.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.2839 | μmol/L | 29.9356 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.209 | 95603.4261 | 290784.0539 | 28.7 | 67.6
107763 | 2021-04-23 16:09 | 35.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 172.126 | μmol/L | 29.9112 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.228 | 95686.7699 | 290783.7485 | 28.7 | 67.6
107773 | 2021-04-23 16:10 | 35.9952 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.8851 | μmol/L | 29.9173 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.242 | 95766.3213 | 290800.8964 | 28.7 | 67.6
107783 | 2021-04-23 16:10 | 36.3282 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.452 | μmol/L | 29.9722 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.252 | 95805.5238 | 290796.9134 | 28.7 | 67.6
107793 | 2021-04-23 16:10 | 36.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.2751 | μmol/L | 29.9661 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.266 | 95895.3117 | 290797.1368 | 28.7 | 67.6
107803 | 2021-04-23 16:11 | 36.9949 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.0049 | μmol/L | 29.9234 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.299 | 96011.8589 | 290800.2698 | 28.7 | 67.6
107813 | 2021-04-23 16:11 | 37.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.8627 | μmol/L | 29.9539 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.298 | 95991.0882 | 290793.1832 | 28.7 | 67.6
107823 | 2021-04-23 16:11 | 37.6619 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.2077 | μmol/L | 29.9417 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.279 | 95969.5588 | 290813.1433 | 28.7 | 67.6
107833 | 2021-04-23 16:12 | 37.9951 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 171.0704 | μmol/L | 29.9539 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.284 | 95981.5815 | 290824.5013 | 28.7 | 67.6
107843 | 2021-04-23 16:12 | 38.3281 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.7554 | μmol/L | 29.9661 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.301 | 96050.9234 | 290815.9885 | 28.7 | 67.6
107853 | 2021-04-23 16:12 | 38.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.9952 | μmol/L | 29.9051 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.306 | 96084.34 | 290837.3388 | 28.7 | 67.6
107863 | 2021-04-23 16:13 | 38.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.8312 | μmol/L | 29.96 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.298 | 96088.5239 | 290829.7688 | 28.7 | 67.6
107873 | 2021-04-23 16:13 | 39.3284 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.6961 | μmol/L | 29.9661 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.305 | 96114.3162 | 290832.2048 | 28.7 | 67.6
107883 | 2021-04-23 16:13 | 39.6616 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.5332 | μmol/L | 29.9661 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.316 | 96178.4891 | 290834.5342 | 28.7 | 67.6
107893 | 2021-04-23 16:14 | 39.9951 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.1849 | μmol/L | 29.8929 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.365 | 96350.1588 | 290824.0093 | 28.7 | 67.6
107903 | 2021-04-23 16:14 | 40.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.8136 | μmol/L | 29.9539 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.369 | 96385.3607 | 290824.7427 | 28.7 | 67.6
107913 | 2021-04-23 16:14 | 40.662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.5836 | μmol/L | 29.9356 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.391 | 96461.7273 | 290844.0179 | 28.7 | 67.6
107923 | 2021-04-23 16:15 | 40.995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.5102 | μmol/L | 29.9356 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.396 | 96510.0436 | 290858.1099 | 28.7 | 67.6
107933 | 2021-04-23 16:15 | 41.3281 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.3334 | μmol/L | 29.838 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.374 | 96453.4686 | 290855.1034 | 28.7 | 67.6
107943 | 2021-04-23 16:15 | 41.6619 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 170.0038 | μmol/L | 29.8563 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.39 | 96536.0112 | 290857.2153 | 28.7 | 67.6
107953 | 2021-04-23 16:16 | 41.9951 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.2093 | μmol/L | 29.9112 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.425 | 96665.4286 | 290847.0184 | 28.7 | 67.6
107963 | 2021-04-23 16:16 | 42.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 169.3852 | μmol/L | 29.9112 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.413 | 96648.6587 | 290847.544 | 28.7 | 67.6
107973 | 2021-04-23 16:16 | 42.6622 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.8327 | μmol/L | 29.9478 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.438 | 96749.8386 | 290850.2057 | 28.7 | 67.6
107983 | 2021-04-23 16:17 | 42.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.9658 | μmol/L | 29.8929 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.448 | 96788.5924 | 290869.6334 | 28.7 | 67.6
107993 | 2021-04-23 16:17 | 43.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.6536 | μmol/L | 29.9112 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.463 | 96847.3146 | 290865.3249 | 28.7 | 67.6
108003 | 2021-04-23 16:17 | 43.6618 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.4804 | μmol/L | 29.9051 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.477 | 96910.5047 | 290883.4009 | 28.7 | 67.6
108013 | 2021-04-23 16:18 | 43.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.0747 | μmol/L | 29.9478 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.49 | 96975.7051 | 290882.4409 | 28.7 | 67.6
108023 | 2021-04-23 16:18 | 44.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.0457 | μmol/L | 29.9478 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.492 | 97003.3321 | 290882.3463 | 28.7 | 67.6
108033 | 2021-04-23 16:18 | 44.6619 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 167.9096 | μmol/L | 29.9173 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.512 | 97085.7816 | 290872.7958 | 28.7 | 67.6
108043 | 2021-04-23 16:19 | 44.995 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 168.3511 | μmol/L | 29.899 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.488 | 97022.4439 | 290885.2006 | 28.7 | 67.6