## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 16:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
106709 | 2021-04-23 15:34 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 225.4756 | μmol/L | 28.8652 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.157 | 122398.4888 | 267658.826 | 36.4 | 83.1
106716 | 2021-04-23 15:34 | 0.33789 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.3646 | μmol/L | 29.0925 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.387 | 124130.0701 | 267655.6502 | 36.4 | 83.1
106723 | 2021-04-23 15:34 | 0.67095 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.8887 | μmol/L | 29.1109 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.56 | 125294.0327 | 267637.7488 | 36.4 | 83.1
106730 | 2021-04-23 15:35 | 1.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.9425 | μmol/L | 29.1109 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.662 | 126018.9477 | 267636.3772 | 36.4 | 83.1
106737 | 2021-04-23 15:35 | 1.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.2511 | μmol/L | 29.1478 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.739 | 126542.5822 | 267619.6564 | 36.4 | 83.1
106744 | 2021-04-23 15:35 | 1.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.8962 | μmol/L | 29.1723 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.803 | 127017.9351 | 267620.8931 | 36.4 | 83.1
106754 | 2021-04-23 15:36 | 2.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.2103 | μmol/L | 29.1662 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.842 | 127311.6414 | 267611.4 | 36.4 | 83.1
106764 | 2021-04-23 15:36 | 2.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.4779 | μmol/L | 29.1969 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.871 | 127476.2588 | 267587.4631 | 36.4 | 83.1
106774 | 2021-04-23 15:36 | 2.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 209.2195 | μmol/L | 29.1969 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.885 | 127593.7326 | 267583.99 | 36.4 | 83.1
106784 | 2021-04-23 15:37 | 3.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.5256 | μmol/L | 29.2338 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.91 | 127732.1891 | 267567.6939 | 36.4 | 83.1
106794 | 2021-04-23 15:37 | 3.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.1564 | μmol/L | 29.2399 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.928 | 127847.4584 | 267563.5212 | 36.4 | 83.1
106804 | 2021-04-23 15:37 | 3.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 208.095 | μmol/L | 29.2584 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.925 | 127850.3032 | 267558.6376 | 36.4 | 83.1
106814 | 2021-04-23 15:38 | 4.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.8783 | μmol/L | 29.3014 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.922 | 127801.5287 | 267549.7834 | 36.4 | 83.1
106824 | 2021-04-23 15:38 | 4.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.9677 | μmol/L | 29.3075 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.915 | 127780.8317 | 267545.1467 | 36.4 | 83.1
106834 | 2021-04-23 15:38 | 4.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.6544 | μmol/L | 29.3137 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.93 | 127861.5832 | 267536.4827 | 36.4 | 83.1
106844 | 2021-04-23 15:39 | 5.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.4629 | μmol/L | 29.3382 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.932 | 127860.2671 | 267525.0567 | 36.4 | 83.1
106854 | 2021-04-23 15:39 | 5.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.6574 | μmol/L | 29.3567 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.915 | 127769.7349 | 267519.0061 | 36.4 | 83.1
106864 | 2021-04-23 15:39 | 5.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 207.3146 | μmol/L | 29.3444 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.938 | 127906.0366 | 267518.3707 | 36.4 | 83.1
106874 | 2021-04-23 15:40 | 6.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.85 | μmol/L | 29.369 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.955 | 127980.0387 | 267523.0102 | 36.4 | 83.1
106884 | 2021-04-23 15:40 | 6.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.7501 | μmol/L | 29.3935 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.952 | 127978.2196 | 267504.3809 | 36.4 | 83.1
106894 | 2021-04-23 15:40 | 6.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.5979 | μmol/L | 29.412 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.954 | 127981.5386 | 267484.3212 | 36.4 | 83.1
106904 | 2021-04-23 15:41 | 7.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.5752 | μmol/L | 29.4242 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.951 | 128035.7495 | 267491.7042 | 36.4 | 83.1
106914 | 2021-04-23 15:41 | 7.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 206.2959 | μmol/L | 29.4427 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.96 | 128128.5732 | 267478.6891 | 36.4 | 83.1
106924 | 2021-04-23 15:41 | 7.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.931 | μmol/L | 29.4488 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.978 | 128243.4235 | 267473.6816 | 36.4 | 83.1
106934 | 2021-04-23 15:42 | 8.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.6956 | μmol/L | 29.4488 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.991 | 128274.3296 | 267463.8925 | 36.4 | 83.1
106944 | 2021-04-23 15:42 | 8.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.2756 | μmol/L | 29.4611 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.01 | 128350.5642 | 267459.2641 | 36.4 | 83.1
106954 | 2021-04-23 15:42 | 8.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 205.3182 | μmol/L | 29.4918 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 20.997 | 128265.3843 | 267457.202 | 36.4 | 83.1
106964 | 2021-04-23 15:43 | 9.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.9959 | μmol/L | 29.4857 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.017 | 128372.4606 | 267444.9354 | 36.4 | 83.1
106974 | 2021-04-23 15:43 | 9.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.6876 | μmol/L | 29.4918 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.032 | 128459.967 | 267446.3521 | 36.4 | 83.1
106984 | 2021-04-23 15:43 | 9.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 204.5235 | μmol/L | 29.498 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.039 | 128501.2038 | 267429.4714 | 36.4 | 83.1
106994 | 2021-04-23 15:44 | 10.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 203.3352 | μmol/L | 29.5164 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.099 | 128867.238 | 267430.5753 | 36.4 | 83.1
107004 | 2021-04-23 15:44 | 10.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.5653 | μmol/L | 29.5287 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.138 | 129087.3995 | 267427.8466 | 36.4 | 83.1
107014 | 2021-04-23 15:44 | 10.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.0972 | μmol/L | 29.5471 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.158 | 129228.9252 | 267431.8669 | 36.4 | 83.1
107024 | 2021-04-23 15:45 | 11.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.6872 | μmol/L | 29.5348 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.129 | 129018.2219 | 267412.0954 | 36.4 | 83.1
107034 | 2021-04-23 15:45 | 11.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.5508 | μmol/L | 29.5656 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.126 | 129002.0048 | 267410.0005 | 36.4 | 83.1
107044 | 2021-04-23 15:45 | 11.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.9693 | μmol/L | 29.541 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.111 | 128915.4744 | 267416.7155 | 36.4 | 83.1
107054 | 2021-04-23 15:46 | 12.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.5363 | μmol/L | 29.6024 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.114 | 128944.9999 | 267406.4731 | 36.4 | 83.1
107064 | 2021-04-23 15:46 | 12.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.6881 | μmol/L | 29.5779 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.114 | 128937.2525 | 267388.6327 | 36.4 | 83.1
107074 | 2021-04-23 15:46 | 12.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.1229 | μmol/L | 29.5717 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.148 | 129101.8105 | 267408.9699 | 36.4 | 83.1
107084 | 2021-04-23 15:47 | 13.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.1382 | μmol/L | 29.5779 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.145 | 129102.8877 | 267385.897 | 36.4 | 83.1
107094 | 2021-04-23 15:47 | 13.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 202.0148 | μmol/L | 29.6209 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.137 | 129055.2396 | 267379.5739 | 36.4 | 83.1
107104 | 2021-04-23 15:47 | 13.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.8252 | μmol/L | 29.6086 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.152 | 129157.7526 | 267396.2302 | 36.4 | 83.1
107114 | 2021-04-23 15:48 | 14.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.5073 | μmol/L | 29.6086 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.17 | 129275.283 | 267380.2775 | 36.4 | 83.1
107124 | 2021-04-23 15:48 | 14.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 201.3006 | μmol/L | 29.5963 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.186 | 129399.5818 | 267376.2079 | 36.4 | 83.1
107134 | 2021-04-23 15:48 | 14.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.8056 | μmol/L | 29.6024 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.212 | 129535.5192 | 267377.7388 | 36.4 | 83.1
107144 | 2021-04-23 15:49 | 15.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.6602 | μmol/L | 29.6147 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.216 | 129574.8299 | 267361.4144 | 36.4 | 83.1
107154 | 2021-04-23 15:49 | 15.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.3371 | μmol/L | 29.6332 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.228 | 129608.6364 | 267348.8813 | 36.4 | 83.1
107164 | 2021-04-23 15:49 | 15.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.4823 | μmol/L | 29.6209 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.224 | 129612.7584 | 267347.8289 | 36.4 | 83.1
107174 | 2021-04-23 15:50 | 16.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.6354 | μmol/L | 29.6393 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.266 | 129861.8499 | 267335.8099 | 36.4 | 83.1
107184 | 2021-04-23 15:50 | 16.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.0396 | μmol/L | 29.6332 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.245 | 129779.4576 | 267340.5623 | 36.4 | 83.1
107194 | 2021-04-23 15:50 | 16.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.1321 | μmol/L | 29.6209 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.244 | 129785.4336 | 267348.4375 | 36.4 | 83.1
107204 | 2021-04-23 15:51 | 17.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.4484 | μmol/L | 29.67 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.266 | 129880.1997 | 267334.0963 | 36.4 | 83.1
107214 | 2021-04-23 15:51 | 17.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.8648 | μmol/L | 29.6332 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.255 | 129802.9495 | 267327.3195 | 36.4 | 83.1
107224 | 2021-04-23 15:51 | 17.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.287 | μmol/L | 29.627 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.233 | 129673.4456 | 267333.0156 | 36.4 | 83.1
107234 | 2021-04-23 15:52 | 18.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 200.0221 | μmol/L | 29.6332 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.246 | 129708.1462 | 267322.5345 | 36.4 | 83.1
107244 | 2021-04-23 15:52 | 18.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.9697 | μmol/L | 29.6332 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.249 | 129739.9948 | 267312.4924 | 36.4 | 83.1
107254 | 2021-04-23 15:52 | 18.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.3915 | μmol/L | 29.6393 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.28 | 129964.9171 | 267308.3467 | 36.4 | 83.1
107264 | 2021-04-23 15:53 | 19.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.1357 | μmol/L | 29.627 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.299 | 130061.7549 | 267299.9332 | 36.4 | 83.1
107274 | 2021-04-23 15:53 | 19.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 199.1704 | μmol/L | 29.627 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.297 | 130048.7748 | 267300.8131 | 36.4 | 83.1
107284 | 2021-04-23 15:53 | 19.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.9272 | μmol/L | 29.627 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.311 | 130146.8321 | 267301.9696 | 36.4 | 83.1
107294 | 2021-04-23 15:54 | 20.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.5675 | μmol/L | 29.6577 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.321 | 130201.004 | 267284.0163 | 36.4 | 83.1
107304 | 2021-04-23 15:54 | 20.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 198.1748 | μmol/L | 29.6454 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.348 | 130389.4057 | 267269.1297 | 36.4 | 83.1
107314 | 2021-04-23 15:54 | 20.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.6694 | μmol/L | 29.6577 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.373 | 130539.5311 | 267265.3047 | 36.4 | 83.1
107324 | 2021-04-23 15:55 | 21.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.3279 | μmol/L | 29.6516 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.395 | 130685.7036 | 267252.1594 | 36.4 | 83.1
107334 | 2021-04-23 15:55 | 21.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.242 | μmol/L | 29.6516 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.4 | 130714.0939 | 267240.1356 | 36.4 | 83.1
107344 | 2021-04-23 15:55 | 21.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.2394 | μmol/L | 29.6577 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.398 | 130692.2783 | 267234.8699 | 36.4 | 83.1
107354 | 2021-04-23 15:56 | 22.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.953 | μmol/L | 29.6454 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.419 | 130815.1017 | 267221.2954 | 36.4 | 83.1
107364 | 2021-04-23 15:56 | 22.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.9872 | μmol/L | 29.6454 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.417 | 130805.8878 | 267218.778 | 36.4 | 83.1
107374 | 2021-04-23 15:56 | 22.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.2103 | μmol/L | 29.6454 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.404 | 130731.2338 | 267217.6196 | 36.4 | 83.1
107384 | 2021-04-23 15:57 | 23.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 197.0704 | μmol/L | 29.6516 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.41 | 130758.6396 | 267210.3301 | 36.4 | 83.1
107394 | 2021-04-23 15:57 | 23.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.7421 | μmol/L | 29.6577 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.427 | 130869.4686 | 267205.0522 | 36.4 | 83.1
107404 | 2021-04-23 15:57 | 23.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.4145 | μmol/L | 29.6639 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.444 | 130993.06 | 267208.383 | 36.4 | 83.1
107414 | 2021-04-23 15:58 | 24.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.4198 | μmol/L | 29.6516 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.448 | 131002.2881 | 267212.9365 | 36.4 | 83.1
107424 | 2021-04-23 15:58 | 24.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.5341 | μmol/L | 29.6639 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.437 | 130926.0585 | 267217.2159 | 36.4 | 83.1
107434 | 2021-04-23 15:58 | 24.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.1819 | μmol/L | 29.6885 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.449 | 131019.2926 | 267196.6731 | 36.4 | 83.1
107444 | 2021-04-23 15:59 | 25.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.8947 | μmol/L | 29.6823 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.468 | 131140.116 | 267196.2883 | 36.4 | 83.1
107454 | 2021-04-23 15:59 | 25.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.9485 | μmol/L | 29.6762 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.467 | 131136.809 | 267194.3847 | 36.4 | 83.1
107464 | 2021-04-23 15:59 | 25.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.9288 | μmol/L | 29.6823 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.466 | 131121.105 | 267188.4212 | 36.4 | 83.1
107474 | 2021-04-23 16:00 | 26.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 196.0939 | μmol/L | 29.6946 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.452 | 131060.7384 | 267197.9782 | 36.4 | 83.1
107484 | 2021-04-23 16:00 | 26.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.7702 | μmol/L | 29.6946 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.471 | 131168.7436 | 267201.5221 | 36.4 | 83.1
107494 | 2021-04-23 16:00 | 26.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.4499 | μmol/L | 29.6885 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.492 | 131310.3954 | 267199.3929 | 36.4 | 83.1
107504 | 2021-04-23 16:01 | 27.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 195.0435 | μmol/L | 29.7253 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.503 | 131367.1647 | 267204.0201 | 36.4 | 83.1
107514 | 2021-04-23 16:01 | 27.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.9872 | μmol/L | 29.7376 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.502 | 131385.5698 | 267204.1491 | 36.4 | 83.1
107524 | 2021-04-23 16:01 | 27.6715 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.5192 | μmol/L | 29.7253 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.534 | 131597.1346 | 267208.4595 | 36.4 | 83.1
107534 | 2021-04-23 16:02 | 28.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.3167 | μmol/L | 29.7253 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.546 | 131707.9354 | 267212.704 | 36.4 | 83.1
107544 | 2021-04-23 16:02 | 28.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.6494 | μmol/L | 29.7499 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.577 | 131919.9357 | 267206.6942 | 36.4 | 83.1
107554 | 2021-04-23 16:02 | 28.6713 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.2469 | μmol/L | 29.7499 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.601 | 132061.6932 | 267194.2227 | 36.4 | 83.1
107564 | 2021-04-23 16:03 | 29.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.6549 | μmol/L | 29.7376 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.581 | 131920.0443 | 267203.9497 | 36.4 | 83.1
107574 | 2021-04-23 16:03 | 29.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 194.0165 | μmol/L | 29.756 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.553 | 131738.5669 | 267226.359 | 36.4 | 83.1
107584 | 2021-04-23 16:03 | 29.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.9492 | μmol/L | 29.756 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.557 | 131754.7373 | 267213.0941 | 36.4 | 83.1
107594 | 2021-04-23 16:04 | 30.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.7168 | μmol/L | 29.7868 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.56 | 131790.7186 | 267205.3957 | 36.4 | 83.1
107604 | 2021-04-23 16:04 | 30.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.3084 | μmol/L | 29.7991 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.58 | 131901.3545 | 267210.6321 | 36.4 | 83.1
107614 | 2021-04-23 16:04 | 30.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.8843 | μmol/L | 29.8114 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.601 | 132056.9637 | 267202.3093 | 36.4 | 83.1
107624 | 2021-04-23 16:05 | 31.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.9846 | μmol/L | 29.8114 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.595 | 132011.1812 | 267203.5121 | 36.4 | 83.1
107634 | 2021-04-23 16:05 | 31.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.0878 | μmol/L | 29.8052 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.591 | 131961.3778 | 267222.1352 | 36.4 | 83.1
107644 | 2021-04-23 16:05 | 31.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.8591 | μmol/L | 29.8298 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.596 | 131993.4737 | 267223.1133 | 36.4 | 83.1
107654 | 2021-04-23 16:06 | 32.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.2804 | μmol/L | 29.8236 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.573 | 131867.4729 | 267218.8994 | 36.4 | 83.1
107664 | 2021-04-23 16:06 | 32.338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 193.0125 | μmol/L | 29.8236 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.589 | 131988.5014 | 267209.5956 | 36.4 | 83.1
107674 | 2021-04-23 16:06 | 32.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.848 | μmol/L | 29.8175 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.601 | 132041.6618 | 267215.0401 | 36.4 | 83.1
107684 | 2021-04-23 16:07 | 33.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.8676 | μmol/L | 29.8114 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.602 | 132053.5632 | 267225.7396 | 36.4 | 83.1
107694 | 2021-04-23 16:07 | 33.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.6392 | μmol/L | 29.8359 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.607 | 132093.0819 | 267220.85 | 36.4 | 83.1
107704 | 2021-04-23 16:07 | 33.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.4138 | μmol/L | 29.8544 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.614 | 132148.756 | 267225.6457 | 36.4 | 83.1
107714 | 2021-04-23 16:08 | 34.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 192.3443 | μmol/L | 29.8605 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.616 | 132156.3029 | 267228.7901 | 36.4 | 83.1
107724 | 2021-04-23 16:08 | 34.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.8812 | μmol/L | 29.8544 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.646 | 132368.6549 | 267224.816 | 36.4 | 83.1
107734 | 2021-04-23 16:08 | 34.6712 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.8566 | μmol/L | 29.8359 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.654 | 132397.8834 | 267227.2034 | 36.4 | 83.1
107744 | 2021-04-23 16:09 | 35.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.8675 | μmol/L | 29.8482 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.649 | 132387.1365 | 267228.57 | 36.4 | 83.1
107754 | 2021-04-23 16:09 | 35.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.4471 | μmol/L | 29.8605 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.67 | 132480.0569 | 267217.6554 | 36.4 | 83.1
107764 | 2021-04-23 16:09 | 35.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 191.0062 | μmol/L | 29.8482 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.701 | 132738.5405 | 267223.6482 | 36.4 | 83.1
107774 | 2021-04-23 16:10 | 36.0046 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.5115 | μmol/L | 29.8482 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.731 | 132908.7025 | 267220.4528 | 36.4 | 83.1
107784 | 2021-04-23 16:10 | 36.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.4156 | μmol/L | 29.8421 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.739 | 132984.5481 | 267227.4713 | 36.4 | 83.1
107794 | 2021-04-23 16:10 | 36.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.3963 | μmol/L | 29.8482 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.738 | 132959.5218 | 267231.5936 | 36.4 | 83.1
107804 | 2021-04-23 16:11 | 37.0044 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.3934 | μmol/L | 29.8544 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.736 | 132961.4078 | 267245.9892 | 36.4 | 83.1
107814 | 2021-04-23 16:11 | 37.3377 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 190.4621 | μmol/L | 29.8482 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.734 | 132934.8443 | 267232.7222 | 36.4 | 83.1
107824 | 2021-04-23 16:11 | 37.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.5287 | μmol/L | 29.8789 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.78 | 133252.5397 | 267233.7962 | 36.4 | 83.1
107834 | 2021-04-23 16:12 | 38.0048 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.392 | μmol/L | 29.8912 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.784 | 133263.4804 | 267239.6673 | 36.4 | 83.1
107844 | 2021-04-23 16:12 | 38.3378 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.7292 | μmol/L | 29.8359 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.783 | 133254.0709 | 267231.0723 | 36.4 | 83.1
107854 | 2021-04-23 16:12 | 38.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.3773 | μmol/L | 29.922 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.774 | 133218.4536 | 267234.3551 | 36.4 | 83.1
107864 | 2021-04-23 16:13 | 39.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.731 | μmol/L | 29.8667 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.772 | 133233.1891 | 267236.554 | 36.4 | 83.1
107874 | 2021-04-23 16:13 | 39.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.3845 | μmol/L | 29.8728 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.791 | 133343.8375 | 267242.7938 | 36.4 | 83.1
107884 | 2021-04-23 16:13 | 39.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 189.0638 | μmol/L | 29.8605 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.815 | 133536.2232 | 267245.534 | 36.4 | 83.1
107894 | 2021-04-23 16:14 | 40.0042 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.8875 | μmol/L | 29.8544 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.828 | 133592.5602 | 267240.213 | 36.4 | 83.1
107904 | 2021-04-23 16:14 | 40.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.8712 | μmol/L | 29.8544 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.829 | 133616.1506 | 267246.4561 | 36.4 | 83.1
107914 | 2021-04-23 16:14 | 40.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.5622 | μmol/L | 29.8544 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.848 | 133744.4427 | 267247.2631 | 36.4 | 83.1
107924 | 2021-04-23 16:15 | 41.0045 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.2553 | μmol/L | 29.8175 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.88 | 133940.7402 | 267246.3997 | 36.4 | 83.1
107934 | 2021-04-23 16:15 | 41.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 188.1772 | μmol/L | 29.8114 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.887 | 133976.1093 | 267246.898 | 36.4 | 83.1
107944 | 2021-04-23 16:15 | 41.6714 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.7123 | μmol/L | 29.8359 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.907 | 134112.3961 | 267257.3265 | 36.4 | 83.1
107954 | 2021-04-23 16:16 | 42.0047 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.4743 | μmol/L | 29.8605 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.913 | 134188.2359 | 267252.0426 | 36.4 | 83.1
107964 | 2021-04-23 16:16 | 42.3376 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.5831 | μmol/L | 29.8359 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.915 | 134196.6683 | 267266.414 | 36.4 | 83.1
107974 | 2021-04-23 16:16 | 42.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.4379 | μmol/L | 29.8359 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.924 | 134270.478 | 267265.1188 | 36.4 | 83.1
107984 | 2021-04-23 16:17 | 43.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.2958 | μmol/L | 29.8298 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.935 | 134334.6216 | 267263.2387 | 36.4 | 83.1
107994 | 2021-04-23 16:17 | 43.3379 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 187.1378 | μmol/L | 29.8236 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.947 | 134410.4512 | 267277.2314 | 36.4 | 83.1
108004 | 2021-04-23 16:17 | 43.6711 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.8002 | μmol/L | 29.8236 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.968 | 134534.4108 | 267277.1216 | 36.4 | 83.1
108014 | 2021-04-23 16:18 | 44.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.5916 | μmol/L | 29.8236 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.981 | 134614.5978 | 267290.6202 | 36.4 | 83.1
108024 | 2021-04-23 16:18 | 44.3381 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.5946 | μmol/L | 29.8175 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.983 | 134635.5232 | 267288.2733 | 36.4 | 83.1
108034 | 2021-04-23 16:18 | 44.671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.6969 | μmol/L | 29.8052 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 21.981 | 134639.5682 | 267299.2682 | 36.4 | 83.1
108044 | 2021-04-23 16:19 | 45.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 186.3634 | μmol/L | 29.7991 | °C | 1013 | hPa | Humid | 28 | 0 | 0 | 22.004 | 134806.3515 | 267291.2759 | 36.4 | 83.1