## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 16:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
106710 | 2021-04-23 15:34 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4123 | μmol/L | 29.0763 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.072 | 97120.7923 | 293513.7245 | 30.45 | 114.2
106717 | 2021-04-23 15:34 | 0.33914 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.619 | μmol/L | 29.0517 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.184 | 97772.4832 | 293511.1043 | 30.45 | 114.2
106724 | 2021-04-23 15:34 | 0.67308 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.3786 | μmol/L | 29.0825 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.305 | 98585.1601 | 293495.8503 | 30.45 | 114.2
106731 | 2021-04-23 15:35 | 1.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.8542 | μmol/L | 29.1195 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.383 | 99100.3514 | 293474.3347 | 30.45 | 114.2
106738 | 2021-04-23 15:35 | 1.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.983 | μmol/L | 29.0455 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.46 | 99469.9942 | 293471.4429 | 30.45 | 114.2
106745 | 2021-04-23 15:35 | 1.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.3341 | μmol/L | 29.1564 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.522 | 99569.3805 | 293456.3572 | 30.45 | 114.2
106755 | 2021-04-23 15:36 | 2.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.6987 | μmol/L | 29.1256 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.571 | 99696.1949 | 293459.5664 | 30.45 | 114.2
106765 | 2021-04-23 15:36 | 2.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8767 | μmol/L | 29.1379 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.617 | 99921.1708 | 293436.9655 | 30.45 | 114.2
106775 | 2021-04-23 15:36 | 2.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.2868 | μmol/L | 29.1503 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.649 | 100096.6909 | 293429.824 | 30.45 | 114.2
106785 | 2021-04-23 15:37 | 3.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.4296 | μmol/L | 29.2057 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.683 | 100247.67 | 293409.1999 | 30.45 | 114.2
106795 | 2021-04-23 15:37 | 3.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.8961 | μmol/L | 29.2735 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.693 | 100309.2814 | 293407.1261 | 30.45 | 114.2
106805 | 2021-04-23 15:37 | 3.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 183.9005 | μmol/L | 29.255 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.699 | 100388.6787 | 293400.0161 | 30.45 | 114.2
106815 | 2021-04-23 15:38 | 4.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.9972 | μmol/L | 29.329 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.73 | 100538.9573 | 293379.12 | 30.45 | 114.2
106825 | 2021-04-23 15:38 | 4.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.6811 | μmol/L | 29.3105 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.756 | 100680.8459 | 293365.5417 | 30.45 | 114.2
106835 | 2021-04-23 15:38 | 4.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.7178 | μmol/L | 29.292 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.76 | 100754.682 | 293366.9742 | 30.45 | 114.2
106845 | 2021-04-23 15:39 | 5.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 182.404 | μmol/L | 29.2674 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.788 | 100841.9735 | 293354.7418 | 30.45 | 114.2
106855 | 2021-04-23 15:39 | 5.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.7647 | μmol/L | 29.2735 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.826 | 101076.3714 | 293350.8641 | 30.45 | 114.2
106865 | 2021-04-23 15:39 | 5.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.4866 | μmol/L | 29.3043 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.833 | 101089.6848 | 293345.332 | 30.45 | 114.2
106875 | 2021-04-23 15:40 | 6.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.5548 | μmol/L | 29.2858 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.835 | 101090.2962 | 293347.7818 | 30.45 | 114.2
106885 | 2021-04-23 15:40 | 6.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 181.0724 | μmol/L | 29.3721 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.836 | 101107.0622 | 293327.7213 | 30.45 | 114.2
106895 | 2021-04-23 15:40 | 6.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.8759 | μmol/L | 29.3968 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.84 | 101134.5573 | 293315.1279 | 30.45 | 114.2
106905 | 2021-04-23 15:41 | 7.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.5706 | μmol/L | 29.4153 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.853 | 101219.0857 | 293306.8875 | 30.45 | 114.2
106915 | 2021-04-23 15:41 | 7.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.1066 | μmol/L | 29.4399 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.874 | 101279.2808 | 293286.6257 | 30.45 | 114.2
106925 | 2021-04-23 15:41 | 7.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.4606 | μmol/L | 29.3536 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.881 | 101321.9117 | 293280.3765 | 30.45 | 114.2
106935 | 2021-04-23 15:42 | 8.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.2865 | μmol/L | 29.4153 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.871 | 101273.1641 | 293283.0908 | 30.45 | 114.2
106945 | 2021-04-23 15:42 | 8.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.4726 | μmol/L | 29.4276 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.855 | 101172.2788 | 293277.9918 | 30.45 | 114.2
106955 | 2021-04-23 15:42 | 8.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.6812 | μmol/L | 29.4153 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.846 | 101128.4687 | 293260.9294 | 30.45 | 114.2
106965 | 2021-04-23 15:43 | 9.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 180.2169 | μmol/L | 29.4399 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.867 | 101207.5905 | 293258.9238 | 30.45 | 114.2
106975 | 2021-04-23 15:43 | 9.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.9583 | μmol/L | 29.4646 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.875 | 101269.5893 | 293245.9132 | 30.45 | 114.2
106985 | 2021-04-23 15:43 | 9.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.5446 | μmol/L | 29.483 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.895 | 101369.9166 | 293234.2196 | 30.45 | 114.2
106995 | 2021-04-23 15:44 | 10.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.2451 | μmol/L | 29.4892 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.912 | 101473.0185 | 293241.7466 | 30.45 | 114.2
107005 | 2021-04-23 15:44 | 10.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.045 | μmol/L | 29.4769 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.929 | 101545.8786 | 293223.7603 | 30.45 | 114.2
107015 | 2021-04-23 15:44 | 10.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.1562 | μmol/L | 29.4707 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.924 | 101505.7367 | 293232.8913 | 30.45 | 114.2
107025 | 2021-04-23 15:45 | 11.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 179.0327 | μmol/L | 29.4646 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.934 | 101555.9111 | 293227.1293 | 30.45 | 114.2
107035 | 2021-04-23 15:45 | 11.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.9546 | μmol/L | 29.4646 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.939 | 101589.6825 | 293212.3728 | 30.45 | 114.2
107045 | 2021-04-23 15:45 | 11.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.4762 | μmol/L | 29.557 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.938 | 101588.7429 | 293207.791 | 30.45 | 114.2
107055 | 2021-04-23 15:46 | 12.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.4537 | μmol/L | 29.5262 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.95 | 101633.17 | 293204.6666 | 30.45 | 114.2
107065 | 2021-04-23 15:46 | 12.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 178.1129 | μmol/L | 29.5755 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.955 | 101656.7831 | 293184.1873 | 30.45 | 114.2
107075 | 2021-04-23 15:46 | 12.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.7832 | μmol/L | 29.5878 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.972 | 101744.5371 | 293189.5078 | 30.45 | 114.2
107085 | 2021-04-23 15:47 | 13.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.7677 | μmol/L | 29.5878 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.973 | 101760.7303 | 293176.8589 | 30.45 | 114.2
107095 | 2021-04-23 15:47 | 13.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.8731 | μmol/L | 29.5447 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.981 | 101803.6352 | 293169.2188 | 30.45 | 114.2
107105 | 2021-04-23 15:47 | 13.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.6387 | μmol/L | 29.5508 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 21.994 | 101864.9776 | 293174.8643 | 30.45 | 114.2
107115 | 2021-04-23 15:48 | 14.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.1413 | μmol/L | 29.6125 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.005 | 101923.7822 | 293167.3482 | 30.45 | 114.2
107125 | 2021-04-23 15:48 | 14.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 177.2328 | μmol/L | 29.5632 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.016 | 101970.9277 | 293170.6496 | 30.45 | 114.2
107135 | 2021-04-23 15:48 | 14.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.9015 | μmol/L | 29.5878 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.029 | 102046.797 | 293158.6672 | 30.45 | 114.2
107145 | 2021-04-23 15:49 | 15.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.7889 | μmol/L | 29.5508 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.049 | 102152.4559 | 293154.4046 | 30.45 | 114.2
107155 | 2021-04-23 15:49 | 15.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.3185 | μmol/L | 29.5817 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.069 | 102260.439 | 293138.126 | 30.45 | 114.2
107165 | 2021-04-23 15:49 | 15.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 176.1496 | μmol/L | 29.5817 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.08 | 102297.7718 | 293151.6025 | 30.45 | 114.2
107175 | 2021-04-23 15:50 | 16.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.8016 | μmol/L | 29.6186 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.09 | 102359.3029 | 293139.0984 | 30.45 | 114.2
107185 | 2021-04-23 15:50 | 16.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.3394 | μmol/L | 29.631 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.116 | 102510.2794 | 293136.2699 | 30.45 | 114.2
107195 | 2021-04-23 15:50 | 16.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.107 | μmol/L | 29.6433 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.127 | 102567.636 | 293123.2011 | 30.45 | 114.2
107205 | 2021-04-23 15:51 | 17.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.1241 | μmol/L | 29.6371 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.128 | 102561.8192 | 293127.3382 | 30.45 | 114.2
107215 | 2021-04-23 15:51 | 17.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.1163 | μmol/L | 29.6125 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.137 | 102601.0772 | 293115.1713 | 30.45 | 114.2
107225 | 2021-04-23 15:51 | 17.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 175.2419 | μmol/L | 29.6001 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.133 | 102580.7622 | 293114.8597 | 30.45 | 114.2
107235 | 2021-04-23 15:52 | 18.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.964 | μmol/L | 29.6125 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.147 | 102632.89 | 293103.1714 | 30.45 | 114.2
107245 | 2021-04-23 15:52 | 18.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.8991 | μmol/L | 29.5755 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.164 | 102719.1412 | 293086.2135 | 30.45 | 114.2
107255 | 2021-04-23 15:52 | 18.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.7263 | μmol/L | 29.594 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.169 | 102732.2343 | 293073.7918 | 30.45 | 114.2
107265 | 2021-04-23 15:53 | 19.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.7415 | μmol/L | 29.594 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.168 | 102737.8657 | 293068.2057 | 30.45 | 114.2
107275 | 2021-04-23 15:53 | 19.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 174.4362 | μmol/L | 29.6001 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.186 | 102836.8463 | 293076.6426 | 30.45 | 114.2
107285 | 2021-04-23 15:53 | 19.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.7443 | μmol/L | 29.6371 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.219 | 102973.0993 | 293049.8295 | 30.45 | 114.2
107295 | 2021-04-23 15:54 | 20.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.5576 | μmol/L | 29.6556 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.225 | 103009.8398 | 293051.8804 | 30.45 | 114.2
107305 | 2021-04-23 15:54 | 20.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.439 | μmol/L | 29.6495 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.235 | 103070.9187 | 293047.9385 | 30.45 | 114.2
107315 | 2021-04-23 15:54 | 20.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.3977 | μmol/L | 29.6371 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.242 | 103092.6643 | 293034.9269 | 30.45 | 114.2
107325 | 2021-04-23 15:55 | 21.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.204 | μmol/L | 29.631 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.257 | 103175.7167 | 293025.0442 | 30.45 | 114.2
107335 | 2021-04-23 15:55 | 21.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 173.0426 | μmol/L | 29.6186 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.272 | 103241.84 | 293023.0106 | 30.45 | 114.2
107345 | 2021-04-23 15:55 | 21.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.7799 | μmol/L | 29.6433 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.281 | 103287.8205 | 293016.4162 | 30.45 | 114.2
107355 | 2021-04-23 15:56 | 22.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.6751 | μmol/L | 29.6433 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.288 | 103326.5324 | 292992.2799 | 30.45 | 114.2
107365 | 2021-04-23 15:56 | 22.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.2246 | μmol/L | 29.6495 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.316 | 103462.512 | 292986.4663 | 30.45 | 114.2
107375 | 2021-04-23 15:56 | 22.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.8064 | μmol/L | 29.6988 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.327 | 103532.9433 | 292990.3207 | 30.45 | 114.2
107385 | 2021-04-23 15:57 | 23.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 172.318 | μmol/L | 29.6371 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.314 | 103501.9299 | 292983.7989 | 30.45 | 114.2
107395 | 2021-04-23 15:57 | 23.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.8867 | μmol/L | 29.6803 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.328 | 103610.3206 | 292981.0577 | 30.45 | 114.2
107405 | 2021-04-23 15:57 | 23.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.5307 | μmol/L | 29.7234 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.337 | 103651.3185 | 292980.2113 | 30.45 | 114.2
107415 | 2021-04-23 15:58 | 24.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.588 | μmol/L | 29.6371 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.363 | 103738.119 | 292971.2441 | 30.45 | 114.2
107425 | 2021-04-23 15:58 | 24.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.4465 | μmol/L | 29.6618 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.364 | 103764.6935 | 292965.6101 | 30.45 | 114.2
107435 | 2021-04-23 15:58 | 24.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 171.133 | μmol/L | 29.6679 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.383 | 103887.6569 | 292965.5447 | 30.45 | 114.2
107445 | 2021-04-23 15:59 | 25.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.6753 | μmol/L | 29.7111 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.399 | 103978.2691 | 292968.9397 | 30.45 | 114.2
107455 | 2021-04-23 15:59 | 25.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.5002 | μmol/L | 29.7049 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.413 | 104047.4019 | 292965.9942 | 30.45 | 114.2
107465 | 2021-04-23 15:59 | 25.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.7208 | μmol/L | 29.6618 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.413 | 104095.4222 | 292959.3144 | 30.45 | 114.2
107475 | 2021-04-23 16:00 | 26.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.17 | μmol/L | 29.7234 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.429 | 104175.0419 | 292970.7921 | 30.45 | 114.2
107485 | 2021-04-23 16:00 | 26.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.9767 | μmol/L | 29.7296 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.44 | 104191.6269 | 292964.4728 | 30.45 | 114.2
107495 | 2021-04-23 16:00 | 26.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.8237 | μmol/L | 29.7481 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.444 | 104246.4474 | 292962.924 | 30.45 | 114.2
107505 | 2021-04-23 16:01 | 27.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.604 | μmol/L | 29.7912 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.444 | 104257.1609 | 292965.771 | 30.45 | 114.2
107515 | 2021-04-23 16:01 | 27.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 170.1258 | μmol/L | 29.7234 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.432 | 104226.9636 | 292963.8475 | 30.45 | 114.2
107525 | 2021-04-23 16:01 | 27.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.6019 | μmol/L | 29.7974 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.442 | 104288.3742 | 292965.8445 | 30.45 | 114.2
107535 | 2021-04-23 16:02 | 28.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 169.2419 | μmol/L | 29.7789 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.473 | 104359.1303 | 292948.4808 | 30.45 | 114.2
107545 | 2021-04-23 16:02 | 28.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.8539 | μmol/L | 29.8035 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.491 | 104424.2401 | 292959.6676 | 30.45 | 114.2
107555 | 2021-04-23 16:02 | 28.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.9143 | μmol/L | 29.7974 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.489 | 104436.3603 | 292963.0021 | 30.45 | 114.2
107565 | 2021-04-23 16:03 | 29.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.6935 | μmol/L | 29.8467 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.487 | 104452.0788 | 292954.6263 | 30.45 | 114.2
107575 | 2021-04-23 16:03 | 29.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.4063 | μmol/L | 29.8775 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.496 | 104524.5882 | 292970.1144 | 30.45 | 114.2
107585 | 2021-04-23 16:03 | 29.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.5603 | μmol/L | 29.8097 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.509 | 104644.0219 | 292958.5383 | 30.45 | 114.2
107595 | 2021-04-23 16:04 | 30.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.9099 | μmol/L | 29.7234 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.515 | 104687.971 | 292962.0921 | 30.45 | 114.2
107605 | 2021-04-23 16:04 | 30.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.3858 | μmol/L | 29.8097 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.521 | 104737.0625 | 292969.425 | 30.45 | 114.2
107615 | 2021-04-23 16:04 | 30.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 168.0307 | μmol/L | 29.8713 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.524 | 104757.8963 | 292963.9459 | 30.45 | 114.2
107625 | 2021-04-23 16:05 | 31.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.4388 | μmol/L | 29.9083 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.552 | 104880.6284 | 292960.4316 | 30.45 | 114.2
107635 | 2021-04-23 16:05 | 31.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.5056 | μmol/L | 29.8405 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.571 | 104996.1231 | 292970.1791 | 30.45 | 114.2
107645 | 2021-04-23 16:05 | 31.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.4707 | μmol/L | 29.8159 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.582 | 105030.4451 | 292960.0059 | 30.45 | 114.2
107655 | 2021-04-23 16:06 | 32.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.1939 | μmol/L | 29.8652 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.584 | 105063.867 | 292966.0148 | 30.45 | 114.2
107665 | 2021-04-23 16:06 | 32.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.9383 | μmol/L | 29.896 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.591 | 105094.6465 | 292954.7811 | 30.45 | 114.2
107675 | 2021-04-23 16:06 | 32.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.0189 | μmol/L | 29.8713 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.594 | 105127.9317 | 292972.861 | 30.45 | 114.2
107685 | 2021-04-23 16:07 | 33.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.8254 | μmol/L | 29.8898 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.601 | 105160.3154 | 292972.7926 | 30.45 | 114.2
107695 | 2021-04-23 16:07 | 33.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 167.0808 | μmol/L | 29.859 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.594 | 105085.7801 | 292987.9493 | 30.45 | 114.2
107705 | 2021-04-23 16:07 | 33.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.8131 | μmol/L | 29.8837 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.604 | 105131.1718 | 292971.8974 | 30.45 | 114.2
107715 | 2021-04-23 16:08 | 34.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.9074 | μmol/L | 29.9022 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.591 | 105071.7531 | 292990.5937 | 30.45 | 114.2
107725 | 2021-04-23 16:08 | 34.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.5179 | μmol/L | 29.8652 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.631 | 105276.4261 | 292986.5229 | 30.45 | 114.2
107735 | 2021-04-23 16:08 | 34.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 166.5186 | μmol/L | 29.822 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.646 | 105356.9667 | 292990.1653 | 30.45 | 114.2
107745 | 2021-04-23 16:09 | 35.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.8772 | μmol/L | 29.896 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.665 | 105453.621 | 292981.7604 | 30.45 | 114.2
107755 | 2021-04-23 16:09 | 35.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.8092 | μmol/L | 29.9268 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.659 | 105477.9199 | 292992.1293 | 30.45 | 114.2
107765 | 2021-04-23 16:09 | 35.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.2862 | μmol/L | 29.9145 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.7 | 105684.7935 | 292990.1226 | 30.45 | 114.2
107775 | 2021-04-23 16:10 | 36.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.7859 | μmol/L | 29.8713 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.68 | 105597.2977 | 292986.655 | 30.45 | 114.2
107785 | 2021-04-23 16:10 | 36.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.6892 | μmol/L | 29.822 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.704 | 105715.1816 | 292994.3508 | 30.45 | 114.2
107795 | 2021-04-23 16:10 | 36.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 165.4612 | μmol/L | 29.822 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.72 | 105809.9436 | 292987.0442 | 30.45 | 114.2
107805 | 2021-04-23 16:11 | 37.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.8668 | μmol/L | 29.896 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.736 | 105889.3532 | 292993.7475 | 30.45 | 114.2
107815 | 2021-04-23 16:11 | 37.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.9497 | μmol/L | 29.9022 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.728 | 105885.4193 | 293000.9143 | 30.45 | 114.2
107825 | 2021-04-23 16:11 | 37.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.5233 | μmol/L | 29.9453 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.743 | 105952.048 | 293005.9406 | 30.45 | 114.2
107835 | 2021-04-23 16:12 | 38.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.4443 | μmol/L | 29.8898 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.768 | 106070.0407 | 292997.3372 | 30.45 | 114.2
107845 | 2021-04-23 16:12 | 38.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 164.2399 | μmol/L | 29.9083 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.776 | 106128.375 | 293004.8748 | 30.45 | 114.2
107855 | 2021-04-23 16:12 | 38.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.8942 | μmol/L | 29.8898 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.807 | 106279.3353 | 293009.7224 | 30.45 | 114.2
107865 | 2021-04-23 16:13 | 39.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.3469 | μmol/L | 29.9268 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.833 | 106410.0276 | 293012.958 | 30.45 | 114.2
107875 | 2021-04-23 16:13 | 39.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.4799 | μmol/L | 29.9083 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.83 | 106435.4562 | 292994.2338 | 30.45 | 114.2
107885 | 2021-04-23 16:13 | 39.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 163.1877 | μmol/L | 29.9022 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.853 | 106527.2637 | 293013.1717 | 30.45 | 114.2
107895 | 2021-04-23 16:14 | 40.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.8543 | μmol/L | 29.896 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.879 | 106646.1739 | 293011.3232 | 30.45 | 114.2
107905 | 2021-04-23 16:14 | 40.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.8264 | μmol/L | 29.896 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.881 | 106676.6048 | 293015.1144 | 30.45 | 114.2
107915 | 2021-04-23 16:14 | 40.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.4408 | μmol/L | 29.9206 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.9 | 106744.0872 | 293019.7877 | 30.45 | 114.2
107925 | 2021-04-23 16:15 | 41.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.4517 | μmol/L | 29.8528 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.923 | 106891.8927 | 293018.95 | 30.45 | 114.2
107935 | 2021-04-23 16:15 | 41.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.2385 | μmol/L | 29.8652 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.934 | 106969.2157 | 293030.9781 | 30.45 | 114.2
107945 | 2021-04-23 16:15 | 41.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.0741 | μmol/L | 29.859 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.948 | 107068.3427 | 293037.5308 | 30.45 | 114.2
107955 | 2021-04-23 16:16 | 42.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.9656 | μmol/L | 29.8898 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.945 | 107052.4871 | 293032.9391 | 30.45 | 114.2
107965 | 2021-04-23 16:16 | 42.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 162.0489 | μmol/L | 29.8898 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.939 | 106998.7919 | 293034.9176 | 30.45 | 114.2
107975 | 2021-04-23 16:16 | 42.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.8362 | μmol/L | 29.9022 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.95 | 107075.2582 | 293049.0503 | 30.45 | 114.2
107985 | 2021-04-23 16:17 | 43.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.3334 | μmol/L | 29.8775 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 22.995 | 107314.9819 | 293041.2138 | 30.45 | 114.2
107995 | 2021-04-23 16:17 | 43.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 161.0782 | μmol/L | 29.896 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.007 | 107399.626 | 293051.8929 | 30.45 | 114.2
108005 | 2021-04-23 16:17 | 43.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.9748 | μmol/L | 29.8775 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.021 | 107433.2868 | 293060.1704 | 30.45 | 114.2
108015 | 2021-04-23 16:18 | 44.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.7409 | μmol/L | 29.8775 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.038 | 107551.5372 | 293049.4321 | 30.45 | 114.2
108025 | 2021-04-23 16:18 | 44.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.6333 | μmol/L | 29.8713 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.048 | 107594.8189 | 293057.5503 | 30.45 | 114.2
108035 | 2021-04-23 16:18 | 44.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.6768 | μmol/L | 29.8652 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.047 | 107595.6952 | 293055.8084 | 30.45 | 114.2
108045 | 2021-04-23 16:19 | 45.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 160.199 | μmol/L | 29.859 | °C | 1011 | hPa | Humid | 28 | 0 | 0 | 23.084 | 107729.2297 | 293054.2356 | 30.45 | 114.2