## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 16:20

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
106711 | 2021-04-23 15:34 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.6526 | μmol/L | 28.9721 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.794 | 121490.8958 | 290933.6016 | 59.9307 | 49.4
106718 | 2021-04-23 15:34 | 0.33622 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.2625 | μmol/L | 29.0154 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.857 | 121995.2615 | 290907.0952 | 59.9307 | 49.4
106725 | 2021-04-23 15:34 | 0.66978 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.04 | μmol/L | 29.0773 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.905 | 123449.5096 | 290881.1355 | 59.9307 | 49.4
106732 | 2021-04-23 15:35 | 1.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.0607 | μmol/L | 29.0092 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 20.983 | 125328.5984 | 290874.1492 | 59.9307 | 49.4
106739 | 2021-04-23 15:35 | 1.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.5356 | μmol/L | 29.0897 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.043 | 126196.7772 | 290863.7383 | 59.9307 | 49.4
106746 | 2021-04-23 15:35 | 1.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.8896 | μmol/L | 29.1454 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.119 | 126626.0842 | 290867.2099 | 59.9307 | 49.4
106756 | 2021-04-23 15:36 | 2.003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.439 | μmol/L | 29.1516 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.143 | 127297.2104 | 290845.1042 | 59.9307 | 49.4
106766 | 2021-04-23 15:36 | 2.3361 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.003 | μmol/L | 29.1763 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.16 | 127643.0727 | 290848.6894 | 59.9307 | 49.4
106776 | 2021-04-23 15:36 | 2.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.5892 | μmol/L | 29.1825 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.182 | 127902.7463 | 290831.5037 | 59.9307 | 49.4
106786 | 2021-04-23 15:37 | 3.003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.2423 | μmol/L | 29.2011 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.196 | 127784.3591 | 290805.44 | 59.9307 | 49.4
106796 | 2021-04-23 15:37 | 3.3361 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.7881 | μmol/L | 29.2444 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.208 | 127305.367 | 290791.8407 | 59.9307 | 49.4
106806 | 2021-04-23 15:37 | 3.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.4952 | μmol/L | 29.2568 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.221 | 126998.0884 | 290786.8607 | 59.9307 | 49.4
106816 | 2021-04-23 15:38 | 4.0029 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.2211 | μmol/L | 29.263 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.235 | 126693.4693 | 290774.7796 | 59.9307 | 49.4
106826 | 2021-04-23 15:38 | 4.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.4484 | μmol/L | 29.3001 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.268 | 126419.8967 | 290761.5144 | 59.9307 | 49.4
106836 | 2021-04-23 15:38 | 4.6698 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.052 | μmol/L | 29.3311 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.281 | 125880.6486 | 290770.3385 | 59.9307 | 49.4
106846 | 2021-04-23 15:39 | 5.0028 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.8845 | μmol/L | 29.3249 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.293 | 125649.6506 | 290767.2853 | 59.9307 | 49.4
106856 | 2021-04-23 15:39 | 5.336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.5384 | μmol/L | 29.3621 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.301 | 125620.4193 | 290760.1557 | 59.9307 | 49.4
106866 | 2021-04-23 15:39 | 5.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.4937 | μmol/L | 29.3373 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.312 | 125635.8802 | 290746.7905 | 59.9307 | 49.4
106876 | 2021-04-23 15:40 | 6.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.2017 | μmol/L | 29.3621 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.321 | 125784.8777 | 290738.9967 | 59.9307 | 49.4
106886 | 2021-04-23 15:40 | 6.3363 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.8811 | μmol/L | 29.3682 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.338 | 125949.3458 | 290741.5876 | 59.9307 | 49.4
106896 | 2021-04-23 15:40 | 6.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.5034 | μmol/L | 29.4054 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.348 | 126195.7246 | 290736.8724 | 59.9307 | 49.4
106906 | 2021-04-23 15:41 | 7.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.2524 | μmol/L | 29.4054 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.363 | 126355.8773 | 290733.0982 | 59.9307 | 49.4
106916 | 2021-04-23 15:41 | 7.336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.9259 | μmol/L | 29.4425 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.37 | 126696.0682 | 290725.0433 | 59.9307 | 49.4
106926 | 2021-04-23 15:41 | 7.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.6561 | μmol/L | 29.4549 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.382 | 126951.6498 | 290712.3068 | 59.9307 | 49.4
106936 | 2021-04-23 15:42 | 8.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.3717 | μmol/L | 29.4611 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.397 | 127274.5418 | 290723.8808 | 59.9307 | 49.4
106946 | 2021-04-23 15:42 | 8.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.1873 | μmol/L | 29.4673 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.406 | 127451.0859 | 290694.5316 | 59.9307 | 49.4
106956 | 2021-04-23 15:42 | 8.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.7963 | μmol/L | 29.5044 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.417 | 127558.8546 | 290706.8989 | 59.9307 | 49.4
106966 | 2021-04-23 15:43 | 9.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.5661 | μmol/L | 29.4982 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.433 | 127610.5233 | 290697.5844 | 59.9307 | 49.4
106976 | 2021-04-23 15:43 | 9.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.3102 | μmol/L | 29.5292 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.438 | 127800.9337 | 290697.5139 | 59.9307 | 49.4
106986 | 2021-04-23 15:43 | 9.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.7743 | μmol/L | 29.5601 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.46 | 128028.2032 | 290683.2358 | 59.9307 | 49.4
106996 | 2021-04-23 15:44 | 10.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.0614 | μmol/L | 29.5849 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.495 | 128253.3999 | 290692.8427 | 59.9307 | 49.4
107006 | 2021-04-23 15:44 | 10.3361 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.7126 | μmol/L | 29.6035 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.51 | 128353.4154 | 290681.9104 | 59.9307 | 49.4
107016 | 2021-04-23 15:44 | 10.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.4608 | μmol/L | 29.6282 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.517 | 128402.3166 | 290671.5519 | 59.9307 | 49.4
107026 | 2021-04-23 15:45 | 11.0031 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.2323 | μmol/L | 29.6282 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.531 | 128507.8217 | 290658.4504 | 59.9307 | 49.4
107036 | 2021-04-23 15:45 | 11.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.3078 | μmol/L | 29.5911 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.539 | 128575.7166 | 290673.9762 | 59.9307 | 49.4
107046 | 2021-04-23 15:45 | 11.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.9263 | μmol/L | 29.6159 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.554 | 128661.0871 | 290653.7175 | 59.9307 | 49.4
107056 | 2021-04-23 15:46 | 12.0028 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.9854 | μmol/L | 29.5787 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.563 | 128726.9499 | 290647.6649 | 59.9307 | 49.4
107066 | 2021-04-23 15:46 | 12.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.639 | μmol/L | 29.5973 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.578 | 128771.3704 | 290654.1216 | 59.9307 | 49.4
107076 | 2021-04-23 15:46 | 12.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.4049 | μmol/L | 29.6221 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.584 | 128819.3858 | 290633.4562 | 59.9307 | 49.4
107086 | 2021-04-23 15:47 | 13.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.0561 | μmol/L | 29.653 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.595 | 128883.5127 | 290652.1257 | 59.9307 | 49.4
107096 | 2021-04-23 15:47 | 13.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.8621 | μmol/L | 29.653 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.607 | 128955.2769 | 290644.607 | 59.9307 | 49.4
107106 | 2021-04-23 15:47 | 13.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.9355 | μmol/L | 29.6221 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.613 | 129047.329 | 290635.2572 | 59.9307 | 49.4
107116 | 2021-04-23 15:48 | 14.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.5519 | μmol/L | 29.6654 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.622 | 129099.9425 | 290629.0733 | 59.9307 | 49.4
107126 | 2021-04-23 15:48 | 14.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.0547 | μmol/L | 29.7149 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.636 | 129195.0401 | 290612.0128 | 59.9307 | 49.4
107136 | 2021-04-23 15:48 | 14.6698 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.2763 | μmol/L | 29.6716 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.637 | 129430.6476 | 290620.9559 | 59.9307 | 49.4
107146 | 2021-04-23 15:49 | 15.003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 183.0118 | μmol/L | 29.6963 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.645 | 129461.3438 | 290606.8493 | 59.9307 | 49.4
107156 | 2021-04-23 15:49 | 15.3361 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.8406 | μmol/L | 29.6778 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.662 | 129540.9957 | 290598.6926 | 59.9307 | 49.4
107166 | 2021-04-23 15:49 | 15.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.673 | μmol/L | 29.7025 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.664 | 129543.2086 | 290603.2874 | 59.9307 | 49.4
107176 | 2021-04-23 15:50 | 16.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.3294 | μmol/L | 29.7273 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.677 | 129651.1895 | 290594.2584 | 59.9307 | 49.4
107186 | 2021-04-23 15:50 | 16.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.1836 | μmol/L | 29.7335 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.684 | 129803.7208 | 290589.9875 | 59.9307 | 49.4
107196 | 2021-04-23 15:50 | 16.6698 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 182.0061 | μmol/L | 29.7397 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.693 | 129795.4233 | 290600.3952 | 59.9307 | 49.4
107206 | 2021-04-23 15:51 | 17.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.914 | μmol/L | 29.7273 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.703 | 129856.8147 | 290576.5082 | 59.9307 | 49.4
107216 | 2021-04-23 15:51 | 17.3361 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.6553 | μmol/L | 29.7397 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.715 | 129912.6458 | 290595.6992 | 59.9307 | 49.4
107226 | 2021-04-23 15:51 | 17.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.659 | μmol/L | 29.7273 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.719 | 130015.4688 | 290576.8786 | 59.9307 | 49.4
107236 | 2021-04-23 15:52 | 18.003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.4081 | μmol/L | 29.7149 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.739 | 130068.6912 | 290564.2386 | 59.9307 | 49.4
107246 | 2021-04-23 15:52 | 18.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.4399 | μmol/L | 29.7149 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.737 | 130132.6375 | 290572.1919 | 59.9307 | 49.4
107256 | 2021-04-23 15:52 | 18.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 181.2371 | μmol/L | 29.7025 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.754 | 130236.9352 | 290551.5394 | 59.9307 | 49.4
107266 | 2021-04-23 15:53 | 19.0028 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.9777 | μmol/L | 29.7211 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.764 | 130222.0113 | 290548.394 | 59.9307 | 49.4
107276 | 2021-04-23 15:53 | 19.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.7997 | μmol/L | 29.7335 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.771 | 130373.2645 | 290539.847 | 59.9307 | 49.4
107286 | 2021-04-23 15:53 | 19.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.6926 | μmol/L | 29.7211 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.782 | 130470.5934 | 290529.7736 | 59.9307 | 49.4
107296 | 2021-04-23 15:54 | 20.003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.4202 | μmol/L | 29.7335 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.795 | 130536.5354 | 290518.3414 | 59.9307 | 49.4
107306 | 2021-04-23 15:54 | 20.3363 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.1324 | μmol/L | 29.7459 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.809 | 130680.7828 | 290531.3435 | 59.9307 | 49.4
107316 | 2021-04-23 15:54 | 20.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 180.0064 | μmol/L | 29.7459 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.817 | 130854.651 | 290512.6003 | 59.9307 | 49.4
107326 | 2021-04-23 15:55 | 21.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.7408 | μmol/L | 29.7397 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.836 | 130908.332 | 290511.7178 | 59.9307 | 49.4
107336 | 2021-04-23 15:55 | 21.3363 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.4524 | μmol/L | 29.7583 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.848 | 130966.3348 | 290507.6761 | 59.9307 | 49.4
107346 | 2021-04-23 15:55 | 21.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.2642 | μmol/L | 29.7583 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.86 | 131013.9173 | 290511.7409 | 59.9307 | 49.4
107356 | 2021-04-23 15:56 | 22.0028 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 179.0098 | μmol/L | 29.7706 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.872 | 131129.2555 | 290498.9206 | 59.9307 | 49.4
107366 | 2021-04-23 15:56 | 22.3357 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.9355 | μmol/L | 29.7583 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.881 | 131187.3205 | 290490.5227 | 59.9307 | 49.4
107376 | 2021-04-23 15:56 | 22.6696 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.748 | μmol/L | 29.7583 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.893 | 131294.3723 | 290470.6324 | 59.9307 | 49.4
107386 | 2021-04-23 15:57 | 23.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.6368 | μmol/L | 29.7644 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.898 | 131392.4949 | 290477.5701 | 59.9307 | 49.4
107396 | 2021-04-23 15:57 | 23.3365 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.6212 | μmol/L | 29.7644 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.899 | 131483.32 | 290476.1529 | 59.9307 | 49.4
107406 | 2021-04-23 15:57 | 23.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 178.4653 | μmol/L | 29.7644 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.909 | 131545.2601 | 290464.435 | 59.9307 | 49.4
107416 | 2021-04-23 15:58 | 24.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.9671 | μmol/L | 29.814 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.924 | 131623.5662 | 290476.3956 | 59.9307 | 49.4
107426 | 2021-04-23 15:58 | 24.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.8429 | μmol/L | 29.814 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.932 | 131697.4795 | 290449.6674 | 59.9307 | 49.4
107436 | 2021-04-23 15:58 | 24.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.5968 | μmol/L | 29.8078 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.95 | 131774.8146 | 290460.2229 | 59.9307 | 49.4
107446 | 2021-04-23 15:59 | 25.003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.4164 | μmol/L | 29.8387 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.951 | 131807.6908 | 290460.4554 | 59.9307 | 49.4
107456 | 2021-04-23 15:59 | 25.3364 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.4943 | μmol/L | 29.7892 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.963 | 131876.196 | 290475.4182 | 59.9307 | 49.4
107466 | 2021-04-23 15:59 | 25.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.1884 | μmol/L | 29.8264 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.97 | 131817.6836 | 290452.8699 | 59.9307 | 49.4
107476 | 2021-04-23 16:00 | 26.0032 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 177.0803 | μmol/L | 29.8264 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.977 | 131828.5505 | 290483.1298 | 59.9307 | 49.4
107486 | 2021-04-23 16:00 | 26.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.5358 | μmol/L | 29.8883 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 21.991 | 131872.1847 | 290471.0851 | 59.9307 | 49.4
107496 | 2021-04-23 16:00 | 26.6692 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.3338 | μmol/L | 29.8945 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.002 | 131894.4403 | 290473.2358 | 59.9307 | 49.4
107506 | 2021-04-23 16:01 | 27.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.5408 | μmol/L | 29.8264 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.012 | 131877.0744 | 290479.5838 | 59.9307 | 49.4
107516 | 2021-04-23 16:01 | 27.3365 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.4486 | μmol/L | 29.8264 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.018 | 131950.5082 | 290464.3934 | 59.9307 | 49.4
107526 | 2021-04-23 16:01 | 27.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 176.0831 | μmol/L | 29.8635 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.029 | 131837.0145 | 290460.8171 | 59.9307 | 49.4
107536 | 2021-04-23 16:02 | 28.0026 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.8031 | μmol/L | 29.8759 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.043 | 131831.7501 | 290466.105 | 59.9307 | 49.4
107546 | 2021-04-23 16:02 | 28.3365 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.4257 | μmol/L | 29.9068 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.057 | 132174.8398 | 290476.9124 | 59.9307 | 49.4
107556 | 2021-04-23 16:02 | 28.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 175.2731 | μmol/L | 29.9068 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.067 | 131673.906 | 290479.1928 | 59.9307 | 49.4
107566 | 2021-04-23 16:03 | 29.0032 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.7776 | μmol/L | 29.9749 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.076 | 131464.8909 | 290486.5165 | 59.9307 | 49.4
107576 | 2021-04-23 16:03 | 29.3364 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.8727 | μmol/L | 29.9192 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.089 | 131460.2299 | 290481.6428 | 59.9307 | 49.4
107586 | 2021-04-23 16:03 | 29.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.6687 | μmol/L | 29.9378 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.096 | 131190.6361 | 290480.2346 | 59.9307 | 49.4
107596 | 2021-04-23 16:04 | 30.0028 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.4173 | μmol/L | 29.9626 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.104 | 130989.3181 | 290474.1967 | 59.9307 | 49.4
107606 | 2021-04-23 16:04 | 30.3365 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.5751 | μmol/L | 29.9007 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.115 | 131080.0217 | 290468.3737 | 59.9307 | 49.4
107616 | 2021-04-23 16:04 | 30.6698 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.5903 | μmol/L | 29.9007 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.114 | 130617.4449 | 290476.2776 | 59.9307 | 49.4
107626 | 2021-04-23 16:05 | 31.003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.3433 | μmol/L | 29.913 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.126 | 130501.3131 | 290462.6686 | 59.9307 | 49.4
107636 | 2021-04-23 16:05 | 31.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 174.3215 | μmol/L | 29.8883 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.136 | 130561.3667 | 290456.005 | 59.9307 | 49.4
107646 | 2021-04-23 16:05 | 31.6694 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.7039 | μmol/L | 29.9688 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.149 | 130620.6484 | 290486.458 | 59.9307 | 49.4
107656 | 2021-04-23 16:06 | 32.0025 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.6952 | μmol/L | 29.9068 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.171 | 130929.626 | 290478.5367 | 59.9307 | 49.4
107666 | 2021-04-23 16:06 | 32.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.0927 | μmol/L | 29.9935 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.181 | 130776.3979 | 290464.7625 | 59.9307 | 49.4
107676 | 2021-04-23 16:06 | 32.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 173.0756 | μmol/L | 29.9564 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.195 | 130856.756 | 290487.667 | 59.9307 | 49.4
107686 | 2021-04-23 16:07 | 33.0029 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.5266 | μmol/L | 30.0245 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.208 | 130977.2144 | 290492.1446 | 59.9307 | 49.4
107696 | 2021-04-23 16:07 | 33.336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.4455 | μmol/L | 29.9997 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.222 | 131103.5688 | 290511.7836 | 59.9307 | 49.4
107706 | 2021-04-23 16:07 | 33.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 172.1571 | μmol/L | 30.0121 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.237 | 131148.267 | 290504.6076 | 59.9307 | 49.4
107716 | 2021-04-23 16:08 | 34.0024 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.8796 | μmol/L | 30.0369 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.247 | 131194.8557 | 290495.0304 | 59.9307 | 49.4
107726 | 2021-04-23 16:08 | 34.3363 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.8929 | μmol/L | 29.9997 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.259 | 131268.7658 | 290506.1004 | 59.9307 | 49.4
107736 | 2021-04-23 16:08 | 34.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.6711 | μmol/L | 30.0369 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.261 | 131416.8259 | 290500.8438 | 59.9307 | 49.4
107746 | 2021-04-23 16:09 | 35.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.552 | μmol/L | 30.0369 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.269 | 131344.6482 | 290501.9022 | 59.9307 | 49.4
107756 | 2021-04-23 16:09 | 35.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.5996 | μmol/L | 29.9873 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.283 | 131443.3348 | 290507.7253 | 59.9307 | 49.4
107766 | 2021-04-23 16:09 | 35.6696 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.2274 | μmol/L | 30.0307 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.293 | 131510.1444 | 290488.665 | 59.9307 | 49.4
107776 | 2021-04-23 16:10 | 36.0027 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.1904 | μmol/L | 29.9688 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.317 | 131655.4532 | 290492.8973 | 59.9307 | 49.4
107786 | 2021-04-23 16:10 | 36.3358 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 171.2201 | μmol/L | 29.9688 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.315 | 131807.2796 | 290479.2871 | 59.9307 | 49.4
107796 | 2021-04-23 16:10 | 36.6697 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.8749 | μmol/L | 29.9811 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.334 | 131781.3251 | 290488.3481 | 59.9307 | 49.4
107806 | 2021-04-23 16:11 | 37.003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.6066 | μmol/L | 29.9873 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.35 | 131861.077 | 290488.2023 | 59.9307 | 49.4
107816 | 2021-04-23 16:11 | 37.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.5838 | μmol/L | 29.9688 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.358 | 131919.8042 | 290488.8448 | 59.9307 | 49.4
107826 | 2021-04-23 16:11 | 37.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.3116 | μmol/L | 29.9873 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.37 | 132006.0769 | 290497.7737 | 59.9307 | 49.4
107836 | 2021-04-23 16:12 | 38.0031 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 170.1496 | μmol/L | 29.9873 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.381 | 132087.5935 | 290485.8828 | 59.9307 | 49.4
107846 | 2021-04-23 16:12 | 38.3363 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.9629 | μmol/L | 29.9749 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.398 | 132264.0383 | 290492.2598 | 59.9307 | 49.4
107856 | 2021-04-23 16:12 | 38.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.7674 | μmol/L | 29.9873 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.407 | 132310.2683 | 290497.9344 | 59.9307 | 49.4
107866 | 2021-04-23 16:13 | 39.003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.6669 | μmol/L | 29.9811 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.416 | 132335.7032 | 290495.9053 | 59.9307 | 49.4
107876 | 2021-04-23 16:13 | 39.3362 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.3186 | μmol/L | 30.0121 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.429 | 132388.7234 | 290500.731 | 59.9307 | 49.4
107886 | 2021-04-23 16:13 | 39.6695 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.2331 | μmol/L | 30.0059 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.437 | 132475.3316 | 290519.3791 | 59.9307 | 49.4
107896 | 2021-04-23 16:14 | 40.0028 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 169.0139 | μmol/L | 30.0059 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.452 | 132578.8711 | 290494.6801 | 59.9307 | 49.4
107906 | 2021-04-23 16:14 | 40.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.8142 | μmol/L | 29.9935 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.47 | 132684.8 | 290502.5353 | 59.9307 | 49.4
107916 | 2021-04-23 16:14 | 40.6699 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.9683 | μmol/L | 29.9316 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.481 | 132772.0781 | 290492.2819 | 59.9307 | 49.4
107926 | 2021-04-23 16:15 | 41.0029 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.9414 | μmol/L | 29.9254 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.485 | 132818.3606 | 290515.1963 | 59.9307 | 49.4
107936 | 2021-04-23 16:15 | 41.336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.4594 | μmol/L | 29.9688 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.503 | 132921.0574 | 290515.6488 | 59.9307 | 49.4
107946 | 2021-04-23 16:15 | 41.6691 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.2224 | μmol/L | 29.9811 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.515 | 133043.6742 | 290496.1797 | 59.9307 | 49.4
107956 | 2021-04-23 16:16 | 42.0032 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.9324 | μmol/L | 29.9811 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.535 | 133198.9087 | 290519.7611 | 59.9307 | 49.4
107966 | 2021-04-23 16:16 | 42.3364 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.8768 | μmol/L | 29.9749 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.541 | 133447.4509 | 290502.4343 | 59.9307 | 49.4
107976 | 2021-04-23 16:16 | 42.6698 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.8091 | μmol/L | 29.9626 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.55 | 133457.2537 | 290505.8424 | 59.9307 | 49.4
107986 | 2021-04-23 16:17 | 43.003 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.602 | μmol/L | 29.9749 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.56 | 133377.5835 | 290495.8768 | 59.9307 | 49.4
107996 | 2021-04-23 16:17 | 43.3359 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.5731 | μmol/L | 29.9749 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.562 | 133387.0786 | 290509.5839 | 59.9307 | 49.4
108006 | 2021-04-23 16:17 | 43.6693 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 168.0295 | μmol/L | 29.8759 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.565 | 133349.6356 | 290512.7221 | 59.9307 | 49.4
108016 | 2021-04-23 16:18 | 44.0031 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.6228 | μmol/L | 29.9192 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.578 | 133501.577 | 290516.8238 | 59.9307 | 49.4
108026 | 2021-04-23 16:18 | 44.336 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.2315 | μmol/L | 29.9626 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.59 | 133690.1117 | 290522.7143 | 59.9307 | 49.4
108036 | 2021-04-23 16:18 | 44.6699 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 167.0875 | μmol/L | 29.9626 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.6 | 133710.5601 | 290511.7223 | 59.9307 | 49.4
108046 | 2021-04-23 16:19 | 45.0029 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 166.9172 | μmol/L | 29.9564 | °C | 1013 | hPa | Humid | 28 | 1 | 0 | 22.614 | 134136.3217 | 290535.6304 | 59.9307 | 49.4