## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 12:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
101788 | 2021-04-23 12:00 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.4702 | μmol/L | 29.2202 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.867 | 125904.9528 | 299143.6301 | 59.9307 | 38.1
101798 | 2021-04-23 12:00 | 0.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.2921 | μmol/L | 29.2324 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.873 | 125911.3132 | 299112.2429 | 59.9307 | 38.1
101808 | 2021-04-23 12:00 | 0.67383 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.8725 | μmol/L | 29.2631 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.83 | 125656.2262 | 299091.039 | 59.9307 | 38.1
101818 | 2021-04-23 12:01 | 1.0074 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7996 | μmol/L | 29.2814 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.828 | 125649.0629 | 299038.6333 | 59.9307 | 38.1
101828 | 2021-04-23 12:01 | 1.3412 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.2477 | μmol/L | 29.3121 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.849 | 125697.9242 | 299015.7635 | 59.9307 | 38.1
101838 | 2021-04-23 12:01 | 1.6741 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.1375 | μmol/L | 29.3488 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.843 | 125636.9165 | 298977.8008 | 59.9307 | 38.1
101848 | 2021-04-23 12:02 | 2.0077 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.6871 | μmol/L | 29.2814 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.891 | 125854.6921 | 298954.4682 | 59.9307 | 38.1
101858 | 2021-04-23 12:02 | 2.3407 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.6556 | μmol/L | 29.2508 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.903 | 125899.4025 | 298932.282 | 59.9307 | 38.1
101868 | 2021-04-23 12:02 | 2.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.3678 | μmol/L | 29.3059 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.901 | 125883.6302 | 298897.1157 | 59.9307 | 38.1
101878 | 2021-04-23 12:03 | 3.0071 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.712 | μmol/L | 29.2202 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.91 | 125911.5175 | 298875.8862 | 59.9307 | 38.1
101888 | 2021-04-23 12:03 | 3.3409 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1343 | μmol/L | 29.3488 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.9 | 125850.5666 | 298850.2102 | 59.9307 | 38.1
101898 | 2021-04-23 12:03 | 3.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.2068 | μmol/L | 29.3304 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.902 | 125840.2187 | 298820.0408 | 59.9307 | 38.1
101908 | 2021-04-23 12:04 | 4.0073 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.3349 | μmol/L | 29.2876 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.909 | 125854.4886 | 298785.6724 | 59.9307 | 38.1
101918 | 2021-04-23 12:04 | 4.3412 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.6391 | μmol/L | 29.3856 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.916 | 125882.5305 | 298769.0007 | 59.9307 | 38.1
101928 | 2021-04-23 12:04 | 4.6742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.6948 | μmol/L | 29.3611 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.921 | 125924.9787 | 298746.2767 | 59.9307 | 38.1
101938 | 2021-04-23 12:05 | 5.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.7337 | μmol/L | 29.3304 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.929 | 125934.216 | 298707.823 | 59.9307 | 38.1
101948 | 2021-04-23 12:05 | 5.341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5374 | μmol/L | 29.3611 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.93 | 125935.5227 | 298703.9608 | 59.9307 | 38.1
101958 | 2021-04-23 12:05 | 5.6743 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5326 | μmol/L | 29.3978 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.918 | 125872.4109 | 298668.9244 | 59.9307 | 38.1
101968 | 2021-04-23 12:06 | 6.0078 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5588 | μmol/L | 29.3304 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.939 | 125941.6379 | 298644.1545 | 59.9307 | 38.1
101978 | 2021-04-23 12:06 | 6.3409 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.7383 | μmol/L | 29.2937 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.941 | 125934.3256 | 298622.1163 | 59.9307 | 38.1
101988 | 2021-04-23 12:06 | 6.6744 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2381 | μmol/L | 29.3795 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.941 | 125916.6288 | 298602.8768 | 59.9307 | 38.1
101998 | 2021-04-23 12:07 | 7.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2937 | μmol/L | 29.3549 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.946 | 125925.3736 | 298568.7134 | 59.9307 | 38.1
102008 | 2021-04-23 12:07 | 7.3412 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.9568 | μmol/L | 29.3978 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.951 | 125935.8869 | 298561.9001 | 59.9307 | 38.1
102018 | 2021-04-23 12:07 | 7.6741 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.0654 | μmol/L | 29.3672 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.955 | 125941.4736 | 298530.0774 | 59.9307 | 38.1
102028 | 2021-04-23 12:08 | 8.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.8341 | μmol/L | 29.404 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.956 | 125953.5149 | 298519.8157 | 59.9307 | 38.1
102038 | 2021-04-23 12:08 | 8.341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.8029 | μmol/L | 29.3366 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.923 | 125757.1495 | 298483.2118 | 59.9307 | 38.1
102048 | 2021-04-23 12:08 | 8.6742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2041 | μmol/L | 29.3733 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.945 | 125845.1464 | 298457.1843 | 59.9307 | 38.1
102058 | 2021-04-23 12:09 | 9.0077 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.3047 | μmol/L | 29.404 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.929 | 125767.0021 | 298444.7898 | 59.9307 | 38.1
102068 | 2021-04-23 12:09 | 9.3412 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.245 | μmol/L | 29.4591 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.914 | 125673.2487 | 298426.7858 | 59.9307 | 38.1
102078 | 2021-04-23 12:09 | 9.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.7123 | μmol/L | 29.404 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.963 | 125904.9247 | 298403.2741 | 59.9307 | 38.1
102088 | 2021-04-23 12:10 | 10.0073 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.4317 | μmol/L | 29.4223 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.973 | 125964.4226 | 298385.1982 | 59.9307 | 38.1
102098 | 2021-04-23 12:10 | 10.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.6122 | μmol/L | 29.3733 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.979 | 126003.714 | 298345.5524 | 59.9307 | 38.1
102108 | 2021-04-23 12:10 | 10.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.8033 | μmol/L | 29.502 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.925 | 125721.8941 | 298334.5044 | 59.9307 | 38.1
102118 | 2021-04-23 12:11 | 11.0077 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.4309 | μmol/L | 29.4285 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.971 | 125909.2888 | 298304.0723 | 59.9307 | 38.1
102128 | 2021-04-23 12:11 | 11.3412 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.3666 | μmol/L | 29.3917 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.987 | 126000.4921 | 298280.2531 | 59.9307 | 38.1
102138 | 2021-04-23 12:11 | 11.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.6873 | μmol/L | 29.5387 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.977 | 125924.4862 | 298265.9714 | 59.9307 | 38.1
102148 | 2021-04-23 12:12 | 12.0071 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.2599 | μmol/L | 29.4101 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.987 | 125967.9665 | 298238.2325 | 59.9307 | 38.1
102158 | 2021-04-23 12:12 | 12.341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.2548 | μmol/L | 29.4468 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.975 | 125887.9609 | 298233.7527 | 59.9307 | 38.1
102168 | 2021-04-23 12:12 | 12.6743 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.1464 | μmol/L | 29.4775 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.971 | 125862.1374 | 298199.9862 | 59.9307 | 38.1
102178 | 2021-04-23 12:13 | 13.0073 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4436 | μmol/L | 29.551 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.987 | 125916.1135 | 298183.4199 | 59.9307 | 38.1
102188 | 2021-04-23 12:13 | 13.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7282 | μmol/L | 29.4958 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.989 | 125908.3717 | 298175.6088 | 59.9307 | 38.1
102198 | 2021-04-23 12:13 | 13.6745 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.5017 | μmol/L | 29.5081 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 20.998 | 125950.6954 | 298154.3169 | 59.9307 | 38.1
102208 | 2021-04-23 12:14 | 14.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2901 | μmol/L | 29.5387 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21 | 125945.8659 | 298141.1341 | 59.9307 | 38.1
102218 | 2021-04-23 12:14 | 14.3412 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.1358 | μmol/L | 29.5326 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.011 | 125954.8897 | 298111.687 | 59.9307 | 38.1
102228 | 2021-04-23 12:14 | 14.6745 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2075 | μmol/L | 29.5142 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.013 | 125980.5402 | 298094.1258 | 59.9307 | 38.1
102238 | 2021-04-23 12:15 | 15.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.1232 | μmol/L | 29.502 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.022 | 125994.5482 | 298084.3758 | 59.9307 | 38.1
102248 | 2021-04-23 12:15 | 15.3407 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.3182 | μmol/L | 29.4652 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.023 | 126006.2952 | 298072.8239 | 59.9307 | 38.1
102258 | 2021-04-23 12:15 | 15.6743 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.6325 | μmol/L | 29.4407 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.013 | 125943.1474 | 298045.8381 | 59.9307 | 38.1
102268 | 2021-04-23 12:16 | 16.0078 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0897 | μmol/L | 29.4958 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.026 | 126006.9838 | 298032.5339 | 59.9307 | 38.1
102278 | 2021-04-23 12:16 | 16.3411 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0017 | μmol/L | 29.5081 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.027 | 126003.6598 | 298004.0945 | 59.9307 | 38.1
102288 | 2021-04-23 12:16 | 16.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0026 | μmol/L | 29.502 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.029 | 126002.1859 | 297996.7483 | 59.9307 | 38.1
102298 | 2021-04-23 12:17 | 17.0078 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0752 | μmol/L | 29.4775 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.033 | 126010.9182 | 297982.5789 | 59.9307 | 38.1
102308 | 2021-04-23 12:17 | 17.3404 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.7647 | μmol/L | 29.4836 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.049 | 126089.1612 | 297970.8453 | 59.9307 | 38.1
102318 | 2021-04-23 12:17 | 17.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.4871 | μmol/L | 29.502 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.059 | 126146.8885 | 297953.6087 | 59.9307 | 38.1
102328 | 2021-04-23 12:18 | 18.0073 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.1729 | μmol/L | 29.5387 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.065 | 126159.9224 | 297929.7926 | 59.9307 | 38.1
102338 | 2021-04-23 12:18 | 18.3412 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.4051 | μmol/L | 29.5877 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.035 | 126022.5435 | 297916.6788 | 59.9307 | 38.1
102348 | 2021-04-23 12:18 | 18.6743 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.9958 | μmol/L | 29.5755 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.063 | 126135.2598 | 297896.2502 | 59.9307 | 38.1
102358 | 2021-04-23 12:19 | 19.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1093 | μmol/L | 29.6735 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.082 | 126261.2347 | 297895.6783 | 59.9307 | 38.1
102368 | 2021-04-23 12:19 | 19.3409 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.5034 | μmol/L | 29.5571 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.098 | 126320.1116 | 297878.6271 | 59.9307 | 38.1
102378 | 2021-04-23 12:19 | 19.6744 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4382 | μmol/L | 29.7225 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.105 | 126374.2882 | 297864.649 | 59.9307 | 38.1
102388 | 2021-04-23 12:20 | 20.0074 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9745 | μmol/L | 29.7593 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.12 | 126419.6931 | 297831.07 | 59.9307 | 38.1
102398 | 2021-04-23 12:20 | 20.3411 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.783 | μmol/L | 29.7899 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.121 | 126396.9822 | 297808.4035 | 59.9307 | 38.1
102408 | 2021-04-23 12:20 | 20.6742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.0083 | μmol/L | 29.7593 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.118 | 126416.5294 | 297801.332 | 59.9307 | 38.1
102418 | 2021-04-23 12:21 | 21.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.7373 | μmol/L | 29.6613 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.108 | 126367.0964 | 297809.6202 | 59.9307 | 38.1
102428 | 2021-04-23 12:21 | 21.3404 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.8157 | μmol/L | 29.796 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.117 | 126398.3529 | 297765.3084 | 59.9307 | 38.1
102438 | 2021-04-23 12:21 | 21.6744 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.344 | μmol/L | 29.5939 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.095 | 126288.7967 | 297767.2293 | 59.9307 | 38.1
102448 | 2021-04-23 12:22 | 22.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.7618 | μmol/L | 29.7164 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.088 | 126227.0388 | 297745.6109 | 59.9307 | 38.1
102458 | 2021-04-23 12:22 | 22.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.699 | μmol/L | 29.5081 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.103 | 126291.0775 | 297739.3847 | 59.9307 | 38.1
102468 | 2021-04-23 12:22 | 22.6742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.6196 | μmol/L | 29.4713 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.12 | 126389.5165 | 297731.8737 | 59.9307 | 38.1
102478 | 2021-04-23 12:23 | 23.0073 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.34 | μmol/L | 29.5142 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.122 | 126418.1941 | 297709.114 | 59.9307 | 38.1
102488 | 2021-04-23 12:23 | 23.3412 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.9478 | μmol/L | 29.5203 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.143 | 126514.1959 | 297699.0151 | 59.9307 | 38.1
102498 | 2021-04-23 12:23 | 23.6742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.2975 | μmol/L | 29.5571 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.169 | 126649.085 | 297690.4862 | 59.9307 | 38.1
102508 | 2021-04-23 12:24 | 24.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.6326 | μmol/L | 29.5939 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.196 | 126777.5795 | 297672.8762 | 59.9307 | 38.1
102518 | 2021-04-23 12:24 | 24.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9858 | μmol/L | 29.502 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.206 | 126831.6705 | 297663.936 | 59.9307 | 38.1
102528 | 2021-04-23 12:24 | 24.6741 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.657 | μmol/L | 29.551 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.209 | 126851.3531 | 297648.601 | 59.9307 | 38.1
102538 | 2021-04-23 12:25 | 25.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.4316 | μmol/L | 29.5877 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.21 | 126856.6704 | 297629.7094 | 59.9307 | 38.1
102548 | 2021-04-23 12:25 | 25.3413 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.4696 | μmol/L | 29.5632 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.216 | 126862.7924 | 297608.1747 | 59.9307 | 38.1
102558 | 2021-04-23 12:25 | 25.6745 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.2456 | μmol/L | 29.5939 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.219 | 126900.0658 | 297611.6678 | 59.9307 | 38.1
102568 | 2021-04-23 12:26 | 26.0078 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5981 | μmol/L | 29.649 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.239 | 126997.3411 | 297597.38 | 59.9307 | 38.1
102578 | 2021-04-23 12:26 | 26.341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.5696 | μmol/L | 29.7899 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.253 | 127057.4875 | 297579.2498 | 59.9307 | 38.1
102588 | 2021-04-23 12:26 | 26.674 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.5281 | μmol/L | 29.747 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.27 | 127152.8594 | 297556.8427 | 59.9307 | 38.1
102598 | 2021-04-23 12:27 | 27.0078 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.5577 | μmol/L | 29.7654 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.262 | 127121.7209 | 297555.8748 | 59.9307 | 38.1
102608 | 2021-04-23 12:27 | 27.3411 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.6981 | μmol/L | 29.7286 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.266 | 127139.0275 | 297535.3184 | 59.9307 | 38.1
102618 | 2021-04-23 12:27 | 27.6741 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.7598 | μmol/L | 29.6674 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.283 | 127216.621 | 297527.0021 | 59.9307 | 38.1
102628 | 2021-04-23 12:28 | 28.0079 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.6611 | μmol/L | 29.6613 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.291 | 127265.0971 | 297531.779 | 59.9307 | 38.1
102638 | 2021-04-23 12:28 | 28.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.6636 | μmol/L | 29.7348 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.266 | 127137.0571 | 297513.1255 | 59.9307 | 38.1
102648 | 2021-04-23 12:28 | 28.6746 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.2832 | μmol/L | 29.7225 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.233 | 126953.8481 | 297503.6787 | 59.9307 | 38.1
102658 | 2021-04-23 12:29 | 29.0074 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.2867 | μmol/L | 29.7041 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.239 | 126976.6039 | 297485.7463 | 59.9307 | 38.1
102668 | 2021-04-23 12:29 | 29.3407 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.1627 | μmol/L | 29.7409 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.234 | 126927.1009 | 297469.9541 | 59.9307 | 38.1
102678 | 2021-04-23 12:29 | 29.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.4805 | μmol/L | 29.7409 | °C | 1014 | hPa | Humid | 28 | 1 | 0 | 21.215 | 126893.2181 | 297473.6486 | 59.9307 | 38.1