## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-23 12:31

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
101789 | 2021-04-23 12:00 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.0595 | μmol/L | 29.5038 | °C | 1015 | hPa | Humid | 28 | 0 | 0 | 20.032 | 104598.431 | 215508.4443 | 27.3 | 43.4
101799 | 2021-04-23 12:00 | 0.33334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.1028 | μmol/L | 29.5651 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.059 | 104713.3898 | 215512.7258 | 27.3 | 43.4
101809 | 2021-04-23 12:00 | 0.66609 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.9204 | μmol/L | 29.5835 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.062 | 104732.6517 | 215494.495 | 27.3 | 43.4
101819 | 2021-04-23 12:01 | 0.99967 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.6233 | μmol/L | 29.5835 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.077 | 104778.1841 | 215476.7937 | 27.3 | 43.4
101829 | 2021-04-23 12:01 | 1.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.2675 | μmol/L | 29.5835 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.095 | 104812.8286 | 215464.591 | 27.3 | 43.4
101839 | 2021-04-23 12:01 | 1.6664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.4704 | μmol/L | 29.5589 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.093 | 104801.1672 | 215444.2901 | 27.3 | 43.4
101849 | 2021-04-23 12:02 | 2.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.5125 | μmol/L | 29.5467 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.095 | 104770.5655 | 215432.712 | 27.3 | 43.4
101859 | 2021-04-23 12:02 | 2.3329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.5732 | μmol/L | 29.5406 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.094 | 104742.1803 | 215422.0445 | 27.3 | 43.4
101869 | 2021-04-23 12:02 | 2.6663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.3913 | μmol/L | 29.5589 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.097 | 104737.2192 | 215406.0301 | 27.3 | 43.4
101879 | 2021-04-23 12:03 | 2.9999 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.3347 | μmol/L | 29.5467 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.104 | 104752.5784 | 215381.2164 | 27.3 | 43.4
101889 | 2021-04-23 12:03 | 3.3331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.2597 | μmol/L | 29.5283 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.114 | 104775.9426 | 215362.7777 | 27.3 | 43.4
101899 | 2021-04-23 12:03 | 3.6662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.0966 | μmol/L | 29.5528 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.114 | 104770.9763 | 215345.8967 | 27.3 | 43.4
101909 | 2021-04-23 12:04 | 3.9996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.1427 | μmol/L | 29.5222 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.122 | 104777.8743 | 215345.099 | 27.3 | 43.4
101919 | 2021-04-23 12:04 | 4.333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.5988 | μmol/L | 29.5773 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.131 | 104782.6617 | 215320.7406 | 27.3 | 43.4
101929 | 2021-04-23 12:04 | 4.6663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8811 | μmol/L | 29.5467 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.127 | 104771.7317 | 215305.9304 | 27.3 | 43.4
101939 | 2021-04-23 12:05 | 4.9997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.0034 | μmol/L | 29.5283 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.127 | 104768.0043 | 215288.9201 | 27.3 | 43.4
101949 | 2021-04-23 12:05 | 5.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8404 | μmol/L | 29.5528 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.127 | 104763.5856 | 215261.4972 | 27.3 | 43.4
101959 | 2021-04-23 12:05 | 5.6662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.7827 | μmol/L | 29.5467 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.132 | 104759.4522 | 215251.618 | 27.3 | 43.4
101969 | 2021-04-23 12:06 | 5.9995 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.3027 | μmol/L | 29.5835 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.144 | 104775.0515 | 215235.2091 | 27.3 | 43.4
101979 | 2021-04-23 12:06 | 6.3333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.4781 | μmol/L | 29.5896 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.133 | 104714.9015 | 215224.1046 | 27.3 | 43.4
101989 | 2021-04-23 12:06 | 6.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.3968 | μmol/L | 29.6019 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.133 | 104707.7287 | 215209.536 | 27.3 | 43.4
101999 | 2021-04-23 12:07 | 6.9995 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.178 | μmol/L | 29.6141 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.14 | 104716.2061 | 215183.237 | 27.3 | 43.4
102009 | 2021-04-23 12:07 | 7.3328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.3196 | μmol/L | 29.5957 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.139 | 104702.0348 | 215175.8863 | 27.3 | 43.4
102019 | 2021-04-23 12:07 | 7.6665 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.1163 | μmol/L | 29.6264 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.139 | 104677.893 | 215161.6004 | 27.3 | 43.4
102029 | 2021-04-23 12:08 | 8.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.0743 | μmol/L | 29.6386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.137 | 104644.9913 | 215149.016 | 27.3 | 43.4
102039 | 2021-04-23 12:08 | 8.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.0603 | μmol/L | 29.6141 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.146 | 104661.8322 | 215134.8244 | 27.3 | 43.4
102049 | 2021-04-23 12:08 | 8.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.9623 | μmol/L | 29.6141 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.151 | 104675.6272 | 215127.3612 | 27.3 | 43.4
102059 | 2021-04-23 12:09 | 8.9994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.7607 | μmol/L | 29.6386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.153 | 104657.9337 | 215103.7802 | 27.3 | 43.4
102069 | 2021-04-23 12:09 | 9.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.3055 | μmol/L | 29.5712 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.148 | 104649.1656 | 215095.348 | 27.3 | 43.4
102079 | 2021-04-23 12:09 | 9.6663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.7579 | μmol/L | 29.6509 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.149 | 104650.4629 | 215092.2673 | 27.3 | 43.4
102089 | 2021-04-23 12:10 | 9.9994 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.7201 | μmol/L | 29.6448 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.153 | 104622.1317 | 215068.5975 | 27.3 | 43.4
102099 | 2021-04-23 12:10 | 10.3336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.9833 | μmol/L | 29.608 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.152 | 104620.6515 | 215059.07 | 27.3 | 43.4
102109 | 2021-04-23 12:10 | 10.6664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.8629 | μmol/L | 29.6202 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.154 | 104593.9305 | 215030.7422 | 27.3 | 43.4
102119 | 2021-04-23 12:11 | 10.9996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.5006 | μmol/L | 29.6631 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.158 | 104623.7276 | 215013.8729 | 27.3 | 43.4
102129 | 2021-04-23 12:11 | 11.3328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.4029 | μmol/L | 29.6631 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.163 | 104639.7966 | 214996.2208 | 27.3 | 43.4
102139 | 2021-04-23 12:11 | 11.6663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.463 | μmol/L | 29.657 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.162 | 104632.0916 | 214986.1378 | 27.3 | 43.4
102149 | 2021-04-23 12:12 | 11.9996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.3653 | μmol/L | 29.657 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.167 | 104635.5616 | 214983.0893 | 27.3 | 43.4
102159 | 2021-04-23 12:12 | 12.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.2047 | μmol/L | 29.6754 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.169 | 104619.5452 | 214959.9263 | 27.3 | 43.4
102169 | 2021-04-23 12:12 | 12.6661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.4868 | μmol/L | 29.6386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.167 | 104602.373 | 214952.8536 | 27.3 | 43.4
102179 | 2021-04-23 12:13 | 13 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.3457 | μmol/L | 29.657 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.168 | 104590.1943 | 214941.0462 | 27.3 | 43.4
102189 | 2021-04-23 12:13 | 13.3334 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.0081 | μmol/L | 29.6815 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.177 | 104606.0829 | 214923.7353 | 27.3 | 43.4
102199 | 2021-04-23 12:13 | 13.6668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.8673 | μmol/L | 29.6999 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.178 | 104628.2027 | 214915.6907 | 27.3 | 43.4
102209 | 2021-04-23 12:14 | 13.9997 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.9706 | μmol/L | 29.6754 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.181 | 104631.6364 | 214912.6508 | 27.3 | 43.4
102219 | 2021-04-23 12:14 | 14.3333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.0081 | μmol/L | 29.6815 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.177 | 104603.3469 | 214901.6774 | 27.3 | 43.4
102229 | 2021-04-23 12:14 | 14.6669 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.9901 | μmol/L | 29.6754 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.18 | 104603.3087 | 214879.687 | 27.3 | 43.4
102239 | 2021-04-23 12:15 | 15.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.7115 | μmol/L | 29.6999 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.186 | 104604.1978 | 214872.8219 | 27.3 | 43.4
102249 | 2021-04-23 12:15 | 15.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.7923 | μmol/L | 29.6877 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.186 | 104579.4416 | 214854.6235 | 27.3 | 43.4
102259 | 2021-04-23 12:15 | 15.6661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.6321 | μmol/L | 29.706 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.188 | 104580.7265 | 214852.6093 | 27.3 | 43.4
102269 | 2021-04-23 12:16 | 15.9996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.6501 | μmol/L | 29.7122 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.185 | 104553.0271 | 214819.8414 | 27.3 | 43.4
102279 | 2021-04-23 12:16 | 16.3328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.4915 | μmol/L | 29.7244 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.189 | 104564.4976 | 214831.8071 | 27.3 | 43.4
102289 | 2021-04-23 12:16 | 16.6664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.4092 | μmol/L | 29.7428 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.187 | 104540.445 | 214826.2609 | 27.3 | 43.4
102299 | 2021-04-23 12:17 | 16.9998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.3928 | μmol/L | 29.7306 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.192 | 104545.6416 | 214813.7482 | 27.3 | 43.4
102309 | 2021-04-23 12:17 | 17.3329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.7339 | μmol/L | 29.6877 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.189 | 104546.4619 | 214801.2198 | 27.3 | 43.4
102319 | 2021-04-23 12:17 | 17.6664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.9599 | μmol/L | 29.6386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.194 | 104526.5711 | 214783.5796 | 27.3 | 43.4
102329 | 2021-04-23 12:18 | 17.9999 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.7008 | μmol/L | 29.6631 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.199 | 104557.3273 | 214778.6659 | 27.3 | 43.4
102339 | 2021-04-23 12:18 | 18.333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.7354 | μmol/L | 29.6815 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.191 | 104543.0253 | 214772.3041 | 27.3 | 43.4
102349 | 2021-04-23 12:18 | 18.6664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.1388 | μmol/L | 29.7367 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.203 | 104539.5843 | 214754.8098 | 27.3 | 43.4
102359 | 2021-04-23 12:19 | 19 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.0821 | μmol/L | 29.7306 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.208 | 104569.0734 | 214746.2182 | 27.3 | 43.4
102369 | 2021-04-23 12:19 | 19.3333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.3614 | μmol/L | 29.6999 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.204 | 104559.1684 | 214732.4237 | 27.3 | 43.4
102379 | 2021-04-23 12:19 | 19.6661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.206 | μmol/L | 29.6999 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.212 | 104561.5068 | 214715.393 | 27.3 | 43.4
102389 | 2021-04-23 12:20 | 20.0006 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.2867 | μmol/L | 29.6877 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.212 | 104545.3222 | 214702.4251 | 27.3 | 43.4
102399 | 2021-04-23 12:20 | 20.3328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.3076 | μmol/L | 29.6815 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.213 | 104541.4994 | 214683.4697 | 27.3 | 43.4
102409 | 2021-04-23 12:20 | 20.6661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.8673 | μmol/L | 29.7367 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.217 | 104542.9123 | 214687.779 | 27.3 | 43.4
102419 | 2021-04-23 12:21 | 21.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.109 | μmol/L | 29.6999 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.217 | 104540.1365 | 214676.1956 | 27.3 | 43.4
102429 | 2021-04-23 12:21 | 21.3331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.0105 | μmol/L | 29.706 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.22 | 104544.5393 | 214664.0917 | 27.3 | 43.4
102439 | 2021-04-23 12:21 | 21.6661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.1702 | μmol/L | 29.6877 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.218 | 104533.4758 | 214657.1557 | 27.3 | 43.4
102449 | 2021-04-23 12:22 | 22.0001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.9748 | μmol/L | 29.6938 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.226 | 104567.9341 | 214660.7235 | 27.3 | 43.4
102459 | 2021-04-23 12:22 | 22.333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.775 | μmol/L | 29.7183 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.228 | 104575.6412 | 214638.7067 | 27.3 | 43.4
102469 | 2021-04-23 12:22 | 22.6661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.5606 | μmol/L | 29.7244 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.237 | 104587.4869 | 214632.0673 | 27.3 | 43.4
102479 | 2021-04-23 12:23 | 22.9998 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.6635 | μmol/L | 29.6999 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.24 | 104585.8677 | 214622.3716 | 27.3 | 43.4
102489 | 2021-04-23 12:23 | 23.3328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.6843 | μmol/L | 29.6938 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.241 | 104591.5111 | 214612.5619 | 27.3 | 43.4
102499 | 2021-04-23 12:23 | 23.6667 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.5474 | μmol/L | 29.6999 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.246 | 104603.0447 | 214608.1633 | 27.3 | 43.4
102509 | 2021-04-23 12:24 | 24 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.6472 | μmol/L | 29.6877 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.245 | 104592.2884 | 214597.1443 | 27.3 | 43.4
102519 | 2021-04-23 12:24 | 24.3332 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.2337 | μmol/L | 29.7183 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.256 | 104631.5179 | 214580.0961 | 27.3 | 43.4
102529 | 2021-04-23 12:24 | 24.6663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.1982 | μmol/L | 29.706 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.262 | 104636.3201 | 214575.3026 | 27.3 | 43.4
102539 | 2021-04-23 12:25 | 24.9995 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.3573 | μmol/L | 29.6877 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.26 | 104643.6292 | 214569.8146 | 27.3 | 43.4
102549 | 2021-04-23 12:25 | 25.3335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.206 | μmol/L | 29.6754 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.272 | 104670.9324 | 214562.7051 | 27.3 | 43.4
102559 | 2021-04-23 12:25 | 25.6664 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9507 | μmol/L | 29.6938 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.279 | 104712.484 | 214567.2934 | 27.3 | 43.4
102569 | 2021-04-23 12:26 | 25.9996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.007 | μmol/L | 29.6999 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.274 | 104693.0996 | 214554.1621 | 27.3 | 43.4
102579 | 2021-04-23 12:26 | 26.3328 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.0294 | μmol/L | 29.6877 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.277 | 104694.2695 | 214546.2004 | 27.3 | 43.4
102589 | 2021-04-23 12:26 | 26.6666 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.2878 | μmol/L | 29.657 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.274 | 104693.6977 | 214541.9462 | 27.3 | 43.4
102599 | 2021-04-23 12:27 | 26.9996 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.1512 | μmol/L | 29.6631 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.279 | 104711.392 | 214524.2868 | 27.3 | 43.4
102609 | 2021-04-23 12:27 | 27.3329 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.0225 | μmol/L | 29.6386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.294 | 104737.2305 | 214506.2485 | 27.3 | 43.4
102619 | 2021-04-23 12:27 | 27.6661 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.0772 | μmol/L | 29.6509 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.287 | 104729.9306 | 214490.9387 | 27.3 | 43.4
102629 | 2021-04-23 12:28 | 28 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.0803 | μmol/L | 29.6386 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.291 | 104738.507 | 214488.9695 | 27.3 | 43.4
102639 | 2021-04-23 12:28 | 28.3333 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.726 | μmol/L | 29.6693 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.299 | 104757.2748 | 214478.9261 | 27.3 | 43.4
102649 | 2021-04-23 12:28 | 28.6663 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.5083 | μmol/L | 29.6938 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.302 | 104759.902 | 214474.392 | 27.3 | 43.4
102659 | 2021-04-23 12:29 | 29 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.5691 | μmol/L | 29.6815 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.303 | 104773.5374 | 214467.1372 | 27.3 | 43.4
102669 | 2021-04-23 12:29 | 29.3331 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.2923 | μmol/L | 29.7122 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.307 | 104784.3673 | 214463.456 | 27.3 | 43.4
102679 | 2021-04-23 12:29 | 29.6662 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.9999 | μmol/L | 29.7306 | °C | 1014 | hPa | Humid | 28 | 0 | 0 | 20.316 | 104855.2982 | 214464.5732 | 27.3 | 43.4